Date: 4th Dec. 2023

**To**

**Executive Engineer,**

**Electrical Department,**

**TSMSIDC Head Office,**

**Koti, Hyderabad**

Dear Sir / Madam,

This has reference to the submission of revised working drawings, vide reference on

and the subsequent discussion with The Executive Engineer (Electrical).

As instructed by the Executive Engineer in the discussion on

Duly incorporating additional items such as distribution boards separate for power socket, lighting, 2 additional CCTV cameras, Smoke detectors above false ceiling and additional power sockets considering future scope of increasing the no of equipment.

Kindly note that the above items are not part of our scope of construction and the payment for these items to be additionally paid to us.

We shall submit the Cost/Quotations for this in due course

Kindly approve the exceeded quantities. So, that we can take up the construction work immediately.

Thanking you,

For Asta Vardhman Consortium.