|  |  |
| --- | --- |
| To, | Date: 27-02- 2024 |
| The Executive Engineer, | **Furniture** .Pro- D-Tech /664 /2023-24 |
| (Engineer In-charge) | Validity – 90 Days |
| TSMSIDC, Hyderabad Division. | GST No:- 36APFPK9302P1ZG |
| GST NO:- | Bagya Laxmi Colony |
| Mail ID:- | Subash Nagar IDA Jeedimetla |
| Mob No:- | Proprietor Code 4687569 |

**QUOTATION**

Sub: Our quotation for IVF center- 5th floor, MCH building, Gandhi Hospital.

Ref: your enquiry dated 16-02-2024.

Dear Sir,

We are pleased to submit our quotation for IVF, MCH, Gandhi. The enclosed prices cover a 3-year warranty, and CAMC prices for the 4th to 10th year are presented separately for your convenience.

|  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| **Sl.  No** | **Item Description** | **Qty** | **Unit** | **Rate** | **Amount** | **CAMC Amount for 5 Years** |
|  |
| 1 | Fowler Two Function Bed with ABS Panel, ABS Side Railings, Wheels, Mattress Pillow, & Bed Fixing IV Road Features (Knee rest & Backrest) Size-L,84, W-42, H-24. The finished bed must be rust proof, pre-treated and treated with epoxy polyester antimicrobial powder coated to increase the bacteriostatic property. The bed must be quoted with washable cover of lasting quality. The mattress should be made of high-density PU foam of 100 mm thickness. | 5.00 | Nos | 41,000.00 | **2,05,000.00** | 1,39,400.00 |  |
| 2 | Bed side Table with ABS Plastic body construction having 1 drawer and an adequated space with openable door with handle of size. | 5.00 | Nos | 9,500.00 | **47,500.00** | 32,300.00 |  |
| 3 | Corporate Deluxe Locker with SS 304 grade Top of size 508 x 406 x 762 mm having 1 drawer and an adequate storage space with openable door with SS handle. Equipped with wheels for easy movement. | 1.00 | Nos | 8,800.00 | **8,800.00** | 5,984.00 |  |
| 4 | Bed side stand with full SS 304 grade constructionof size 406 x 203 x 762 mm equipped with SS Handles on top for carrying. | 1.00 | Nos | 9,600.00 | **9,600.00** | 6,528.00 |  |
| 5 | **A close-up of a logo  Description automatically generated**Bed side stand with full GI Powder coated constructionof size 406 x 203 x 762 mm equipped with powder coated handles on top for carrying. | 1.00 | Nos | 4,400.00 | **4,400.00** | 2,992.00 |  |
|  |  |  |  |  |  |  |  |
| 6 | Cryo Can 11 Ltr | 1.00 | Nos | 34,500.00 | **34,500.00** | 23,460.00 |  |
| 7 | 3-Bay Surgical Scrub Station/Sink to be provided for use in the OT complex providing for pre-procedural scrub up with minimum three bay sink combination as suitable. The Scrub Station shall be made of Stainless Steel of 304 grade sheet with minimum thickness of 1.5mm and designed as per the high aesthetics of the theatre complex. Shall have smoothened surfaces & corners. The scrub sink shall be provided with a front access panel which shall be easily removed for access to the water-controlled valve, waste connections, stoppers & strainers. The Scrub station should be equipped with two foot operated and one elbow operated mechanisms. Shall have provision for fresh water and waste water piping ready for connections. | 1.00 | Nos | 1,00,000.00 | **1,00,000.00** | 68,000.00 |  |
| 8 | Supply of Sample collection bed of size 1850x620x700 mm, featuring plain design equipped with 1 drawer and storage space with openable door type with SS-304 grade handles positioned at head side of the bed. The material of construction of the bed to be of Powder coated GI for entire body. All the legs of the bed to be capped with nylon bushes. The finished bed must be rust proof, pre-treated and treated with epoxy polyester antimicrobial powder coated to increase the bacteriostatic property. The bed must be quoted with washable cover of lasting quality. The mattress should be made of high-density PU foam of 100 mm thickness. | 1.00 | Nos | 30,500.00 | **30,500.00** | 20,740.00 |  |
| **A close-up of a logo  Description automatically generated**9 | Supply of a Sample collection chair of size 800x580x700 mm, meeting medical standards, featuring adjustable height and tilt padded armrests, and durable upholstery, suitable for comfortable patient positioning during blood donation or phlebotomy procedures. The chair is made from mild steel with good finish. The chair to be of easy to manoeuvre and transport and of light weight. | 1.00 | Nos | 17,000.00 | **17,000.00** | 11,560.00 |  |
| 10 | Supply and installation of Stainless Steel 304 grade CSSD Rectangular Working table of size 1200x480x1050 mm with inbuilt sink of size 450x380x300 mm equipped with jali at bottom to stop any large particles entering into the drain to avoid drain clog. The table to be designed with raised front section and provision of SS sheet at foot level of the table forming a flat surface for storing/placing of items. The table to be of ready to use with all necessary fittings. | 1.00 | Nos | 48,000.00 | **48,000.00** | 32,640.00 |  |
| 11 | Writing board made of Pressed wood coated with melamine surface. It has 900mm writing surface height, 1200mm writing surface wide, and 11mm deep, suitable for working on dry wipe board markers. It has an aluminium frame with dark grey plastic corner caps and maker tray. It is enabled with an easy wall mounting with a concealed slot system. It can be mounted either horizontally or vertically. IT consists of a complete mounting set, marker tray, and a board marker. | 2.00 | Nos | 2,500.00 | **5,000.00** | 3,400.00 |  |
| 12 | Providing MDF 18 mm thick wooden table of size 900x450 mm with 1 drawer at right side of the table. The table includes keyboard tray. Bottom equipped with nylone bushes for floor protection and easy movement. | 2.00 | Nos | 16,000.00 | **32,000.00** | 21,760.00 |  |
| **A close-up of a logo  Description automatically generated**13 | Supply of a 3-seater sofa upholstered with PU leather, with a high-quality finish. The sofa shall feature a kiln-dried hardwood frame for durability, reinforced with corner blocks for stability. The seat cushions to be constructed with high-density foam padding for comfort and resilience, while the backrests shall feature a combination of foam and fiberfill for optimal support. The sofa arms shall be padded for additional comfort, with sleek wooden or metal legs providing sturdy support. The leather upholstery shall be treated for resistance to stains and spills, ensuring longevity and ease of care. The dimensions of the sofa shall be suitable to accommodate three individuals comfortably, with ample seating space and ergonomic design considerations. | 2.00 | Nos | 25,000.00 | **50,000.00** | 34,000.00 |  |
| 14 | Supply and fixing of Powder coated GI stand with 4 nos height adjustable racks of size 670x410x1570 mm connected to two big rods of rectangular hollow section type supported with 4 legs with wheels with brakes to restrict movement/easy movement. Equipped with frame for holding a cylinder. A lockable box type space to be provided at bottom rack. | 1.00 | Nos | 84,000.00 | **84,000.00** | 57,120.00 |  |
| 15 | SS-304 working table of size 685x685x762 mm with I type support inner frame SS-304 pipe of size 40x40x1.5 mm, and top with 1.5 mm thick SS-304 sheet. All four legs equipped with adjustable nylone bushes. | 2.00 | Nos | 18,000.00 | **36,000.00** | 24,480.00 |  |
| 16 | SS-304 working table of size 457x457x762 mm with I type support inner frame SS-304 pipe of size 40x40x1.5 mm, and top with 1.5 mm thick SS-304 sheet. All four legs equipped with adjustable nylone bushes. | 1.00 | Nos | 16,000.00 | **16,000.00** | 10,880.00 |  |
| 17 | SS-304 working table of size 610x610x762 mm with I type support inner frame SS-304 pipe of size 40x40x1.5 mm, and top with 1.5 mm thick SS-304 sheet. All four legs equipped with adjustable nylone bushes. | 1.00 | Nos | 16,500.00 | **16,500.00** | 11,220.00 |  |
| 18 | SS-304 working table of size 660x610x762 mm with I type support inner frame SS-304 pipe of size 40x40x1.5 mm, and top with 1.5 mm thick SS-304 sheet. All four legs equipped with adjustable nylone bushes. | 1.00 | Nos | 16,600.00 | **16,000.00** | 11,288.00 |  |
|  | **A close-up of a logo  Description automatically generated**The Multipurpose Electro Hydraulic Mobile OT Table is designed for gynaecological surgical procedures, featuring a wide range of adjustments for optimal patient positioning. It offers precise control with movement controls at the side of the table and a wired remote-control handset and features like S. S. Arm Rest, Anaesthetic Screen, Lithotomy Leg Holders with Stirrups, Leather Wristlets, Padded Leg Rest, Anti-static mattress, and an additional Poly-urethane mattress. Built with a Stainless Steel 304 frame and bottom, it ensures durability. The table top, reinforced with three-section stainless steel and radiolucent capabilities, allows for comprehensive patient support. Its flexibility includes 360° rotation, adjustable Trendelenburg, Reversed Trendelenburg, Head Section, Back Section, and Leg Section. Physical specifications include a 1900 mm x 525 mm top with an elevation range of 640mm to 1040mm, supporting patients up to 140 kg. Environmental considerations ensure operational efficiency in various conditions. | 1.00 | Nos | 2,25,000.00 | 2,25,000.00 | 1,53,000.00 |  |
|  | Total Amount | | | | **9,86,400.00** | **6,70,752.00** |  |
|  | GST @ 18% | | | | **1,77,552.00** |  |  |
|  | Total Amount excluding CAMC | | | | **11,63,952.00** |  |  |
|  | CAMC Amount as per below table | | | | **6,70,752.00** |  |  |
|  | Total Amount including CAMC | | | | **18,34,704.00** |  |  |

**(Rupees: -(Eighteen Lakhs Thirty Four Thousand Seven Hundred and Four only)**

Comprehensive Annual Maintenance Charges post warranty period for 3 years(4th to 10th year) as per below table

|  |  |  |  |
| --- | --- | --- | --- |
| Base Price | | | **9,86,400.00** |
| S.No | Year | CAMC % | Amount |
| 1 | 4th | 9% | 88,776.00 |
| 2 | 5th | 9% | 88,776.00 |
| 3 | 6th | 10% | 98,640.00 |
| 4 | 7th | 10% | 98,640.00 |
| 5 | 8th | 10% | 98,640.00 |
| 6 | 9th | 10% | 98,640.00 |
| 7 | 10th | 10% | 98,640.00 |
| Total % | | 68% |  |
| Total Amount | | | **6,70,752.00** |

**TERMS & CONDITIONS: -**

1. Packing, Forwarding & Transportation Charges: - **Included**

2. GST: - **Applicable as mentioned above.**

3. Payment: - **As per norms.**

**A close-up of a logo

Description automatically generated**4. Delivery: - 1 to 2 Weeks confirmed order.

K.Venkatesh

+919989776972