MM 14-09-2023

1. Grid ceiling to be changed to Medical Grid Ceiling Tiles.
2. Vinyl Flooring to be laid in All Corridors, ICUs, and Doctor’s Rooms.
3. Wall Paintings to be changed with Anti-Bacterial Paint instead of the contract specified paint.
4. SS/PCGI wall and ceiling panels to be installed in the corridor with Anti-Bacterial coating.
5. Integration Room – interiors with Acoustic Panels etc
6. 3 Additional Scrub Stations to be provided.
7. Relocation of Doors.
8. Ductable split unit in corridor.
9. 2-way AV communication at Doctors Room, HOD Room, and Counselling Room with TIRs.
10. 2 cameras with AV recording in the counselling room, II-way communication & writing board to be provided.
11. RO water line in ICUs.
12. RO water line in TIRs
13. Glass Partitions in TIRs with sliding doors.
14. Triple dome light in 4 MOTs and double dome lights in 2 OTs.
15. Door in corridor to be relocated as mentioned in the site inspection.
16. Ventilators in the Anaesthetist and Surgeons Lounge are to be closed.