MAC/A/SOTC/2024-25/057 Date: 25th Sep 2024

To,

The Executive Engineer,

(Engineer In-charge)

TGMSIDC,

Hyderabad Division.

Dear Sir,

***Sub: TSMSIDC - "Design, Fabrication, Installation and Commissioning on Turnkey basis for the work of Establishment of State Organ Transplant Centre in the 8th Floor, SW Block of Gandhi Hospital, Secunderabad" – Submission of Revised Lift Shaft G.A. Drawing.***

***Ref: NOA vide Lr. No. 507/SOTC/Spl. Proi/TSMSIDC/2022 dated 13.01.2023.***

***Agmt. No. 256/A/TSMSIDC/SOTC/Spl. Proj/2022-23 Dt 08.02.2023***

During excavation of foundation for the lift structure, unforeseen complex ground conditions were encountered which the then Engineer-In-Charge (Executive Engineer) had seen during his site inspection on 12.09.2024. As discussed during the site visit the complex ground conditions necessitated revisions to the original lift shaft design.

We are herewith submitting the revised lift shaft GA drawing basing on the discussions at the site. We request a joint site inspection at the proposed lift shaft location at the site to check the suitability of the present G.A drawing. The complex site conditions necessitate a collaborative review to ensure that the feasibility to install lift shaft at the current proposed location.

**Objectives of Joint Inspection**:

1. Verify site conditions and assess their impact on the current lift shaft design.

2. Identify potential risks especially as the revised G.A drawings proposes that the lift structure is anchored to the existing Gandhi Hospital building structure.

We kindly request you to convene the joint inspection to ensure a unified understanding of the feasibility of the present G.A drawing.

Thanking you.

Yours truly,

For MPS ASTA Consortium

Authorized Signatory

Cc: 1. The Chief Engineer, TSMSIDC

2. The Superintending Engineer, Ranga Reddy Division

3. The Dy. Executive Engineer, Medchal Malkajgiri