## Sheet1
Electrical Load of MOT , Gandhi Hosp
Sr no | Description | Unit | Load
1 | Touch Screen Control Panel | Watt | 150
2 | X Ray View screen | Watt | 150
3 | Hatch Box | Watt | 150
4 | OT Light | Watt | 1000
5 | Anesthesia Pendant | Watt | 1800
6 | HD Monitor | Watt | 150
7 | Automatic Sliding Main Door | Watt | 150
8 | Automatic Sliding OT Passage Door | Watt | 150
9 | Peripheral Light - 8 nos | Watt | 300
10 | Power Switch/Socket - 6 nos | Watt | 3500
11 | View Window | Watt | 300
| Total | Watt | 7800
|  | KVA | 7.8
12 | AHU/Condensing Unit | KW | 30
LAF
CCTV
VIDEO & IMAGE MANAGEMENT SYSTEM
55 INCH SCREEN
32 AMPS INDUSTRIAL SOCKET
POWER SOCKET LOAD
IN TIRS
BHP LOAD
CCTV
TV
DOOR
MOTORISED BLINDS
AHU
LAF
X-RAY FOR ICUS
MGPS CONTROL PANELS LOAD