## Sheet1
MCH - Gandhi Hospital
S.No | Room Name | Dimensions (m) |  | Area (m^2) | Area (ft^2)
|  | Length N | Width W
| UPS Room | 2.921 | 3.146 | 9.1895
1 | Pre/Post Operative Ward | 6.029 | 6.459 | 38.9413 | 419.1604
| Store Room | 2.943 | 2.191 | 6.4481 | 0
2 | Dr. Change Room-1 | 1.443 | 1.43 | 2.0635 | 22.2112
3 | Dr. Change Room-2 | 1.467 | 1.432 | 2.1007 | 22.6122 | Vinyl Flooring | 100.3605 | 119.2605 | 1283.6009
4 | Dr. Toilet | 4.661 | 1.882 | 8.772 | 94.421 | Wall Panels | 72.106 | 65.806 | 708.27
5 | Minor-OT | 4.116 | 6.436 | 26.4906 | 285.1419 | Ceiling Panels | 52.3309 | 55.123 | 593.2888
6 | IVF-OT | 3.917 | 6.445 | 25.2451 | 271.7354 | False Ceiling | #REF! | #REF! | #REF!
7 | Embryology Lab | 4.2 | 6.449 | 27.0858 | 291.5488
8 | Cryo Room | 2.894 | 1.593 | 4.6101 | 49.6231
9 | Andrology Lab | 4.101 | 4.128 | 16.9289 | 182.2213
10 | Toilet @ Sperm Collection | 1.129 | 1.591 | 1.7962 | 19.3345 |  | 6.59
11 | Manifold Room | 2.166 | 3.157 | 6.8381 | 73.6042 |  | 9.33
12 | Sperm Collection Room | 3.216 | 3.267 | 10.5067 | 113.0928
13 | Blood Collection & Injection Room | 2.557 | 3.29 | 8.4125 | 90.5516
| AutoClave Room | 2.582 | 3.286 | 8.4845 | 91.3258
14 | P. Change Room | 1.658 | 1.826 | 3.0275 | 32.5878
15 | F. Staff Change Room | 1.625 | 1.826 | 2.9672 | 31.9392
16 | M. Staff Change Room | 1.651 | 1.828 | 3.018 | 32.4858
18 | Counselling Room -1 | 2.407 | 3.123 | 7.5171 | 80.9129
19 | Counselling Room -2 | 2.401 | 3.34 | 8.0193 | 86.3194
20 | Toilet @ Counselling Room -2 | 1.203 | 1.451 | 1.7456 | 18.789
21 | Ultra Sound Room | 2.146 | 4.469 | 9.5905 | 103.2309
23 | Record Room | 2.164 | 1.947 | 4.2133 | 45.3516
24 | Reception Room | 2.928 | 3.418 | 10.0079 | 107.7241
25 | Sterile area Corridor | 6.257 | 2.961 | 18.527 | 199.4225
26 | Semi sterile area Corridor | 6.442 | 2.945 | 18.9717 | 204.2094
27 | Corridor3 | 9.233 | 2.941 | 27.1543 | 292.2857
28 | Main entry Corridor | 2.932 | 6.31 | 18.5009 | 199.1421
29 | Corridor @ Manifold Room | 3.3 | 1.2 | 3.96 | 42.625
30 | Corridor @ Staff Change Rooms | 5.2 | 1.17 | 6.084 | 65.4876
31 | Corridor @ Dr. Change Rooms | 3.05 | 0.74 | 2.257 | 24.2941
32 | Corridor @ Counselling Rooms | 5.1 | 1.2 | 6.12 | 65.8751
33 | Total area |  |  | 346.4054 | 3728.673

## Sheet2
IVF-GANDHI MCH
S.No | Room Name
1 | Pre/Post Operative Ward
2 | Main corridor infront of Store room
3 | Dr. Change Room-1
4 | Dr. Change Room-2
5 | Dr. Toilet
6 | Store Room
7 | Minor-OT
8 | IVF-OT
9 | Embryology Lab
10 | Cryo Room
11 | Andrology Lab
12 | Manifold Room
13 | Sperm Collection Room
14 | Toilet @ Sperm collection room
15 | Blood Collection & Injection Room
16 | AutoClave Room
17 | P. Change Room
18 | F. Staff Change Room
19 | M. Staff Change Room
20 | Counselling Room -1
21 | Counselling Room -2
22 | Toilet @ Counselling Room -2
23 | Ultra Sound Room
24 | Record Room
25 | Reception
26 | UPS Room
27 | Sterile area Corridor
28 | Semi sterile area Corridor
29 | Corridor @ Pre/Post operative ward
30 | Main entry Corridor
31 | Corridor @ Manifold Room
32 | Corridor @ Staff Change Rooms
33 | Corridor infront of store room
34 | Corridor @ Dr. Change Rooms
35 | Corridor @ Counselling Rooms
36
37
38
39
40
41
42
43
44