## Table 1
ELV - IVF CENTER
27062023 |  |  |  |  | TOTAL 35,89,955.00
|  | 11,75,485.00 | 11,75,485.00 | 12,38,985.00 | 3,28,200.00
LOCATION
ITEM | MAKE | GANDHI | PETLABURZ | MGM
ACCESS CONTROL SYSTEM
Controller with One reader | MATRIX | 38500 | 38500 | 38500
Software with Dongle | MATRIX | 20500 | 20500 | 20500
EM Lock | NUVALT | 8500 | 8500 | 8500
EXIT Button | MX | 2200 | 2200 | 2200
CAT-6 UTP Cable | COMMSCOPE | 3700 | 3700 | 3700
2Core 0.75 Sq MM Cable | POLYCAB | 10000 | 10000 | 10000
4 Port Gigabyte POE Switch | TP-LINK | 4500 | 4500 | 4500
Installation Charges |  | 20000 | 20000 | 20000
Transport Charges |  |  |  | 4500
| Excluding GST | 1,07,900.00 | 1,07,900.00 | 1,12,400.00
CCTV
IP Camera | HIKVISION | 32500 | 32500 | 32500
Back Box for Camera |  | 1400 | 1400 | 1400
8-Channel NVR | HIKVISION | 18650 | 18650 | 18650
4 TB HDD | SEAGATE | 12500 | 12500 | 12500
8-Port POE Switch | HIKVISION | 11000 | 11000 | 11000
6U Network Rack | NETRACK | 8500 | 8500 | 8500
CAT-6 UTP | COMMSCOPE | 9250 | 9250 | 9250
PVC FRLS Conduit | POLYCAB | 7500 | 7500 | 7500
32 Inch Monitor | SAMSUNG | 25000 | 25000 | 25000
Installation Charges |  | 13425 | 13425 | 13425
Transport Charges |  |  |  | 4500
| Excluding GST | 1,39,725.00 | 1,39,725.00 | 1,44,225.00
4,23,675.00

## Sheet1
ANNEXURE -1
IVF - GANDHI
S.No | ITEM | MAKE | GANDHI
1 | ACCESS CONTROL SYSTEM
2 | Controller with One reader | MATRIX | 38500
3 | Software with Dongle | MATRIX | 20500
4 | EM Lock | NUVALT | 8500
5 | EXIT Button | MX | 2200
6 | CAT-6 UTP Cable | COMMSCOPE | 3700
7 | 2Core 0.75 Sq MM Cable | POLYCAB | 10000
8 | 4 Port Gigabyte POE Switch | TP-LINK | 4500
9 | Installation Charges |  | 20000
10 | Transport Charges |  | 0
|  | Excluding GST | 107900
CCTV
11 | IP Camera | HIKVISION | 32500
12 | Back Box for Camera |  | 1400
13 | 8-Channel NVR | HIKVISION | 18650
14 | 4 TB HDD | SEAGATE | 12500
15 | 8-Port POE Switch | HIKVISION | 11000
16 | 6U Network Rack | NETRACK | 8500
17 | CAT-6 UTP | COMMSCOPE | 9250
18 | PVC FRLS Conduit | POLYCAB | 7500
19 | 32 Inch Monitor | SAMSUNG | 25000
20 | Installation Charges |  | 13425
21 | Transport Charges |  | 0
|  | Excluding GST | 139725
COUNSELLING ROOM
22 | IP Camera | HIKVISION | 17000
23 | Back Box for Camera |  | 560
24 | 8-Channel NVR | HIKVISION | 37300
25 | 4 TB HDD | SEAGATE | 25000
26 | 4-Port POE Switch | HIKVISION | 6500
27 | 6U Network Rack | NETRACK | 8500
28 | CAT-6 UTP | COMMSCOPE | 7400
29 | PVC FRLS Conduit | POLYCAB | 7500
30 | Wall mount Audio MIC |  | 10000
31 | Installation Charges |  | 14970
32 | Transport Charges |  | 0
|  | Excluding GST | 134730
DATA
33 | DATA Outlet with Faceplate | COMMSCOPE | 7000
34 | CAT-6 UTP | COMMSCOPE | 46250
35 | 9U Network Rack | NETRACK | 8500
36 | 24 Port Manageable Switch | D-LINK | 28500
37 | 24 Port Patch Panel | COMMSCOPE | 7500
38 | Patch Cords, 1 Mtr | COMMSCOPE | 3500
39 | PVC FRLS Conduit | POLYCAB | 18750
40 | Cable Tray 150 mm | NSKS | 60000
41 | Installation Charges |  | 45000
42 | Transport Charges |  | 0
|  | Excluding GST | 225000
FIRE EXTINGUISHER
43 | 4.5 Kg CO2 Fire Extinguisher | KANEX | 32000
44 | 5 Kg ABC MAP-90 Ceiling Model | KANEX | 26150
45 | 2 Kg Clean Agent HFC236FA | KANEX | 50000
46 | Installation Charges |  | 15000
47 | Transport Charges |  | 0
|  | Excluding GST | 123150
FIRE DETECTION & ALARM
48 | Fire Alarm Panel | RAVEL | 135280
49 | Smoke & Temp Detector | RAVEL | 157500
50 | Response Indicators | HONEYWELL | 2250
51 | Strobe Cum Hooter | RAVEL | 5000
52 | Fault Isolator Module | RAVEL | 2500
53 | Manual Call point | RAVEL | 13000
54 | 2 Core 1.5 Sq mm Armour Cable | POLYCAB | 56000
55 | Installation Charges |  | 42875
56 | Transport Charges |  | 0
|  | Excluding GST | 414405
VOICE
57 | DATA Outlet with Faceplate | COMMSCOPE | 1750
58 | 2 pair 0.5 Sq mm Wire | SURABI | 7700
59 | PVC FRLS Conduit | POLYCAB | 3750
60 | 20 Pair KRONE Box |  | 2000
61 | 20 Pair Cable | SURABI | 6950
62 | Installation Charges |  | 8425
63 | Transport Charges |  | 0
|  | Excluding GST | 30575
| Sub Total |  | 1175485
| GST 18% |  | 211587.3
| Grand Total |  | 1387072.3

## Sheet2
ANNEXURE -1
IVF - PETLABURJ
S.No | ITEM | MAKE | PETLABURZ
1 | ACCESS CONTROL SYSTEM
2 | Controller with One reader | MATRIX | 38500
3 | Software with Dongle | MATRIX | 20500
4 | EM Lock | NUVALT | 8500
5 | EXIT Button | MX | 2200
6 | CAT-6 UTP Cable | COMMSCOPE | 3700
7 | 2Core 0.75 Sq MM Cable | POLYCAB | 10000
8 | 4 Port Gigabyte POE Switch | TP-LINK | 4500
9 | Installation Charges |  | 20000
10 | Transport Charges |  | 0
|  | Excluding GST | 107900
CCTV
11 | IP Camera | HIKVISION | 32500
12 | Back Box for Camera |  | 1400
13 | 8-Channel NVR | HIKVISION | 18650
14 | 4 TB HDD | SEAGATE | 12500
15 | 8-Port POE Switch | HIKVISION | 11000
16 | 6U Network Rack | NETRACK | 8500
17 | CAT-6 UTP | COMMSCOPE | 9250
18 | PVC FRLS Conduit | POLYCAB | 7500
19 | 32 Inch Monitor | SAMSUNG | 25000
20 | Installation Charges |  | 13425
21 | Transport Charges |  | 0
|  | Excluding GST | 139725
COUNSELLING ROOM
22 | IP Camera | HIKVISION | 17000
23 | Back Box for Camera |  | 560
24 | 8-Channel NVR | HIKVISION | 37300
25 | 4 TB HDD | SEAGATE | 25000
26 | 4-Port POE Switch | HIKVISION | 6500
27 | 6U Network Rack | NETRACK | 8500
28 | CAT-6 UTP | COMMSCOPE | 7400
29 | PVC FRLS Conduit | POLYCAB | 7500
30 | Wall mount Audio MIC |  | 10000
31 | Installation Charges |  | 14970
32 | Transport Charges |  | 0
|  | Excluding GST | 134730
DATA
33 | DATA Outlet with Faceplate | COMMSCOPE | 7000
34 | CAT-6 UTP | COMMSCOPE | 46250
35 | 9U Network Rack | NETRACK | 8500
36 | 24 Port Manageable Switch | D-LINK | 28500
37 | 24 Port Patch Panel | COMMSCOPE | 7500
38 | Patch Cords, 1 Mtr | COMMSCOPE | 3500
39 | PVC FRLS Conduit | POLYCAB | 18750
40 | Cable Tray 150 mm | NSKS | 60000
41 | Installation Charges |  | 45000
42 | Transport Charges |  | 0
|  | Excluding GST | 225000
FIRE EXTINGUISHER
43 | 4.5 Kg CO2 Fire Extinguisher | KANEX | 32000
44 | 5 Kg ABC MAP-90 Ceiling Model | KANEX | 26150
45 | 2 Kg Clean Agent HFC236FA | KANEX | 50000
46 | Installation Charges |  | 15000
47 | Transport Charges |  | 0
|  | Excluding GST | 123150
FIRE DETECTION & ALARM
48 | Fire Alarm Panel | RAVEL | 135280
49 | Smoke & Temp Detector | RAVEL | 157500
50 | Response Indicators | HONEYWELL | 2250
51 | Strobe Cum Hooter | RAVEL | 5000
52 | Fault Isolator Module | RAVEL | 2500
53 | Manual Call point | RAVEL | 13000
54 | 2 Core 1.5 Sq mm Armour Cable | POLYCAB | 56000
55 | Installation Charges |  | 42875
56 | Transport Charges |  | 0
|  | Excluding GST | 414405
VOICE
57 | DATA Outlet with Faceplate | COMMSCOPE | 1750
58 | 2 pair 0.5 Sq mm Wire | SURABI | 7700
59 | PVC FRLS Conduit | POLYCAB | 3750
60 | 20 Pair KRONE Box |  | 2000
61 | 20 Pair Cable | SURABI | 6950
62 | Installation Charges |  | 8425
63 | Transport Charges |  | 0
|  | Excluding GST | 30575
| Sub Total |  | 1175485
| GST 18% |  | 211587.3
| Grand Total |  | 1387072.3

## Table 2
COUNSELLING ROOM
IP Camera | HIKVISION | 17000 | 17000 | 17000
Back Box for Camera |  | 560 | 560 | 560
8-Channel NVR | HIKVISION | 37300 | 37300 | 37300
4 TB HDD | SEAGATE | 25000 | 25000 | 25000
4-Port POE Switch | HIKVISION | 6500 | 6500 | 6500
6U Network Rack | NETRACK | 8500 | 8500 | 8500
CAT-6 UTP | COMMSCOPE | 7400 | 7400 | 7400
PVC FRLS Conduit | POLYCAB | 7500 | 7500 | 7500
Wall mount Audio MIC |  | 10000 | 10000 | 10000
Installation Charges |  | 14970 | 14970 | 14970
Transport Charges |  |  |  | 4500
| Excluding GST | 1,34,730.00 | 1,34,730.00 | 1,39,230.00
4,08,690.00
DATA
DATA Outlet with Faceplate | COMMSCOPE | 7000 | 7000 | 7000
CAT-6 UTP | COMMSCOPE | 46250 | 46250 | 46250
9U Network Rack | NETRACK | 8500 | 8500 | 8500
24 Port Manageable Switch | D-LINK | 28500 | 28500 | 28500
24 Port Patch Panel | COMMSCOPE | 7500 | 7500 | 7500
Patch Cords, 1 Mtr | COMMSCOPE | 3500 | 3500 | 3500
PVC FRLS Conduit | POLYCAB | 18750 | 18750 | 18750
Cable Tray 150 mm | NSKS | 60000 | 60000 | 84000
Installation Charges |  | 45000 | 45000 | 45000
Transport Charges |  |  |  | 8500
| Excluding GST | 2,25,000.00 | 2,25,000.00 | 2,57,500.00
7,07,500.00

## Table 3
FIRE EXTINGUISHER
4.5 Kg CO2 Fire Extinguisher | KANEX | 32000 | 32000 | 32000
5 Kg ABC MAP-90 Ceiling Model | KANEX | 26150 | 26150 | 26150
2 Kg Clean Agent HFC236FA | KANEX | 50000 | 50000 | 50000
Installation Charges |  | 15000 | 15000 | 15000
Transport Charges |  |  |  | 4500
| Excluding GST | 1,23,150.00 | 1,23,150.00 | 1,27,650.00
3,73,950.00
FIRE DETECTION & ALARM
Fire Alarm Panel | RAVEL | 1,35,280.00 | 1,35,280.00 | 1,35,280.00
Smoke & Temp Detector | RAVEL | 1,57,500.00 | 1,57,500.00 | 1,57,500.00
Response Indicators | HONEYWELL | 2250 | 2250 | 2250
Strobe Cum Hooter | RAVEL | 5000 | 5000 | 5000
Fault Isolator Module | RAVEL | 2500 | 2500 | 2500
Manual Call point | RAVEL | 13000 | 13000 | 13000
2 Core 1.5 Sq mm Armour Cable | POLYCAB | 56000 | 56000 | 56000
Installation Charges |  | 42875 | 42875 | 42875
Transport Charges |  |  |  | 8500
| Excluding GST | 4,14,405.00 | 4,14,405.00 | 4,22,905.00
12,51,715.00
VOICE
DATA Outlet with Faceplate | COMMSCOPE | 1750 | 1750 | 1750
2 pair 0.5 Sq mm Wire | SURABI | 7700 | 7700 | 7700
PVC FRLS Conduit | POLYCAB | 3750 | 3750 | 3750
20 Pair KRONE Box |  | 2000 | 2000 | 2000
20 Pair Cable | SURABI | 6950 | 6950 | 6950
Installation Charges |  | 8425 | 8425 | 8425
Transport Charges |  |  |  | 4500
| Excluding GST | 30575 | 30575 | 35075
96225