## Sheet2
LIST OF EQUIPMENTS
S.No. | Name of the equipment | Qty | Make/Model | Date of Dispatch | From Location | Date of Arrival to delivery location | Remarks
1 | Ovum Aspiration Pumps | 2
2 | IVF Test tube Warmers | 2
3 | DICOM compatible fully digital, compact, portable, Ultrasound Scan Machine Colour Doppler | 2
4 | Multipurpose Electro hydraulic with manual override mobile OT Table, with divided leg section suitable for all Gynaecological surgical procedures, complete with 5cm Mattress and corded handset | 1
5 | LED procedure Lights Double dome | 1
6 | LED procedure Lights Single dome | 1
7 | IVF Workstation with LAF | 1
8 | IVF Ant vibration Table for procedure | 1
9 | CO2 Incubators | 2
10 | Trigas bench Top Incubators for Human Embryo culture | 1
11 | Trinocular Stereozoom Microscope | 1
12 | ICSI Micro manipulator with Inverted Microscope | 1
13 | IVF Laser System | 1
14 | IVF Thermometer | 1
15 | CO2 Cylinder and Manifold | 2
16 | CO2 and O2 Analyzer | 1
17 | PH Meter | 1
18 | VOC Meter for ART Lab | 1
19 | Sperm Counting Makler Chamber | 1
20 | Binocular Microscope for Semen Analysis | 1
21 | Laminar flow cabinet with Andrology Work station | 1
22 | Clinical Centrifuge machine for Andrology | 1
23 | Dry Incubators | 1
24 | Pipetter and Denudation system | 1
25 | Pharmaceutical Refrigerator | 1
26 | Cryocans with wheels | 2
27 | Defibrillator | 1
28 | 7 Para Patient Monitor | 2
29 | Suction machine | 1
30 | Anaesthesia Work station | 1
31 | Autoclave | 1
32 | Operative Hysteroscopy and Resectoscope Set Machine | 1
33 | Operative Laparoscopy Set | 1
34 | Multifunctional Printer | 1
35 | Ultrasound Examination Couch | 1