## Sheet1
Gandhi-IVF Supplemental Item List
S.No | Description | Room Name | UoM | Nos | Rate | Amount
1 | Patient Beds | Pre/Post Operative Ward & Semen Collection Room | Nos | 5
2 | Bed side Table | Pre/Post Operative Ward & Semen Collection Room | Nos | 5
3 | 3-Bay Scrub Station | Sterile Area Corridor | Nos | 1
4 | Sample Collection Couch | Blood Collection Room | Nos | 1
5 | Sample Collection Chair | Blood Collection Room | Nos | 1
6 | RO | AutoClave Room | Nos | 1
7 | CCSD Table with Sink | AutoClave Room | Nos | 1
8 | Desktop Computer | Reception,Ultrasound room | Nos | 2
9 | Batteries | UPS Room | Nos | 12
10 | Electrical OT Table | Minor OT | Nos | 1
11 | Writing board | Counselling room | Nos | 2
12 | Table for desktop computer | Ultrasound room | Nos | 2
13 | Sofas | Reception area | Nos | 2
14 | Dress Hangers | Change Rooms | Nos | 5
15 | Mirrors | Change Rooms | Nos | 5
16 | Fire Alarm Panel |  | Nos | 1
17 | Trigas Cylinder | Manifold Room | Nos | 4
18 | O2 gas Cylinder | Manifold Room | Nos | 4
19 | Double Stage Regulator for CO2 cylinder | Manifold Room | Nos | 12
20 | Double Stage Regulator for O2 Cylinder | Manifold Room | Nos | 12
21 | Double Stage Regulator for Trigas cylinder | Manifold Room | Nos | 12
22 | N2O gas cylinder | Manifold Room | Nos | 2
23 | Storage Trolley | Semen collection Room | Nos | 1
24 | Sample Collection Trolley | Blood Collection Room | Nos | 1
25 | Steel Tables for Equipment | Andrology, Embryology Labs | Nos | 5
26 | Cryocan - 11Ltr | Cryo room | Nos | 1
27 | Windows Blinds | Counselling room & Semen collection | Nos | 2
28 | Name Boards (Room Names) |  | Nos | 30
29 | Main Name Board Acrylic Letters | Entrance | Job | 1
30 | Teak wood Door | IVF Entrance | Job | 1
31 | Granite Work | Recption & Door | Sqm
32 | Wall Paper | IVF Entrance & Reception area | Sqm
33 | Wall Bedding | Corridors | Rmt
34 | Split AC 2.0 Tr | Reception area | Nos | 1
35 | IVF Photos | Corridors | Nos | 14
36 | Acrylic Sandwich Frames | Corridors | Nos | 10
37 | PVC Plywood Covers for DB's | Corridors | Nos | 4
38 | TV with DVD Player | Sperm Collection Room | Nos
39 | Recliner Sofa/Bed | Sperm Collection Room | Nos
40 | Lab Chairs as required |  | Nos
41 | Lab Tables as required |  | Nos
Reception Work
1 | Side Pannelling | [5 empty] | Add 0.25%
a. | 14mm thick Indoor WPC louvers. providing & Fixing full height solid 12mm SHERA Board panneling till slab with wooden framing in line and level including filling joints and joint caps and neccesary hardware |  | Sq.ft. | 200 | 960 | 192000 | 1200 | 960 | 240
2 | WPC Louvers | [5 empty] | 0 |  | 0
a. | Providing and fixing WPC Louvers to the Ceiling of which includes G.I. Perimeter Channels of size 0.55mm thick (having One Flange of 20mm. and another flange of 30mm and a web of 27mm) along with perimeter of ceiling, screw fixed to brick wall / partition with the help of Nylon sleeves and screws at 610mm centres. Then suspending G.I. intermediate channels of size 45mm (0.9mm thick with 2 flanges of 15mm each) from the soffit at 1220mm centres with ceiling angle of width 25mm X 10mm X 0.55mm thick fixed to soffit with G.I. cleat and steel expansion fasteners. Ceiling section of 0.55mm thick having knurled web of 51.5mm and 2 flanges of 26mm each with lips of 10.5mm are then fixed to the intermediate channel with the help of connecting clips and in direction perpendicular to the intermediate channel at 450 mm centres. IN ULTRA GI CHANNELS. Rate to be included all kinds of profiles and cut outs required for light fixtures, Speakers, Smoke detector, trap doors and AC grill in the ceiling. |  | Sq.ft. | 81.65 | 1080 | 88182 | 1350 | 1080 | 270
b. | Providing and fixing of wooden box ceiling at the top of Reception table with 1mm thick laminate with wooden framing of BWP 710 Gurjan Ply support from the top slab end to end with neccesary cutouts for lighting and hardware. |  | Sq.ft. | 25.65 | 760 | 19494 | 950 | 760 | 190
3 | Back Pannelling | [5 empty] | 0 | 0 | 0
a. | Back Pannelling with laminate Finish of 1 mm thick. Providing & Fixing full height solid 12mm BWP 710 GURJAN PLY Board panneling till slab with wooden framing in line and level including the neccesary hardware and cutouts |  | Sq.ft. | 80.75 | 650 | 52487.5 | 812.5 | 650 | 162.5
4 | DOORS | [5 empty] | 0 |  | 0
a. | Providing and fixing ISI marked Magnetic 25mm Block Board door shutters, core of block board construction with frame of ist class hard wood and fixing 1 MM laminate on both faces of shutters, including ISI marked Stainless Steel butt hinges with necessary screws and tower bolt complete. |  | Nos | 1 | 9200 | 9200 | 11500 | 9200 | 2300
5 | Providing and fixing PVC frames on the walls for covering the area over DB Boxes with 12 mm PVC sheets in a box section of 60mm thick including neccesary accessories |  | Sq.ft. | 48 | 400 | 19200 | 500 | 400 | 100
6 | Providing and Fixing of (25X25) mm WC corner L-Patties at the topper edge of the wall tile cladding |  | R.ft. | 38 | 144 | 5472 | 180 | 144 | 36
7 | Providing and Fixing of SS- ROSE GOLD corner L-Patties at the SIDE edge of the wall tile cladding |  | Nos | 7 | 1000 | 7000 | 1250 | 1000 | 250
8 | Providing and fixing of Door Frame paneling with 18mm BWP 710 Gurjan Ply and 8mm thick beeding half rounded on the both sides with 1mm thick laminate finish with neccesary hardware and Polishing |  | R.ft. | 38 | 440 | 16720 | 550 | 440 | 110
9 | Providing and Fixing the 60mm Thick Box framing as the back support for the name plate installed of 18mm BWP 710 Gurjan and 1mm thick high glossy laminate finish |  | Sq.ft. | 14.25 | 680 | 9690 | 850 | 680 | 170
10 | Providing and Fixing of 32mm Double Flush Door with frame 8mm beeding on its edges on four sides with polishing finish and 1mm thick laminate on the both sides of which including ISI marked Stainless Steel centre lock and butt hinges with necessary screws and tower bolt complete. |  | Nos | 1 | 33600 | 33600 | 42000 | 33600 | 8400
11 | Providing and fixing of Side wall decor Frame for photo hangings panneling with 18mm BWP 710 Gurjan Ply and 8mm thick beeding half rounded on the both sides with 1mm thick laminate finish with neccesary hardware and Polishing |  | R.ft. | 36 | 440 | 15840 | 550 | 440 | 110
[7 empty] | 0 |  | 0
1 | Electrical | [5 empty] | 0 |  | 0
a | POINT WIRING and LIGHT FIXTURES & FITTINGS Providing Point wiring for Light Concealed Type with 2 × 1.0 Sq.mm. Copper PVC Insulated wire 1.1 KV grade ISI marked in rigid ISI mark PVC conduit minimum 20mm (1.6 mm thick)dia. with necessary accessories and Pannel and Spot LED lights of Havells/Wipro company. |  | Nos | 13 | 1200 | 15600 | 1500 | 1200 | 300
b | Providing and fixing Profile lights at wpc Louvers |  | R.ft. | 35 | 360 | 12600 | 450 | 360 | 90
c | Providing and fixing Track lights at side wall décor frame with 4 fixtures and 2 tracks |  | Job | 1 | 9600 | 9600 | 12000 | 9600 | 2400
d | External Profile light at Name Plate |  | R.ft. | 9.5 | 360 | 3420 | 450 | 360 | 90
| Wall Paper & LOGO | [5 empty] | 0 |  | 0
1 | Wall paper supply and fixing |  | Nos | 2 | 3450 | 6900 | 4312.5 | 3450 | 862.5
2 | Light logo supply and fixing |  | Set | 1 | 7650 | 7650 | 9562.5 | 7650 | 1912.5
3 | Blinds supply and fixing (6'x6')-1 no (3'x6")-1 no |  | Sft | 54 | 148 | 7992 | 185 | 148 | 37
4 | Main logo supply and fixing (big letter telugu and english) |  | Set | 1 | 29500 | 29500 | 36875 | 29500 | 7375

## Sheet3
S.No | Room Name | Equipment Name | BOQ QTY | Atual QTY
1 | Reception | Filing Storage Cabinet
Reception Chairs
Desktop Computer
Reception Table

## Sheet2
Room Name
Ovum Aspiration Pumps
IVF Test tube Warmers
DICOM compatible fully digital, compact, portable, Ultrasound Scan Machine Colour Doppler
Multipurpose Electro hydraulic with manual override mobile OT Table, with divided leg section suitable for all Gynaecological surgical procedures, complete with 5cm Mattress and corded handset
LED procedure Lights Double dome
LED procedure Lights Single dome
IVF Workstation with LAF
IVF Ant vibration Table for procedure
CO2 Incubators
Trigas bench Top Incubators for Human Embryo culture
Trinocular Stereozoom Microscope
ICSI Micro manipulator with Inverted Microscope
IVF Laser System
IVF Thermometer
CO2 Cylinder and Manifold
CO2 and O2 Analyzer
PH Meter
VOC Meter for ART Lab
Sperm Counting Makler Chamber
Binocular Microscope for Semen Analysis
Laminar flow cabinet with Andrology Work station
Clinical Centrifuge machine for Andrology
Dry Incubators
Pipetter and Denudation system
Pharmaceutical Refrigerator
Cryocans with wheels
Defibrillator
7 Para Patient Monitor
Suction machine
Anaesthesia Work station
Autoclave
Operative Hysteroscopy and Resectoscope Set Machine
Operative Laparoscopy Set
Multifunctional Printer
Ultrasound Examination Couch