## Sheet1
Gandhi-IVF Missing Item List
S.No | Item | Room Name | Nos
1 | Patient Beds with side Table | Pre/Post Operative Ward | 4
2 | Dress Hangers | Change Rooms | 5
3 | Mirrors | Change Rooms | 5
4 | Scrub Station | Sterile Area Corridor | 1
5 | Trigas Cylinder | Manifold Room | 4
6 | O2 gas Cylinder | Manifold Room | 4
7 | Double Stage Regulator for CO2 cylinder | Manifold Room | 12
8 | Double Stage Regulator for O2 Cylinder | Manifold Room | 12
9 | Double Stage Regulator for Trigas cylinder | Manifold Room | 12
10 | TV with DVD Player | Sperm Collection Room | 1
11 | Recliner Sofa/Bed | Sperm Collection Room | 1
12 | Sample Collection Couch | Blood Collection Room | 1
13 | Sample Collection Chair | Blood Collection Room | 1
14 | RO | AutoClave Room | 1
15 | CCSD Table with inbuilt sink | AutoClave Room | 1
16 | Desktop Computer | Reception | 1
17 | Lab Chairs as required
18 | Lab Tables as required
19 | Fire Alarm Panel |  | 1
20 | Batteries | UPS Room | 12
21 | OT Table in Minor OT
22 | Writing board
23 | Desktop Computer | Ultrasound room | 1
24 | Table for desktop computer | Ultrasound room | 1
25 | N2O gas cylinder | Manifold Room | 2
26 | Patient Beds with side Table | Semen collection Room | 1
27 | Storage Trolley | Semen collection Room | 1
28 | Sample Collection Trolley | Blood Collection Room | 1
29 | Steel Tables for Equipment | Andrology, Embryology Labs | 5

## Sheet3
S.No | Room Name | Equipment Name | BOQ QTY | Atual QTY
1 | Reception | Filing Storage Cabinet
Reception Chairs
Desktop Computer
Reception Table

## Sheet2
Room Name
Ovum Aspiration Pumps
IVF Test tube Warmers
DICOM compatible fully digital, compact, portable, Ultrasound Scan Machine Colour Doppler
Multipurpose Electro hydraulic with manual override mobile OT Table, with divided leg section suitable for all Gynaecological surgical procedures, complete with 5cm Mattress and corded handset
LED procedure Lights Double dome
LED procedure Lights Single dome
IVF Workstation with LAF
IVF Ant vibration Table for procedure
CO2 Incubators
Trigas bench Top Incubators for Human Embryo culture
Trinocular Stereozoom Microscope
ICSI Micro manipulator with Inverted Microscope
IVF Laser System
IVF Thermometer
CO2 Cylinder and Manifold
CO2 and O2 Analyzer
PH Meter
VOC Meter for ART Lab
Sperm Counting Makler Chamber
Binocular Microscope for Semen Analysis
Laminar flow cabinet with Andrology Work station
Clinical Centrifuge machine for Andrology
Dry Incubators
Pipetter and Denudation system
Pharmaceutical Refrigerator
Cryocans with wheels
Defibrillator
7 Para Patient Monitor
Suction machine
Anaesthesia Work station
Autoclave
Operative Hysteroscopy and Resectoscope Set Machine
Operative Laparoscopy Set
Multifunctional Printer
Ultrasound Examination Couch