## CIvil
Name of the work:Design, fabrication, establishing & commissioning of In-Vitro Fertility Centers (IVFCs) along with allied services on Turnkey basis at MGM Hospital, Warangal
DISMANTLED INVENTORY (CIVIL) - MGM Warangal 2nd Floor IVFC Center
Sl. No. | Description | Tables | chairs | Mics | Cameras | HPL Partion | Doors | Windows | Ventilaters | Mirrors & Hangers | Writing Boards | Blinders | ABC powder Fire extinguishers | CO2 fire extinguisher cylinders
1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 |  | 12 | 13 | 14
1 | Pre/Post Operative ward | [5 empty] | 1 | 1
2 | Counselling Room-1 | 1 | 3 | 1 | 1 |  | 1 |  |  |  | 1
3 | Counselling Room-2 | 1 | 3 | 1 | 1 |  | 1 | 1 | 1 |  | 1 | 1
4 | Ultra Sound Room | 1 | 2 |  |  |  | 1 |  | 1
5 | Manifold Room | [5 empty] | 1 |  | 1 |  |  |  | 1
6 | Semen Collection Room | [5 empty] | 1 | 1 |  |  |  | 1
7 | Blood Collection Room | [5 empty] | 1
8 | Autoclave Room | 1(CSSD) |  |  |  |  | 1 | [5 empty] | 1
9 | Major OT | [5 empty] | 1
10 | IVF OT | [5 empty] | 1
11 | Embryology lab | 3(SS) |  |  | 1 |  | 1
12 | Andrology Lab | 2(SS) |  |  | 1 |  | 1 |  | 1
13 | Cryo Room | [5 empty] | 1
14 | UPS Room | [5 empty] | 1 | 1 |  |  |  |  | 1
15 | Reception | 1 | 3 |  | 1
16 | Store |  |  | 1 |  |  | 1 | [5 empty] | 1
17 | Doctor Change Rooms -1&2 |  |  |  |  | 2 | 2 |  |  | 2
18 | Patient Change Rooms - 1,2&3 |  |  |  |  | 3 | 3 |  |  | 3
19 | Electrical Room | [11 empty] | 1
20 | Reecord Room | [5 empty] | 1 | [5 empty] | 1
21 | Infront of Main Entrance | [5 empty] | 1
22 | Non Sterile Corridor | [12 empty] | 2
23 | Semisterile Corridor Area | [5 empty] | 1
24 | Sterile Corridor
25 | Corridor infront Manifold | [12 empty] | 1
26 | Corridor infront Doctors toilet | [12 empty] | 1
27 | Corridor infront Counselling rooms | [12 empty] | 1
28 | Doctors Toilet | [5 empty] | 1 |  | 1
29 | Toilet in pre/post ward | [5 empty] | 1 |  | 1
30 | Toilet in Semen Collection Room | [5 empty] | 1 |  | 1
31 | Toilet at Counselling Rooms | [5 empty] | 1 |  | 1
| Total | 10 | 11 | 3 | 5 | 5 | 27 | 4 | 8 | 5 | 2 | 2 | 6 | 5
Certified that the above Inventory is in good working condition and the work is completed satisfactorily
| // Handed Over By // |  |  |  | // Taken Over By //

## Electrical
Name of the work:Design, fabrication, establishing & commissioning of In-Vitro Fertility Centers (IVFCs) along with allied services on Turnkey basis at Gandhi hospital, Secunderabad.
INVENTORY (ELECTRICAL) - MCH Building 5th Foor IVFC Center
Sl. No. | Description | 36W 2'x2' ceiling light | 24w ceiling light round | DB | Ceiling Fans | Exhaust Fan | A C 1.5Tones | AC 1.0Tones | A C 2.00Tones | Panel bord | MCB Box | AC 3.0 Tones Casete | AC 0.8 Tones
1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14
1 | Pre/Post Operative ward | 7 |  |  | 4 | [6 empty] | 1
2 | Counselling Room-1 |  | 2 |  | 1 |  |  | 1
3 | Counselling Room-2 |  | 2 |  | 1 |  |  | 1
4 | Ultra Sound Room |  | 2 |  | 1 |  | 1
5 | Manifold Room |  | 2 |  | 1
6 | Semen Collection Room |  | 4 |  | 1 |  |  | 1
7 | Blood Collection Room |  | 4 |  | 1 |  |  | 1
8 | Autoclave Room |  | 4 |  | 1 | 1
9 | Major OT | 8 |  |  |  |  | 2
10 | IVF OT | 6
11 | Embryology lab | 6(52watts)
12 | Andrology Lab | 4 |  |  |  |  | 2
13 | Cryo Room | 2
14 | UPS Room | 4 | 4 | [9 empty] | 1
15 | Reception | [7 empty] | 1
16 | Store |  | 1
17 | Electrical Room | [8 empty] | 1
18 | Doctor Change Rooms |  | 3
19 | Patient Change Rooms |  | 6
20 | Reecord Room |  | 1
20 | Doctors Toilet |  | 3 |  |  | 1
21 | Toilet in pre/post ward |  |  |  |  | 1
22 | Toilet in Semen Collection Room |  | 1 |  |  | 1
23 | Toilet at Counselling Rooms |  | 1 |  |  | 1
24 | Infront of Main Entrance | 3
25 | Non Sterile Corridor | 5 |  | 4
26 | Semisterile Corridor Area | 2 |  | 4
27 | Sterile Corridor | 3
28 | Corridar infront Counselling Rooms |  |  | 3
29 | Corridar infront Manifold Room |  |  | 2
30 | Corridar infront Doctors Toilet | 2
| TOTAL | 52 | 40 | 13 | 11 | 5 | 5 | 4 | 1 | 1 | 0 | 1 | 1
Certified that the above Inventory is in good working condition and the work is completed satisfactorily
| // Handed Over By // |  |  |  | // Taken Over By //

## Toilets
Name of the work:Design, fabrication, establishing & commissioning of In-Vitro Fertility Centers (IVFCs) along with allied services on Turnkey basis at Gandhi hospital, Secunderabad.
INVENTORY (WATER SUPPLY & SANITRY)- MCH Building 5th Foor IVFC Center
Sl. No. | Description | WPC Door | Wash Basin | Water closet | Bip Tap | Health Faucet | Mirror | Towel Rod | Soap Dish | Push Cock | Angle Cock | Ventilator | Exhaust Fan
1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14
1 | Toilet @ pre/Post Ward | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
2 | Toilet @Counseling Rooms | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
3 | Toilet in Semen Collection Room | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
4 | Doctors Toilet | 1 | 1 | 1 | 2 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
| Total | 4 | 4 | 4 | 5 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4
Certified that the above Inventory is in good working condition and the work is completed satisfactorily
| // Handed Over By // | [6 empty] | // Taken Over By //

## Sheet3
Name of the work:Design, fabrication, establishing & commissioning of In-Vitro Fertility Centers (IVFCs) along with allied services on Turnkey basis at Gandhi hospital, Secunderabad.
INVENTORY
Sl. No. | Description | Fans | Tube light | DB | Ceiling Fans | Exhaust Fan | A C 1.5Tones | A C 2.00Tones | Panel bord | MCB Box
1 | Pre/Post Operative ward
2 | Counselling Room-1
3 | Counselling Room-2
4 | Ultra Sound Room
5 | Manifold Room
6 | Semen Collection Room
7 | Blood Collection Room
8 | Autoclave Room
9 | Major OT
10 | IVF OT
11 | Embryology lab
12 | Andrology Lab
13 | Cryo Room
14 | UPS Room
15 | Reception
16 | Doctor Change Rooms
17 | Patient Change Rooms
18 | Doctors Toilet
19 | Toilet at Counselling Rooms
20 | Infront of Main Entrance
21 | Non Sterile Corridor
22 | Semisterile Corridor Area
23 | Sterile Corridor
Certified that the above work is completed satisfactorily
| // Handed Over By // | [6 empty] | // Taken Over By //