## Sheet1
S.No | Item Name | Certifications needed | Certifications Available | Certificate No | Expiry date | Supplier
1 | Ovum Aspiration Pump | FDA Certified |  |  |  | Pioneer
2 | IVF Test tube Warmers at Gandhi Hospital |  | CE Certified | 182100 | 2023-09-02 | JD Medicals
3 | DICOM compatible fully digital, compact, portable, Ultrasound Scan Machine Colour Doppler at Gandhi Hospital | ISO, CE & FDA certified. |  |  |  | Samsung
4 | Multipurpose Electro hydraulic with manual override mobile OT Table, with divided leg section suitable for all Gynaecological surgical procedures, complete with 5cm Mattress and corded handset at Gandhi Hospital | FDA(US) /CE(EU) and BIS/ CDSCO /ISO 13485:2003; IEC 60601-1
5 | LED procedure Lights Double dome at Gandhi Hospital | FDA(US) /CE(EU) | ISO 9001:2015 |  | 2025-11-16 | DESCO
6 | LED procedure Lights Single dome at Gandhi Hospital | FDA(US) /CE(EU) and BIS/ CDSCO / ISO 13485:2003; IEC 60601-1 | ISO 14001:2015 |  | 2025-11-16 | DESCO
7 | IVF Workstation with LAF at Gandhi Hospital | USFDA/European CE certified - 220V/50-60Hz | CE Certified | 182100 | 2023-09-02 | JD Medicals
8 | IVF Ant vibration Table for procedure at Gandhi Hospital | USFDA/European CE certified | CE Certified | 182100 | 2023-09-02 | JD Medicals
9 | CO2 Incubators at Gandhi Hospital | FDA/EU approved | CE Certified |  |  | Thermofisher Scientific
10 | Trigas bench Top Incubators for Human Embryo culture at Gandhi Hospital | USFDA/European CE certified |  |  |  | Cooper Surgicals
11 | Trinocular Stereozoom Microscope at Gandhi Hospital |  | Nikon Certificate |  |  | Nikon
12 | ICSI Micro manipulator with Inverted Microscope at Gandhi Hospital | FDA/ EU approved | EC Certificate | CE 735275 | 2024-05-26 | RI
13 | IVF Laser System at Gandhi Hospital
14 | IVF Thermometer at Gandhi Hospital | CE or FDA or BIS certified | CE Certified |  |  | Testo
15 | CO2 Cylinder and Manifold at Gandhi Hospital |  | EKC | EK-516/23 to EK-518/23
16 | CO2 and O2 Analyzer at Gandhi Hospital |  | QED Environmental Systems Ltd | IN16821_15/32450 |  | Shivani Scientific Industries
17 | PH Meter at Gandhi Hospital |  | ISO 9001 |  |  | Thermofisher Scientific
18 | VOC Meter for ART Lab at Gandhi Hospital |  |  |  |  | RI
19 | Sperm Counting Makler Chamber at Gandhi Hospital | CE/US FDA/BIS Certification |  |  |  | Shukratara
20 | Binocular Microscope for Semen Analysis at Gandhi Hospital |  | intertek | ULR-TC622819000000501F |  | Magnus
21 | Laminar flow cabinet with Andrology Work station at Gandhi Hospital |  | CE Certified | 182100 | 2023-09-02 | JD Medicals
22 | Clinical Centrifuge machine for Andrology at Gandhi Hospital
23 | Dry Incubators at Gandhi Hospital | CE/ US FDA certified
24 | Pipetter and Denudation system at Gandhi Hospital | CE or US FDA or BIS certified | EC Certificate | CE 69386 | 2024-05-26 | Cooper Surgicals
25 | Pharmaceutical Refrigerator at Gandhi Hospital | European CE or US FDA or BIS certified | ISO 9001 : 2015 | 4410017391499 | 2020-10-01 | Blue Star
26 | Cryocans with wheels at Gandhi Hospital |  |  |  |  | Indian Oil
27 | Defibrillator at Gandhi Hospital | FDA (US)/CE (EU) from authorized third party and BIS/ISO 13485
28 | 7 Para Patient Monitor at Gandhi Hospital | US-FDA or CE certified |  |  |  | Comen
29 | Suction machine at Gandhi Hospital
30 | Anaesthesia Work station at Gandhi Hospital | European CE or US FDA/BIS
31 | Autoclave at Gandhi Hospital | FDA(US) /CE/BIS
32 | Operative Hysteroscopy and Resectoscope Set Machine at Gandhi Hospital
33 | Operative Laparoscopy Set at Gandhi Hospital
34 | Multifunctional Printer at Gandhi Hospital
35 | Ultrasound Examination Couch at Gandhi Hospital