## PTB
Equipment Make & Model List for IVF Center MGM Hospital Petlaburj
Sl. No | Item Code | Description of the material | Qty as per tender | Qty offerred for PDI | Unit | Quoted price (with all taxes) (Rs.) | Total Amount (Rs) | Make | Model | Serial No
1 | IVF199 | Ovum Aspiration Pumps | 2 | 2 | No | Pioneer | 2023050005, 2023050006 | Pioneer | Pro Pump Dual | 2023070006, 2023070007
2 | IVF200 | IVF Test tube Warmers at Petlaburj Hospital | 2 | 2 | Nos | 49500 | 99000 | JD Medical | JD101 | 202362,202358
3 | IVF201 | DICOM compatible fully digital, compact, portable, Ultrasound Scan Machine Colour Doppler at Petlaburj Hospital | 2 | 2 | Nos | 1365000 | 2730000 | Samsung | HS30 | S2DXM3HW600003A, S254M3HW300004H
4 | IVF202 | Multipurpose Electro hydraulic with manual override mobile OT Table, with divided leg section suitable for all Gynaecological surgical procedures, complete with 5cm Mattress and corded handset at Petlaburj Hospital | 1 | 1 | Nos | 563750 | 563750 | Desco | 1201/OTHY | 202206 266554
5 | IVF203 | LED procedure Lights Double dome at Petlaburj Hospital | 1 | 1 | Nos | 312500 | 312500 | Desco | OLOA201 | 18347
6 | IVF204 | LED procedure Lights Single dome at Petlaburj Hospital | 1 | 1 | Nos | 187500 | 187500 | Desco | OLOA101 | 18334
7 | IVF207 | CO2 Incubator | 2 | 2 | Nos | 825000 | 1650000 | Thermo Fisher | Heracell Vios 160i | 43067153
8 | IVF208 | Trigas bench Top Incubators for Human Embryo culture at Petlaburj Hospital | 1 | 1 | Nos |  |  | Planer | BT37MarkII | 57059
9 | IVF210 | ICSI Micro manipulator with Inverted Microscope at Petlaburj Hospital | 1 | 1 | Nos |  |  | Nikon | RIIntegra3 & Nikon Ti-2U | 2622
10 | IVF211 | IVF Laser System at Petlaburj Hospital | 1 | 1 | Nos |  |  | Nikon | Saturn Active 5 | 8348
11 | IVF212 | IVF Thermometer with Probe | 1 | 1 | Nos | 61875 | 61875 | Testo | Tempreature Thermometer | 84229257
12 | IVF213 | CO2 Cylinder with accessories | 2 | 2 | Nos | 50000 | 100000 | Everest Kanto | NA | J-023,L-149
13 | IVF214 | CO2 and O2 Analyzer | 1 | 1 | Nos | 378000 | 378000 | Geotech | G100 | IN16821
14 | IVF215 | PH Meter | 1 | 1 | Nos | 93750 | 93750 | Thermo Scientific | PH 450 | 30714709
15 | IVF216 | VOC Meter for ART Lab | 1 | 1 | No |  |  | Research Instruments | VOC Meter | 592931185
16 | IVF217 | Sperm Counting Chamber | 1 | 1 | Nos | 75625 | 75625 | Shukratara | Sperm counting chamber | EVO/ST/CC978/22
17 | IVF220 | Clinical Centrifuge machine for Andrology with Acessories | 1 | 1 | Nos | 34500 | 34500 | Remi | R8C | ZJ0TN20258
18 | IVF221 | DRY Incubator | 1 | 1 | Nos | 563750 | 563750 | Thermo Fisher | Midi-40 | 300576561
19 | IVF222 | Pipetter and Denudation system | 1 | 1 | Nos |  |  | Cooper Surgicals | EZ
20 | IVF223 | Pharmaceutical Refrigerator | 1 | 1 | Nos | 225000 | 225000 | Bluestar | YC280 | 210330355
21 | IVF224 | Cryocane TA 26 Ltr with wheels | 2 | 2 | Nos | 61875 | 123750 | Indian Oil | J-12 & TA-26 | V23318, J23513
22 | IVF225 | Defibrillator | 1 | 1 | Nos | 312500 | 312500 | Nihon Kohden | TEC 5621K
23 | IVF226 | 7 Para Patient Monitor | 2 | 2 | Nos | 280000 | 560000 | Comen | Star 8000 E
24 | IVF228 | Anaesthesia Work station at Petlaburj Hospital | 1 | 1 | Nos | 937500 | 937500 | Comen | AX400 | X4230905001B
25 | IVF232 | Mulitfunctional Printer | 1 | 1 | Nos | 43750 | 43750 | HP | N.A. | CND1Q89657
26 | IVF233 | Ultrasound Examination Couch at Petlaburj Hospital | 1 | 1 | Nos | 81250 | 81250 | N.A. | N.A. | 202305241089
27 | IVF320 | UPS | 1 | 1 | Nos |  |  | APS Tech | VERTIV | 2.1012e+19
28 | IVF235 | Laptop | 2 | 2 | Nos | 115000 | 230000 | HP | N.A. | 5CD3248F1W,5CD3248DS1

## Sheet1
199 | Ovum Aspiration Pumps at Petlaburj Hospital | No | 2
200 | IVF Test tube Warmers at Petlaburj Hospital | No | 2
201 | DICOM compatible fully digital, compact, portable, Ultrasound Scan Machine Colour Doppler at Petlaburj Hospital | No | 2
202 | Multipurpose Electro hydraulic with manual override mobile OT Table, with divided leg section suitable for all Gynaecological surgical procedures, complete with 5cm Mattress and corded handset at Petlaburj Hospital | No | 1
203 | LED procedure Lights Double dome at Petlaburj Hospital | No | 1
204 | LED procedure Lights Single dome at Petlaburj Hospital | No | 1
205 | IVF Workstation with LAF at Petlaburj Hospital | No | 1
206 | IVF Ant vibration Table for procedure at Petlaburj Hospital | No | 1
207 | CO2 Incubators at Petlaburj Hospital | No | 2
208 | Trigas bench Top Incubators for Human Embryo culture at Petlaburj Hospital | No | 1
209 | Trinocular Stereozoom Microscope at Petlaburj Hospital | No | 1
210 | ICSI Micro manipulator with Inverted Microscope at Petlaburj Hospital | No | 1
211 | IVF Laser System at Petlaburj Hospital | No | 1
212 | IVF Thermometer at Petlaburj Hospital | No | 1
213 | CO2 Cylinder and Manifold at Petlaburj Hospital | No | 2
214 | CO2 and O2 Analyzer at Petlaburj Hospital | No | 1
215 | PH Meter at Petlaburj Hospital | No | 1
216 | VOC Meter for ART Lab at Petlaburj Hospital | No | 1
217 | Sperm Counting Makler Chamber at Petlaburj Hospital | No | 1
218 | Binocular Microscope for Semen Analysis at Petlaburj Hospital | No | 1
219 | Laminar flow cabinet with Andrology Work station at Petlaburj Hospital | No | 1
220 | Clinical Centrifuge machine for Andrology at Petlaburj Hospital | No | 1
221 | Dry Incubators at Petlaburj Hospital | No | 1
222 | Pipetter and Denudation system at Petlaburj Hospital | No | 1
223 | Pharmaceutical Refrigerator at Petlaburj Hospital | No | 1
224 | Cryocans with wheels at Petlaburj Hospital | No | 2
225 | Defibrillator at Petlaburj Hospital | No | 1
226 | 7 Para Patient Monitor at Petlaburj Hospital | No | 2
227 | Suction machine at Petlaburj Hospital | No | 1
228 | Anaesthesia Work station at Petlaburj Hospital | No | 1
229 | Autoclave at Petlaburj Hospital | No | 1
230 | Operative Hysteroscopy and Resectoscope Set Machine at Petlaburj Hospital | No | 1
231 | Operative Laparoscopy Set at Petlaburj Hospital | No | 1
232 | Multifunctional Printer at Petlaburj Hospital | No | 1
233 | Ultrasound Examination Couch at Petlaburj Hospital | No | 1
235 | Laptop for Office usage at Petlaburj Hospital | No | 2
236 | Reception Table at Petlaburj Hospital | No | 1
237 | Reception chair at Petlaburj Hospital | No | 2
238 | Filing Cabinet at Petlaburj Hospital | No | 2
239 | Patient Seating 3 in 1 model at Petlaburj Hospital | No | 3
240 | Consultant Chair at Petlaburj Hospital | No | 3
241 | Patient Chair at Petlaburj Hospital | No | 6
242 | Small Trolley at Petlaburj Hospital | No | 3
243 | Big Trolley at Petlaburj Hospital | No | 3
244 | Wall Storage Cabinets at Petlaburj Hospital | No | 8
245 | Office Table at Petlaburj Hospital | No | 3