## Prices
QUOTATION
|  |  |  | CLIENT |  | : Asta Infra Projects Pvt Ltd
|  |  |  | ADDRESS |  | : Gandhi Hospital
|  |  |  | PROJECT |  | : IVF Center in 5th floor
AHLADA CLEAN ROOM TECH PRIVATE LIMITED |  |  |  | OFFER NO |  | : ACTPL/QUO/ASTA/0280/23-24 Rev 6
ADDRESS : Sy No. 687 Part, Gundlapochampalli, Medchal - Malkajgiri Dist, |  |  |  | OFFER DATE |  | : 09-08-2023
Hyderabad - 501401, Telangana, India |  |  |  | KIND ATTN |  | : Mr. Ashok Tatineni Garu
GSTIN : 36AAQCA4826R1ZU
Bank Name |  | : IDFC First Bank | Account No : 10078799632 | CONTACT PERSON |  | : Mr. A.Mallikarjun
IFSC Code |  | : IDFB0080203 | Address : Paradise Secunderabad Branch, | CONTACT NO |  | : +91 9963994994
|  |  | Legend Crystal, First Floor, Hyderabad - 500003 | MAIL ID |  | : mallikarjun@ahladacleanroom.com
S.No | Material Description |  |  | Qty | Units | Unit Rate | Total Amount | HSN / SAC Code
1 | Wall Panels 80mm Thick (Powder Coated)
1.1 | 80mm thick double skin wall panels of skin thick 0.8mm GPSP (120GSM Zinc Coated ) Sheet. PUF as infill material Density 40-42 Kg/Cu mtr with both side powder coating of thickness 60-70 microns including Bottom track & silicon sealent etc. |  |  | 130 | Sqmt | 3500 | 455000 | 73089090
2 | Ceiling Panels 50mm Thick (Powder Coated)
2.1 | 50mm thick double skin False cealing panels of skin thick 0.8mm GPSP (120GSM Zinc Coated ) Sheet. PUF as infill material Density 40-42 Kg/Cu mtr with both side powder coating of thickness 60-70 microns.with suitable Ceiling grid and supporting hardware. Joints shall be sealed with cleanroom compatible silicon |  |  | 65 | Sqmt | 3432 | 223080 | 73089090
3 | Accessories
3.1 | Aluminium Extruded Male & Female Coving Powder Coated R70 ( Int & Ext ) |  |  | 120 | Rmt | 422 | 50640 | 73089090
3.2 | External 90deg Coving Powder Coated |  |  | 3 | Rmt | 510 | 1530 | 73089090
3.3 | 2D & 3D Cornners |  |  | 10 | Nos | 264 | 2640 | 73089090
3.4 | L-Angle (30x230mm) |  |  | 12 | Rmt | 194 | 2328 | 73089090
3.5 | Top "C" Section Size of 20x53x20 |  |  | 25 | Rmt | 194 | 4850 | 73089090
4 | Cutouts
4.1 | HVAC and Electrical cutouts (Approx Qty) |  |  | 50 | Nos | 396 | 19800 | 73089090
5 | GI Powder Coated Scientific Doors (0.8mm shutter sheet thk & 1.2mm frame sheet thk with Single Rebate and Honeycomb Infill)
1 | GI Powder Coated Scientific Doors (0.8mm shutter sheet thk & 1.2mm frame sheet thk with Single Rebate and Honeycomb Infill)
1.1 | Double Leaf Door 1490x2555mm with Door Ht 2100mm and Top 455mm DG Window - Minor OT |  |  | 1 | Nos | 24252.25 | 24252.25 | 73083000
1.2 | Double Leaf Door 1540x2590mm with Door Ht 2100mm and Top 490mm DG Window - Semi Sterile to Sterile |  |  | 1 | Nos | 25253.5 | 25253.5 | 73083000
1.3 | Double Leaf Door 1490x2540mm with Door Ht 2100mm and Top 440mm DG Window - IVF OT |  |  | 1 | Nos | 24132.25 | 24132.25 | 73083000
1.4 | Double Leaf Door 1530x2540mm with Door Ht 2100mm and Top 440mm DG Window - Embryology Lab |  |  | 1 | Nos | 24648.25 | 24648.25 | 73083000
1.5 | Double Leaf Door 1485x2565mm with Door Ht 2100mm and Top 465mm DG Window - Andrology Room |  |  | 1 | Nos | 24266.625 | 24266.625 | 73083000
1.6 | Single Leaf Door 1000x2250mm with Door Ht 2100mm and Top 150mm DG Window - Crayo Room |  |  | 1 | Nos | 15133 | 15133 | 73083000
1.7 | Emergency Exit Double Leaf Door 1755x2610mm - Sterile to Staircase Door |  |  | 1 | Nos | 21767.3375 | 21767.3375 | 73083000
2 | Hardware
2.1 | SS Ball baring hinges of size 102x76x3mm - Dorset |  |  | 43 | Nos | 218 | 9374 | 83026000
2.2 | Door Closer Standard Arm 9903 - Ryobi |  |  | 6 | Nos | 1348 | 8088 | 83026000
2.3 | Door Closer Standard Arm TS68 - Dorma |  |  | 1 | Nos | 2200 | 2200 | 83026000
2.4 | Dead Lock with Both side key operating lock-ML 100D+CL206 - Dorset |  |  | 6 | Nos | 1446 | 8676 | 83011000
2.5 | SS D-Handle 19X254mm on Both Sides - Dorset |  |  | 11 | Nos | 850 | 9350 | 83024110
2.6 | Concealed Flush Bolt 300mm - Ahlada |  |  | 5 | Nos | 659 | 3295 | 83026000
2.7 | Triple Point Locking Panic Bar - Geze |  |  | 1 | Nos | 11475 | 11475 | 83026000
2.8 | External Trim - Geze |  |  | 1 | Nos | 3995 | 3995 | 83026000
2.9 | SS304 Kick Plates upto 350mmht - Ahlada |  |  | 13 | Nos | 1615 | 20995 | 73089090
2.1 | Concealed automatic door drop seal |  |  | 13 | Nos | 1709 | 22217 | 83024190
2.11 | Double Glazed Clear Toughened Glass of size 350x750x6mm with Both side Adhesive tape, Silicon sealent & Black Border |  |  | 11 | Nos | 1870 | 20570 | 70071900
6.11 | Fire Rated Clear Glass 200 x 300 mm with Ceramic Tape ( Emergency Door ) |  |  | 2 | Nos | 2948 | 5896 | 70071900
7 | Supply and Installation of GIPC Air Shower (Straight through Door Opening) (ISO class -7)(Non-FLP) Working Sizes :1700(Width)x1000(Depth)x2300 mm ht Overall Sizes :900(width)x910(Depth)x2000 mm ht MOC :GIPC ,Finish : Powder coat. Thick : 18swg Body and 22swg Doors ( 1. Pre Filter, 5Micron, 95% EFF 2. D Handle for Door 254X19MM 3. SS 304 Adjustable Nozzles 4. LED Batten , 2' ,10W Wipro make 5. HEPA FILTER, BOX TYPE, BOTH SIDE GASKET, H14, 99.999%EFF, 0.3 Micron, Model: Astrocel II Size: 610 X 610 X 150/117 MM-AAF Make 6. BLOWER, Dynamic /Eyyani Make, 415V,3 Ph 7. Double layer Door with infill PUF/Hone Core craft paper material with Toughened glass vision 8. SS 304 Hinges, 8 Sets Heavy Duty 9. Door closer DORMA/Equivalent 10. Service Door For HEPA 11. Service Door For Blower 12. Fresh Air Filter 10 Micron 13. Digital differential pressure Gauge, 0-100MMwc, Styrax make , 14. Air shower Interlocking System,2 door, styrax Make 15. Nozzle - DOP, SS304 Grade,(Each Nozzle Face velocity 4000FPM ). |  |  | 1 | Nos | 287182 | 287182 | 84213990
8 | Static Pass Box(Straight Through, panel Mounted),230v. Overall Size: 580 X 540 X 670 mm ht., Working Size: 450 X 450 X 450 mm ht., MOC: SS304, Thk: 18SWG, Finish:No.4( MATT),Electronagnetic interlocking system and separate rocker switch for UV light ON/OFF , Double Layer SS Door with vision glass ,SS D Handle ,mechanical latchs for door locking, Hinges-SS 304 Grade, LED Day Light wipro make ,UV light Philips make ,Digital Hourmeter selec make . |  |  | 3 | Nos | 47895 | 143685 | 84213990
| TOTAL AMOUNT - Supply | [5 empty] | 1476319.2125
| Installation Charges | [5 empty] | 147631.9212 | 998719
| TOTAL AMOUNT (Supply + Installation Charges) - Basic | [5 empty] | 1623951.1337
Terms & Conditions
1 | GST |  | : @ 18% Extra As Applicable
2 | Packing |  | : Included with Polythene Sheet & Corrugated Sheet.
3 | Payment Terms for Supply |  | : 20% Advance, 70% against PI, 10% after Installation
4 | Payment Terms for Service |  | : On Pro Rata Basis - Immedaitely
5 | Transportation |  | : Extra At Actuals / Vehicle Client Scope
6 | Unloading, Shifting and Storage |  | : Unloading of the material, Shifting to requied area & storage and security of material on receipt at
: your site shall be your responsibility and arranged by you at your cost
7 | Insurance |  | : To your Account
8 | Delivery |  | : Minimum 4 - 6 weeks from the date of receipt of Drawings Approval along with technically &
commercially clear Purchase order and advance payment
9 | Offer Validity |  | : 1 Week
10 | Warranty |  | : 12 Months from the Date of Supply
11 | Prices are subject to vary as per price escalation of raw material in the market
FOR AHLADA CLEAN ROOM TECH PVT LTD
Authorised Signatory