## Sheet1
| M\s Asta Infra Projects Pvt. Ltd | Fianl Dt : 14-12-2023
Project : MGMH Petlaburj IVF Center in third floor
S.NO | Description | units | Qty | Price
1 | MODULAR WALL & CEILING PANELS
1.1 | 80mm Wall Panels (PCGI/PCGI) | Smt | 125
1.2 | 50mm False Ceiling (PCGI/PCGI) | Smt | 65
1.3 | Internal & External Coving- R70 | Rmt | 110
1.4 | External Corner (90 Corner) | Rmt | 22
1.5 | 2D & 3D corners | no's | 27
1.6 | L-Angle (30x230mm) | Rmt | 12
1.7 | Top "C" Section Size of 20x83x20 | Rmt | 25
1.8 | HVAC and Electrical cutouts | no's | 38
1.9 | Frame work for Inbuilt Riser | no's | 8
2 | SCIENTIFIC DOORS
2.1 | 1500x2100mm Double Leaf door (PCGI/PCGI) | no's | 4
2.2 | 1500x2100mm Double Leaf door (PCGI/PCGI)-Emergency & Fire Door | no's | 1
2.3 | 1250x2115mm Double Leaf Un-Equal door (PCGI/PCGI) | no's | 1
2.4 | 1000x2100mm Single Leaf door (PCGI/PCGI) | no's | 3
2.5 | 1140x2100mm Single Leaf door (PCGI/PCGI) | no's | 1
2.6 | 1000x2600mm Single Leaf door with top Double Glazed Fixed Window (PCGI/PCGI) | no's | 1
3 | DOOR ACCESSORIES
3.1 | SS Ball baring hinges | no's | 51
3.2 | Standard Arm door closer | no's | 11
3.3 | Both side key operating lock | no's | 10
3.4 | SS D-Handle 19X254mm Both Side | no's | 15
3.5 | Concealed Flush bolt - 300mm Length | no's | 5
3.6 | Triple Point Panic bar for Double Door | no's | 1
3.7 | External Trim with Half Cylinder | no's | 1
3.8 | Concealed automatic door drop seal | no's | 17
3.9 | SS Kick Plate from Floor to 350mm Height | no's | 17
3.1 | 300X300X6mm Double glazed Toughened View glass | no's | 14
3.11 | 200X300X6mm Single glazed Fire Rated Glass | no's | 2