## Prices
QUOTATION
|  |  |  | CLIENT |  | : Asta Infra Projects Pvt Ltd
|  |  |  | ADDRESS |  | : Modern Government Hospital, Petlaburz
|  |  |  | PROJECT |  | : IVF Center in 3rd floor
AHLADA CLEAN ROOM TECH PRIVATE LIMITED |  |  |  | OFFER NO |  | : ACTPL/QUO/ASTA/0281/23-24
ADDRESS : Sy No. 687 Part, Gundlapochampalli, Medchal - Malkajgiri Dist, |  |  |  | OFFER DATE |  | : 22-06-2023
Hyderabad - 501401, Telangana, India |  |  |  | KIND ATTN |  | :
GSTIN : 36AAQCA4826R1ZU
MAIL ID : sales@ahladacleanroom.com
Bank Name |  | : IDFC First Bank | Account No : 10078799632 | CONTACT PERSON |  | : Mr. A.Mallikarjun
IFSC Code |  | : IDFB0080203 | Address : Paradise Secunderabad Branch, | CONTACT NO |  | : +91 9963994994
|  |  | Legend Crystal, First Floor, Hyderabad - 500003 | MAIL ID |  | : mallikarjun@ahladacleanroom.com
S.No | Material Description |  |  | Qty | Units | Unit Rate | Total Amount | HSN / SAC Code
1 | Wall Panels 50mm Thick (Powder Coated)
1.1 | 50mm thick double skin wall panels of skin thick 0.8mm GPSP (120GSM Zinc Coated ) Sheet. PUF as infill material Density 40-42 Kg/Cu mtr with both side powder coating of thickness 60-70 microns including Bottom track & silicon sealent etc. |  |  | 151 | Sqmt | 3800 | 573800 | 73089090
2 | Ceiling Panels 50mm Thick (Powder Coated)
2.1 | 50mm thick double skin False cealing panels of skin thick 0.8mm GPSP (120GSM Zinc Coated ) Sheet. PUF as infill material Density 40-42 Kg/Cu mtr with both side powder coating of thickness 60-70 microns.with suitable Ceiling grid and supporting hardware. Joints shall be sealed with cleanroom compatible silicon |  |  | 75 | Sqmt | 3900 | 292500 | 73089090
3 | Accessories
3.1 | Aluminium Extruded Male & Female Coving Powder Coated R70 ( Int & Ext ) |  |  | 145 | Rmt | 480 | 69600 | 73089090
3.2 | External 90deg Coving Powder Coated |  |  | 36 | Rmt | 580 | 20880 | 73089090
3.3 | 2D & 3D Cornners |  |  | 32 | Nos | 300 | 9600 | 73089090
3.4 | L-Angle (30x230mm) |  |  | 12 | Rmt | 220 | 2640 | 73089090
3.5 | Top "C" Section Size of 20x53x20 |  |  | 25 | Rmt | 220 | 5500 | 73089090
4 | Cutouts
4.1 | HVAC and Electrical cutouts (Approx Qty) |  |  | 50 | Nos | 450 | 22500 | 73089090
5 | GI Powder Coated Scientific Doors (0.8mm shutter sheet thk & 1.2mm frame sheet thk with Single Rebate and Honeycomb Infill)
5.1 | Double Leaf Door 1800x2100mm |  |  | 2 | Nos | 18144 | 36288 | 73083000
5.2 | Double Leaf Door 1800x2100mm - Sterile Room |  |  | 2 | Nos | 18144 | 36288 | 73083000
5.3 | Double Leaf Door 1800x2100mm - Emergency Exit |  |  | 1 | Nos | 18144 | 18144 | 73083000
5.4 | Single Leaf Door 1000x2100mm - Sterile Room |  |  | 1 | Nos | 10080 | 10080 | 73083000
6 | Hardware
6.1 | SS Ball baring hinges of size 102x76x3mm - Dorset |  |  | 33 | Nos | 257 | 8481 | 83026000
6.2 | Door Closer Standard Arm 9903 - Ryobi |  |  | 6 | Nos | 1586 | 9516 | 83026000
6.3 | Dead Lock with Both side key operating lock-ML 100D+CL206 - Dorset |  |  | 5 | Nos | 1701 | 8505 | 83011000
6.4 | SS D-Handle 19X254mm on Both Sides - Dorset |  |  | 9 | Nos | 1000 | 9000 | 83024110
6.5 | Concealed Flush Bolt 300mm - Ahlada |  |  | 4 | Nos | 775 | 3100 | 83026000
6.6 | Triple Point Locking Panic Bar - Geze |  |  | 1 | Nos | 13500 | 13500 | 83026000
6.7 | External Trim - Geze |  |  | 1 | Nos | 4700 | 4700 | 83026000
6.8 | Concealed automatic door drop seal |  |  | 11 | Nos | 2010 | 22110 | 83024190
6.9 | SS304 Kick Plates upto 350mmht - Ahlada |  |  | 11 | Nos | 1900 | 20900 | 73089090
6.1 | Double Glazed Clear Toughened Glass of size 300x300x6mm with Both side Adhesive tape, Silicon sealent & Black Border |  |  | 11 | Nos | 1100 | 12100 | 70071900
| TOTAL AMOUNT - Supply | [5 empty] | 1209732
| Installation Charges | [5 empty] | 157265.16 | 998719
| TOTAL AMOUNT (Supply + Installation Charges) - Basic | [5 empty] | 1366997.16
Terms & Conditions
1 | GST |  | : @ 18% Extra As Applicable
2 | Packing |  | : Included with Polythene Sheet & Corrugated Sheet.
Wooden Packing Charges Extra at Actual to your Account
3 | Payment Terms for Supply |  | : 100% Advance with PO
4 | Payment Terms for Service |  | : On Pro Rata Basis - Immedaitely
5 | Transportation |  | : Extra At Actuals / Vehicle Client Scope
6 | Unloading, Shifting and Storage |  | : Unloading of the material, Shifting to requied area & storage and security of material on receipt at
: your site shall be your responsibility and arranged by you at your cost
7 | Insurance |  | : To your Account
8 | Delivery |  | : Minimum 4 - 6 weeks from the date of receipt of Drawings Approval along with technically &
commercially clear Purchase order and advance payment
9 | Offer Validity |  | : 1 Week
10 | Warranty |  | : 12 Months from the Date of Supply
11 | Prices are subject to vary as per price escalation of raw material in the market
FOR AHLADA CLEAN ROOM TECH PVT LTD
Authorised Signatory