## Table 1
Annexure-1
High Side Work
SL.No. | DESCRIPTION | UNIT | QTY | Basic Price (INR) | Amount (INR) | GST%
Supply of LG VARIABLE REFRIGERANT FLOW (VRF) SYSTEM of below mentioned capacities comprising of Inverter Compressor and complete with the following Details.
1 | VRF - OUT DOOR UNITS
1.1 | LG 22HP - VRF ODU (Multi V Series ) | Nos. | 1 | 3,35,400 | 3,35,400 | 28%
2 | VRF - AC INDOOR UNITS
2.1 | 0.8TR Hi-Wall Split AC | Nos | 2 | 18502 | 37004 | 28%
2.2 | 1.0TR Hi-Wall Split AC | Nos | 6 | 19300 | 1,15,800 | 28%
2.3 | 1.5TR Hi-Wall Split AC | Nos | 6 | 20800 | 1,24,800 | 28%
2.4 | 2.0TR 4Way Cassette AC | Nos | 2 | 35000 | 70000 | 28%
3 | VRF - ACCESSORIES
3.1 | VRF IDU Wireless Remote | Nos | 16 | 1330 | 21280 | 18%
3.2 | VRF IDU-Series- Branch Joints | Nos | 15 | 2850 | 42750 | 18%
4 | Individual AC Units
4.1 | LG 1.5TR inverter Split AC (3Star) | Nos | 3 | 30000 | 90000 | 28%
| Basic Amount of VRF AC Units : |  |  |  | 8,37,034
|  |  |  | GST Amount : | 2,27,966
| Total Amount of VRF & AC Units (PART-A) : |  |  |  | 10,65,000
| Basic Amount of VRF Low Side works(PART-B) : |  |  |  | 3,77,120
|  |  |  | GST Amount : | 67880
| Total Amount of VRF Low Side works(PART-B) : |  |  |  | 4,45,000
| GRAND TOTAL AMOUNT (PART-A + PART-B) : |  |  |  | 15,10,000
(Amount in Words: Rupees Fifteen Lakhs and Ten Thousand Only)
For any queries mail to comfortcoolcare@gmail.com or contact the address mentioned below.
Notes & Terms:
1 For AC Units/Equipment(PART-A), Payment 90% advance prior to dispatch of the AC Units & 10% against commissioning works.
2 For Works (PART-B),Payment 30% advance along with order & 60% against AC units installation Works & 10% aftercommissioning works.
3 Purchase Order,Cheque or DD will be given in favour of Comfort Cool Care Services.
4 AC Power supply & Electrical requirements for VRF ODU will be in Customer's/Builder's Scope only.
5 For VRF AC Works, Civil Works (Core cutting/Chipping Works) will be in Customer's scope only.
6 Scaffolding to be provided wherever is required for extrernal works of Site or building.
7 Outdoor unit Angular stands , Catwalk stands, Pedestals or civil foundations are to be provided by client
8 For Low-Side Installation Works, Piping & Wiring Works are done as Lumpsum Works basis.
9 Any cost implication for changes in models and capacities after award of contract has to be borne by client .
10 Delivery Period : 03 -07 Weeks from the date of confirmed order/payment with advances.
11 Warranty (DLP): 12Months from the date of commissioning or 15Months from the date of ODU Invoice ,whichever is earlier.
Thanks & regards,
COMFORT COOL CARE SERVICES |  | Contact Details:
Flat No: 103, Veena Apartment, |  | Phone: +91-9246362899
Dharam karam Road, Ameerpet, |  | Mobile: +91-9246222897,9246342899.
Hyderabad-500016. |  | Email: comfortcoolcare@gmail.com
GSTIN: 36AHNPR8366A1ZZ |  | Website: www.comfortcoolcare.com

## Sheet1
Annexure-1
High Side Work (PART-A)
SL.No. | DESCRIPTION | UNIT | QTY | Basic Price (INR) | Amount (INR) | GST%
Supply of LG VARIABLE REFRIGERANT FLOW (VRF) SYSTEM of below mentioned capacities comprising of Inverter Compressor and complete with the following Details.
1 | VRF - OUT DOOR UNITS
1.1 | LG 22HP - VRF ODU (Multi V Series ) | Nos. | 1 | 3,35,400 | 3,35,400 | 28%
2 | VRF - AC INDOOR UNITS
2.1 | 0.8TR Hi-Wall Split AC | Nos | 2 | 18502 | 37004 | 28%
2.2 | 1.0TR Hi-Wall Split AC | Nos | 6 | 19300 | 1,15,800 | 28%
2.3 | 1.5TR Hi-Wall Split AC | Nos | 6 | 20800 | 1,24,800 | 28%
2.4 | 2.0TR 4Way Cassette AC | Nos | 2 | 35000 | 70000 | 28%
3 | VRF - ACCESSORIES
3.1 | VRF IDU Wireless Remote | Nos | 16 | 1330 | 21280 | 18%
3.2 | VRF IDU-Series- Branch Joints | Nos | 15 | 2850 | 42750 | 18%
4 | Individual AC Units
4.1 | LG 1.5TR inverter Split AC (3Star) | Nos | 3 | 30000 | 90000 | 28%
| Basic Amount of VRF AC Units : |  |  |  | 8,37,034
|  |  |  | GST Amount : | 2,27,966
| Total Amount of VRF & AC Units (PART-A) : |  |  |  | 10,65,000
| Basic Amount of VRF Low Side works(PART-B) : |  |  |  | 3,77,120
|  |  |  | GST Amount : | 67880
| Total Amount of VRF Low Side works(PART-B) : |  |  |  | 4,45,000
| GRAND TOTAL AMOUNT (PART-A + PART-B) : |  |  |  | 15,10,000
(Amount in Words: Rupees Fifteen Lakhs and Ten Thousand Only)
Low Side Work (PART-B)
Sl.No | Works Description | Unit | Qty | Rate (INR) | Amount (INR)
5.1 | Installation,Lifting,Shifting testing and comissioining of VRF Outdoor Unit. | Nos | 1 | 7520 | 7520
5.2 | Installation,Testing and Comissioining of VRF Indoor Units | Nos | 16 | 1900 | 30400
5.3 | Supply & Laying of Hard Drawn Copper Refregirant pipe with necessary supports for fixing. | RMT | 140 | 1450 | 2,03,000
5.4 | Supply and laying of commissioning of Communication Cum transmission cable between IDU & ODU | RMT | 200 | 190 | 38000
5.5 | Supply & laying of Nitrile rubber Insulation of copper tubes with necessary foam sizes. All the outdoor piping exposed to atmosphere shall be wrapped with GC cloth and UV resistant paint to be applied. | RMT | 140 | 110 | 15400
5.6 | Supply and laying of thick cPVC drain piping with nitrile foam insulation for INDOOR type units | RMT | 50 | 315 | 15750
5.7 | Nitrogen pressure testing and commissioning of the systems & Additional Refrigerant (R410A) gas charging for VRF units | HP | 22 | 1350 | 29700
5.8 | Individual Split AC installations with MS Stand Fixing, Copper Piping(20 Mtr) & Wiring Works | Nos | 3 | 12450 | 37350
| BASIC Amount of LOW SIDE WORKS (PART-B) : |  |  |  | 3,77,120

## Table 2
PART-B: VRF AC Low-Side installation Works.
Low Side Work
Sl.No | Works Description | Unit | Qty | Discounted Rate (INR) | Amount (INR)
5.1 | Installation,Lifting,Shifting testing and comissioining of VRF Outdoor Unit. | Nos | 1 | 7520 | 7520
5.2 | Installation,Testing and Comissioining of VRF Indoor Units | Nos | 16 | 1900 | 30400
5.3 | Supply & Laying of Hard Drawn Copper Refregirant pipe with necessary supports for fixing. | RMT | 140 | 1450 | 2,03,000
5.4 | Supply and laying of commissioning of Communication Cum transmission cable between IDU & ODU | RMT | 200 | 190 | 38000
5.5 | Supply & laying of Nitrile rubber Insulation of copper tubes with necessary foam sizes | RMT | 140 | 110 | 15400
5.6 | Supply and laying of thick cPVC drain piping with nitrile foam insulation for INDOOR type units | RMT | 50 | 315 | 15750
5.7 | Nitrogen pressure testing and commissioning of the systems & Additional Refrigerant (R410A) gas charging for VRF units | HP | 22 | 1350 | 29700
5.8 | Individual Split AC installations with MS Stand Fixing, Copper Piping(20 Mtr) & Wiring Works | Nos | 3 | 12450 | 37350
| BASIC Amount of LOW SIDE WORKS (PART-B) : |  |  |  | 3,77,120
Note: A) GST Amount @18% will be on Goods & services of the basic Amount.
B) For Installation Works,billing will be as per actual requiremnts at site only.