## CIVIL
Comparative Statement
Name of the work : Design, Development & Commissioning of In-Vitro Fertility Centers (IVFCs) along with allied services on Turnkey basis at Gandhi hospital, Secunderabad, MGM Hospital, Warangal & MGMH Petlaburj, Hyd.
Sl. No | Item Description | MPS ASTA Consortium |  |  |  | KeyStone Infra Pvt. Ltd |  |  |  | AA Architecture & Interiors
|  | Qty | Unit | Rate | Amount | Qty | Unit | Rate | Amount | Qty | Unit | Rate | Amount
1 | Supply and application of one coat water based cement primer of interior grade I for internal walls including cost and conveyance of all materials to site, sales and other taxes, incidental, operational and all labour charges etc., and complete for finished item of work in 5th floor. at Gandhi Hospital
2 | Dismantling of unreinforced cement concrete, clearing away and carefully stacking useful materials for re-use and disposal of unserviceable materials with 100m lead as directed by Executive Engineer duly taking actual premeasurements before dismantling including all labour charges , overheads & contractor profit etc., complete
3 | Dismantling, clearing away and carefully stacking useful materials for re-use and disposal of unserviceable materials with 100m lead as directed by Executive Engineer duly taking actual premeasurements before dismantling including all labour charges , overheads & contractor profit etc., complete Old Cement Mortor (Plaster)
4 | Dismantling, clearing away and carefully stacking useful materials for re-use and disposal of unserviceable materials with 100m lead as directed by Executive Engineer duly taking actual premeasurements before dismantling including all labour charges , overheads & contractor profit etc., complete. Reinforced Cement Concrete
5 | Providing skirting to internal walls to 10 cm height with Double charged / multi charged stain free full body porcelain vitrified tiles with double layer pigment of size 600 x 600 mm and thickness between 8-10 mm 1st quality conforming to IS:15622 - 2017, IS:13630 (Parts 1 to 15) of any colour and finish in all shades and designs, length equal to flooring tiles, set over base coat of CM(1:5) 12 mm thick using screened sand with cement slurry of honey like consistency spread at the rate of 3.30 kgs per sqm and jointing with white cement paste mixed with pigment of matching shade to full depth, including cost of all materials like tiles, cement, sand and water etc.,and overheads & contractors profit complete for finished item of work.(APSS No.701 &707)
6 | Providing of Factory made prelaminated FPVC (Foamed Polyvinyl Chloride) Door frame of the size 105x40mm with a wall thickness of 10mm made out of extruded rigid FPVC profile mitre joined with 6 Nos. of 50mm long screw. The door frame shall be fixed to the wall by using 80mm long screws through the frame with the help of PVC fasteners of 3 no's to be provided for each vertical member, GI stiffeners of ("U" channel of size 29x9x1mm, 150mm long) -3 no's at hinge point, Frame reinforcement of("U" GI channel of size 46x22x.06mm), Bottom tie rod of ("U" GI channel size of 15x15x1mm) etc. complete as per manufacturers specification for finished item of work. Maximum door frame size: 980 x 2070 including providing of 35mm thick Factory made Prelaminated ABS (Acrolynitrile Butadyne Styrene) Door shutter moulded in in different designs, consisting of all round Frame made out of water proof solid foam PVC bar of size 20x32mm, reinforced by 32x 32mm 2 nos. for vertical made out of LVL (Laminated Veneer Lumber), core material of 32 mm thick high density craft paper honey comb board, sandwiched on both sides with prelaminated ABS sheet thickness of 1.5mm. PVC edge banding of size 0.45mm on the vertical sides. Hardware made out of steel coated butterfly hinges - 3 Nos. for each shutter and ISI make S.S round lock completes for finished item of work. Maximum shutter size of : 910 x 2030 mm
7 | Flooring with 16 to 18 mm thick high polished granite stone slabs black colour as approved by the Engineer-in-Charge of length not less than 2.43 mts set over base coat of cement mortar (1:8) , 20mm thick using screened sand over CC bed already laid or RCC roof slab including neat grey cement slurry of honey like consistency spread @ 3.3 Kg per sqm and jointed neatly with white cement paste mixed with pigment of matching shade to full depth including cost and conveyance of all materials like cement , sand , water , granite slabs etc., to work site and all operational, incidental labour & lift charges, half rounding the edge , polishing charges and all other taxes on all materials, cost of base coat and overheads & contractors profit complete for finished item of work for platforms (S.S.701 & special)
| Total Amount without AMC | 0 |  |  |  | 0 |  |  |  | 0
| AMC Amount for 5 Years |  |  |  |  | 906696 |  |  |  | 917928
| Total Amount including AMC | 0 |  |  |  | 906696 |  |  |  | 917928
The rates quoted by MPS ASTA Consortium, among the three Quoted Rates, are found least and the rates are hereby approved.
Comparative Statement
Name of the work : Design, Development & Commissioning on Turnkey Basis, the work of Establishment of State Organ Transplantation Centre in thr 8th Floor, South West Block of Gandhi Hospital, Secunderabad.
Sl. No | Item Description | MPS ASTA Consortium |  |  |  | GASTech Medical & Industrial Services Pvt. Ltd |  |  |  | LSS Engineering
|  | Qty | Unit | Rate | Amount | Qty | Unit | Rate | Amount | Qty | Unit | Rate | Amount
1 | 4 Gas Digital Alarm Panels : 4 Gas Digital Alarm Panel consisting of atl necessary accessories ie Pressure sensors,reguIators,hand valves ,pressure gauges ecL(Oxygen, Nitrous oxide, Medical Air, Vacuum) | 1 | Nos | 42150 | 42150 | 1 | Nos | 51481 | 51481 | 1 | Nos | 48264 | 48264
2 | 6 Gas Digital Alarm Panele : 6 Gas Digital Alarm Panel(Oxygen, Nitrous oxide, Medical Air, Surgical Air, Vacuum, Carbon dieoxide) consisting of all necessary accessories ie pressure sensors, regulators, hand vatves, pressure gauges etc. | 6 | Nos | 60008 | 360048 | 6 | Nos | 62743 | 376458 | 6 | Nos | 64351 | 386106
3 | Valve box -4 services : Valve box - 4 Service consisting of Isolation valve 15 mm OD - 04 Nos. and isolation valve 22 mm OD - 01 Nos. accessories ie Pressure gauge connection in a powder coated box The box consisting of lock & key and a brakable glass for emergency. | 1 | Nos | 22201 | 22201 | 1 | Nos | 24132 | 24132 | 1 | Nos | 23327 | 23327
4 | 4 + 4 size of O2 manifold system : 4+4 Oxygen Main mannifold with 19mm ODx12mm I.D .Copper pipe mounted on top frame, Middle frmae and Bottom frame along with brass blocks, NRVs/ cylinder valves and pigtail pipes of 1m long of 8mm OD x 3mm I.D. duly tested at250Kg/Cum 2 pressure & Fully automatic control panel for Oxygen. | 1 | Job | 48103 | 48103 | 1 | Job | 49872 | 49872 | 1 | Job | 52286 | 52286
5 | Fully Automatic O2 Control System ”Manufactured under an ISO 9001: 2015 certified works. ”Control Panel cover made of M.S. duly powder coated. “Compact and fully automatic manifold control system far Oxygen services. *Easy to maintain and use. “Designed with both safety and continuity of flow supply at a constant pressure via to/o banks of bottled gas cylinders with following status monitoring. ”A-Bank in use (Green indication). ”B-Bank ready for use (Yelk›w indication). ”C-Empty Bank (Red indication). ”Control Panel has build in LED display to indicate Normal. High & Low line Pressure. ”It has facility to test all above indicators working perfectly. the Control Panel indudes Pressure gauge (63 mm) to indicate the gas pressure of each header and pipe line diistribution pressure. ”Capable to provide a distribution distribution flow rate of 2IXI0 LPM or more for O2. the control panel incorporte safety puncture system in case pressure exceeds 100 Psi. ”In ease of failure of electronic pneumatics system, control can be used manually through by pass system. * CE CERTIFIED. | 1 | Job | 222013 | 222013 | 1 | Job | 225230 | 225230 | 1 | Job | 228448 | 228448
6 | 4 + 4 size of N2O manifold system : 4+4 Nitrous oxide Main mannifold with 19mm ODx12mm I.D .Copper pipe mounted on top frame, Middle frmae and Bottom frame along with brass blocks, NRVs/ cylinder valves and pigtail pipes of 1m long of 8mm OD x 3mm I.D. duly tested at 250Kg/Cum 2 pressure & Fully automatic control panel for Nitrous Oxide. | 1 | Job | 48103 | 48103 | 1 | Job | 49872 | 49872 | 1 | Job | 52286 | 52286
7 | 2 cylinder emergency maniféld - N2O : 2 Cylinder Nftmus oxide Emergency mannifold with 19mm ODx12mm I.D .Copper pipe mounted on top frame, Middle frmae and Bottom frame along with brass blocks, NRVs/ cytinder valves and pigtail pipes of 1m long of 8mm OD x 3mm I.D. duly tested at 250Kg/Cum 2 pressure & Fully automatic control panel for Nitrous Oxide. | 1 | Job | 17401 | 17401 | 1 | Job | 225230 | 225230 | 1 | Job | 228448 | 228448
8 | Fully Automatic N2O Control System Manufactured under an ISO 9001: 2015 certified works. *Control Panel cover made of M.S. duly powder coated. *Compact and fully automatic manifold control system for N2O services. "Easy to maintain and use. *Designed with both safety and continuity of flow supply at a constant pressure via two banks of bottled gas cylinders with following status monitoring. *A-Bank in use (Green indication). *B-Bank ready for use (Yellow indication). Authorise&PITAL ENGINERS D-4 A, YADAV PARK, ROHTAK ROAD, NANGLOI, DELHI-110041 C-Empty Bank (Red indication). *Control Panel has build in LED display to indicate Normal. High & Low line Pressure. "It has facility to test all above indicators working perfectly. *The Control Panel includes Pressure gauge (63 mm) to indicate the gas pressure of each header and pipe line diistribution pressure. *Capable to provide a distribution flow rate of 500 LPM or more for N2O. *The control panel incorporte safety puncture system in case pressure exceeds 100 Psi. In ease of failure of electronic pneumatics system, control can be used manually through by pass system. CE CERTIFIED | 1 | Job | 222013 | 222013 | 1 | Job | 18018 | 18018 | 1 | Job | 18903 | 18903
The rates quoted by MPS ASTA Consortium, among the three Quoted Rates, are found least and the rates are hereby approved.
Comparative Statement
Name of the work : Design, Development & Commissioning on Turnkey Basis, the work of Establishment of State Organ Transplantation Centre in thr 8th Floor, South West Block of Gandhi Hospital, Secunderabad.
Sl. No | Item Description | MPS ASTA Consortium |  |  |  | Velind Virtual Sytems Pvt. Ltd |  |  |  | SURYA TEJA ELECTRICALS
|  | Qty | Unit | Rate | Amount | Qty | Unit | Rate | Amount | Qty | Unit | Rate | Amount
1 | Recording in counselling room | 1 | Job | 155378 | 155378 | 1 | Job | 170210 | 170210 | 1 | Job | 177288 | 177288
2 | Local Area Network (LAN) System | 1 | Job | 460242 | 460242 | 1 | Job | 493866 | 493866 | 1 | Job | 517225 | 517225
3 | Supply, Transportation and installation of 20KVA / 312V DC on line UPS system | 1 | Nos | 629358 | 629358 | 1 | Nos | 667647 | 667647 | 1 | Nos | 680517 | 680517
The rates quoted by MPS ASTA Consortium, among the three Quoted Rates, are found least and the rates are hereby approved.
Comparative Statement
Name of the work : Design, Development & Commissioning on Turnkey Basis, the work of Establishment of State Organ Transplantation Centre in thr 8th Floor, South West Block of Gandhi Hospital, Secunderabad.
Sl. No | Item Description | MPS ASTA Consortium |  |  |  | SRINIDHI POWER SOLUTIONS |  |  |  | i-CARE ELECTRICALS
|  | Qty | Unit | Rate | Amount | Qty | Unit | Rate | Amount | Qty | Unit | Rate | Amount
1 | 800 KVA Transformer OLTC for transformers with RTCC: Supply, Transportation, Installation, Testing and Commissioning of 800 KVA TRANSFORMER with all test reports. The Transformer shall be designed and manufactured as per IS:1180 OLTC with level-II with initial filling of oil as per IS 335-1993. 1000 A LT Breaker Kiosk - 01 No.The basic details of the Transformer are as under. Makes: Kirloskar / PETE / Esennar / Voltamp / Crompton / ABB / Schneider. | 1 | Nos | 5086347 | 5086347 | 1 | Job | 5385200 | 5385200 | 1 | Job | 5417376 | 5417376
The rates quoted by MPS ASTA Consortium, among the three Quoted Rates, are found least and the rates are hereby approved.
Comparative Statement
Name of the work : Design, Development & Commissioning on Turnkey Basis, the work of Establishment of State Organ Transplantation Centre in thr 8th Floor, South West Block of Gandhi Hospital, Secunderabad.
Sl. No | Item Description | MPS ASTA Consortium |  |  |  | BLUE SPACE MEDICALS |  |  |  | Maa Durga Surgicals
|  | Qty | Unit | Rate | Amount | Qty | Unit | Rate | Amount | Qty | Unit | Rate | Amount
1 | Monitor Stand beside Bed in ICUs & TIRs | 31 | Nos | 6176 | 191456 | 31 | Job | 6596 | 204476 | 31 | Job | 6717 | 208227
The rates quoted by MPS ASTA Consortium, among the three Quoted Rates, are found least and the rates are hereby approved.