## Table 1 (3)
| MGMH Petlaburj Hospital |  |  | Unit Rate (Rs.) | Amount |  | S. No | Product Description | Unit | Qty as per BOQ | Qty (Actual supplied) | Unit Rate | GST | Total amount | Total amount with GST | Remarks |  | Item No | Description | Make / Country of Origine | Unit | QTY | Unit Price (INR) | Total Price (INR)
379 | SITC of Oxygen Manifold Emergency for 1 plus 1 Cylinders, as per technical specifications. at MGMH Petlaburj | 1 | Set | 20750 | 20750 | 379 | 1 | Oxygen Main Manifold: SITC of Emergency Oxygen Manifold maximum for 1+1 D-type Gas Cylinders complete with separate NRVs, tail pipes and brass fittings for each cylindes. | Set | 1 | 1 | 6414 | 18% | 6414 | 7568.52 | As per Tender |  | 1 | 0.9mm Thickness, Degreased Copper Pipe with Fittings, Supports & Welding/Brazing(As Per Specification):
380 | SITC of Oxygen Outlets with matching probes, as per HTM-2022/02-01 of UK/NFPA99C of USA as per enclosed technical specifications - Imported at MGMH Petlaburj | 4 | each | 2506 | 10024 |  | 2 | Fully Automatic Control Panel for Oxygen System: Supply, installation and commissioning of Fully Automatic control panel for unintrupted Oxygen supply | Set | 0 | 1 | 1,16,786 | 18% | 116786 | 137807.48 | Extra Item |  | 1.1 | 12mm/10mm OD Degreased Copper Pipe | Mexflow/Mandev | MTR | 22 | 350 | 7700
381 | SITC of Oxygen Flowmeter with Humidifier, CE Certified with four digit number as per enclosed technical specifications - Imported at MGMH Petlaburj | 4 | each | 1805 | 7220 | 380 | 3 | SITC of Oxygen Outlet with matching probe as per HTM-2022/02-01 of UK/ NFPA 99C of USA as per enclosed technical Specification. | Nos | 4 | 6 | 8311 | 18% | 49866 | 58841.88 | Extra Qty |  | 1.2 | 15mm OD Degreased Copper Pipe | Mexflow/Mandev | MTR | 350 | 550 | 192500
382 | SITC of Nitrous Oxide Manifold Emergency for 1 Cylinder, with high pressure Regulator, NRV, tailpipes etc. as per technical specifications at MGMH Petlaburj | 1 | Set | 13250 | 13250 |  | 4 | SITC of Oxygen Flowmeter with Humidifier bottle, CE certified with four digit number as per enclosed technical specification | Nos | 4 | 6 | 13773 | 18% | 82638 | 97512.84 | Extra Qty |  | 1.3 | 22mm OD Degreased Copper Pipe | Mexflow/Mandev | MTR | 30 | 820 | 24600
383 | SITC of N20 Outlets with matching probes, as per HTM-2022/02-01 of UK/NFPA99C of USA as per enclosed technical specifications - Imported at MGMH Petlaburj | 4 | each | 2506 | 10024 |  | B | Trigas System | [9 empty] | 2 | Isolation Valve:
384 | SITC of C02 Manifold for 2 Cylinders, with high pressure Regulator, NRV, tailpipes etc. as per technical specifications at MGMH Petlaburj | 1 | Set | 20750 | 20750 |  | 1 | Trigas Emergency Manifold: SITC of Emergency Trigas Manifold maximum for 1+1 D-type Gas Cylinders complete with separate NRVs, tail pipes and brass fittings for each cylinders. | Set | 0 | 1 | 6414 | 18% | 6414 | 7568.52 | Extra Item |  | 2.1 | 15mm Isolation Valve | Connex-UK | EA | 10 | 1200 | 12000
385 | SITC of C02 Outlets with matching probes, as per HTM-2022102- 01ofUK/NFPA99C of USA as per enclosed technical specifications - Imported at MGMH Petlaburj | 4 | each | 2506 | 10024 |  | 2 | Fully Automatic Control Panel for Trigas System: Supply, installation and commissioning of Fully Automatic control panel for unintrupted Nirous Oxide supply. | Set | 0 | 1 | 1,16,786 | 18% | 116786 | 137807.48 | Extra Item |  | 2.2 | 22mm Isolation Valve | Connex-UK | EA | 1 | 1500 | 1500
386 | SITC of MEDICAL Grade BS EN: 13348 Kite Marked 12mm COPPER PIPE at MGMH Petlaburj | 24 | Rmt | 642 | 15408 |  | 3 | SITC of Nitrous Outlet with matching probe as per HTM-2022/02-01 of UK/ NFPA 99C of USA as per enclosed technical Specification. | Nos | 4 | 4 | 8311 | 18% | 33244 | 39227.92 | As per Tender |  | 3 | Area Alarm Panel & Valve Box:
387 | SITC of MEDICAL Grade BS EN: 13348 Kite Marked 15mm COPPER PIPE at MGMH Petlaburj | 114 | Rmt | 824 | 93936 |  | C | CO2 System |  |  |  |  | 18% | 0 | 0 |  |  | 3.1 | Area Alarm Panel Digital (3 Gas) | API-India | EA | 1 | 16000 | 16000
388 | SITC of MEDICAL Grade BS EN: 13348 Kite Marked 22mm COPPER PIPE at MGMH Petlaburj | 36 | Rmt | 1191 | 42876 |  | 1 | CO2 Emergency Manifold: SITC of EmergencyCO2 Manifold maximum for 2 D-type Gas Cylinders complete with separate NRVs, tail pipes and brass fittings for each cylinders | Set | 1 | 1 | 6414 | 18% | 6414 | 7568.52 | As per Tender |  | 3.2 | Valve Box (3 Gas) | API-India | EA | 1 | 12000 | 12000
389 | SITC of MEDICAL Grade BS EN: 13348 Kite Marked 28mm COPPER PIPE at MGMH Petlaburj | 18 | Rmt | 1473 | 26514 |  | 2 | Fully Automatic Control Panel for CO2 System: Supply, installation and commissioning of Fully Automatic control panel for unintrupted Nirous Oxide supply. | Set | 0 | 1 | 1,16,786 | 18% | 116786 | 137807.48 | Extra Item |  | 4 | Medical Gas Outlets:
390 | SITC of Touch type LCD Area Alarm and Zonal Valve box- as per HTM 2022/02-01/ NFPA99C as per enclosed technical specifications imported for 3 gases at MGMH Petlaburj | 1 | each | 275000 | 275000 |  | 3 | SITC of CO2 Outlet with matching probe as per HTM-2022/02-01 of UK/ NFPA 99C of USA as per enclosed technical Specification. | Nos | 4 | 6 | 8311 | 18% | 49866 | 58841.88 | Extra Qty | 380 | 4.1 | O2 Outlet (HTM) Incl. Probe(As per Specs) | API-India | EA | 6 | 1500 | 9000
391 | SITC of Touch type LCD Area Alarm and Zonal Valve box- as per HTM 2022/02-01/ NFPA99C as per enclosed technical specifications imported for Master Main Alarm including all Gases at MGMH Petlaburj | 1 | each | 375000 | 375000 |  | D | CO2 Manifold SITC of EmergencyCO2 Manifold maximum for 2 D-type Gas Cylinders complete with separate NRVs, Copper tail pipes and brass fittings for each cylinders with double stage double gauge high pressure regulator | Set | 0 | 1 | 11964 | 18% | 11964 | 14117.52 | Extra Item |  | 4.2 | N2O Outlet (HTM) Incl. Probe(As per Specs) | API-India | EA | 2 | 1500 | 3000
392 | SITC of Medical Line Valve, As per CE Certified/UL Listed, As per Technical Specifications- Indian 15mm 0D at MGMH Petlaburj | 3 | each | 1938 | 5814 |  | E | N2O Manifold SITC of N2O Manifold maximum for 2 D-type Gas Cylinders complete with separate NRVs, Copper tail pipes and brass fittings for each cylinders with double stage double gauge high pressure regulator | Set | 1 | 1 | 12114 | 18% | 12114 | 14294.52 | As per Tender |  | 4.3 | MA4 Outlet (HTM) Incl. Probe(As per Specs) | API-India | EA | 6 | 1500 | 9000
393 | SITC of Medical Line Valve, As per CE Certified/UL Listed, As per Technical Specifications- Indian 22mm 0D at MGMH Petlaburj | 3 | each | 2740 | 8220 |  | F | SITC of Medical Air-4 Outlet with matching probe as per HTM-2022/02-01 of UK/ NFPA 99C of USA as per enclosed technical Specification. | Nos | 0 | 6 | 8311 | 18% | 49866 | 58841.88 | Extra Item |  | 4.4 | CO2 (HTM) Incl. Probe(As per Specs) | API-India | EA | 6 | 1500 | 9000
394 | SITC of Medical Line Valve, As per CE Certified/UL Listed, As per Technical Specifications- Indian 28mm 0D at MGMH Petlaburj | 4 | each | 4378 | 17512 |  | G | Copper Pipes: Lloyd's certifiedsed will be solid drawn, seamless, deoxidized, non arsenical, half hard, tempered and degreased, manufactured as per EN13348:2016 | Maxfl ow/ Man dev | [8 empty] | 4.5 | Try Gas (HTM) Incl. Probe(As per Specs) | API-India | EA | 2 | 1500 | 3000
395 | SITC of Bed Head Panel - as per HTM 2022/02-01/ NFPA99C as per enclosed technical specifications at MGMH Petlaburj | 2 | each | 36750 | 73500 |  | * | Copper Pipe 12 mm OD X 1 mm thick | Mtr. | 24 | 38.3 | 450 | 18% | 17235 | 20337.3 | Extra Qty |  | 3.2 | BPC Flow Meter | API-India | EA | 6 | 750 | 4500
[7 empty] | * | Copper Pipe 15 mm OD X 1 mm thick | Mtr. | 114 | 157.7 | 732 | 18% | 115436.4 | 136214.952 | Extra Qty |  | 5 | Manifold & Control Panels:
[7 empty] | * | Copper Pipe 22 mm OD X 1 mm thick | Mtr. | 36 | 79.5 | 990 | 18% | 78705 | 92871.9 | Extra Qty | 379 | 5.1 | O2 Manifold 1+1 with Fully Automatic Control Panel Including NRV & Tail Pipe (As per Specification) | API-India | EA | 1 | 149000 | 149000
[7 empty] | * | Copper Pipe 28 mm OD X 1 mm thick | Mtr. | 18 | 27 | 1182 | 18% | 31914 | 37658.52 | Extra Qty |  | 5.2 | Try Gas Manifold 1+1 with Fully Automatic Control Panel Including NRV & Tail Pipe (As per Specification) | API-India | EA | 1 | 149000 | 149000
[7 empty] | H | Area Alarm SITC of Touch Type LCD Area Alarm as per HTM 2022/02-01/ NFPA 99C as per enclosed technical specification (3 Gases- Oxyegn, CO2, Trigas) | Nos | 1 | 1 | 277036 | 18% | 277036 | 326902.48 | As per Tender |  | 5.3 | CO2 Manifold 1+1 with Fully Automatic Control Panel Including NRV & Tail Pipe (As per Specification) | API-India | EA | 1 | 149000 | 149000
[7 empty] | I | Zonal Valve Box Valve Box With Isolation Valve as per NFPA 99 Std/ HTM-2 | Nos | 1 | 1 |  |  |  |  | As per Tender |  | 5.4 | CO2 Manifold 1+1 Semi Auto Control Panel Including NRV & Tail Pipe (As per Specification) | API-India | EA | 1 | 70000 | 70000
[7 empty] | J | Isolation Valves: SITC of Factory degreased Isolation Valve with brass adaptor and PTFE sheet having quarter turn handle opening of following sizes suitable for flow capacity 1500 LPM at 4.7 bar with maximum allowed pressure of 30 bar and suitable for working temperature ranging - 200C to 1300C. Valve shouldbe CE certified. | Indej enou s | [8 empty] | 6 | Bed Head Panel:
[7 empty] | * | 12 mm Valve for 12 mm OD Pipe Note: New item added | Nos. | 0 | 3 | 620 | 18% | 1860 | 2194.8 | Extra Item |  | 6.1 | 3" Extruded Aluminum Powder Coated Gas Outlet: Provision Electrical: Provision Data: Provision Color: As per client | Saras Healthcare India | EA | 2 | 10900 | 21800
[7 empty] | * | 15 mm Valve for 15 mm OD Pipe Note: New item added | Nos. | 3 | 8 | 1620 | 18% | 12960 | 15292.8 | Extra Qty |  | Basic (INR) | [5 empty] | 842600
[7 empty] | * | 22 mm Valve for 22 mm OD Pipe | Nos. | 3 | 3 | 2676 | 18% | 8028 | 9473.04 | As per Tender |  | GST(18%): | [5 empty] | 151668
[7 empty] | * | 28 mm Valve for 28 mm OD Pipe | Nos. | 4 | 4 | 4301 | 18% | 17204 | 20300.72 | As per Tender |  | Total (INR) | [5 empty] | 994268
[7 empty] | K | Bed Head Panels
[8 empty] | SITC of Bed Head Panel. It will be made up of Aluminiun extrusion, three compartment, Provision for Gas Outlet, Electrical Switch & Socket, Nurse Call, etc BHP Length 5 Ft | Nos. | 2 | 2 | 13607 | 18% | 27214 | 32112.52 | As per Tender
[7 empty] | A | TOTAL | [5 empty] | 1246750.4 | 1471165.472
[7 empty] | B | GST 18% | [5 empty] | 224415
[7 empty] | C | TOTAL WITH GST (A+B) | [6 empty] | 1471165.4
[7 empty] | D | Discount 5% | [6 empty] | 73558.27
[7 empty] | E | TOTAL AFTER DISCOUNT | [6 empty] | 1397607.13

## Table 1 (2)
S. No | Product Description | Unit | Qty as per BOQ | Qty (Actual supplied) | Unit Rate | GST | Total amount | Total amount with GST | Remarks
1 | Oxygen Main Manifold: SITC of Emergency Oxygen Manifold maximum for 1+1 D-type Gas Cylinders complete with separate NRVs, tail pipes and brass fittings for each cylindes. | Set | 1 | 1 | 6414 | 18% | 6414 | 7568.52 | As per Tender
2 | Fully Automatic Control Panel for Oxygen System: Supply, installation and commissioning of Fully Automatic control panel for unintrupted Oxygen supply | Set | 0 | 1 | 1,16,786 | 18% | 116786 | 137807.48 | Extra Item
3 | SITC of Oxygen Outlet with matching probe as per HTM-2022/02-01 of UK/ NFPA 99C of USA as per enclosed technical Specification. | Nos | 4 | 6 | 8311 | 18% | 49866 | 58841.88 | Extra Qty
4 | SITC of Oxygen Flowmeter with Humidifier bottle, CE certified with four digit number as per enclosed technical specification | Nos | 4 | 6 | 13773 | 18% | 82638 | 97512.84 | Extra Qty
B | Trigas System
1 | Trigas Emergency Manifold: SITC of Emergency Trigas Manifold maximum for 1+1 D-type Gas Cylinders complete with separate NRVs, tail pipes and brass fittings for each cylinders. | Set | 0 | 1 | 6414 | 18% | 6414 | 7568.52 | Extra Item
2 | Fully Automatic Control Panel for Trigas System: Supply, installation and commissioning of Fully Automatic control panel for unintrupted Nirous Oxide supply. | Set | 0 | 1 | 1,16,786 | 18% | 116786 | 137807.48 | Extra Item
3 | SITC of Nitrous Outlet with matching probe as per HTM-2022/02-01 of UK/ NFPA 99C of USA as per enclosed technical Specification. | Nos | 4 | 4 | 8311 | 18% | 33244 | 39227.92 | As per Tender
C | CO2 System |  |  |  |  | 18% | 0 | 0
1 | CO2 Emergency Manifold: SITC of EmergencyCO2 Manifold maximum for 2 D-type Gas Cylinders complete with separate NRVs, tail pipes and brass fittings for each cylinders | Set | 1 | 1 | 6414 | 18% | 6414 | 7568.52 | As per Tender
2 | Fully Automatic Control Panel for CO2 System: Supply, installation and commissioning of Fully Automatic control panel for unintrupted Nirous Oxide supply. | Set | 0 | 1 | 1,16,786 | 18% | 116786 | 137807.48 | Extra Item
3 | SITC of CO2 Outlet with matching probe as per HTM-2022/02-01 of UK/ NFPA 99C of USA as per enclosed technical Specification. | Nos | 4 | 6 | 8311 | 18% | 49866 | 58841.88 | Extra Qty
D | CO2 Manifold SITC of EmergencyCO2 Manifold maximum for 2 D-type Gas Cylinders complete with separate NRVs, Copper tail pipes and brass fittings for each cylinders with double stage double gauge high pressure regulator | Set | 0 | 1 | 11964 | 18% | 11964 | 14117.52 | Extra Item
E | N2O Manifold SITC of N2O Manifold maximum for 2 D-type Gas Cylinders complete with separate NRVs, Copper tail pipes and brass fittings for each cylinders with double stage double gauge high pressure regulator | Set | 1 | 1 | 12114 | 18% | 12114 | 14294.52 | As per Tender
F | SITC of Medical Air-4 Outlet with matching probe as per HTM-2022/02-01 of UK/ NFPA 99C of USA as per enclosed technical Specification. | Nos | 0 | 6 | 8311 | 18% | 49866 | 58841.88 | Extra Item
G | Copper Pipes: Lloyd's certifiedsed will be solid drawn, seamless, deoxidized, non arsenical, half hard, tempered and degreased, manufactured as per EN13348:2016 | Maxfl ow/ Man dev
* | Copper Pipe 12 mm OD X 1 mm thick | Mtr. | 24 | 38.3 | 450 | 18% | 17235 | 20337.3 | Extra Qty
* | Copper Pipe 15 mm OD X 1 mm thick | Mtr. | 114 | 157.7 | 732 | 18% | 115436.4 | 136214.952 | Extra Qty
* | Copper Pipe 22 mm OD X 1 mm thick | Mtr. | 36 | 79.5 | 990 | 18% | 78705 | 92871.9 | Extra Qty
* | Copper Pipe 28 mm OD X 1 mm thick | Mtr. | 18 | 27 | 1182 | 18% | 31914 | 37658.52 | Extra Qty
H | Area Alarm SITC of Touch Type LCD Area Alarm as per HTM 2022/02-01/ NFPA 99C as per enclosed technical specification (3 Gases- Oxyegn, CO2, Trigas) | Nos | 1 | 1 | 277036 | 18% | 277036 | 326902.48 | As per Tender
I | Zonal Valve Box Valve Box With Isolation Valve as per NFPA 99 Std/ HTM-2 | Nos | 1 | 1 |  |  |  |  | As per Tender
J | Isolation Valves: SITC of Factory degreased Isolation Valve with brass adaptor and PTFE sheet having quarter turn handle opening of following sizes suitable for flow capacity 1500 LPM at 4.7 bar with maximum allowed pressure of 30 bar and suitable for working temperature ranging - 200C to 1300C. Valve shouldbe CE certified. | Indej enou s
* | 12 mm Valve for 12 mm OD Pipe Note: New item added | Nos. | 0 | 3 | 620 | 18% | 1860 | 2194.8 | Extra Item
* | 15 mm Valve for 15 mm OD Pipe Note: New item added | Nos. | 3 | 8 | 1620 | 18% | 12960 | 15292.8 | Extra Qty
* | 22 mm Valve for 22 mm OD Pipe | Nos. | 3 | 3 | 2676 | 18% | 8028 | 9473.04 | As per Tender
* | 28 mm Valve for 28 mm OD Pipe | Nos. | 4 | 4 | 4301 | 18% | 17204 | 20300.72 | As per Tender
K | Bed Head Panels
| SITC of Bed Head Panel. It will be made up of Aluminiun extrusion, three compartment, Provision for Gas Outlet, Electrical Switch & Socket, Nurse Call, etc BHP Length 5 Ft | Nos. | 2 | 2 | 13607 | 18% | 27214 | 32112.52 | As per Tender
A | TOTAL | [5 empty] | 1246750.4 | 1471165.472
B | GST 18% | [5 empty] | 224415
C | TOTAL WITH GST (A+B) | [6 empty] | 1471165.4
D | Discount 5% | [6 empty] | 73558.27
E | TOTAL AFTER DISCOUNT | [6 empty] | 1397607.13

## Table 1
Pro Forma INVOICE
GSTIN No. : 07AZFPM8502P1ZV Mob. No: 9971-087-971 LSS ENGINEERING “LIFE SUPPORT SYSTEM” | [6 empty] | Pro Forma Invoice No. LS/274/2908/23-24
A-3, Pocket-17, Sector-22, Rohini, New Delhi-110086 | [6 empty] | Date: 27-10-2023
Client: Vardhman Medicare Address: Mahipal Pur, Delhi |  | Customer's GSTIN/UIN: …………………………………… |  |  |  |  | Tax is payable on Reverse Charge Yes/No : No
S. No | Product Description | Unit | Qty as per BOQ | Qty (Actual supplied) | Unit Rate | GST | Total amount | Total amount with GST | Remarks
1 | Oxygen Main Manifold: SITC of Emergency Oxygen Manifold maximum for 1+1 D-type Gas Cylinders complete with separate NRVs, tail pipes and brass fittings for each cylindes. | Set | 1 | 1 | 6414 | 18% | 6414 | 7568.52 | As per Tender
2 | Fully Automatic Control Panel for Oxygen System: Supply, installation and commissioning of Fully Automatic control panel for unintrupted Oxygen supply | Set | 0 | 1 | 1,16,786 | 18% | 116786 | 137807.48 | Extra Item
3 | SITC of Oxygen Outlet with matching probe as per HTM-2022/02-01 of UK/ NFPA 99C of USA as per enclosed technical Specification. | Nos | 4 | 6 | 8311 | 18% | 49866 | 58841.88 | Extra Qty
4 | SITC of Oxygen Flowmeter with Humidifier bottle, CE certified with four digit number as per enclosed technical specification | Nos | 4 | 6 | 13773 | 18% | 82638 | 97512.84 | Extra Qty
B | Trigas System
1 | Trigas Emergency Manifold: SITC of Emergency Trigas Manifold maximum for 1+1 D-type Gas Cylinders complete with separate NRVs, tail pipes and brass fittings for each cylinders. | Set | 0 | 1 | 6414 | 18% | 6414 | 7568.52 | Extra Item
2 | Fully Automatic Control Panel for Trigas System: Supply, installation and commissioning of Fully Automatic control panel for unintrupted Nirous Oxide supply. | Set | 0 | 1 | 1,16,786 | 18% | 116786 | 137807.48 | Extra Item
3 | SITC of Nitrous Outlet with matching probe as per HTM-2022/02-01 of UK/ NFPA 99C of USA as per enclosed technical Specification. | Nos | 4 | 4 | 8311 | 18% | 33244 | 39227.92 | As per Tender
C | CO2 System |  |  |  |  | 18% | 0 | 0
1 | CO2 Emergency Manifold: SITC of EmergencyCO2 Manifold maximum for 2 D-type Gas Cylinders complete with separate NRVs, tail pipes and brass fittings for each cylinders | Set | 1 | 1 | 6414 | 18% | 6414 | 7568.52 | As per Tender
2 | Fully Automatic Control Panel for CO2 System: Supply, installation and commissioning of Fully Automatic control panel for unintrupted Nirous Oxide supply. | Set | 0 | 1 | 1,16,786 | 18% | 116786 | 137807.48 | Extra Item
3 | SITC of CO2 Outlet with matching probe as per HTM-2022/02-01 of UK/ NFPA 99C of USA as per enclosed technical Specification. | Nos | 4 | 6 | 8311 | 18% | 49866 | 58841.88 | Extra Qty
D | CO2 Manifold SITC of EmergencyCO2 Manifold maximum for 2 D-type Gas Cylinders complete with separate NRVs, Copper tail pipes and brass fittings for each cylinders with double stage double gauge high pressure regulator | Set | 0 | 1 | 11964 | 18% | 11964 | 14117.52 | Extra Item
E | N2O Manifold SITC of N2O Manifold maximum for 2 D-type Gas Cylinders complete with separate NRVs, Copper tail pipes and brass fittings for each cylinders with double stage double gauge high pressure regulator | Set | 1 | 1 | 12114 | 18% | 12114 | 14294.52 | As per Tender
F | SITC of Medical Air-4 Outlet with matching probe as per HTM-2022/02-01 of UK/ NFPA 99C of USA as per enclosed technical Specification. | Nos | 0 | 6 | 8311 | 18% | 49866 | 58841.88 | Extra Item
G | Copper Pipes: Lloyd's certifiedsed will be solid drawn, seamless, deoxidized, non arsenical, half hard, tempered and degreased, manufactured as per EN13348:2016 | Maxfl ow/ Man dev
* | Copper Pipe 12 mm OD X 1 mm thick | Mtr. | 24 | 38.3 | 450 | 18% | 17235 | 20337.3 | Extra Qty
* | Copper Pipe 15 mm OD X 1 mm thick | Mtr. | 114 | 157.7 | 732 | 18% | 115436.4 | 136214.952 | Extra Qty
* | Copper Pipe 22 mm OD X 1 mm thick | Mtr. | 36 | 79.5 | 990 | 18% | 78705 | 92871.9 | Extra Qty
* | Copper Pipe 28 mm OD X 1 mm thick | Mtr. | 18 | 27 | 1182 | 18% | 31914 | 37658.52 | Extra Qty
H | Area Alarm SITC of Touch Type LCD Area Alarm as per HTM 2022/02-01/ NFPA 99C as per enclosed technical specification (3 Gases- Oxyegn, CO2, Trigas) | Nos | 1 | 1 | 277036 | 18% | 277036 | 326902.48 | As per Tender
I | Zonal Valve Box Valve Box With Isolation Valve as per NFPA 99 Std/ HTM-2 | Nos | 1 | 1 |  |  |  |  | As per Tender
J | Isolation Valves: SITC of Factory degreased Isolation Valve with brass adaptor and PTFE sheet having quarter turn handle opening of following sizes suitable for flow capacity 1500 LPM at 4.7 bar with maximum allowed pressure of 30 bar and suitable for working temperature ranging - 200C to 1300C. Valve shouldbe CE certified. | Indej enou s
* | 12 mm Valve for 12 mm OD Pipe Note: New item added | Nos. | 0 | 3 | 620 | 18% | 1860 | 2194.8 | Extra Item
* | 15 mm Valve for 15 mm OD Pipe Note: New item added | Nos. | 3 | 8 | 1620 | 18% | 12960 | 15292.8 | Extra Qty
* | 22 mm Valve for 22 mm OD Pipe | Nos. | 3 | 3 | 2676 | 18% | 8028 | 9473.04 | As per Tender
* | 28 mm Valve for 28 mm OD Pipe | Nos. | 4 | 4 | 4301 | 18% | 17204 | 20300.72 | As per Tender
K | Bed Head Panels
| SITC of Bed Head Panel. It will be made up of Aluminiun extrusion, three compartment, Provision for Gas Outlet, Electrical Switch & Socket, Nurse Call, etc BHP Length 5 Ft | Nos. | 2 | 2 | 13607 | 18% | 27214 | 32112.52 | As per Tender
A | TOTAL | [5 empty] | 1246750.4 | 1471165.472
B | GST 18% | [5 empty] | 224415
C | TOTAL WITH GST (A+B) | [6 empty] | 1471165.4
D | Discount 5% | [6 empty] | 73558.27
E | TOTAL AFTER DISCOUNT | [6 empty] | 1397607.13
ACCOUNT INFORMATION
Name: LSS ENGINEERING, BANK: AU SMALL FINANCE BANK
A/C No. 2121-2465-3341-8057, IFSC CODE: AUBL0002465
Amount in Words: Thirteen lac ninety seven thousand six hundred seven only. |  |  |  |  | Total Taxable Value of Goods
SGST: @ 9 %
CGST: @ 9 %
IGST @ 18%
Total Invoice Value
E. & O.E For: LSS ENGINEERING 1. Our responsibility cease after delivery of goods 2. Goods once sold will not be taken back 3. Interst @ 24% will be charge if bill not paid on due date 4. Bills not retire in proper time will be at Buyer's Risk & Responsibility Auth. Signatory any demmurage incurred will be at Buyer's cost 5. All disputes are subjected to Delhi Jurisdiction only