## Table 1
Office Address: Dr. No. 10-4-11/1/C, Masab Tank, Hydearbad, TS-500028 ¦ info@gastech.in ¦ www.gastech.in
Reg. Off: Dr. No. 2-171/1-1, Paikajinagar, Asifabad, Adilabad, TS-504293
MEP Division
FINANCIAL OFFER
TO | ASTA VARDHMAN CONSORTIUM |  |  | Quotation No. |  | MG-2023-145, R0
Location | PLOT NO. 27, 8-2-334/27, BANJARAHILLS, HYDERABAD. |  |  | Date |  | 2023-12-20
Attn: | Mr. Manohar |  |  | Validity |  | 7 days
Project | Medical/IVF Gas Pipeline System |  |  | Reference |  | Verbal
|  |  |  | No. of Pages: |  | 1
Subject: Supply, Installation, Testing & Commissioning of Centralized Medical/IVF Gas Pipeline System
We are pleased to quote hereunder our best offer for the following items enquired by you.
Item No | Description | Make / Country of Origine | Unit | QTY | Unit Price (INR) | Total Price (INR)
1 | 0.9mm Thickness, Degreased Copper Pipe with Fittings, Supports & Welding/Brazing(As Per Specification):
1.1 | 12mm/10mm OD Degreased Copper Pipe | Mexflow/Mandev | MTR | 22 | 350 | 7700
1.2 | 15mm OD Degreased Copper Pipe | Mexflow/Mandev | MTR | 350 | 550 | 192500
1.3 | 22mm OD Degreased Copper Pipe | Mexflow/Mandev | MTR | 30 | 820 | 24600
2 | Isolation Valve:
2.1 | 15mm Isolation Valve | Connex-UK | EA | 10 | 1200 | 12000
2.2 | 22mm Isolation Valve | Connex-UK | EA | 1 | 1500 | 1500
3 | Area Alarm Panel & Valve Box:
3.1 | Area Alarm Panel Digital (3 Gas) | API-India | EA | 1 | 16000 | 16000
3.2 | Valve Box (3 Gas) | API-India | EA | 1 | 12000 | 12000
4 | Medical Gas Outlets:
4.1 | O2 Outlet (HTM) Incl. Probe(As per Specs) | API-India | EA | 6 | 1500 | 9000
4.2 | N2O Outlet (HTM) Incl. Probe(As per Specs) | API-India | EA | 2 | 1500 | 3000
4.3 | MA4 Outlet (HTM) Incl. Probe(As per Specs) | API-India | EA | 6 | 1500 | 9000
4.4 | CO2 (HTM) Incl. Probe(As per Specs) | API-India | EA | 6 | 1500 | 9000
4.5 | Try Gas (HTM) Incl. Probe(As per Specs) | API-India | EA | 2 | 1500 | 3000
3.2 | BPC Flow Meter | API-India | EA | 6 | 750 | 4500
5 | Manifold & Control Panels:
5.1 | O2 Manifold 1+1 with Fully Automatic Control Panel Including NRV & Tail Pipe (As per Specification) | API-India | EA | 1 | 149000 | 149000
5.2 | Try Gas Manifold 1+1 with Fully Automatic Control Panel Including NRV & Tail Pipe (As per Specification) | API-India | EA | 1 | 149000 | 149000
5.3 | CO2 Manifold 1+1 with Fully Automatic Control Panel Including NRV & Tail Pipe (As per Specification) | API-India | EA | 1 | 149000 | 149000
5.4 | CO2 Manifold 1+1 Semi Auto Control Panel Including NRV & Tail Pipe (As per Specification) | API-India | EA | 1 | 70000 | 70000
6 | Bed Head Panel:
6.1 | 3" Extruded Aluminum Powder Coated Gas Outlet: Provision Electrical: Provision Data: Provision Color: As per client | Saras Healthcare India | EA | 2 | 10900 | 21800
Basic (INR) | [5 empty] | 842600
GST(18%): | [5 empty] | 151668
Total (INR) | [5 empty] | 994268
Total Amount(INR): Nine Lakh Ninty Four Thousand Two Hundred Sixty Eight Only.
Terms & Conditions : 1- Our offer is based on the above mentioned quantity only. 2- Any additional quantity/equipment will be charged accordingly. 3- Civil & electrical works are not included in our offer. 4- Manufacture & country of origin: As given above. 5- Delivery : Pipeline 1 week & Equipment 2 week from the date of confirmed order & Advance Payment. 6- Warranty :1 year from the date of delivery. 7- Payment terms:- 60% Advance, 30% upon delivery, 10% on completion. 8. Final invoice will be submitted based on actual pipeline quanity installed on site.
Satish Kumar D Engr. Munthazim Hussain Sales Manager Technical Manager Mob. 96405 17310 Mob: 9441464320 Info@gastech.in munthazim@gastech.in
Disclaimer: This is computer generated quotation, not required physical signature.