## AVC-INT
ANNEXURE-01
Sl. No | Item Description |  |  |  | Qty | Unit | Rate | Amount | CAMC Amount for 7 Years
Unit
1 | Supply and fixing of Dress Hangers of size 450mm length with 8 Nos hooks, each capped with plastic protective cap (in change rooms). |  |  |  | 5 | Nos | 510 | 2550 | 1606.5
2 | Name Plates (Room Names) as approved by the Engineer In-charge. |  |  |  | 31 | Nos | 600 | 18600 | 11718
3 | Supply and fixing of High Quality IVF Procedural photos placed between two transparent acrylic boards fixed with studs at four corners to the PVC frame placed on DBs. |  |  |  | 14 | Nos | 9000 | 126000 | 79380
4 | Side Paneling 14mm thick Indoor WPC louvers providing & Fixing full height said 12mm SHERA Board panneling till slab with wooden framing in line and level including fling joints and joint calls and neccesary hardware |  |  |  | 18.58 | Sqm | 15500 | 287990 | 181433.7
5 | 2 WPC LOUVers Ceiling Praviding and fixing WPC Louvers to the Celling of which includes G Perimeter Channels of size 0.55mm thick (having One Flange of 20mm and another flange of 30mm and a web of 27mm) along with perimeter of ceiling screw fixed to brick wall/partition with the help of Nylon sleeves and screws at 610mm centres. Then suspending G1 intermediate channels of size 45mm 10. 9mm thick with 2 flanges of 15mm each) from the soffis at 1220mm centres with ceiling angle of width 25mm x 10mm X0.55mm thick fixed to saffit with GI. cleat and steel expansion fasteners. Ceiling section of 0.55mm thick having knurled web of 51.5mm and 2 flanges of 26mm each with lips of 10.5mm are Soft then fixed to the intermediate channel with the help of connecting clips and in direction perpendicular to the intermediate channel at 450 mm centres IN ULTRA GI CHANNELS Rute to be included all kinds of profiles and cut outs required for light fixtures Speakers. Smoke detector, trao doors and AC grill in the ceiling. |  |  |  | 7.58 | Sqm | 17450 | 132271 | 83330.73
6 | Providing and fixing of wooden box celling at the top of Reception table with Imm thick laminate with wooden framing of BWP 710 Gurjan Ply support from the top slab end to end with neccesary cutouts for lighting and hardware. |  |  |  | 2.58 | Sqm | 11335 | 29244.3 | 18423.909
7 | Back Pannelling with laminate Finish of 1 mm thick Providing & Fixing full height solid 12mm BWF 710 GURIAN PLY Board panneling till slab with wooden framing in line and level including the neccesary hardware and cutouts |  |  |  | 7.5 | Sqm | 10500 | 78750 | 49612.5
8 | Providing and fixing ISI marked Magnetic 25mm Block Board door shutters, core of block board construction with frame of 1st class hard wood and fixing 1 MM laminate on both faces of shutters, including ISI marked Stainless Steel butt hinges with necessary screws and tower bait complete |  |  |  | 1 | Nos | 13800 | 13800 | 8694
9 | Providing and fixing PVC frames on the walls for covering the area over DB Boxes with 12 mm PVC sheets in a box section of 60mm thick including neccesary accessories. |  |  |  | 4.45 | Sqm | 6473 | 28804.85 | 18147.0555
10 | Providing and Fixing of (25X25) mm WPC corner L-Patties at the topper edge of the wall tile cladding |  |  |  | 38 | Rmt | 230 | 8740 | 5506.2
11 | Providing and Fixing of SS-ROSE GOLD corner & L-Patties at the SIDE edge of the wall tile cladding |  |  |  | 7 | Nos | 1500 | 10500 | 6615
12 | Providing and fixing of Door Frame panneling with 18mm BWP 710 Gurjan Ply and 8mm thick beeding half rounded on the both sides with 1mm thick laminate Finish with necessary handware and Polishing. |  |  |  | 11.58 | Rmt | 2166 | 25082.28 | 15801.8364
13 | Providing and fixing the 60mm Thick Box framing as the back support for the name plate installed of 18mm BWP 710 Gurjan and 1mm thick high glossy laminate finish |  |  |  | 1.32 | Sqm | 11012 | 14535.84 | 9157.5792
14 | Providing and Fixing of 32mm Double Flush Door with frame 8mm beeding on its edges on four sides with polishing finish and 1 mm thick laminate on the both sides of which including ISI marked Stainless Steel centre lock and butt hinges with necessary screws and tower bolt complete |  |  |  | 1 | Nos | 50400 | 50400 | 31752
15 | Providing and fixing of Side wall decor Frame for photo hangings panneling with 18mm BWP 710 Gurjan Ply and 8mm thick beeding half rounded on the both sides with 1mm thick laminate finish with necessary hardware and Polishing |  |  |  | 10.97 | Rmt | 2170 | 23804.9 | 14997.087
16 | Supply and fixing of Wall paper as approved by the Engineer In-charge. |  |  |  | 2 | Nos | 5175 | 10350 | 6520.5
17 | Supply and fixing of Main IVF logo with LED arcylic board fixed with LEDs inside and electrical connections as approved by the Engineer In-charge. |  |  |  | 1 | Set | 11475 | 11475 | 7229.25
18 | Supply and fixing of Main Entrance LED 3D Arcylic letter board fixed with LEDs inside and electrical connections as approved by the Engineer In-charge. |  |  |  | 1 | Set | 44250 | 44250 | 27877.5
19 | POINT WIRING and LIGHT FIXTURES & FITTINGS Providing Point wiring for Light Concealed Type with 2 x 1.0 Sq.mm. Copper. PVC Insulated wire 1.1 KV grade ISI marked in rigid ISI mark PVC conduit minimum 20mm (1.6 mm thick) dia. with necessary accessories and Pannel and Spot LED lights of Havells/Wipro company. |  |  |  | 13 | Nos | 1200 | 15600 | 9828
20 | Proving and fixing Profile lights at wpc Louvers |  |  |  | 10.66 | Rmt | 1182 | 12600.12 | 7938.0756
21 | Proving and fixing Track lights at side wall décor frame with 4 fixtures and 2 tracks |  |  |  | 1 | Job | 9600 | 9600 | 6048
22 | External Profile light at Name Plate |  |  |  | 2.89 | Rmt | 1182 | 3415.98 | 2152.0674
| Total Amount | [6 empty] | 958364.27 | 603769.4901
| GST @ 18% | [6 empty] | 172505.5686
| Total Amount excluding CAMC | [6 empty] | 1130869.8386
| CAMC Amount as per below table | [6 empty] | 603769.4901
| Total Amount including CAMC | [6 empty] | 1734639.3287
Comprehensive Annual Maintanance Charges post warranty period for 7 years(4th to 10th year) as per below table.
| Base Price |  |  | 958364.27
| S.No | Year | CAMC % | Amount
| 1 | 4th | 9% | 86252.7843
| 2 | 5th | 9% | 86252.7843
| 3 | 6th | 9% | 86252.7843
| 4 | 7th | 9% | 86252.7843
| 5 | 8th | 9% | 86252.7843
| 6 | 9th | 9% | 86252.7843
| 7 | 10th | 9% | 86252.7843
| Total % |  | 63%
| Total Amount |  |  | 603769.4901

## AVC-GAS
ANNEXURE-01
Sl. No | Item Description |  |  |  | Qty | Unit | Rate | Amount | CAMC Amount for 7 Years
Unit
1 | Fully Automatic Control Panel for Oxygen System: Supply, installation and commissioning of Fully Automatic control panel for unintrupted Oxygen supply |  |  |  | 1 | Set | 175180 | 175180 | 110363.4
2 | Trigas Emergency Manifold: SITC of Emergency Trigas Manifold maximum for 1+1 D-type Gas Cylinders complete with separate NRVs, tail pipes and brass fittings for each cylinders. |  |  |  | 1 | Set | 9620 | 9620 | 6060.6
3 | Fully Automatic Control Panel for Trigas System: Supply, installation and commissioning of Fully Automatic control panel for unintrupted Nirous Oxide supply. |  |  |  | 1 | Set | 175180 | 175180 | 110363.4
4 | Fully Automatic Control Panel for CO2 System: Supply, installation and commissioning of Fully Automatic control panel for unintrupted Nirous Oxide supply. |  |  |  | 1 | Set | 175180 | 175180 | 110363.4
5 | SITC of Medical Air-4 Outlet with matching probe as per HTM-2022/02-01 of UK/ NFPA 99C of USA as per enclosed technical Specification. |  |  |  | 6 | Nos | 12470 | 74820 | 47136.6
6 | 12 mm Valve for 12 mm OD Pipe Note: New item added |  |  |  | 3 | Nos. | 930 | 2790 | 1757.7
7 | Supply and installation of 46.7 liter size CO2 cylinders confirming to IS:7285 Part-2 (2017). The cylinder shall have an outer diameter of 232mm, a nominal length of 1365mm, and a minimum wall thickness of 5.3mm, ensuring robustness and safety during handling and storage. The cylinders shall have a capacity of 46.7 liters and comply with the standards set forth by the Indian Standards Institute. They shall be constructed from high-quality 37 Mn (Carbon Manganese) material, guaranteeing durability and reliability. The design shall feature a concave bottom and neck threading conforming to IS 3224:2002 14 TPI Type 4 - Size 2 specifications, facilitating secure connections and ease of use. The cylinder shall be capable of withstanding a test pressure of 250 BAR and have a working pressure of 150 BAR. The nominal tare weight of each cylinder shall be 51 kg. The cylinder includes first fill. |  |  |  | 2 | Nos | 20850 | 41700 | 26271
8 | Supply and installation of 46.7 liter size O2 cylinders confirming to IS:7285 Part-2 (2017). The cylinder shall have an outer diameter of 232mm, a nominal length of 1365mm, and a minimum wall thickness of 5.3mm, ensuring robustness and safety during handling and storage. The cylinders shall have a capacity of 46.7 liters and comply with the standards set forth by the Indian Standards Institute. They shall be constructed from high-quality 37 Mn (Carbon Manganese) material, guaranteeing durability and reliability. The design shall feature a concave bottom and neck threading conforming to IS 3224:2002 14 TPI Type 4 - Size 2 specifications, facilitating secure connections and ease of use. The cylinder shall be capable of withstanding a test pressure of 250 BAR and have a working pressure of 150 BAR. The nominal tare weight of each cylinder shall be 51 kg. The cylinder includes first fill. |  |  |  | 2 | Nos | 17850 | 35700 | 22491
9 | Supply and installation of 46.7 liter size Trigas cylinders confirming to IS:7285 Part-2 (2017). The cylinder shall have an outer diameter of 232mm, a nominal length of 1365mm, and a minimum wall thickness of 5.3mm, ensuring robustness and safety during handling and storage. The cylinders shall have a capacity of 46.7 liters and comply with the standards set forth by the Indian Standards Institute. They shall be constructed from high-quality 37 Mn (Carbon Manganese) material, guaranteeing durability and reliability. The design shall feature a concave bottom and neck threading conforming to IS 3224:2002 14 TPI Type 4 - Size 2 specifications, facilitating secure connections and ease of use. The cylinder shall be capable of withstanding a test pressure of 250 BAR and have a working pressure of 150 BAR. The nominal tare weight of each cylinder shall be 51 kg. The cylinder includes first fill. |  |  |  | 2 | Nos | 29250 | 58500 | 36855
10 | Supply and installation of 46.7 liter size N2O cylinders confirming to IS:7285 Part-2 (2017). The cylinder shall have an outer diameter of 232mm, a nominal length of 1365mm, and a minimum wall thickness of 5.3mm, ensuring robustness and safety during handling and storage. The cylinders shall have a capacity of 46.7 liters and comply with the standards set forth by the Indian Standards Institute. They shall be constructed from high-quality 37 Mn (Carbon Manganese) material, guaranteeing durability and reliability. The design shall feature a concave bottom and neck threading conforming to IS 3224:2002 14 TPI Type 4 - Size 2 specifications, facilitating secure connections and ease of use. The cylinder shall be capable of withstanding a test pressure of 250 BAR and have a working pressure of 150 BAR. The nominal tare weight of each cylinder shall be 51 kg. The cylinder includes first fill. |  |  |  | 2 | Nos | 33000 | 66000 | 41580
| Total Amount | [6 empty] | 814670 | 513242.1
| GST @ 18% | [6 empty] | 146640.6
| Total Amount excluding CAMC | [6 empty] | 961310.6
| CAMC Amount as per below table | [6 empty] | 513242.1
| Total Amount including CAMC | [6 empty] | 1474552.7
Comprehensive Annual Maintanance Charges post warranty period for 7 years(4th to 10th year) as per below table.
| Base Price |  |  | 814670
| S.No | Year | CAMC % | Amount
| 1 | 4th | 9% | 73320.3
| 2 | 5th | 9% | 73320.3
| 3 | 6th | 9% | 73320.3
| 4 | 7th | 9% | 73320.3
| 5 | 8th | 9% | 73320.3
| 6 | 9th | 9% | 73320.3
| 7 | 10th | 9% | 73320.3
| Total % |  | 63%
| Total Amount |  |  | 513242.1

## AVC-AC
ANNEXURE-01
Sl. No | Item Description |  |  |  | Qty | Unit | Rate | Amount | CAMC Amount for 7 Years
Unit
1 | SITC of CPVC drain ping with supports, clamps of the following size. 25mm Dia at Gandhi Hospital |  |  |  | 66 | Rmt | 200 | 13200 | 8316
2 | Supply and installation of 2.2 TR 3 Star capable of delivering 21600 BTU/hr and above with operating on refrigerant R-32 / R-410 with condeser stand, layoing copper pipe of 15mm size of length 15 mt including Nitrile rubber insulation connected with 2.5 sqm x 4 core cable for power supply and equipped with drain pump. Makes : Daikin / Toshibha / Carrier / BlueStar / Hitachi /LG or equivalent |  |  |  | 1 | Nos | 72225 | 72225 | 45501.75
3 | Supply & Installation of MS Angle for Duct Support, Cable Tray Support and Condensing Unit Stand of size 40 X 40 x 5 mm Thick. |  |  |  | 92.2 | Kg | 190 | 17518 | 11036.34
4 | Supply & Installation of MS Angle for Duct Support, Cable Tray Support and Condensing Unit Stand of size 25 X 25 x 5 mm Thick. |  |  |  | 25.5 | Kg | 190 | 4845 | 3052.35
5 | Supply and installation of Canvas Connections For AHUS |  |  |  | 2 | Nos | 6500 | 13000 | 8190
| Total Amount | [6 empty] | 120788 | 76096.44
| GST @ 18% | [6 empty] | 21741.84
| Total Amount excluding CAMC | [6 empty] | 142529.84
| CAMC Amount as per below table | [6 empty] | 76096.44
| Total Amount including CAMC | [6 empty] | 218626.28
Comprehensive Annual Maintanance Charges post warranty period for 5 years(4th to 10th year) as per below table.
| Base Price |  |  | 120788
| S.No | Year | CAMC % | Amount
| 1 | 4th | 9% | 10870.92
| 2 | 5th | 9% | 10870.92
| 3 | 6th | 9% | 10870.92
| 4 | 7th | 9% | 10870.92
| 5 | 8th | 9% | 10870.92
| 6 | 9th | 9% | 10870.92
| 7 | 10th | 9% | 10870.92
| Total % |  | 63%
| Total Amount |  |  | 76096.44

## AVC-C
ANNEXURE-01
Sl. No | Item Description |  |  |  | Qty | Unit | Rate | Amount | CAMC Amount for 7 Years
Unit
1 | 50 LPH storage type Portable RO of dimensions 525 x 425 x 1450 mm (WxDxH) of approx. weight 75Kg consists of 4 nos of 80 GPD 3-layer Thin Film Composite (TFC) membrane with 0.0001-micron pore size which can prevent TDS, heavy metals and equipped with 6 stage purification process which reduces pesticides in the water for reducing scale formation when water is heated. The RO should take min input pressure of 0.6 kg/cm2, 2000 ppm of TDS in Water, 500 ppm of Hardness, 6.5 to 8.5 PH of water which can give output of 20 to 25 % recovery in purified water and can run on 230V AC, 50 Hz supply with operating temp of 5oC to 45oC. |  |  |  | 1 | Nos | 75000 | 75000 | 47250
2 | Providing and fixing Aluminium Extruded Section Body Tubular Type Hydraulic Door Closer (IS: 3564) with double speed adjustment with necessary accessories and screws etc. complete. Make: Haffele |  |  |  | 8 | Nos | 2819 | 22552 | 14207.76
3 | Providing, Fabricating and fixing full height V-board partitions of overall thickness of 75mm Partition frame work to be formed out of 50 X 25mm aluminium frame work placed vertically and horizontally at required centre to centre and cross braced with floor and ceiling channels. The cross bracing channels shall be provided also at above and below the partition framework and to be secured to floor at bottom and to any nearest structural member using galvanized metal screws and wooden / PVC rawl plugs. Partition framework to be cladded with 12.5mm thick tapered edge board on both sides of the partition in line and level fixed with drywall screws @ 300mm c/c with staggered joints to avoid through joints and finished with proprietary supplied jointing tape and compound. |  |  |  | 89.11 | Sqm | 1625 | 144803.75 | 91226.3625
4 | AHU shed with provision for fencing, door with lock- key arrangement shall be provided with Framework vertically made of MS Square Pipe frame: 2 Inches X 2 Inches, 16Gauge M S Fencing with wire mesh: ½ inch X ½inch. Supporting Structure M S Angle: 50 X 5mm GI pre-coated corrugated profile roof sheet: 0.5 mm thick duly supported with JHook 10 SWG with provision of door with lock and key AHU Shed with fencing should be duly enamel painted and with anti-rust coating from both sides. |  |  |  | 1 | Job | 300000 | 300000 | 189000
| Total Amount | [6 empty] | 542355.75 | 341684.1225
| GST @ 18% | [6 empty] | 97624.035
| Total Amount excluding CAMC | [6 empty] | 639979.785
| CAMC Amount as per below table | [6 empty] | 341684.1225
| Total Amount including CAMC | [6 empty] | 981663.9075
Comprehensive Annual Maintanance Charges post warranty period for 7 years(4th to 10th year) as per below table.
| Base Price |  |  | 542355.75
| S.No | Year | CAMC % | Amount
| 1 | 4th | 9% | 48812.0175
| 2 | 5th | 9% | 48812.0175
| 3 | 6th | 9% | 48812.0175
| 4 | 7th | 9% | 48812.0175
| 5 | 8th | 9% | 48812.0175
| 6 | 9th | 9% | 48812.0175
| 7 | 10th | 9% | 48812.0175
| Total % |  | 63%
| Total Amount |  |  | 341684.1225

## AVC-EQP
ANNEXURE-01
Sl. No | Item Description |  |  |  | Qty | Unit | Rate | Amount | CAMC Amount for 7 Years
Unit
1 | Fowler Two Function Bed with ABS Panel, ABS Side Railings, Wheels, Mattress Pillow, & Bed Fixing IV Road Features (Knee rest & Backrest) Size-L,84, W-42, H-24. The finished bed must be rust proof, pre-treated and treated with epoxy polyester antimicrobial powder coated to increase the bacteriostatic property. The bed must be quoted with washable cover of lasting quality. The mattress should be made of high-density PU foam of 100 mm thickness. |  |  |  | 5 | Nos | 39000 | 195000 | 122850
2 | Bed side Table with ABS Plastic body construction having 1 drawer and an adequated space with openable door with handle of size. |  |  |  | 5 | Nos | 9000 | 45000 | 28350
3 | Corporate Deluxe Locker with SS 304 grade Top of size 508 x 406 x 762 mm having 1 drawer and an adequate storage space with openable door with SS handle. Equipped with wheels for easy movement. |  |  |  | 1 | Nos | 8400 | 8400 | 5292
4 | Bed side stand with full SS 304 grade constructionof size 406 x 203 x 762 mm equipped with SS Handles on top for carrying. |  |  |  | 1 | Nos | 9300 | 9300 | 5859
5 | Bed side stand with full GI Powder coated constructionof size 406 x 203 x 762 mm equipped with powder coated handles on top for carrying. |  |  |  | 1 | Nos | 4200 | 4200 | 2646
6 | Cryo Can 11 Ltr |  |  |  | 1 | Nos | 32000 | 32000 | 20160
7 | 3-Bay Surgical Scrub Station/Sink to be provided for use in the OT complex providing for pre-procedural scrub up with minimum three bay sink combination as suitable. The Scrub Station shall be made of Stainless Steel of 304 grade sheet with minimum thickness of 1.5mm and designed as per the high aesthetics of the theatre complex. Shall have smoothened surfaces & corners. The scrub sink shall be provided with a front access panel which shall be easily removed for access to the water-controlled valve, waste connections, stoppers & strainers. The Scrub station should be equipped with two foot operated and one elbow operated mechanisms. Shall have provision for fresh water and waste water piping ready for connections. |  |  |  | 1 | Nos | 97000 | 97000 | 61110
8 | Supply of Sample collection bed of size 1850x620x700 mm, featuring plain design equipped with 1 drawer and storage space with openable door type with SS-304 grade handles positioned at head side of the bed. The material of construction of the bed to be of Powder coated GI for entire body. All the legs of the bed to be capped with nylon bushes. The finished bed must be rust proof, pre-treated and treated with epoxy polyester antimicrobial powder coated to increase the bacteriostatic property. The bed must be quoted with washable cover of lasting quality. The mattress should be made of high-density PU foam of 100 mm thickness. |  |  |  | 1 | Nos | 29000 | 29000 | 18270
9 | Supply of a Sample collection chair of size 800x580x700 mm, meeting medical standards, featuring adjustable height and tilt padded armrests, and durable upholstery, suitable for comfortable patient positioning during blood donation or phlebotomy procedures. The chair is made from mild steel with good finish. The chair to be of easy to manoeuvre and transport and of light weight. |  |  |  | 1 | Nos | 16200 | 16200 | 10206
10 | Supply and installation of Stainless Steel 304 grade CSSD Rectangular Working table of size 1200x480x1050 mm with inbuilt sink of size 450x380x300 mm equipped with jali at bottom to stop any large particles entering into the drain to avoid drain clog. The table to be designed with raised front section and provision of SS sheet at foot level of the table forming a flat surface for storing/placing of items. The table to be of ready to use with all necessary fittings. |  |  |  | 1 | Nos | 46000 | 46000 | 28980
11 | Writing board made of Pressed wood coated with melamine surface. It has 900mm writing surface height, 1200mm writing surface wide, and 11mm deep, suitable for working on dry wipe board markers. It has an aluminium frame with dark grey plastic corner caps and maker tray. It is enabled with an easy wall mounting with a concealed slot system. It can be mounted either horizontally or vertically. IT consists of a complete mounting set, marker tray, and a board marker. |  |  |  | 2 | Nos | 2100 | 4200 | 2646
12 | Providing MDF 18 mm thick wooden table of size 900x450 mm with 1 drawer at right side of the table. The table includes keyboard tray. Bottom equipped with nylone bushes for floor protection and easy movement. |  |  |  | 2 | Nos | 14500 | 29000 | 18270
13 | Supply of a 3-seater sofa upholstered with PU leather, with a high-quality finish. The sofa shall feature a kiln-dried hardwood frame for durability, reinforced with corner blocks for stability. The seat cushions to be constructed with high-density foam padding for comfort and resilience, while the backrests shall feature a combination of foam and fiberfill for optimal support. The sofa arms shall be padded for additional comfort, with sleek wooden or metal legs providing sturdy support. The leather upholstery shall be treated for resistance to stains and spills, ensuring longevity and ease of care. The dimensions of the sofa shall be suitable to accommodate three individuals comfortably, with ample seating space and ergonomic design considerations. |  |  |  | 2 | Nos | 24000 | 48000 | 30240
14 | Supply and fixing of Powder coated GI stand with 4 nos height adjustable racks of size 670x410x1570 mm connected to two big rods of rectangular hollow section type supported with 4 legs with wheels with brakes to restrict movement/easy movement. Equipped with frame for holding a cylinder. A lockable box type space to be provided at bottom rack. |  |  |  | 1 | Nos | 80000 | 80000 | 50400 | 86400
15 | Supply of SS-304 working table of size 685x685x762 mm with I type support inner frame SS-304 pipe of size 40x40x1.5 mm, and top with 1.5 mm thick SS-304 sheet. All four legs equipped with adjustable nylone bushes. |  |  |  | 2 | Nos | 16300 | 32600 | 20538
16 | Supply of SS-304 working table of size 457x457x762 mm with I type support inner frame SS-304 pipe of size 40x40x1.5 mm, and top with 1.5 mm thick SS-304 sheet. All four legs equipped with adjustable nylone bushes. |  |  |  | 1 | Nos | 14500 | 14500 | 9135
17 | Supply of SS-304 working table of size 610x610x762 mm with I type support inner frame SS-304 pipe of size 40x40x1.5 mm, and top with 1.5 mm thick SS-304 sheet. All four legs equipped with adjustable nylone bushes. |  |  |  | 1 | Nos | 15100 | 15100 | 9513
18 | Supply of SS-304 working table of size 660x610x762 mm with I type support inner frame SS-304 pipe of size 40x40x1.5 mm, and top with 1.5 mm thick SS-304 sheet. All four legs equipped with adjustable nylone bushes. |  |  |  | 1 | Nos | 15800 | 15800 | 9954
| The Multipurpose Electro Hydraulic Mobile OT Table is designed for gynecological surgical procedures, featuring a wide range of adjustments for optimal patient positioning. It offers precise control with movement controls at the side of the table and a wired remote control handset and features like S. S. Arm Rest, Anaesthetic Screen, Lithotomy Leg Holders with Stirr-Ups, Leather Wristlets, Padded Leg Rest, Anti-static mattress, and an additional Poly-urethane mattress. Built with a Stainless Steel 304 frame and bottom, it ensures durability. The table top, reinforced with three-section stainless steel and radiolucent capabilities, allows for comprehensive patient support. Its flexibility includes 360° rotation, adjustable Trendelenburg, Reversed Trendelenburg, Head Section, Back Section, and Leg Section. Physical specifications include a 1900 mm x 525 mm top with an elevation range of 640mm to 1040mm, supporting patients up to 140 kg. Environmental considerations ensure operational efficiency in various conditions. |  |  |  | 1 | Nos | 210000 | 210000 | 132300
| Total Amount | [6 empty] | 721300 | 454419
| GST @ 18% | [6 empty] | 129834
| Total Amount excluding CAMC | [6 empty] | 851134
| CAMC Amount as per below table | [6 empty] | 454419
| Total Amount including CAMC | [6 empty] | 1305553
Comprehensive Annual Maintanance Charges post warranty period for 7 years(4th to 10th year) as per below table.
| Base Price |  |  | 721300
| S.No | Year | CAMC % | Amount
| 1 | 4th | 9% | 64917
| 2 | 5th | 9% | 64917
| 3 | 6th | 9% | 64917
| 4 | 7th | 9% | 64917
| 5 | 8th | 9% | 64917
| 6 | 9th | 9% | 64917
| 7 | 10th | 9% | 64917
| Total % |  | 63%
| Total Amount |  |  | 454419

## Template
ANNEXURE-01
Sl. No | Item Description |  |  |  | Qty | Unit | Rate | Amount | CAMC Amount for 5 Years
Unit
1 | Supply and installation of Under-deck Thermocol insulation sheets of 40 mm thick having more than 30 Kg/m3 density to ceiling by brush application of bituminous adhesive to the sheets and secured with screw along with washer at the centre of the sheet supported with GI wire running diagonally to the sheet of 2mm dia. |  |  |  | 262.74 | Sqm | 859.322 | 225778.2712 | 94826.8739
2 | Supply and Laying of Floor leveller compund (self smoothing mortar) to level the surface, having bulk density not less than 2 Kg/l for a fresh mortor, compressive strength not less than 20 N/mm2, initial setting time not more than 40 minutes and offer a 25 minutes working time, The surface should be walkabe after 30 min of laying. (ICUs) |  |  |  | 725.55 | Sqm | 1237.2881 | 897714.4068 | 377040.0508
3 | Providing dadooing to walls with glazed full body ceramic wall tiles of size 800 x 1600 mm with any type of design texture such as marble finish, wooden, bamboo, stone finishes etc., scratch less, stain free and thickness between 6-8 mm 1st quality conforming to IS:13711, IS:13712, IS:13630 Parts 1 to 15 of any colour and finish in all shades and designs with borders as approved by Engineer-in-Charge set over base coat of CM1:5 12 mm thick using screened sand with cement slurry of honey like consistency spread at the rate of 3.30 kgs per sqm and jointing with white cement paste mixed with pigment of matching shade to full depth, including cost of all materials like tiles, cement, sand and water etc., complete for finished item of work. |  |  |  | 119.385 | Sqm | 3953.3898 | 471975.4449 | 198229.6869
4 | Glass Sliding Door in TIR-2 & TIR-3 *Size 1.8mt x 2.1mt. *The door will be sliding. ”The material of door will be Glass. *The door will be operate by sensor. *The door movement will be easy and smooth. |  |  |  | 2 | Nos | 229047.4576 | 458094.9153 | 192399.8644
5 | V-Board Partitions on top of false ceiling for partitioning of sterile corridor and non-sterile corridor |  |  |  | 16 | Sqm | 3084.7458 | 49355.9322 | 20729.4915
6 | GI Powder Coated Sliding Doors (0.8mm shutter sheet thk & 1.2mm frame sheet thk with Single Rebate and Honeycomb Infill) Double Leaf Door 1200 x 2100mm with Accessories (Sliding Track for Double Door, Sliding Dead Lock Enox, Concealed Handles 100mm Ahlada, Flush Bolt 300mm Ahlada, SS304 Kick Plate upto 350mm ht, DG Clear Float Glass 350x750x6mm with Adhesive Tape & Silicon Sealant) |  |  |  | 1 | Nos | 71299.1525 | 71299.1525 | 29945.6441
| Total Amount | [6 empty] | 2174218.1229 | 913171.6116
| GST @ 18% | [6 empty] | 391359.2621
| Total Amount excluding CAMC | [6 empty] | 3478748.9966
| CAMC Amount as per below table | [6 empty] | 913171.6116
| Total Amount including CAMC | [6 empty] | 4391920.6082
Comprehensive Annual Maintanance Charges post warranty period for 5 years(6th to 10th year) @8, 8,8, 9, 9 % respectively.
| Base Price |  |  | 2174218.1229
| S.No | Year | CAMC % | Amount
| 1 | 6th | 8 | 173937.4498
| 2 | 7th | 8 | 173937.4498
| 3 | 8th | 8 | 173937.4498
| 4 | 9th | 9 | 195679.6311
| 5 | 10th | 9 | 195679.6311
| Total % |  | 42
| Total Amount |  |  | 913171.6116

## A&A
ANNEXURE-01
Sl. No | Item Description |  |  |  | Qty | Unit | Rate | Amount | CAMC Amount for 7 Years
Unit
1 | Supply and fixing of Dress Hangers of size 450mm length with 8 Nos hooks, each capped with plastic protective cap (in change rooms). |  |  |  | 5 | Nos | 535 | 2675 | 1792.25
2 | Name Plates (Room Names) as approved by the Engineer In-charge. |  |  |  | 31 | Nos | 630 | 19530 | 13085.1
3 | Supply and fixing of High Quality IVF Procedural photos placed between two transparent acrylic boards fixed with studs at four corners to the PVC frame placed on DBs. |  |  |  | 14 | Nos | 9500 | 133000 | 89110
4 | Side Paneling 14mm thick Indoor WPC louvers providing & Fixing full height said 12mm SHERA Board panneling till slab with wooden framing in line and level including fling joints and joint calls and neccesary hardware |  |  |  | 18.58 | Sqm | 16500 | 306570 | 205401.9
5 | 2 WPC LOUVers Ceiling Praviding and fixing WPC Louvers to the Celling of which includes G Perimeter Channels of size 0.55mm thick (having One Flange of 20mm and another flange of 30mm and a web of 27mm) along with perimeter of ceiling screw fixed to brick wall/partition with the help of Nylon sleeves and screws at 610mm centres. Then suspending G1 intermediate channels of size 45mm 10. 9mm thick with 2 flanges of 15mm each) from the soffis at 1220mm centres with ceiling angle of width 25mm x 10mm X0.55mm thick fixed to saffit with GI. cleat and steel expansion fasteners. Ceiling section of 0.55mm thick having knurled web of 51.5mm and 2 flanges of 26mm each with lips of 10.5mm are Soft then fixed to the intermediate channel with the help of connecting clips and in direction perpendicular to the intermediate channel at 450 mm centres IN ULTRA GI CHANNELS Rute to be included all kinds of profiles and cut outs required for light fixtures Speakers. Smoke detector, trao doors and AC grill in the ceiling. |  |  |  | 7.58 | Sqm | 18400 | 139472 | 93446.24
6 | Providing and fixing of wooden box celling at the top of Reception table with Imm thick laminate with wooden framing of BWP 710 Gurjan Ply support from the top slab end to end with neccesary cutouts for lighting and hardware. |  |  |  | 2.58 | Sqm | 12000 | 30960 | 20743.2
7 | Back Pannelling with laminate Finish of 1 mm thick Providing & Fixing full height solid 12mm BWF 710 GURIAN PLY Board panneling till slab with wooden framing in line and level including the neccesary hardware and cutouts |  |  |  | 7.5 | Sqm | 11000 | 82500 | 55275
8 | Providing and fixing ISI marked Magnetic 25mm Block Board door shutters, core of block board construction with frame of 1st class hard wood and fixing 1 MM laminate on both faces of shutters, including ISI marked Stainless Steel butt hinges with necessary screws and tower bait complete |  |  |  | 1 | Nos | 15000 | 15000 | 10050
9 | Providing and fixing PVC frames on the walls for covering the area over DB Boxes with 12 mm PVC sheets in a box section of 60mm thick including neccesary accessories. |  |  |  | 4.45 | Sqm | 6800 | 30260 | 20274.2
10 | Providing and Fixing of (25X25) mm WPC corner L-Patties at the topper edge of the wall tile cladding |  |  |  | 38 | Rmt | 250 | 9500 | 6365
11 | Providing and Fixing of SS-ROSE GOLD corner & L-Patties at the SIDE edge of the wall tile cladding |  |  |  | 7 | Nos | 1600 | 11200 | 7504
12 | Providing and fixing of Door Frame panneling with 18mm BWP 710 Gurjan Ply and 8mm thick beeding half rounded on the both sides with 1mm thick laminate Finish with necessary handware and Polishing. |  |  |  | 11.58 | Rmt | 2300 | 26634 | 17844.78
13 | Providing and fixing the 60mm Thick Box framing as the back support for the name plate installed of 18mm BWP 710 Gurjan and 1mm thick high glossy laminate finish |  |  |  | 1.32 | Sqm | 11500 | 15180 | 10170.6
14 | Providing and Fixing of 32mm Double Flush Door with frame 8mm beeding on its edges on four sides with polishing finish and 1 mm thick laminate on the both sides of which including ISI marked Stainless Steel centre lock and butt hinges with necessary screws and tower bolt complete |  |  |  | 1 | Nos | 53000 | 53000 | 35510
15 | Providing and fixing of Side wall decor Frame for photo hangings panneling with 18mm BWP 710 Gurjan Ply and 8mm thick beeding half rounded on the both sides with 1mm thick laminate finish with necessary hardware and Polishing |  |  |  | 10.97 | Rmt | 2300 | 25231 | 16904.77
16 | Supply and fixing of Wall paper as approved by the Engineer In-charge. |  |  |  | 2 | Nos | 5500 | 11000 | 7370
17 | Supply and fixing of Main IVF logo with LED arcylic board fixed with LEDs inside and electrical connections as approved by the Engineer In-charge. |  |  |  | 1 | Set | 12000 | 12000 | 8040
18 | Supply and fixing of Main Entrance LED 3D Arcylic letter board fixed with LEDs inside and electrical connections as approved by the Engineer In-charge. |  |  |  | 1 | Set | 46500 | 46500 | 31155
19 | POINT WIRING and LIGHT FIXTURES & FITTINGS Providing Point wiring for Light Concealed Type with 2 x 1.0 Sq.mm. Copper. PVC Insulated wire 1.1 KV grade ISI marked in rigid ISI mark PVC conduit minimum 20mm (1.6 mm thick) dia. with necessary accessories and Pannel and Spot LED lights of Havells/Wipro company. |  |  |  | 13 | Nos | 1260 | 16380 | 10974.6
20 | Proving and fixing Profile lights at wpc Louvers |  |  |  | 10.66 | Rmt | 1250 | 13325 | 8927.75
21 | Proving and fixing Track lights at side wall décor frame with 4 fixtures and 2 tracks |  |  |  | 1 | Job | 10100 | 10100 | 6767
22 | External Profile light at Name Plate |  |  |  | 2.89 | Rmt | 1250 | 3612.5 | 2420.375
| Total Amount | [6 empty] | 1013629.5 | 679131.765
| GST @ 18% | [6 empty] | 182453.31
| Total Amount excluding CAMC | [6 empty] | 1196082.81
| CAMC Amount as per below table | [6 empty] | 679131.765
| Total Amount including CAMC | [6 empty] | 1875214.575
Comprehensive Annual Maintanance Charges post warranty period for 7 years(4th to 10th year) as per below table.
| Base Price |  |  | 1013629.5
| S.No | Year | CAMC % | Amount
| 1 | 4th | 9% | 91226.655
| 2 | 5th | 9% | 91226.655
| 3 | 6th | 9% | 91226.655
| 4 | 7th | 10% | 101362.95
| 5 | 8th | 10% | 101362.95
| 6 | 9th | 10% | 101362.95
| 7 | 10th | 10% | 101362.95
| Total % |  | 67%
| Total Amount |  |  | 679131.765

## GASTECH
ANNEXURE-01
Sl. No | Item Description |  |  |  | Qty | Unit | Rate | Amount | CAMC Amount for 5 Years
Unit
1 | Fully Automatic Control Panel for Oxygen System: Supply, installation and commissioning of Fully Automatic control panel for unintrupted Oxygen supply |  |  |  | 1 | Set | 189194 | 189194 | 126759.98
2 | Trigas Emergency Manifold: SITC of Emergency Trigas Manifold maximum for 1+1 D-type Gas Cylinders complete with separate NRVs, tail pipes and brass fittings for each cylinders. |  |  |  | 1 | Set | 10390 | 10390 | 6961.3
3 | Fully Automatic Control Panel for Trigas System: Supply, installation and commissioning of Fully Automatic control panel for unintrupted Nirous Oxide supply. |  |  |  | 1 | Set | 189194 | 189194 | 126759.98
4 | Fully Automatic Control Panel for CO2 System: Supply, installation and commissioning of Fully Automatic control panel for unintrupted Nirous Oxide supply. |  |  |  | 1 | Set | 189194 | 189194 | 126759.98
5 | SITC of Medical Air-4 Outlet with matching probe as per HTM-2022/02-01 of UK/ NFPA 99C of USA as per enclosed technical Specification. |  |  |  | 6 | Nos | 13468 | 80808 | 54141.36
6 | 12 mm Valve for 12 mm OD Pipe Note: New item added |  |  |  | 3 | Nos. | 1004 | 3012 | 2018.04
7 | Supply and installation of 46.7 liter size CO2 cylinders confirming to IS:7285 Part-2 (2017). The cylinder shall have an outer diameter of 232mm, a nominal length of 1365mm, and a minimum wall thickness of 5.3mm, ensuring robustness and safety during handling and storage. The cylinders shall have a capacity of 46.7 liters and comply with the standards set forth by the Indian Standards Institute. They shall be constructed from high-quality 37 Mn (Carbon Manganese) material, guaranteeing durability and reliability. The design shall feature a concave bottom and neck threading conforming to IS 3224:2002 14 TPI Type 4 - Size 2 specifications, facilitating secure connections and ease of use. The cylinder shall be capable of withstanding a test pressure of 250 BAR and have a working pressure of 150 BAR. The nominal tare weight of each cylinder shall be 51 kg. The cylinder includes first fill. |  |  |  | 2 | Nos | 22518 | 45036 | 30174.12
8 | Supply and installation of 46.7 liter size O2 cylinders confirming to IS:7285 Part-2 (2017). The cylinder shall have an outer diameter of 232mm, a nominal length of 1365mm, and a minimum wall thickness of 5.3mm, ensuring robustness and safety during handling and storage. The cylinders shall have a capacity of 46.7 liters and comply with the standards set forth by the Indian Standards Institute. They shall be constructed from high-quality 37 Mn (Carbon Manganese) material, guaranteeing durability and reliability. The design shall feature a concave bottom and neck threading conforming to IS 3224:2002 14 TPI Type 4 - Size 2 specifications, facilitating secure connections and ease of use. The cylinder shall be capable of withstanding a test pressure of 250 BAR and have a working pressure of 150 BAR. The nominal tare weight of each cylinder shall be 51 kg. The cylinder includes first fill. |  |  |  | 2 | Nos | 19278 | 38556 | 25832.52
9 | Supply and installation of 46.7 liter size Trigas cylinders confirming to IS:7285 Part-2 (2017). The cylinder shall have an outer diameter of 232mm, a nominal length of 1365mm, and a minimum wall thickness of 5.3mm, ensuring robustness and safety during handling and storage. The cylinders shall have a capacity of 46.7 liters and comply with the standards set forth by the Indian Standards Institute. They shall be constructed from high-quality 37 Mn (Carbon Manganese) material, guaranteeing durability and reliability. The design shall feature a concave bottom and neck threading conforming to IS 3224:2002 14 TPI Type 4 - Size 2 specifications, facilitating secure connections and ease of use. The cylinder shall be capable of withstanding a test pressure of 250 BAR and have a working pressure of 150 BAR. The nominal tare weight of each cylinder shall be 51 kg. The cylinder includes first fill. |  |  |  | 2 | Nos | 31590 | 63180 | 42330.6
10 | Supply and installation of 46.7 liter size N2O cylinders confirming to IS:7285 Part-2 (2017). The cylinder shall have an outer diameter of 232mm, a nominal length of 1365mm, and a minimum wall thickness of 5.3mm, ensuring robustness and safety during handling and storage. The cylinders shall have a capacity of 46.7 liters and comply with the standards set forth by the Indian Standards Institute. They shall be constructed from high-quality 37 Mn (Carbon Manganese) material, guaranteeing durability and reliability. The design shall feature a concave bottom and neck threading conforming to IS 3224:2002 14 TPI Type 4 - Size 2 specifications, facilitating secure connections and ease of use. The cylinder shall be capable of withstanding a test pressure of 250 BAR and have a working pressure of 150 BAR. The nominal tare weight of each cylinder shall be 51 kg. The cylinder includes first fill. |  |  |  | 2 | Nos | 35640 | 71280 | 47757.6
| Total Amount | [6 empty] | 879844 | 589495.48
| GST @ 18% | [6 empty] | 158371.92
| Total Amount excluding CAMC | [6 empty] | 1038215.92
| CAMC Amount as per below table | [6 empty] | 589495.48
| Total Amount including CAMC | [6 empty] | 1627711.4
Comprehensive Annual Maintanance Charges post warranty period for 7 years(4th to 10th year) as per below table.
| Base Price |  |  | 879844
| S.No | Year | CAMC % | Amount
| 1 | 4th | 9% | 79185.96
| 2 | 5th | 9% | 79185.96
| 3 | 6th | 9% | 79185.96
| 4 | 7th | 10% | 87984.4
| 5 | 8th | 10% | 87984.4
| 6 | 9th | 10% | 87984.4
| 7 | 10th | 10% | 87984.4
| Total % |  | 67%
| Total Amount |  |  | 589495.48

## LSS
ANNEXURE-01
Sl. No | Item Description |  |  |  | Qty | Unit | Rate | Amount | CAMC Amount for 5 Years
Unit
1 | Fully Automatic Control Panel for Oxygen System: Supply, installation and commissioning of Fully Automatic control panel for unintrupted Oxygen supply |  |  |  | 1 | Set | 183939 | 183939 | 119560.35
2 | Trigas Emergency Manifold: SITC of Emergency Trigas Manifold maximum for 1+1 D-type Gas Cylinders complete with separate NRVs, tail pipes and brass fittings for each cylinders. |  |  |  | 1 | Set | 10101 | 10101 | 6565.65
3 | Fully Automatic Control Panel for Trigas System: Supply, installation and commissioning of Fully Automatic control panel for unintrupted Nirous Oxide supply. |  |  |  | 1 | Set | 183939 | 183939 | 119560.35
4 | Fully Automatic Control Panel for CO2 System: Supply, installation and commissioning of Fully Automatic control panel for unintrupted Nirous Oxide supply. |  |  |  | 1 | Set | 183939 | 183939 | 119560.35
5 | SITC of Medical Air-4 Outlet with matching probe as per HTM-2022/02-01 of UK/ NFPA 99C of USA as per enclosed technical Specification. |  |  |  | 6 | Nos | 13094 | 78564 | 51066.6
6 | 12 mm Valve for 12 mm OD Pipe Note: New item added |  |  |  | 3 | Nos. | 977 | 2931 | 1905.15
7 | Supply and installation of 46.7 liter size CO2 cylinders confirming to IS:7285 Part-2 (2017). The cylinder shall have an outer diameter of 232mm, a nominal length of 1365mm, and a minimum wall thickness of 5.3mm, ensuring robustness and safety during handling and storage. The cylinders shall have a capacity of 46.7 liters and comply with the standards set forth by the Indian Standards Institute. They shall be constructed from high-quality 37 Mn (Carbon Manganese) material, guaranteeing durability and reliability. The design shall feature a concave bottom and neck threading conforming to IS 3224:2002 14 TPI Type 4 - Size 2 specifications, facilitating secure connections and ease of use. The cylinder shall be capable of withstanding a test pressure of 250 BAR and have a working pressure of 150 BAR. The nominal tare weight of each cylinder shall be 51 kg. The cylinder includes first fill. |  |  |  | 2 | Nos | 21893 | 43786 | 28460.9
8 | Supply and installation of 46.7 liter size O2 cylinders confirming to IS:7285 Part-2 (2017). The cylinder shall have an outer diameter of 232mm, a nominal length of 1365mm, and a minimum wall thickness of 5.3mm, ensuring robustness and safety during handling and storage. The cylinders shall have a capacity of 46.7 liters and comply with the standards set forth by the Indian Standards Institute. They shall be constructed from high-quality 37 Mn (Carbon Manganese) material, guaranteeing durability and reliability. The design shall feature a concave bottom and neck threading conforming to IS 3224:2002 14 TPI Type 4 - Size 2 specifications, facilitating secure connections and ease of use. The cylinder shall be capable of withstanding a test pressure of 250 BAR and have a working pressure of 150 BAR. The nominal tare weight of each cylinder shall be 51 kg. The cylinder includes first fill. |  |  |  | 2 | Nos | 18743 | 37486 | 24365.9
9 | Supply and installation of 46.7 liter size Trigas cylinders confirming to IS:7285 Part-2 (2017). The cylinder shall have an outer diameter of 232mm, a nominal length of 1365mm, and a minimum wall thickness of 5.3mm, ensuring robustness and safety during handling and storage. The cylinders shall have a capacity of 46.7 liters and comply with the standards set forth by the Indian Standards Institute. They shall be constructed from high-quality 37 Mn (Carbon Manganese) material, guaranteeing durability and reliability. The design shall feature a concave bottom and neck threading conforming to IS 3224:2002 14 TPI Type 4 - Size 2 specifications, facilitating secure connections and ease of use. The cylinder shall be capable of withstanding a test pressure of 250 BAR and have a working pressure of 150 BAR. The nominal tare weight of each cylinder shall be 51 kg. The cylinder includes first fill. |  |  |  | 2 | Nos | 30713 | 61426 | 39926.9
10 | Supply and installation of 46.7 liter size N2O cylinders confirming to IS:7285 Part-2 (2017). The cylinder shall have an outer diameter of 232mm, a nominal length of 1365mm, and a minimum wall thickness of 5.3mm, ensuring robustness and safety during handling and storage. The cylinders shall have a capacity of 46.7 liters and comply with the standards set forth by the Indian Standards Institute. They shall be constructed from high-quality 37 Mn (Carbon Manganese) material, guaranteeing durability and reliability. The design shall feature a concave bottom and neck threading conforming to IS 3224:2002 14 TPI Type 4 - Size 2 specifications, facilitating secure connections and ease of use. The cylinder shall be capable of withstanding a test pressure of 250 BAR and have a working pressure of 150 BAR. The nominal tare weight of each cylinder shall be 51 kg. The cylinder includes first fill. |  |  |  | 2 | Nos | 34650 | 69300 | 45045
| Total Amount | [6 empty] | 855411 | 556017.15
| GST @ 18% | [6 empty] | 153973.98
| Total Amount excluding CAMC | [6 empty] | 1009384.98
| CAMC Amount as per below table | [6 empty] | 556017.15
| Total Amount including CAMC | [6 empty] | 1565402.13
Comprehensive Annual Maintanance Charges post warranty period for 7 years(4th to 10th year) as per below table.
| Base Price |  |  | 855411
| S.No | Year | CAMC % | Amount
| 1 | 4th | 9% | 76986.99
| 2 | 5th | 9% | 76986.99
| 3 | 6th | 9% | 76986.99
| 4 | 7th | 9% | 76986.99
| 5 | 8th | 9% | 76986.99
| 6 | 9th | 10% | 85541.1
| 7 | 10th | 10% | 85541.1
| Total % |  | 65%
| Total Amount |  |  | 556017.15

## SRINIDHI
ANNEXURE-01
Sl. No | Item Description |  |  |  | Qty | Unit | Rate | Amount | CAMC Amount for 7 Years
Unit
1 | Supply and Transportation 56W Clean room Light fixture, 2' x2' (600mm x600mm) LED luminaire CRCA powder coated white after phosphocreatine treatment provided as standard. with high efficiency acrylic wide diffuser, with wide operating voltage range, Power factor > 0.9, Surge protection >2KV, System efficacy of >100 lumens/watt, CCT: 3000K - 6500K as desired by the department, CRI >80, and THD is less than 15% etc., complete. MAKE: Philips |  |  |  | 12 | Nos | 18111 | 217332 | 136919.16 | 17249
2 | Supply and Transportation of 48" ( 1200 mm) High Speed Fan Sweep Celing Fan with all accessories etc., complete. Make Havells S S 390 |  |  |  | 14 | Nos | 4533 | 63462 | 39981.06 | 4317
3 | Labour charges for fixing of ceiling fan and regulator including transportation and giving connections with twin core wire etc., complete. Makes : Finolex / RR Kabel / Havells / Polycab / GM / Million / V-Guard / Gold Medal / HPL / RPG. |  |  |  | 14 | Nos | 204 | 2856 |  | 194
4 | Supply and fixing of Anchor fastner with fan hook / Providing MS Fan hook with grouting and cement plastering. |  |  |  | 14 | Nos | 133 | 1862 | 1173.06 | 127
5 | Supply & fixing of 2nos6A, 2 in one socket - 2 Nos with 6A switch control - 2 Nos modular type with and GI switch box with front cover plate including all labour charges etc., complete. Makes of switches: -Hooney well Benz Plus |  |  |  | 30 | Nos | 1244 | 37320 | 23511.6 | 1185
6 | Supply,Transportation of 15" (375mm) ISI, 900 RPM Heavy duty exhaust fan with metallic blades wiremesh with all accessories etc complete Makes : Crompton / Almonard / Havells Turbo Force SP. |  |  |  | 1 | Nos | 4891 | 4891 | 3081.33 | 4658
7 | Labour charges for fixing the exhaust fan in wall with necessary connections and masonary work of making hole, finishing etc., complete. |  |  |  | 1 | Nos | 857 | 857 | 539.91 | 816
8 | Supply and erecting 19/20mm steel tube down rod of one meter length with bolts & nuts duly painted with matching colour of fan complete |  |  |  | 14 | Nos | 180 | 2520 | 1587.6 | 171
9 | Supply and fixing of 12 Way SPN DB Horizontal with IP 43 Protection as per IS:13032 Makes: Legrand and Supply and Fixing of 1 No., of 63A FP MCB as incomer and 8 Nos 6-32 A 10kA SP MCBs Makes: Legrand-DX3 as out goings including internal connections and labour charges for FLUSH Mounting etc., complete. (For UPS DBs) |  |  |  | 1 | No | 10394 | 10394 | 6548.22 | 9899
10 | Supply and fixing of cable adopteres box with cover for DBs including, massanory work etc., complete., |  |  |  | 8 | Nos | 4725 | 37800 | 23814 | 4500
11 | Supply and Installation of control cum transmission wiring of size 4C x 2.5 Sqmm copper wire to be laid in heavy grade PVC conduit including all fixing and accessories as At Gandhi Hospital |  |  |  | 20 | Rmt | 317 | 6340 | 3994.2 | 302
12 | Supply and Installation of control cum transmission wiring of size 2C x 1.5 Sqmm copper wire to be laid in heavy grade PVC conduit including all fixing and accessories as At Gandhi Hospital |  |  |  | 190 | Rmt | 190 | 36100 | 22743 | 181
13 | 4C x 1.5 Sqmm Copper Flexible Cable For Condensing Unit to Electrical Panel |  |  |  | 74.1 | Rmt | 145 | 10744.5 | 6769.035
14 | POINT WIRING and LIGHT FIXTURES & FITTINGS Providing Point wiring for Light Concealed Type with 2 x 1.0 Sq.mm. Copper. PVC Insulated wire 1.1 KV grade ISI marked in rigid ISI mark PVC conduit minimum 20mm (1.6 mm thick) dia. with necessary accessories and Pannel and Spot LED lights of Havells/Wipro company. |  |  |  | 13 | Nos | 1260 | 16380 | 10319.4 | 1200
15 | Proving and fixing Profile lights at wpc Louvers |  |  |  | 10.66 | Rmt | 1241 | 13229.06 | 8334.3078 | 1182
16 | Proving and fixing Track lights at side wall décor frame with 4 fixtures and 2 tracks |  |  |  | 1 | Job | 10080 | 10080 | 6350.4 | 9600 |  | 13229.06 | 13229
17 | External Profile light at Name Plate |  |  |  | 2.89 | Rmt | 1241 | 3586 | 2259.18 | 1182
| Total Amount | [6 empty] | 475753.56 | 297925.4628
| GST @ 18% | [6 empty] | 85636
| Total Amount excluding CAMC | [6 empty] | 561389.56
| CAMC Amount as per below table | [6 empty] | 299724.7428
| Total Amount including CAMC | [6 empty] | 861114.3028
Comprehensive Annual Maintanance Charges post warranty period for 5 years(6th to 10th year) @8, 8, 9, 9, 9 % respectively.
37200.72
| Base Price |  |  | 475753.56
| S.No | Year | CAMC % | Amount
| 1 | 4th | 9% | 42817.8204 | [5 empty] | 37201
| 2 | 5th | 9% | 42817.8204
| 3 | 6th | 9% | 42817.8204
| 4 | 7th | 9% | 42817.8204
|  | 8th | 9% | 42817.8204
|  | 9th | 9% | 42817.8204
| 5 | 10th | 9% | 42817.8204
| Total % |  | 63%
| Total Amount |  |  | 299724.7428

## iCARE
ANNEXURE-01
Sl. No | Item Description |  |  |  | Qty | Unit | Rate | Amount | CAMC Amount for 7 Years
Unit
1 | Supply and Transportation 56W Clean room Light fixture, 2' x2' (600mm x600mm) LED luminaire CRCA powder coated white after phosphocreatine treatment provided as standard. with high efficiency acrylic wide diffuser, with wide operating voltage range, Power factor > 0.9, Surge protection >2KV, System efficacy of >100 lumens/watt, CCT: 3000K - 6500K as desired by the department, CRI >80, and THD is less than 15% etc., complete. MAKE: Philips |  |  |  | 12 | Nos | 18629 | 223548 | 140835.24 | 17249 | 18629
2 | Supply and Transportation of 48" ( 1200 mm) High Speed Fan Sweep Celing Fan with all accessories etc., complete. Make Havells S S 390 |  |  |  | 14 | Nos | 4662 | 65268 | 41118.84 | 4317 | 4662
3 | Labour charges for fixing of ceiling fan and regulator including transportation and giving connections with twin core wire etc., complete. Makes : Finolex / RR Kabel / Havells / Polycab / GM / Million / V-Guard / Gold Medal / HPL / RPG. |  |  |  | 14 | Nos | 210 | 2940 | 1852.2 | 194 | 210
4 | Supply and fixing of Anchor fastner with fan hook / Providing MS Fan hook with grouting and cement plastering. |  |  |  | 14 | Nos | 137 | 1918 | 1208.34 | 127 | 137
5 | Supply & fixing of 2nos6A, 2 in one socket - 2 Nos with 6A switch control - 2 Nos modular type with and GI switch box with front cover plate including all labour charges etc., complete. Makes of switches: -Hooney well Benz Plus |  |  |  | 30 | Nos | 1280 | 38400 | 24192 | 1185 | 1280
6 | Supply,Transportation of 15" (375mm) ISI, 900 RPM Heavy duty exhaust fan with metallic blades wiremesh with all accessories etc complete Makes : Crompton / Almonard / Havells Turbo Force SP. |  |  |  | 1 | Nos | 5031 | 5031 | 3169.53 | 4658 | 5031
7 | Labour charges for fixing the exhaust fan in wall with necessary connections and masonary work of making hole, finishing etc., complete. |  |  |  | 1 | Nos | 881 | 881 | 555.03 | 816 | 881
8 | Supply and erecting 19/20mm steel tube down rod of one meter length with bolts & nuts duly painted with matching colour of fan complete |  |  |  | 14 | Nos | 185 | 2590 | 1631.7 | 171 | 185
9 | Supply and fixing of 12 Way SPN DB Horizontal with IP 43 Protection as per IS:13032 Makes: Legrand and Supply and Fixing of 1 No., of 63A FP MCB as incomer and 8 Nos 6-32 A 10kA SP MCBs Makes: Legrand-DX3 as out goings including internal connections and labour charges for FLUSH Mounting etc., complete. (For UPS DBs) |  |  |  | 1 | No | 10691 | 10691 | 6735.33 | 9899 | 10691
10 | Supply and fixing of cable adopteres box with cover for DBs including, massanory work etc., complete., |  |  |  | 8 | Nos | 4860 | 38880 | 24494.4 | 4500 | 4860
11 | Supply and Installation of control cum transmission wiring of size 4C x 2.5 Sqmm copper wire to be laid in heavy grade PVC conduit including all fixing and accessories as At Gandhi Hospital |  |  |  | 20 | Rmt | 326 | 6520 | 4107.6 | 302 | 326
12 | Supply and Installation of control cum transmission wiring of size 2C x 1.5 Sqmm copper wire to be laid in heavy grade PVC conduit including all fixing and accessories as At Gandhi Hospital |  |  |  | 190 | Rmt | 195 | 37050 | 23341.5 | 181 | 195
13 | 4C x 1.5 Sqmm Copper Flexible Cable For Condensing Unit to Electrical Panel |  |  |  | 74.1 | Rmt | 150 | 11115 | 7002.45 |  | 0
14 | POINT WIRING and LIGHT FIXTURES & FITTINGS Providing Point wiring for Light Concealed Type with 2 x 1.0 Sq.mm. Copper. PVC Insulated wire 1.1 KV grade ISI marked in rigid ISI mark PVC conduit minimum 20mm (1.6 mm thick) dia. with necessary accessories and Pannel and Spot LED lights of Havells/Wipro company. |  |  |  | 13 | Nos | 1296 | 16848 | 10614.24 | 1200 | 1296
15 | Proving and fixing Profile lights at wpc Louvers |  |  |  | 10.66 | Rmt | 1277 | 13612.82 | 8576.0766 | 1182 | 1277
16 | Proving and fixing Track lights at side wall décor frame with 4 fixtures and 2 tracks |  |  |  | 1 | Job | 10368 | 10368 | 6531.84 | 9600 | 10368
17 | External Profile light at Name Plate |  |  |  | 2.89 | Rmt | 1277 | 3690.53 | 2325.0339 | 1182 | 1277
| Total Amount | [6 empty] | 489351.35 | 308291.3505
| GST @ 18% | [6 empty] | 88083
| Total Amount excluding CAMC | [6 empty] | 577434.35
| CAMC Amount as per below table | [6 empty] | 308291.3505
| Total Amount including CAMC | [6 empty] | 885725.7005
Comprehensive Annual Maintanance Charges post warranty period for 5 years(6th to 10th year) @9, 9, 9, 9, 9, 9, 9 % respectively.
| Base Price |  |  | 489351.35
| S.No | Year | CAMC % | Amount
| 1 | 4th | 9% | 44041.6215 | [5 empty] | 43041.33 |  | 43851.24
| 2 | 5th | 9% | 44041.6215
| 3 | 6th | 9% | 44041.6215
| 4 | 7th | 9% | 44041.6215
|  | 8th | 9% | 44041.6215
|  | 9th | 9% | 44041.6215
| 5 | 10th | 9% | 44041.6215
| Total % |  | 63%
| Total Amount |  |  | 308291.3505

## BSM
ANNEXURE-01
Sl. No | Item Description |  |  |  | Qty | Unit | Rate | Amount | CAMC Amount for 5 Years
Unit
1 | Fowler Two Function Bed with ABS Panel, ABS Side Railings, Wheels, Mattress Pillow, & Bed Fixing IV Road Features (Knee rest & Backrest) Size-L,84, W-42, H-24. The finished bed must be rust proof, pre-treated and treated with epoxy polyester antimicrobial powder coated to increase the bacteriostatic property. The bed must be quoted with washable cover of lasting quality. The mattress should be made of high-density PU foam of 100 mm thickness. |  |  |  | 5 | Nos | 42000 | 210000 | 142800
2 | Bed side Table with ABS Plastic body construction having 1 drawer and an adequated space with openable door with handle of size. |  |  |  | 5 | Nos | 9600 | 48000 | 32640
3 | Corporate Deluxe Locker with SS 304 grade Top of size 508 x 406 x 762 mm having 1 drawer and an adequate storage space with openable door with SS handle. Equipped with wheels for easy movement. |  |  |  | 1 | Nos | 9000 | 9000 | 6120
4 | Bed side stand with full SS 304 grade constructionof size 406 x 203 x 762 mm equipped with SS Handles on top for carrying. |  |  |  | 1 | Nos | 9500 | 9500 | 6460
5 | Bed side stand with full GI Powder coated constructionof size 406 x 203 x 762 mm equipped with powder coated handles on top for carrying. |  |  |  | 1 | Nos | 4500 | 4500 | 3060
6 | Cryo Can 11 Ltr |  |  |  | 1 | Nos | 34000 | 34000 | 23120
7 | 3-Bay Surgical Scrub Station/Sink to be provided for use in the OT complex providing for pre-procedural scrub up with minimum three bay sink combination as suitable. The Scrub Station shall be made of Stainless Steel of 304 grade sheet with minimum thickness of 1.5mm and designed as per the high aesthetics of the theatre complex. Shall have smoothened surfaces & corners. The scrub sink shall be provided with a front access panel which shall be easily removed for access to the water-controlled valve, waste connections, stoppers & strainers. The Scrub station should be equipped with two foot operated and one elbow operated mechanisms. Shall have provision for fresh water and waste water piping ready for connections. |  |  |  | 1 | Nos | 100000 | 100000 | 68000
8 | Supply of Sample collection bed of size 1850x620x700 mm, featuring plain design equipped with 1 drawer and storage space with openable door type with SS-304 grade handles positioned at head side of the bed. The material of construction of the bed to be of Powder coated GI for entire body. All the legs of the bed to be capped with nylon bushes. The finished bed must be rust proof, pre-treated and treated with epoxy polyester antimicrobial powder coated to increase the bacteriostatic property. The bed must be quoted with washable cover of lasting quality. The mattress should be made of high-density PU foam of 100 mm thickness. |  |  |  | 1 | Nos | 30000 | 30000 | 20400
9 | Supply of a Sample collection chair of size 800x580x700 mm, meeting medical standards, featuring adjustable height and tilt padded armrests, and durable upholstery, suitable for comfortable patient positioning during blood donation or phlebotomy procedures. The chair is made from mild steel with good finish. The chair to be of easy to manoeuvre and transport and of light weight. |  |  |  | 1 | Nos | 17500 | 17500 | 11900
10 | Supply and installation of Stainless Steel 304 grade CSSD Rectangular Working table of size 1200x480x1050 mm with inbuilt sink of size 450x380x300 mm equipped with jali at bottom to stop any large particles entering into the drain to avoid drain clog. The table to be designed with raised front section and provision of SS sheet at foot level of the table forming a flat surface for storing/placing of items. The table to be of ready to use with all necessary fittings. |  |  |  | 1 | Nos | 50000 | 50000 | 34000
11 | Writing board made of Pressed wood coated with melamine surface. It has 900mm writing surface height, 1200mm writing surface wide, and 11mm deep, suitable for working on dry wipe board markers. It has an aluminium frame with dark grey plastic corner caps and maker tray. It is enabled with an easy wall mounting with a concealed slot system. It can be mounted either horizontally or vertically. IT consists of a complete mounting set, marker tray, and a board marker. |  |  |  | 2 | Nos | 2250 | 4500 | 3060
12 | Providing MDF 18 mm thick wooden table of size 900x450 mm with 1 drawer at right side of the table. The table includes keyboard tray. Bottom equipped with nylone bushes for floor protection and easy movement. |  |  |  | 2 | Nos | 15500 | 31000 | 21080
13 | Supply of a 3-seater sofa upholstered with PU leather, with a high-quality finish. The sofa shall feature a kiln-dried hardwood frame for durability, reinforced with corner blocks for stability. The seat cushions to be constructed with high-density foam padding for comfort and resilience, while the backrests shall feature a combination of foam and fiberfill for optimal support. The sofa arms shall be padded for additional comfort, with sleek wooden or metal legs providing sturdy support. The leather upholstery shall be treated for resistance to stains and spills, ensuring longevity and ease of care. The dimensions of the sofa shall be suitable to accommodate three individuals comfortably, with ample seating space and ergonomic design considerations. |  |  |  | 2 | Nos | 25000 | 50000 | 34000
14 | Supply and fixing of Powder coated GI stand with 4 nos height adjustable racks of size 670x410x1570 mm connected to two big rods of rectangular hollow section type supported with 4 legs with wheels with brakes to restrict movement/easy movement. Equipped with frame for holding a cylinder. A lockable box type space to be provided at bottom rack. |  |  |  | 1 | Nos | 86400 | 86400 | 58752 | 86400
15 | Supply of SS-304 working table of size 685x685x762 mm with I type support inner frame SS-304 pipe of size 40x40x1.5 mm, and top with 1.5 mm thick SS-304 sheet. All four legs equipped with adjustable nylone bushes. |  |  |  | 2 | Nos | 19000 | 38000 | 25840
16 | Supply of SS-304 working table of size 457x457x762 mm with I type support inner frame SS-304 pipe of size 40x40x1.5 mm, and top with 1.5 mm thick SS-304 sheet. All four legs equipped with adjustable nylone bushes. |  |  |  | 1 | Nos | 17500 | 17500 | 11900
17 | Supply of SS-304 working table of size 610x610x762 mm with I type support inner frame SS-304 pipe of size 40x40x1.5 mm, and top with 1.5 mm thick SS-304 sheet. All four legs equipped with adjustable nylone bushes. |  |  |  | 1 | Nos | 16800 | 16800 | 11424
18 | Supply of SS-304 working table of size 660x610x762 mm with I type support inner frame SS-304 pipe of size 40x40x1.5 mm, and top with 1.5 mm thick SS-304 sheet. All four legs equipped with adjustable nylone bushes. |  |  |  | 1 | Nos | 17000 | 17000 | 11560
| The Multipurpose Electro Hydraulic Mobile OT Table is designed for gynecological surgical procedures, featuring a wide range of adjustments for optimal patient positioning. It offers precise control with movement controls at the side of the table and a wired remote control handset and features like S. S. Arm Rest, Anaesthetic Screen, Lithotomy Leg Holders with Stirr-Ups, Leather Wristlets, Padded Leg Rest, Anti-static mattress, and an additional Poly-urethane mattress. Built with a Stainless Steel 304 frame and bottom, it ensures durability. The table top, reinforced with three-section stainless steel and radiolucent capabilities, allows for comprehensive patient support. Its flexibility includes 360° rotation, adjustable Trendelenburg, Reversed Trendelenburg, Head Section, Back Section, and Leg Section. Physical specifications include a 1900 mm x 525 mm top with an elevation range of 640mm to 1040mm, supporting patients up to 140 kg. Environmental considerations ensure operational efficiency in various conditions. |  |  |  | 1 | Nos | 232000 | 232000 | 157760
| Total Amount | [6 empty] | 1005700 | 683876
| GST @ 18% | [6 empty] | 181026
| Total Amount excluding CAMC | [6 empty] | 1186726
| CAMC Amount as per below table | [6 empty] | 683876
| Total Amount including CAMC | [6 empty] | 1870602
Comprehensive Annual Maintanance Charges post warranty period for 5 years(4th to 10th year) as per below table.
| Base Price |  |  | 1005700
| S.No | Year | CAMC % | Amount
| 1 | 4th | 9% | 90513
| 2 | 5th | 9% | 90513
| 3 | 6th | 10% | 100570
| 4 | 7th | 10% | 100570
| 5 | 8th | 10% | 100570
| 6 | 9th | 10% | 100570
| 7 | 10th | 10% | 100570
| Total % |  | 68%
| Total Amount |  |  | 683876

## R3
ANNEXURE-01
Sl. No | Item Description |  |  |  | Qty | Unit | Rate | Amount | CAMC Amount for 5 Years
Unit
1 | 4 Gas Digital Alarm Panels : 4 Gas Digital Alarm Panel consisting of atl necessary accessories ie Pressure sensors,reguIators,hand valves ,pressure gauges ecL(Oxygen, Nitrous oxide, Medical Air, Vacuum) |  |  |  | 2 | Nos | 43628 | 87256 | 34902.4
2 | 6 Gas Digital Alarm Panele : 6 Gas Digital Alarm Panel(Oxygen, Nitrous oxide, Medical Air, Surgical Air, Vacuum, Carbon dieoxide) consisting of all necessary accessories ie pressure sensors, regulators, hand vatves, pressure gauges etc. | 6 Gas Digital Alarm Panele : 6 Gas Digital Alarm Panel(Oxygen, Nitrous oxide, Medical Air, Surgical Air, Vacuum, Carbon dieoxide) consisting of all necessary accessories ie pressure sensors, regulators, hand vatves, pressure gauges etc. | 6 Gas Digital Alarm Panele : 6 Gas Digital Alarm Panel(Oxygen, Nitrous oxide, Medical Air, Surgical Air, Vacuum, Carbon dieoxide) consisting of all necessary accessories ie pressure sensors, regulators, hand vatves, pressure gauges etc. | 6 Gas Digital Alarm Panele : 6 Gas Digital Alarm Panel(Oxygen, Nitrous oxide, Medical Air, Surgical Air, Vacuum, Carbon dieoxide) consisting of all necessary accessories ie pressure sensors, regulators, hand vatves, pressure gauges etc. | 6 | Nos | 53172 | 319032 | 127612.8
3 | Valve box -4 services : Valve box - 4 Service consisting of Isolation valve 15 mm OD - 04 Nos. and isolation valve 22 mm OD - 01 Nos. accessories ie Pressure gauge connection in a powder coated box The box consisting of lock & key and a brakable glass for emergency. | Valve box -4 services : Valve box - 4 Service consisting of Isolation valve 15 mm OD - 04 Nos. and isolation valve 22 mm OD - 01 Nos. accessories ie Pressure gauge connection in a powder coated box The box consisting of lock & key and a brakable glass for emergency. | Valve box -4 services : Valve box - 4 Service consisting of Isolation valve 15 mm OD - 04 Nos. and isolation valve 22 mm OD - 01 Nos. accessories ie Pressure gauge connection in a powder coated box The box consisting of lock & key and a brakable glass for emergency. | Valve box -4 services : Valve box - 4 Service consisting of Isolation valve 15 mm OD - 04 Nos. and isolation valve 22 mm OD - 01 Nos. accessories ie Pressure gauge connection in a powder coated box The box consisting of lock & key and a brakable glass for emergency. | 2 | Nos | 20451 | 40902 | 16360.8
4 | 4 + 4 size of O2 manifold system : 4+4 Oxygen Main mannifold with 19mm ODx12mm I.D .Copper pipe mounted on top frame, Middle frmae and Bottom frame along with brass blocks, NRVs/ cylinder valves and pigtail pipes of 1m long of 8mm OD x 3mm I.D. duly tested at250Kg/Cum 2 pressure & Fully automatic control panel for Oxygen. | 4 + 4 size of O2 manifold system : 4+4 Oxygen Main mannifold with 19mm ODx12mm I.D .Copper pipe mounted on top frame, Middle frmae and Bottom frame along with brass blocks, NRVs/ cylinder valves and pigtail pipes of 1m long of 8mm OD x 3mm I.D. duly tested at250Kg/Cum 2 pressure & Fully automatic control panel for Oxygen. | 4 + 4 size of O2 manifold system : 4+4 Oxygen Main mannifold with 19mm ODx12mm I.D .Copper pipe mounted on top frame, Middle frmae and Bottom frame along with brass blocks, NRVs/ cylinder valves and pigtail pipes of 1m long of 8mm OD x 3mm I.D. duly tested at250Kg/Cum 2 pressure & Fully automatic control panel for Oxygen. | 4 + 4 size of O2 manifold system : 4+4 Oxygen Main mannifold with 19mm ODx12mm I.D .Copper pipe mounted on top frame, Middle frmae and Bottom frame along with brass blocks, NRVs/ cylinder valves and pigtail pipes of 1m long of 8mm OD x 3mm I.D. duly tested at250Kg/Cum 2 pressure & Fully automatic control panel for Oxygen. | 1 | Job | 42264 | 42264 | 16905.6
5 | Fully Automatic O2 Control System ”Manufactured under an ISO 9001: 2015 certified works. ”Control Panel cover made of M.S. duly powder coated. “Compact and fully automatic manifold control system far Oxygen services. *Easy to maintain and use. “Designed with both safety and continuity of flow supply at a constant pressure via to/o banks of bottled gas cylinders with following status monitoring. ”A-Bank in use (Green indication). ”B-Bank ready for use (Yelk›w indication). ”C-Empty Bank (Red indication). ”Control Panel has build in LED display to indicate Normal. High & Low line Pressure. ”It has facility to test all above indicators working perfectly. the Control Panel indudes Pressure gauge (63 mm) to indicate the gas pressure of each header and pipe line diistribution pressure. ”Capable to provide a distribution distribution flow rate of 2IXI0 LPM or more for O2. the control panel incorporte safety puncture system in case pressure exceeds 100 Psi. ”In ease of failure of electronic pneumatics system, control can be used manually through by pass system. * CE CERTIFIED. | Fully Automatic O2 Control System ”Manufactured under an ISO 9001: 2015 certified works. ”Control Panel cover made of M.S. duly powder coated. “Compact and fully automatic manifold control system far Oxygen services. *Easy to maintain and use. “Designed with both safety and continuity of flow supply at a constant pressure via to/o banks of bottled gas cylinders with following status monitoring. ”A-Bank in use (Green indication). ”B-Bank ready for use (Yelk›w indication). ”C-Empty Bank (Red indication). ”Control Panel has build in LED display to indicate Normal. High & Low line Pressure. ”It has facility to test all above indicators working perfectly. the Control Panel indudes Pressure gauge (63 mm) to indicate the gas pressure of each header and pipe line diistribution pressure. ”Capable to provide a distribution distribution flow rate of 2IXI0 LPM or more for O2. the control panel incorporte safety puncture system in case pressure exceeds 100 Psi. ”In ease of failure of electronic pneumatics system, control can be used manually through by pass system. * CE CERTIFIED. | Fully Automatic O2 Control System ”Manufactured under an ISO 9001: 2015 certified works. ”Control Panel cover made of M.S. duly powder coated. “Compact and fully automatic manifold control system far Oxygen services. *Easy to maintain and use. “Designed with both safety and continuity of flow supply at a constant pressure via to/o banks of bottled gas cylinders with following status monitoring. ”A-Bank in use (Green indication). ”B-Bank ready for use (Yelk›w indication). ”C-Empty Bank (Red indication). ”Control Panel has build in LED display to indicate Normal. High & Low line Pressure. ”It has facility to test all above indicators working perfectly. the Control Panel indudes Pressure gauge (63 mm) to indicate the gas pressure of each header and pipe line diistribution pressure. ”Capable to provide a distribution distribution flow rate of 2IXI0 LPM or more for O2. the control panel incorporte safety puncture system in case pressure exceeds 100 Psi. ”In ease of failure of electronic pneumatics system, control can be used manually through by pass system. * CE CERTIFIED. | Fully Automatic O2 Control System ”Manufactured under an ISO 9001: 2015 certified works. ”Control Panel cover made of M.S. duly powder coated. “Compact and fully automatic manifold control system far Oxygen services. *Easy to maintain and use. “Designed with both safety and continuity of flow supply at a constant pressure via to/o banks of bottled gas cylinders with following status monitoring. ”A-Bank in use (Green indication). ”B-Bank ready for use (Yelk›w indication). ”C-Empty Bank (Red indication). ”Control Panel has build in LED display to indicate Normal. High & Low line Pressure. ”It has facility to test all above indicators working perfectly. the Control Panel indudes Pressure gauge (63 mm) to indicate the gas pressure of each header and pipe line diistribution pressure. ”Capable to provide a distribution distribution flow rate of 2IXI0 LPM or more for O2. the control panel incorporte safety puncture system in case pressure exceeds 100 Psi. ”In ease of failure of electronic pneumatics system, control can be used manually through by pass system. * CE CERTIFIED. | 1 | Job | 190873 | 190873 | 76349.2
6 | 4 + 4 size of N2O manifold system : 4+4 Nitrous oxide Main mannifold with 19mm ODx12mm I.D .Copper pipe mounted on top frame, Middle frmae and Bottom frame along with brass blocks, NRVs/ cylinder valves and pigtail pipes of 1m long of 8mm OD x 3mm I.D. duly tested at 250Kg/Cum 2 pressure & Fully automatic control panel for Nitrous Oxide. | 4 + 4 size of N2O manifold system : 4+4 Nitrous oxide Main mannifold with 19mm ODx12mm I.D .Copper pipe mounted on top frame, Middle frmae and Bottom frame along with brass blocks, NRVs/ cylinder valves and pigtail pipes of 1m long of 8mm OD x 3mm I.D. duly tested at 250Kg/Cum 2 pressure & Fully automatic control panel for Nitrous Oxide. | 4 + 4 size of N2O manifold system : 4+4 Nitrous oxide Main mannifold with 19mm ODx12mm I.D .Copper pipe mounted on top frame, Middle frmae and Bottom frame along with brass blocks, NRVs/ cylinder valves and pigtail pipes of 1m long of 8mm OD x 3mm I.D. duly tested at 250Kg/Cum 2 pressure & Fully automatic control panel for Nitrous Oxide. | 4 + 4 size of N2O manifold system : 4+4 Nitrous oxide Main mannifold with 19mm ODx12mm I.D .Copper pipe mounted on top frame, Middle frmae and Bottom frame along with brass blocks, NRVs/ cylinder valves and pigtail pipes of 1m long of 8mm OD x 3mm I.D. duly tested at 250Kg/Cum 2 pressure & Fully automatic control panel for Nitrous Oxide. | 1 | Job | 42264 | 42264 | 16905.6
7 | 2 cylinder emergency maniféld - N2O : 2 Cylinder Nftmus oxide Emergency mannifold with 19mm ODx12mm I.D .Copper pipe mounted on top frame, Middle frmae and Bottom frame along with brass blocks, NRVs/ cytinder valves and pigtail pipes of 1m long of 8mm OD x 3mm I.D. duly tested at 250Kg/Cum 2 pressure & Fully automatic control panel for Nitrous Oxide. | 2 cylinder emergency maniféld - N2O : 2 Cylinder Nftmus oxide Emergency mannifold with 19mm ODx12mm I.D .Copper pipe mounted on top frame, Middle frmae and Bottom frame along with brass blocks, NRVs/ cytinder valves and pigtail pipes of 1m long of 8mm OD x 3mm I.D. duly tested at 250Kg/Cum 2 pressure & Fully automatic control panel for Nitrous Oxide. | 2 cylinder emergency maniféld - N2O : 2 Cylinder Nftmus oxide Emergency mannifold with 19mm ODx12mm I.D .Copper pipe mounted on top frame, Middle frmae and Bottom frame along with brass blocks, NRVs/ cytinder valves and pigtail pipes of 1m long of 8mm OD x 3mm I.D. duly tested at 250Kg/Cum 2 pressure & Fully automatic control panel for Nitrous Oxide. | 2 cylinder emergency maniféld - N2O : 2 Cylinder Nftmus oxide Emergency mannifold with 19mm ODx12mm I.D .Copper pipe mounted on top frame, Middle frmae and Bottom frame along with brass blocks, NRVs/ cytinder valves and pigtail pipes of 1m long of 8mm OD x 3mm I.D. duly tested at 250Kg/Cum 2 pressure & Fully automatic control panel for Nitrous Oxide. | 1 | Job | 190873 | 190873 | 76349.2
8 | Fully Automatic N2O Control System Manufactured under an ISO 9001: 2015 certified works. *Control Panel cover made of M.S. duly powder coated. *Compact and fully automatic manifold control system for N2O services. "Easy to maintain and use. *Designed with both safety and continuity of flow supply at a constant pressure via two banks of bottled gas cylinders with following status monitoring. *A-Bank in use (Green indication). *B-Bank ready for use (Yellow indication). Authorise&PITAL ENGINERS D-4 A, YADAV PARK, ROHTAK ROAD, NANGLOI, DELHI-110041 C-Empty Bank (Red indication). *Control Panel has build in LED display to indicate Normal. High & Low line Pressure. "It has facility to test all above indicators working perfectly. *The Control Panel includes Pressure gauge (63 mm) to indicate the gas pressure of each header and pipe line diistribution pressure. *Capable to provide a distribution flow rate of 500 LPM or more for N2O. *The control panel incorporte safety puncture system in case pressure exceeds 100 Psi. In ease of failure of electronic pneumatics system, control can be used manually through by pass system. CE CERTIFIED | Fully Automatic N2O Control System Manufactured under an ISO 9001: 2015 certified works. *Control Panel cover made of M.S. duly powder coated. *Compact and fully automatic manifold control system for N2O services. "Easy to maintain and use. *Designed with both safety and continuity of flow supply at a constant pressure via two banks of bottled gas cylinders with following status monitoring. *A-Bank in use (Green indication). *B-Bank ready for use (Yellow indication). Authorise&PITAL ENGINERS D-4 A, YADAV PARK, ROHTAK ROAD, NANGLOI, DELHI-110041 C-Empty Bank (Red indication). *Control Panel has build in LED display to indicate Normal. High & Low line Pressure. "It has facility to test all above indicators working perfectly. *The Control Panel includes Pressure gauge (63 mm) to indicate the gas pressure of each header and pipe line diistribution pressure. *Capable to provide a distribution flow rate of 500 LPM or more for N2O. *The control panel incorporte safety puncture system in case pressure exceeds 100 Psi. In ease of failure of electronic pneumatics system, control can be used manually through by pass system. CE CERTIFIED | Fully Automatic N2O Control System Manufactured under an ISO 9001: 2015 certified works. *Control Panel cover made of M.S. duly powder coated. *Compact and fully automatic manifold control system for N2O services. "Easy to maintain and use. *Designed with both safety and continuity of flow supply at a constant pressure via two banks of bottled gas cylinders with following status monitoring. *A-Bank in use (Green indication). *B-Bank ready for use (Yellow indication). Authorise&PITAL ENGINERS D-4 A, YADAV PARK, ROHTAK ROAD, NANGLOI, DELHI-110041 C-Empty Bank (Red indication). *Control Panel has build in LED display to indicate Normal. High & Low line Pressure. "It has facility to test all above indicators working perfectly. *The Control Panel includes Pressure gauge (63 mm) to indicate the gas pressure of each header and pipe line diistribution pressure. *Capable to provide a distribution flow rate of 500 LPM or more for N2O. *The control panel incorporte safety puncture system in case pressure exceeds 100 Psi. In ease of failure of electronic pneumatics system, control can be used manually through by pass system. CE CERTIFIED | Fully Automatic N2O Control System Manufactured under an ISO 9001: 2015 certified works. *Control Panel cover made of M.S. duly powder coated. *Compact and fully automatic manifold control system for N2O services. "Easy to maintain and use. *Designed with both safety and continuity of flow supply at a constant pressure via two banks of bottled gas cylinders with following status monitoring. *A-Bank in use (Green indication). *B-Bank ready for use (Yellow indication). Authorise&PITAL ENGINERS D-4 A, YADAV PARK, ROHTAK ROAD, NANGLOI, DELHI-110041 C-Empty Bank (Red indication). *Control Panel has build in LED display to indicate Normal. High & Low line Pressure. "It has facility to test all above indicators working perfectly. *The Control Panel includes Pressure gauge (63 mm) to indicate the gas pressure of each header and pipe line diistribution pressure. *Capable to provide a distribution flow rate of 500 LPM or more for N2O. *The control panel incorporte safety puncture system in case pressure exceeds 100 Psi. In ease of failure of electronic pneumatics system, control can be used manually through by pass system. CE CERTIFIED | 1 | Job | 152695 | 152695 | 61078
| Total Amount | [6 empty] | 1066159 | 426463.6
| GST @ 18% | [6 empty] | 191908.62
| Total Amount excluding CAMC | [6 empty] | 1258067.62
| CAMC Amount as per below table | [6 empty] | 426463.6
| Total Amount including CAMC | [6 empty] | 1684531.22
Comprehensive Annual Maintanance Charges post warranty period for 5 years(6th to 10th year) @6, 7, 8, 9, 10 % respectively.
| Base Price |  |  | 1066159
| S.No | Year | CAMC % | Amount
| 1 | 6th | 6 | 63969.54
| 2 | 7th | 7 | 74631.13
| 3 | 8th | 8 | 85292.72
| 4 | 9th | 9 | 95954.31
| 5 | 10th | 10 | 106615.9
| Total % |  | 40
| Total Amount |  |  | 426463.6

## A&A NA
ANNEXURE-01
Sl. No | Item Description |  |  |  | Qty | Unit | Rate | Amount | CAMC Amount for 5 Years
Unit
1 | Acoustic Wall Panelling with framework consisting of 25mm high GI wall channels with fully knurled surface of 0.55mm thick bottom wedge of 80mm width, having two equal flanges of 26mm is anchored to GI studs of 50mm high. GI studs of 50mm High to be fixed to wall at 600mm centres, 25mm thick channels are then fixed perpendicular to the GI studs and suitable fixing channel is fixed to the cross channel to fix the panel to achieve overall air gap of 75mm from the wall and GI Clips for inside panel and Clips for border panel of 18mm to be fixed to the GI wall channel to achieve required shape. Secured arranging of polyester wool of – thickness/density, Prelam Board to be installed. 15mm thick Prelam perforated Wooden slat of required dia perforation & pitch is to be customised and then fixed to GI frame rigidly by using fixing channel fastened perpendicular to the cross channel with GI brackets. The boards shall be fixed to the GI frame with special cleats. (MOTs Integration Room) |  |  |  | 110 | Sqm | 5600 | 616000 | 246400
2 | Accooustic Ceiling Paneling with Perforated board Fine line Grid false ceiling using 11mm thick Perforated Board sheet tiles of size 595mm x 595mm fixing to steel precoated GI wall angle of size 25mm x 25mm x 0.70mm thick along the perimeter of ceiling screw fixed to brick work / partition at 610mm center to center and suspending the frame work using precoated GI Tee section (24mm x 38mm x 0.7mm) from soffit at 1220mm center to center fixed with GI Soffit Cleat, rawl plugs and steel expansion fasteners & connecting clip to the GI Tee section with 4mm dia GI rod with galvanised spring steel level clip of PVC unversal holding clips system at 1200mm center to center and Secured arranging of polyester wool of 50mm thick 1000 GSM, Prelam Board to be installed. 15mm thick Prelam perforated Wooden slat of required dia perforation & pitch is to be customised and then fixed to GI frame rigidly by using fixing channel fastened perpendicular to the cross channel with GI brackets. The boards shall be fixed to the GI frame with special cleats. (MOTs Integration Room) |  |  |  | 62 | Sqm | 5010 | 310620 | 124248 | 366544
3 | 80% blockout Ruler Blinds for MOTs Integration Room Windows |  |  |  | 3 | Nos | 11000 | 33000 | 13200
4 | Wooden Flooring with Engineered wood planks of 14mm thick (MOTs Integration Room) |  |  |  | 65 | Sqm | 6500 | 422500 | 169000
5 | Skirting for Wooden Flooring with Engineered wood planks of 14mm thick (MOTs Integration Room) |  |  |  | 40 | Rmt | 850 | 34000 | 13600
| Total Amount | [6 empty] | 1416120 | 383848
| GST @ 18% | [6 empty] | 254901.6
| Total Amount excluding CAMC | [6 empty] | 1671021.6
| CAMC Amount as per below table | [6 empty] | 566448
| Total Amount including CAMC | [6 empty] | 2237469.6
Comprehensive Annual Maintanance Charges post warranty period for 5 years(6th to 10th year) @6, 7, 8, 9, 10 % respectively.
| Base Price |  |  | 1416120
| S.No | Year | CAMC % | Amount
| 1 | 6th | 6 | 84967.2
| 2 | 7th | 7 | 99128.4
| 3 | 8th | 8 | 113289.6
| 4 | 9th | 9 | 127450.8
| 5 | 10th | 10 | 141612
| Total % |  | 40
| Total Amount |  |  | 566448

## GKS
ANNEXURE-01
Sl. No | Item Description |  |  |  | Qty | Unit | Rate | Amount | CAMC Amount for 7 Years
Unit
1 | Supply and fixing of Dress Hangers of size 450mm length with 8 Nos hooks, each capped with plastic protective cap (in change rooms). |  |  |  | 5 | Nos | 560 | 2800 | 1904
2 | Name Plates (Room Names) as approved by the Engineer In-charge. |  |  |  | 31 | Nos | 650 | 20150 | 13702
3 | Supply and fixing of High Quality IVF Procedural photos placed between two transparent acrylic boards fixed with studs at four corners to the PVC frame placed on DBs. |  |  |  | 14 | Nos | 9900 | 138600 | 94248
4 | Side Paneling 14mm thick Indoor WPC louvers providing & Fixing full height said 12mm SHERA Board panneling till slab with wooden framing in line and level including fling joints and joint calls and neccesary hardware |  |  |  | 18.58 | Sqm | 17000 | 315860 | 214784.8
5 | 2 WPC LOUVers Ceiling Praviding and fixing WPC Louvers to the Celling of which includes G Perimeter Channels of size 0.55mm thick (having One Flange of 20mm and another flange of 30mm and a web of 27mm) along with perimeter of ceiling screw fixed to brick wall/partition with the help of Nylon sleeves and screws at 610mm centres. Then suspending G1 intermediate channels of size 45mm 10. 9mm thick with 2 flanges of 15mm each) from the soffis at 1220mm centres with ceiling angle of width 25mm x 10mm X0.55mm thick fixed to saffit with GI. cleat and steel expansion fasteners. Ceiling section of 0.55mm thick having knurled web of 51.5mm and 2 flanges of 26mm each with lips of 10.5mm are Soft then fixed to the intermediate channel with the help of connecting clips and in direction perpendicular to the intermediate channel at 450 mm centres IN ULTRA GI CHANNELS Rute to be included all kinds of profiles and cut outs required for light fixtures Speakers. Smoke detector, trao doors and AC grill in the ceiling. |  |  |  | 7.58 | Sqm | 19000 | 144020 | 97933.6
6 | Providing and fixing of wooden box celling at the top of Reception table with Imm thick laminate with wooden framing of BWP 710 Gurjan Ply support from the top slab end to end with neccesary cutouts for lighting and hardware. |  |  |  | 2.58 | Sqm | 12300 | 31734 | 21579.12
7 | Back Pannelling with laminate Finish of 1 mm thick Providing & Fixing full height solid 12mm BWF 710 GURIAN PLY Board panneling till slab with wooden framing in line and level including the neccesary hardware and cutouts |  |  |  | 7.5 | Sqm | 11500 | 86250 | 58650
8 | Providing and fixing ISI marked Magnetic 25mm Block Board door shutters, core of block board construction with frame of 1st class hard wood and fixing 1 MM laminate on both faces of shutters, including ISI marked Stainless Steel butt hinges with necessary screws and tower bait complete |  |  |  | 1 | Nos | 15000 | 15000 | 10200
9 | Providing and fixing PVC frames on the walls for covering the area over DB Boxes with 12 mm PVC sheets in a box section of 60mm thick including neccesary accessories. |  |  |  | 4.45 | Sqm | 7150 | 31817.5 | 21635.9
10 | Providing and Fixing of (25X25) mm WPC corner L-Patties at the topper edge of the wall tile cladding |  |  |  | 38 | Rmt | 250 | 9500 | 6460
11 | Providing and Fixing of SS-ROSE GOLD corner & L-Patties at the SIDE edge of the wall tile cladding |  |  |  | 7 | Nos | 1650 | 11550 | 7854
12 | Providing and fixing of Door Frame panneling with 18mm BWP 710 Gurjan Ply and 8mm thick beeding half rounded on the both sides with 1mm thick laminate Finish with necessary handware and Polishing. |  |  |  | 11.58 | Rmt | 2380 | 27560.4 | 18741.072
13 | Providing and fixing the 60mm Thick Box framing as the back support for the name plate installed of 18mm BWP 710 Gurjan and 1mm thick high glossy laminate finish |  |  |  | 1.32 | Sqm | 12000 | 15840 | 10771.2
14 | Providing and Fixing of 32mm Double Flush Door with frame 8mm beeding on its edges on four sides with polishing finish and 1 mm thick laminate on the both sides of which including ISI marked Stainless Steel centre lock and butt hinges with necessary screws and tower bolt complete |  |  |  | 1 | Nos | 55000 | 55000 | 37400
15 | Providing and fixing of Side wall decor Frame for photo hangings panneling with 18mm BWP 710 Gurjan Ply and 8mm thick beeding half rounded on the both sides with 1mm thick laminate finish with necessary hardware and Polishing |  |  |  | 10.97 | Rmt | 2375 | 26053.75 | 17716.55
16 | Supply and fixing of Wall paper as approved by the Engineer In-charge. |  |  |  | 2 | Nos | 5700 | 11400 | 7752
17 | Supply and fixing of Main IVF logo with LED arcylic board fixed with LEDs inside and electrical connections as approved by the Engineer In-charge. |  |  |  | 1 | Set | 12600 | 12600 | 8568
18 | Supply and fixing of Main Entrance LED 3D Arcylic letter board fixed with LEDs inside and electrical connections as approved by the Engineer In-charge. |  |  |  | 1 | Set | 48000 | 48000 | 32640
19 | POINT WIRING and LIGHT FIXTURES & FITTINGS Providing Point wiring for Light Concealed Type with 2 x 1.0 Sq.mm. Copper. PVC Insulated wire 1.1 KV grade ISI marked in rigid ISI mark PVC conduit minimum 20mm (1.6 mm thick) dia. with necessary accessories and Pannel and Spot LED lights of Havells/Wipro company. |  |  |  | 13 | Nos | 1300 | 16900 | 11492
20 | Proving and fixing Profile lights at wpc Louvers |  |  |  | 10.66 | Rmt | 1300 | 13858 | 9423.44
21 | Proving and fixing Track lights at side wall décor frame with 4 fixtures and 2 tracks |  |  |  | 1 | Job | 10500 | 10500 | 7140
22 | External Profile light at Name Plate |  |  |  | 2.89 | Rmt | 1300 | 3757 | 2554.76
| Total Amount | [6 empty] | 1048750.65 | 713150.442
| GST @ 18% | [6 empty] | 188775.117
| Total Amount excluding CAMC | [6 empty] | 1237525.767
| CAMC Amount as per below table | [6 empty] | 713150.442
| Total Amount including CAMC | [6 empty] | 1950676.209
Comprehensive Annual Maintanance Charges post warranty period for 7 years(4th to 10th year) as per below table.
| Base Price |  |  | 1048750.65
| S.No | Year | CAMC % | Amount
| 1 | 4th | 9% | 94387.5585
| 2 | 5th | 9% | 94387.5585
| 3 | 6th | 10% | 104875.065
| 4 | 7th | 10% | 104875.065
| 5 | 8th | 10% | 104875.065
| 6 | 9th | 10% | 104875.065
| 7 | 10th | 10% | 104875.065
| Total % |  | 68%
| Total Amount |  |  | 713150.442

## dTECH
ANNEXURE-01
Sl. No | Item Description |  |  |  | Qty | Unit | Rate | Amount | CAMC Amount for 5 Years
Unit
1 | Fowler Two Function Bed with ABS Panel, ABS Side Railings, Wheels, Mattress Pillow, & Bed Fixing IV Road Features (Knee rest & Backrest) Size-L,84, W-42, H-24. The finished bed must be rust proof, pre-treated and treated with epoxy polyester antimicrobial powder coated to increase the bacteriostatic property. The bed must be quoted with washable cover of lasting quality. The mattress should be made of high-density PU foam of 100 mm thickness. |  |  |  | 5 | Nos | 41000 | 205000 | 139400
2 | Bed side Table with ABS Plastic body construction having 1 drawer and an adequated space with openable door with handle of size. |  |  |  | 5 | Nos | 9500 | 47500 | 32300
3 | Corporate Deluxe Locker with SS 304 grade Top of size 508 x 406 x 762 mm having 1 drawer and an adequate storage space with openable door with SS handle. Equipped with wheels for easy movement. |  |  |  | 1 | Nos | 8800 | 8800 | 5984
4 | Bed side stand with full SS 304 grade constructionof size 406 x 203 x 762 mm equipped with SS Handles on top for carrying. |  |  |  | 1 | Nos | 9600 | 9600 | 6528
5 | Bed side stand with full GI Powder coated constructionof size 406 x 203 x 762 mm equipped with powder coated handles on top for carrying. |  |  |  | 1 | Nos | 4400 | 4400 | 2992
6 | Cryo Can 11 Ltr |  |  |  | 1 | Nos | 34500 | 34500 | 23460
7 | 3-Bay Surgical Scrub Station/Sink to be provided for use in the OT complex providing for pre-procedural scrub up with minimum three bay sink combination as suitable. The Scrub Station shall be made of Stainless Steel of 304 grade sheet with minimum thickness of 1.5mm and designed as per the high aesthetics of the theatre complex. Shall have smoothened surfaces & corners. The scrub sink shall be provided with a front access panel which shall be easily removed for access to the water-controlled valve, waste connections, stoppers & strainers. The Scrub station should be equipped with two foot operated and one elbow operated mechanisms. Shall have provision for fresh water and waste water piping ready for connections. |  |  |  | 1 | Nos | 100000 | 100000 | 68000
8 | Supply of Sample collection bed of size 1850x620x700 mm, featuring plain design equipped with 1 drawer and storage space with openable door type with SS-304 grade handles positioned at head side of the bed. The material of construction of the bed to be of Powder coated GI for entire body. All the legs of the bed to be capped with nylon bushes. The finished bed must be rust proof, pre-treated and treated with epoxy polyester antimicrobial powder coated to increase the bacteriostatic property. The bed must be quoted with washable cover of lasting quality. The mattress should be made of high-density PU foam of 100 mm thickness. |  |  |  | 1 | Nos | 30500 | 30500 | 20740
9 | Supply of a Sample collection chair of size 800x580x700 mm, meeting medical standards, featuring adjustable height and tilt padded armrests, and durable upholstery, suitable for comfortable patient positioning during blood donation or phlebotomy procedures. The chair is made from mild steel with good finish. The chair to be of easy to manoeuvre and transport and of light weight. |  |  |  | 1 | Nos | 17000 | 17000 | 11560
11 | Supply and installation of Stainless Steel 304 grade CSSD Rectangular Working table of size 1200x480x1050 mm with inbuilt sink of size 450x380x300 mm equipped with jali at bottom to stop any large particles entering into the drain to avoid drain clog. The table to be designed with raised front section and provision of SS sheet at foot level of the table forming a flat surface for storing/placing of items. The table to be of ready to use with all necessary fittings. |  |  |  | 1 | Nos | 48000 | 48000 | 32640
12 | Writing board made of Pressed wood coated with melamine surface. It has 900mm writing surface height, 1200mm writing surface wide, and 11mm deep, suitable for working on dry wipe board markers. It has an aluminium frame with dark grey plastic corner caps and maker tray. It is enabled with an easy wall mounting with a concealed slot system. It can be mounted either horizontally or vertically. IT consists of a complete mounting set, marker tray, and a board marker. |  |  |  | 2 | Nos | 2500 | 5000 | 3400
13 | Providing MDF 18 mm thick wooden table of size 900x450 mm with 1 drawer at right side of the table. The table includes keyboard tray. Bottom equipped with nylone bushes for floor protection and easy movement. |  |  |  | 2 | Nos | 16000 | 32000 | 21760
14 | Supply of a 3-seater sofa upholstered with PU leather, with a high-quality finish. The sofa shall feature a kiln-dried hardwood frame for durability, reinforced with corner blocks for stability. The seat cushions to be constructed with high-density foam padding for comfort and resilience, while the backrests shall feature a combination of foam and fiberfill for optimal support. The sofa arms shall be padded for additional comfort, with sleek wooden or metal legs providing sturdy support. The leather upholstery shall be treated for resistance to stains and spills, ensuring longevity and ease of care. The dimensions of the sofa shall be suitable to accommodate three individuals comfortably, with ample seating space and ergonomic design considerations. |  |  |  | 2 | Nos | 25000 | 50000 | 34000
15 | Supply and fixing of Powder coated GI stand with 4 nos height adjustable racks of size 670x410x1570 mm connected to two big rods of rectangular hollow section type supported with 4 legs with wheels with brakes to restrict movement/easy movement. Equipped with frame for holding a cylinder. A lockable box type space to be provided at bottom rack. |  |  |  | 1 | Nos | 84000 | 84000 | 57120 | 84000
16 | SS-304 working table of size 685x685x762 mm with I type support inner frame SS-304 pipe of size 40x40x1.5 mm, and top with 1.5 mm thick SS-304 sheet. All four legs equipped with adjustable nylone bushes. |  |  |  | 2 | Nos | 18000 | 36000 | 24480
17 | SS-304 working table of size 457x457x762 mm with I type support inner frame SS-304 pipe of size 40x40x1.5 mm, and top with 1.5 mm thick SS-304 sheet. All four legs equipped with adjustable nylone bushes. |  |  |  | 1 | Nos | 16000 | 16000 | 10880
18 | SS-304 working table of size 610x610x762 mm with I type support inner frame SS-304 pipe of size 40x40x1.5 mm, and top with 1.5 mm thick SS-304 sheet. All four legs equipped with adjustable nylone bushes. |  |  |  | 1 | Nos | 16500 | 16500 | 11220
19 | SS-304 working table of size 660x610x762 mm with I type support inner frame SS-304 pipe of size 40x40x1.5 mm, and top with 1.5 mm thick SS-304 sheet. All four legs equipped with adjustable nylone bushes. |  |  |  | 1 | Nos | 16600 | 16600 | 11288
[5 empty] | 1 | Nos | 225000 | 225000 | 153000
| Total Amount | [6 empty] | 986400 | 670752
| GST @ 18% | [6 empty] | 177552
| Total Amount excluding CAMC | [6 empty] | 1163952
| CAMC Amount as per below table | [6 empty] | 670752
| Total Amount including CAMC | [6 empty] | 1834704
Comprehensive Annual Maintanance Charges post warranty period for 5 years(4th to 10th year) as per below table.
| Base Price |  |  | 986400
| S.No | Year | CAMC % | Amount
| 1 | 4th | 9% | 88776
| 2 | 5th | 9% | 88776
| 3 | 6th | 10% | 98640
| 4 | 7th | 10% | 98640
|  | 8th | 10% | 98640
|  | 9th | 10% | 98640
| 5 | 10th | 10% | 98640
| Total % |  | 68%
| Total Amount |  |  | 670752

## VJ
ANNEXURE-01
Sl. No | Item Description |  |  |  | Qty | Unit | Rate | Amount | CAMC Amount for 5 Years
Unit
1 | Condensing units - VRF/VRV System : Supply, Installation, Nitrogen testing , Vacuuming and Commissioning of air cooled variable refrigerant flow modular type condensing units, each comprising of multiple scroll compressors all inverter driven, full charge of refrigerant gas R-410a including additional gas filling , lubricating oil and all accessories as per the specifications. The condensing units shall be suitable to work on cooling mode. The minimum Energy Efficiency Ratio shall be as per ASHRAE STANDARDS 90.1 -2001 table 6.2.1B . The COP of the system shall be greater than 4 under ARI conditions for 100percentage load . The condensing units shall be suitable for operation on 415 plus or minus 10percentage volts, 50Hz, 3 phase AC power supply and , outdoor units to be mounted on MS platform with suitable Vibration Isolation pads to avoid vibrations. All the supports and angle base frame structure to be duly black painted with synthetic epoxy paint. the condensing units shall be of following capacities: The VRF ODU should be capable of working with total capacity of connected indoor units ranging between 100percentage to 140percentage of ODU capacity . COP minimum 3.5. Make : Daikin / LG / O General / Toshiba at MGMH Petlaburj 24 HP |  |  |  | 1 | Nos |  | 0 | 0
2 | Cassette Units : Supply, Installation, Testing and Commissioning of variable refrigerant flow modular type indoor units wired/wireless remote suitable for R410a refrigerant comprising of all accessories as per the specifications. The indoor units shall be suitable to work on cooling mode.The minimum Energy Efficiency Ratio shall be as per ASHRAE STANDARDS 90.1 -2001 table 6.2.1B. The indoor units shall be suitable for operation on 220 plus or minus 6percentage volts, 50Hz, 1 phase AC power supply. 2.0 TR – 4 way at MGMH Petlaburj |  |  |  | 2 | Nos |  | 0 | 0
3 | Modular Double skin floor mounted EUROVENT Certified Air Handling Unit 4400CFM / 11.0 TR / 150mm SP made out of 45 plus or minus 2mm thick PUF insulated panels Thermal break aluminium profile frame work with 0.8mm thick pre painted / powder coated inner and outer skins comprising of mixing box with fresh air and return air dampers, pre filters with 10 and 5 microns combination filters in single frame, Interlaced/Intertwined DX Cooling Coil suitable for connecting 2 nos of 11.0TR capacity 1W plus 1S out door condensing units, SS304 drain pan with , blower section with Nicotra / Kruger make direct drive/ Plug type fan, vibration isolators, EFF1 motor and blower section with on/off switches to operate from outside, limit switch for the fan section access door with a view port, fine filter section with 3 microns filters inspection doors for all filter and fan sections and damper at the outlet of unit. Ports for differential pressure gauges across all filters and blower to measure differential pressure. AHU Make : VTS / Systemair, Make - Blower - Nicotra / Kruger ; Motor - Crompton Greaves / Siemens ; Filter - Thermodyne / Freudenberg / Ultrafil at MGMH Petlaburj |  |  |  | 1 | Nos |  | 0 | 0
4 | SITC of air cooled condensing units with two scroll compressors, air cooled condenser, power panel, vibration isolating pads, stand for ODU, thermostat, etc. of the following capacities. The nominal capacity of the condensing unit shall be as under. Air cooled condensing unit shall have horizontal discharge. All refrigerant piping accessories sight glass, drier, expansion valve, etc. shall be supplied with the condensing units and suitable to connect above AHUs. Refrigerant shall be R 407C / R 410A. Necessary thermostat, control wiring, etc. shall be included. Derating of the unit shall not be more than 15percentage under 45 deg. C ambient temperature. Condensing unit shall be capable of operating up 50 deg. C ambient temperature. 11.0 TR capacity at MGMH Petlaburj |  |  |  | 2 | Nos |  | 0 | 0
5 | [7 empty] | 0 | 0
| Total Amount | [6 empty] | 0 | 0
| GST @ 18% | [6 empty] | 0
| Total Amount excluding CAMC | [6 empty] | 0
| CAMC Amount as per below table | [6 empty] | 0
| Total Amount including CAMC | [6 empty] | 0
Comprehensive Annual Maintanance Charges post warranty period for 5 years(4th to 10th year) as per below table.
| Base Price |  |  | 0
| S.No | Year | CAMC % | Amount
| 1 | 4th | 9% | 0
| 2 | 5th | 9% | 0
| 3 | 6th | 9% | 0
| 4 | 7th | 9% | 0
| 5 | 8th | 10% | 0
| 6 | 9th | 10% | 0
| 7 | 10th | 10% | 0
| Total % |  | 66%
| Total Amount |  |  | 0

## LG
ANNEXURE-01
Sl. No | Item Description |  |  |  | Qty | Unit | Rate | Amount | CAMC Amount for 5 Years
Unit
1 | Condensing units - VRF/VRV System : Supply, Installation, Nitrogen testing , Vacuuming and Commissioning of air cooled variable refrigerant flow modular type condensing units, each comprising of multiple scroll compressors all inverter driven, full charge of refrigerant gas R-410a including additional gas filling , lubricating oil and all accessories as per the specifications. The condensing units shall be suitable to work on cooling mode. The minimum Energy Efficiency Ratio shall be as per ASHRAE STANDARDS 90.1 -2001 table 6.2.1B . The COP of the system shall be greater than 4 under ARI conditions for 100percentage load . The condensing units shall be suitable for operation on 415 plus or minus 10percentage volts, 50Hz, 3 phase AC power supply and , outdoor units to be mounted on MS platform with suitable Vibration Isolation pads to avoid vibrations. All the supports and angle base frame structure to be duly black painted with synthetic epoxy paint. the condensing units shall be of following capacities: The VRF ODU should be capable of working with total capacity of connected indoor units ranging between 100percentage to 140percentage of ODU capacity . COP minimum 3.5. Make : Daikin / LG / O General / Toshiba at MGMH Petlaburj 24 HP |  |  |  | 1 | Nos |  | 0 | 0
2 | Cassette Units : Supply, Installation, Testing and Commissioning of variable refrigerant flow modular type indoor units wired/wireless remote suitable for R410a refrigerant comprising of all accessories as per the specifications. The indoor units shall be suitable to work on cooling mode.The minimum Energy Efficiency Ratio shall be as per ASHRAE STANDARDS 90.1 -2001 table 6.2.1B. The indoor units shall be suitable for operation on 220 plus or minus 6percentage volts, 50Hz, 1 phase AC power supply. 2.0 TR – 4 way at MGMH Petlaburj |  |  |  | 2 | Nos |  | 0 | 0
3 | Modular Double skin floor mounted EUROVENT Certified Air Handling Unit 4400CFM / 11.0 TR / 150mm SP made out of 45 plus or minus 2mm thick PUF insulated panels Thermal break aluminium profile frame work with 0.8mm thick pre painted / powder coated inner and outer skins comprising of mixing box with fresh air and return air dampers, pre filters with 10 and 5 microns combination filters in single frame, Interlaced/Intertwined DX Cooling Coil suitable for connecting 2 nos of 11.0TR capacity 1W plus 1S out door condensing units, SS304 drain pan with , blower section with Nicotra / Kruger make direct drive/ Plug type fan, vibration isolators, EFF1 motor and blower section with on/off switches to operate from outside, limit switch for the fan section access door with a view port, fine filter section with 3 microns filters inspection doors for all filter and fan sections and damper at the outlet of unit. Ports for differential pressure gauges across all filters and blower to measure differential pressure. AHU Make : VTS / Systemair, Make - Blower - Nicotra / Kruger ; Motor - Crompton Greaves / Siemens ; Filter - Thermodyne / Freudenberg / Ultrafil at MGMH Petlaburj |  |  |  | 1 | Nos |  | 0 | 0
4 | SITC of air cooled condensing units with two scroll compressors, air cooled condenser, power panel, vibration isolating pads, stand for ODU, thermostat, etc. of the following capacities. The nominal capacity of the condensing unit shall be as under. Air cooled condensing unit shall have horizontal discharge. All refrigerant piping accessories sight glass, drier, expansion valve, etc. shall be supplied with the condensing units and suitable to connect above AHUs. Refrigerant shall be R 407C / R 410A. Necessary thermostat, control wiring, etc. shall be included. Derating of the unit shall not be more than 15percentage under 45 deg. C ambient temperature. Condensing unit shall be capable of operating up 50 deg. C ambient temperature. 11.0 TR capacity at MGMH Petlaburj |  |  |  | 2 | Nos |  | 0 | 0
5 | [7 empty] | 0 | 0
| Total Amount | [6 empty] | 0 | 0
| GST @ 18% | [6 empty] | 0
| Total Amount excluding CAMC | [6 empty] | 0
| CAMC Amount as per below table | [6 empty] | 0
| Total Amount including CAMC | [6 empty] | 0
Comprehensive Annual Maintanance Charges post warranty period for 5 years(4th to 10th year) as per below table.
| Base Price |  |  | 0
| S.No | Year | CAMC % | Amount
| 1 | 4th | 9% | 0
| 2 | 5th | 9% | 0
| 3 | 6th | 10% | 0
| 4 | 7th | 10% | 0
| 5 | 8th | 10% | 0
| 6 | 9th | 10% | 0
| 7 | 10th | 10% | 0
| Total % |  | 68%
| Total Amount |  |  | 0