## EQP
COMPARITIVE STATEMENT
Name of the work: Design, fabrication, establishing & commissioning of In-Vitro Fertility Centers (IVFCs) along with allied services on Turnkey basis at Gandhi Hospital, Secunderabad, MGM Hospital, Warangal & MGMH Petlaburj, Hyd.
S.No | Descriptio of item | ASTA VARDHMAN CONSORTIUM |  |  |  | D-Tech |  |  |  | BLUE SPACE MEDICALS
|  | QTY | UOM | RATE | AMOUNT | QTY | UOM | RATE | AMOUNT | QTY | UOM | RATE | AMOUNT
1 | Fowler Two Function Bed with ABS Panel, ABS Side Railings, Wheels, Mattress Pillow, & Bed Fixing IV Road Features (Knee rest & Backrest) Size-L,84, W-42, H-24. The finished bed must be rust proof, pre-treated and treated with epoxy polyester antimicrobial powder coated to increase the bacteriostatic property. The bed must be quoted with washable cover of lasting quality. The mattress should be made of high-density PU foam of 100 mm thickness. | 5 | Nos | 39000 | 195000 | 5 | Nos | 41000 | 205000 | 5 | Nos | 42000 | 210000
2 | Bed side Table with ABS Plastic body construction having 1 drawer and an adequated space with openable door with handle of size. | 5 | Nos | 9000 | 45000 | 5 | Nos | 9500 | 47500 | 5 | Nos | 9600 | 48000
3 | Corporate Deluxe Locker with SS 304 grade Top of size 508 x 406 x 762 mm having 1 drawer and an adequate storage space with openable door with SS handle. Equipped with wheels for easy movement. | 1 | Nos | 8400 | 8400 | 1 | Nos | 8800 | 8800 | 1 | Nos | 9000 | 9000
4 | Bed side stand with full SS 304 grade constructionof size 406 x 203 x 762 mm equipped with SS Handles on top for carrying. | 1 | Nos | 9300 | 9300 | 1 | Nos | 9600 | 9600 | 1 | Nos | 9500 | 9500
5 | Bed side stand with full GI Powder coated constructionof size 406 x 203 x 762 mm equipped with powder coated handles on top for carrying. | 1 | Nos | 4200 | 4200 | 1 | Nos | 4400 | 4400 | 1 | Nos | 4500 | 4500
6 | Cryo Can 11 Ltr without wheels | 1 | Nos | 32000 | 32000 | 1 | Nos | 34500 | 34500 | 1 | Nos | 34000 | 34000
7 | 3-Bay Surgical Scrub Station/Sink to be provided for use in the OT complex providing for pre-procedural scrub up with minimum three bay sink combination as suitable. The Scrub Station shall be made of Stainless Steel of 304 grade sheet with minimum thickness of 1.5mm and designed as per the high aesthetics of the theatre complex. Shall have smoothened surfaces & corners. The scrub sink shall be provided with a front access panel which shall be easily removed for access to the water-controlled valve, waste connections, stoppers & strainers. The Scrub station should be equipped with two foot operated and one elbow operated mechanisms. Shall have provision for fresh water and waste water piping ready for connections. | 1 | Nos | 97000 | 97000 | 1 | Nos | 100000 | 100000 | 1 | Nos | 100000 | 100000
8 | Supply of Sample collection bed of size 1850x620x700 mm, featuring plain design equipped with 1 drawer and storage space with openable door type with SS-304 grade handles positioned at head side of the bed. The material of construction of the bed to be of Powder coated GI for entire body. All the legs of the bed to be capped with nylon bushes. The finished bed must be rust proof, pre-treated and treated with epoxy polyester antimicrobial powder coated to increase the bacteriostatic property. The bed must be quoted with washable cover of lasting quality. The mattress should be made of high-density PU foam of 100 mm thickness. | 1 | Nos | 29000 | 29000 | 1 | Nos | 30500 | 30500 | 1 | Nos | 30000 | 30000
9 | Supply of a Sample collection chair of size 800x580x700 mm, meeting medical standards, featuring adjustable height and tilt padded armrests, and durable upholstery, suitable for comfortable patient positioning during blood donation or phlebotomy procedures. The chair is made from mild steel with good finish. The chair to be of easy to manoeuvre and transport and of light weight. | 1 | Nos | 16200 | 16200 | 1 | Nos | 17000 | 17000 | 1 | Nos | 17500 | 17500
10 | Supply and installation of Stainless Steel 304 grade CSSD Rectangular Working table of size 1200x480x1050 mm with inbuilt sink of size 450x380x300 mm equipped with jali at bottom to stop any large particles entering into the drain to avoid drain clog. The table to be designed with raised front section and provision of SS sheet at foot level of the table forming a flat surface for storing/placing of items. The table to be of ready to use with all necessary fittings. | 1 | Nos | 46000 | 46000 | 1 | Nos | 48000 | 48000 | 1 | Nos | 50000 | 50000
11 | Writing board made of Pressed wood coated with melamine surface. It has 900mm writing surface height, 1200mm writing surface wide, and 11mm deep, suitable for working on dry wipe board markers. It has an aluminium frame with dark grey plastic corner caps and maker tray. It is enabled with an easy wall mounting with a concealed slot system. It can be mounted either horizontally or vertically. IT consists of a complete mounting set, marker tray, and a board marker | 2 | Nos | 2100 | 4200 | 2 | Nos | 2500 | 5000 | 2 | Nos | 2250 | 4500
12 | Providing MDF 18 mm thick wooden table of size 900x450 mm with 1 drawer at right side of the table. The table includes keyboard tray. Bottom equipped with nylone bushes for floor protection and easy movement. | 2 | Nos | 14500 | 29000 | 2 | Nos | 16000 | 32000 | 2 | Nos | 15500 | 31000
13 | Supply of a 3-seater sofa upholstered with PU leather, with a high-quality finish. The sofa shall feature a kiln-dried hardwood frame for durability, reinforced with corner blocks for stability. The seat cushions to be constructed with high-density foam padding for comfort and resilience, while the backrests shall feature a combination of foam and fiberfill for optimal support. The sofa arms shall be padded for additional comfort, with sleek wooden or metal legs providing sturdy support. The leather upholstery shall be treated for resistance to stains and spills, ensuring longevity and ease of care. The dimensions of the sofa shall be suitable to accommodate three individuals comfortably, with ample seating space & ergonomic design considerations. | 2 | Nos | 24000 | 48000 | 2 | Nos | 25000 | 50000 | 2 | Nos | 25000 | 50000
14 | Supply and fixing of Powder coated GI stand with 4 nos height adjustable racks of size 670x410x1570 mm connected to two big rods of rectangular hollow section type supported with 4 legs with wheels with brakes to restrict movement/easy movement. Equipped with frame for holding a cylinder. A lockable box type space to be provided at bottom rack. | 1 | Nos | 80000 | 80000 | 1 | Nos | 84000 | 84000 | 1 | Nos | 86400 | 86400
15 | SS-304 working table of size 685x685x762 mm with I type support inner frame SS-304 pipe of size 40x40x1.5 mm, and top with 1.5 mm thick SS-304 sheet. All four legs equipped with adjustable nylone bushes. | 2 | Nos | 16300 | 32600 | 2 | Nos | 18000 | 36000 | 2 | Nos | 19000 | 38000
16 | SS-304 working table of size 457x457x762 mm with I type support inner frame SS-304 pipe of size 40x40x1.5 mm, and top with 1.5 mm thick SS-304 sheet. All four legs equipped with adjustable nylone bushes. | 1 | Nos | 14500 | 14500 | 1 | Nos | 16000 | 16000 | 1 | Nos | 17500 | 17500
17 | SS-304 working table of size 610x610x762 mm with I type support inner frame SS-304 pipe of size 40x40x1.5 mm, and top with 1.5 mm thick SS-304 sheet. All four legs equipped with adjustable nylone bushes. | 1 | Nos | 15100 | 15100 | 1 | Nos | 16500 | 16500 | 1 | Nos | 16800 | 16800
18 | SS-304 working table of size 660x610x762 mm with I type support inner frame SS-304 pipe of size 40x40x1.5 mm, and top with 1.5 mm thick SS-304 sheet. All four legs equipped with adjustable nylone bushes. | 1 | Nos | 15800 | 15800 | 1 | Nos | 16600 | 16600 | 1 | Nos | 17000 | 17000
19 | The Multipurpose Electro Hydraulic Mobile OT Table is designed for gynecological surgical procedures, featuring a wide range of adjustments for optimal patient positioning. It offers precise control with movement controls at the side of the table and a wired remote control handset and features like S. S. Arm Rest, Anaesthetic Screen, Lithotomy Leg Holders with Stirr-Ups, Leather Wristlets, Padded Leg Rest, Anti-static mattress, and an additional Poly-urethane mattress. Built with a Stainless Steel 304 frame and bottom, it ensures durability. The table top, reinforced with three-section stainless steel and radiolucent capabilities, allows for comprehensive patient support. Its flexibility includes 360° rotation, adjustable Trendelenburg, Reversed Trendelenburg, Head Section, Back Section, and Leg Section. Physical specifications include a 1900 mm x 525 mm top with an elevation range of 640mm to 1040mm, supporting patients up to 140 kg. Environmental considerations ensure operational efficiency in various conditions. | 1 | Nos | 210000 | 210000 | 1 | Nos | 225000 | 225000 | 1 | Nos | 232000 | 232000
| Sub Total | 931300 |  |  |  | 986400 |  |  |  | 1005700
| GST @ 18% | 167634 |  |  |  | 177552 |  |  |  | 181026
| Total Amount without CAMC | 1098934 |  |  |  | 1163952 |  |  |  | 1186726
| CAMC Amount | 586719 |  |  |  | 670752 |  |  |  | 683876
| Total Amount including CAMC | 1685653 |  |  |  | 1834704 |  |  |  | 1870602
| Dy. EXECUTIVE ENGINEER |  |  | EXECUTIVE ENGINEER (Engineer In-charge) | [5 empty] | SUPERINTENDENT ENGINEER
| TMSIDC, MEDCHAL MALKAJGIRI |  |  | TSMSIDC, HYDERABAD DIVISION-1 | [5 empty] | TSMSIDC, HYDERABAD CIRCLE

## CIVIL
COMPARITIVE STATEMENT
Name of the work: Design, fabrication, establishing & commissioning of In-Vitro Fertility Centers (IVFCs) along with allied services on Turnkey basis at Gandhi Hospital, Secunderabad, MGM Hospital, Warangal & MGMH Petlaburj, Hyd.
S.No | Descriptio of item | ASTA VARDHMAN CONSORTIUM |  |  |  | Abir Infrastructure Pvt. Ltd |  |  |  | AMBROSIA WELLNESS PRIVATE LIMITED
|  | QTY | UOM | Rate | Amont | QTY | UOM | Rate | Amont | QTY | UOM | Rate | Amont
1 | 50 LPH storage type Portable RO of dimensions 525 x 425 x 1450 mm (WxDxH) of approx. weight 75Kg consists of 4 nos of 80 GPD 3-layer Thin Film Composite (TFC) membrane with 0.0001-micron pore size which can prevent TDS, heavy metals and equipped with 6 stage purification process which reduces pesticides in the water for reducing scale formation when water is heated. The RO should take min input pressure of 0.6 kg/cm2, 2000 ppm of TDS in Water, 500 ppm of Hardness, 6.5 to 8.5 PH of water which can give output of 20 to 25 % recovery in purified water and can run on 230V AC, 50 Hz supply with operating temp of 5oC to 45oC. | 1 | Nos | 75000 | 75000 | 1 | Nos | 78750 | 78750 | 1 | Nos | 81000 | 81000
2 | Providing and fixing Aluminium Extruded Section Body Tubular Type Hydraulic Door Closer (IS: 3564) with double speed adjustment with necessary accessories and screws etc. complete. Make: Haffele | 8 | Nos | 2819 | 22552 | 8 | Nos | 2960 | 23680 | 8 | Nos | 3045 | 24360
3 | Providing, Fabricating and fixing full height V-board partitions of overall thickness of 75mm Partition frame work to be formed out of 50 X 25mm aluminium frame work placed vertically and horizontally at required centre to centre and cross braced with floor and ceiling channels. The cross bracing channels shall be provided also at above and below the partition framework and to be secured to floor at bottom and to any nearest structural member using galvanized metal screws and wooden / PVC rawl plugs. Partition framework to be cladded with 12.5mm thick tapered edge board on both sides of the partition in line and level fixed with drywall screws @ 300mm c/c with staggered joints to avoid through joints and finished with proprietary supplied jointing tape and compound. | 89.11 | Sqm | 1625 | 144803.75 | 89.11 | Sqm | 1706 | 152021.66 | 89.11 | Sqm | 1755 | 156388.05
4 | AHU shed with provision for fencing, door with lock- key arrangement shall be provided with Framework vertically made of MS Square Pipe frame: 2 Inches X 2 Inches, 16Gauge M S Fencing with wire mesh: ½ inch X ½inch. Supporting Structure M S Angle: 50 X 5mm GI pre-coated corrugated profile roof sheet: 0.5 mm thick duly supported with JHook 10 SWG with provision of door with lock and key AHU Shed with fencing should be duly enamel painted and with anti-rust coating from both sides. | 1 | Job | 300000 | 300000 | 1 | Job | 324000 | 324000 | 1 | Job | 315000 | 315000
| Sub Total | ASTA VARDHMAN CONSORTIUM QTY: 542355.75; Abir Infrastructure Pvt. Ltd QTY: 578451.66; AMBROSIA WELLNESS PRIVATE LIMITED QTY: 576748.05
| GST @ 18% | ASTA VARDHMAN CONSORTIUM QTY: 97624.035; Abir Infrastructure Pvt. Ltd QTY: 104121.2988; AMBROSIA WELLNESS PRIVATE LIMITED QTY: 103814.649
| Total Amount without CAMC | ASTA VARDHMAN CONSORTIUM QTY: 639979.785; Abir Infrastructure Pvt. Ltd QTY: 682572.9588; AMBROSIA WELLNESS PRIVATE LIMITED QTY: 680562.699
| CAMC Amount | ASTA VARDHMAN CONSORTIUM QTY: 341684.1225; Abir Infrastructure Pvt. Ltd QTY: 375993.58; AMBROSIA WELLNESS PRIVATE LIMITED QTY: 386421.19
| Total Amount including CAMC | ASTA VARDHMAN CONSORTIUM QTY: 981663.9075; Abir Infrastructure Pvt. Ltd QTY: 1058566.5388; AMBROSIA WELLNESS PRIVATE LIMITED QTY: 1066983.889
| Dy. EXECUTIVE ENGINEER | ASTA VARDHMAN CONSORTIUM Rate: EXECUTIVE ENGINEER (Engineer In-charge); AMBROSIA WELLNESS PRIVATE LIMITED QTY: SUPERINTENDENT ENGINEER
| TSMSIDC, MEDCHAL MALKAJGIRI | ASTA VARDHMAN CONSORTIUM Rate: TSMSIDC, HYDERABAD DIVISION-1; AMBROSIA WELLNESS PRIVATE LIMITED QTY: TSMSIDC, HYDERABAD CIRCLE

## ELECTRICAL
COMPARITIVE STATEMENT
Name of the work: Design, fabrication, establishing & commissioning of In-Vitro Fertility Centers (IVFCs) along with allied services on Turnkey basis at Gandhi Hospital, Secunderabad, MGM Hospital, Warangal & MGMH Petlaburj, Hyd.
S.No | Descriptio of item | ASTA VARDHMAN CONSORTIUM |  |  |  | Srinidhi Power Solutions |  |  |  | I-Care Electricals
|  | QTY | UOM | Rate | Amont | QTY | UOM | Rate | Amont | QTY | UOM | Rate | Amont
1 | Supply and Transportation 56W Clean room Light fixture, 2' x2' (600mm x600mm) LED luminaire CRCA powder coated white after phosphocreatine treatment provided as standard. with high efficiency acrylic wide diffuser, with wide operating voltage range, Power factor > 0.9, Surge protection >2KV, System efficacy of >100 lumens/watt, CCT: 3000K - 6500K as desired by the department, CRI >80, and THD is less than 15% etc., complete. MAKE: Philips | 12 | Nos | 17249 | 206988 | 12 | Nos | 18111 | 217332 | 12 | Nos | 18629 | 223548
2 | Supply and Transportation of 48" ( 1200 mm) High Speed Fan Sweep Celing Fan with all accessories etc., complete. Make Havells S S 390 | 14 | Nos | 4317 | 60438 | 14 | Nos | 4533 | 63462 | 14 | Nos | 4662 | 65268
3 | Labour charges for fixing of ceiling fan and regulator including transportation and giving connections with twin core wire etc., complete. Makes : Finolex / RR Kabel / Havells / Polycab / GM / Million / V-Guard / Gold Medal / HPL / RPG. | 14 | Nos | 194 | 2716 | 14 | Nos | 204 | 2856 | 14 | Nos | 210 | 2940
4 | Supply and fixing of Anchor fastner with fan hook / Providing MS Fan hook with grouting and cement plastering. | 14 | Nos | 127 | 1778 | 14 | Nos | 133 | 1862 | 14 | Nos | 137 | 1918
5 | Supply & fixing of 2nos6A, 2 in one socket - 2 Nos with 6A switch control - 2 Nos modular type with and GI switch box with front cover plate including all labour charges etc., complete. Makes of switches: -Hooney well Benz Plus | 30 | Nos | 1185 | 35550 | 30 | Nos | 1244 | 37320 | 30 | Nos | 1280 | 38400
6 | Supply,Transportation of 15" (375mm) ISI, 900 RPM Heavy duty exhaust fan with metallic blades wiremesh with all accessories etc complete Makes : Crompton / Almonard / Havells Turbo Force SP. | 1 | Nos | 4658 | 4658 | 1 | Nos | 4891 | 4891 | 1 | Nos | 5031 | 5031
7 | Labour charges for fixing the exhaust fan in wall with necessary connections and masonary work of making hole, finishing etc., complete. | 1 | Nos | 816 | 816 | 1 | Nos | 857 | 857 | 1 | Nos | 881 | 881
8 | Supply and erecting 19/20mm steel tube down rod of one meter length with bolts & nuts duly painted with matching colour of fan complete | 14 | Nos | 171 | 2394 | 14 | Nos | 180 | 2520 | 14 | Nos | 185 | 2590
9 | Supply and fixing of 12 Way SPN DB Horizontal with IP 43 Protection as per IS:13032 Makes: Legrand and Supply and Fixing of 1 No., of 63A FP MCB as incomer and 8 Nos 6-32 A 10kA SP MCBs Makes: Legrand-DX3 as out goings including internal connections and labour charges for FLUSH Mounting etc., complete. (For UPS DBs) | 1 | No | 9899 | 9899 | 1 | No | 10394 | 10394 | 1 | No | 10691 | 10691
10 | Supply and fixing of cable adopteres box with cover for DBs including, massanory work etc., complete., | 8 | Nos | 4500 | 36000 | 8 | Nos | 4725 | 37800 | 8 | Nos | 4860 | 38880
11 | Supply and Installation of control cum transmission wiring of size 4C x 2.5 Sqmm copper wire to be laid in heavy grade PVC conduit including all fixing and accessories as At Gandhi Hospital | 20 | Rmt | 302 | 6040 | 20 | Rmt | 317 | 6340 | 20 | Rmt | 326 | 6520
12 | Supply and Installation of control cum transmission wiring of size 2C x 1.5 Sqmm copper wire to be laid in heavy grade PVC conduit including all fixing and accessories as At Gandhi Hospital | 190 | Rmt | 181 | 34390 | 190 | Rmt | 190 | 36100 | 190 | Rmt | 195 | 37050
13 | 4C x 1.5 Sqmm Copper Flexible Cable For Condensing Unit to Electrical Panel | 74.1 | Rmt | 137 | 10151.7 | 74.1 | Rmt | 0 | 0 | 74.1 | Rmt | 0 | 0
Sub Total |  | ASTA VARDHMAN CONSORTIUM QTY: 411818.7; Srinidhi Power Solutions QTY: 421734; I-Care Electricals QTY: 433717
GST @ 18% |  | ASTA VARDHMAN CONSORTIUM QTY: 485946.066; Srinidhi Power Solutions QTY: 497646.12; I-Care Electricals QTY: 511786.06
Total Amount without CAMC |  | ASTA VARDHMAN CONSORTIUM QTY: 897764.766; Srinidhi Power Solutions QTY: 919380.12; I-Care Electricals QTY: 945503.06
CAMC Amount |  | ASTA VARDHMAN CONSORTIUM QTY: 259445.781; Srinidhi Power Solutions QTY: 269909.76; I-Care Electricals QTY: 277578.88
Total Amount including CAMC |  | ASTA VARDHMAN CONSORTIUM QTY: 1157210.547; Srinidhi Power Solutions QTY: 1189289.88; I-Care Electricals QTY: 1223081.94
| Dy. EXECUTIVE ENGINEER | ASTA VARDHMAN CONSORTIUM UOM: EXECUTIVE ENGINEER (Engineer In-charge); Srinidhi Power Solutions Amont: SUPERINTENDENT ENGINEER
| TSMSIDC, MEDCHAL MALKAJGIRI | ASTA VARDHMAN CONSORTIUM UOM: TSMSIDC, HYDERABAD DIVISION-1; Srinidhi Power Solutions Amont: TSMSIDC, HYDERABAD CIRCLE

## PLUMBING
COMPARITIVE STATEMENT
Name of the work: Design, fabrication, establishing & commissioning of In-Vitro Fertility Centers (IVFCs) along with allied services on Turnkey basis at Gandhi Hospital, Secunderabad, MGM Hospital, Warangal & MGMH Petlaburj, Hyd.
S.No | Descriptio of item | ASTA VARDHMAN CONSORTIUM
|  | QTY | UOM | Rate | Amont | QTY | UOM | Rate | Amont | QTY | UOM | Rate | Amont
1 | Supplying and fixing of 3" (75mm) Nahany trap with jali - UPVC/SWR pipe fittings as per site requirements with standard practice for all floors including cost and conveyance of all materials to site, labour charges , overheads & contractors profit etc., complete for finished item of work. | ASTA VARDHMAN CONSORTIUM QTY: 5; ASTA VARDHMAN CONSORTIUM UOM: Nos; ASTA VARDHMAN CONSORTIUM QTY: 5; ASTA VARDHMAN CONSORTIUM UOM: Nos; ASTA VARDHMAN CONSORTIUM QTY: 5; ASTA VARDHMAN CONSORTIUM UOM: Nos
2 | Concealed Valves | ASTA VARDHMAN CONSORTIUM QTY: 3; ASTA VARDHMAN CONSORTIUM UOM: Nos; ASTA VARDHMAN CONSORTIUM QTY: 3; ASTA VARDHMAN CONSORTIUM UOM: Nos; ASTA VARDHMAN CONSORTIUM QTY: 3; ASTA VARDHMAN CONSORTIUM UOM: Nos
3 | Supplying and fixing GI pipe Medium Grade properties & weight as per IS 1239 in ground or on wall with GI fittings such as elbows tees couplings, nipples, plugs including excavation for trenches and refilling the trenches ,chiselling masonry walls and making good the walls & floors to the original surface and fixing MS clamps on TW blocks on walls including cost and conveyance of all materials and labour charges , overheads & contractors profit complete for finished item of work except for GI bends union and GI connectors with checkout and socket Tata or Zenith make or equivalent. | ASTA VARDHMAN CONSORTIUM QTY: 35.1; ASTA VARDHMAN CONSORTIUM UOM: Rmt; ASTA VARDHMAN CONSORTIUM QTY: 35.1; ASTA VARDHMAN CONSORTIUM UOM: Rmt; ASTA VARDHMAN CONSORTIUM QTY: 35.1; ASTA VARDHMAN CONSORTIUM UOM: Rmt
Sub Total
GST @ 18%
Total Amount without CAMC
CAMC Amount
Total Amount including CAMC
| Dy. EXECUTIVE ENGINEER | ASTA VARDHMAN CONSORTIUM UOM: EXECUTIVE ENGINEER (Engineer In-charge); ASTA VARDHMAN CONSORTIUM Amont: SUPERINTENDENT ENGINEER
| TSMSIDC, MEDCHAL MALKAJGIRI | ASTA VARDHMAN CONSORTIUM UOM: TSMSIDC, HYDERABAD DIVISION-1; ASTA VARDHMAN CONSORTIUM Amont: TSMSIDC, HYDERABAD CIRCLE

## FF
COMPARITIVE STATEMENT
Name of the work: Design, fabrication, establishing & commissioning of In-Vitro Fertility Centers (IVFCs) along with allied services on Turnkey basis at Gandhi Hospital, Secunderabad, MGM Hospital, Warangal & MGMH Petlaburj, Hyd.
S.No | Descriptio of item | ASTA VARDHMAN CONSORTIUM
|  | QTY | UOM | Rate | Amont | QTY | UOM | Rate | Amont | QTY | UOM | Rate | Amont
1 | Fire Alarm Panel | 1 | Nos | 195000 | 195000 | 1 | Nos | 200000 | 200000 | 1 | Nos | 205000 | 205000
2 | [13 empty] | 122850
Sub Total |  | ASTA VARDHMAN CONSORTIUM QTY: 195000; ASTA VARDHMAN CONSORTIUM QTY: 200000; ASTA VARDHMAN CONSORTIUM QTY: 205000
GST @ 18% |  | ASTA VARDHMAN CONSORTIUM QTY: 35100; ASTA VARDHMAN CONSORTIUM QTY: 36000; ASTA VARDHMAN CONSORTIUM QTY: 36900
Total Amount without CAMC |  | ASTA VARDHMAN CONSORTIUM QTY: 230100; ASTA VARDHMAN CONSORTIUM QTY: 236000; ASTA VARDHMAN CONSORTIUM QTY: 241900
CAMC Amount |  | ASTA VARDHMAN CONSORTIUM QTY: 122850; ASTA VARDHMAN CONSORTIUM QTY: 128000; ASTA VARDHMAN CONSORTIUM QTY: 131200
Total Amount including CAMC |  | ASTA VARDHMAN CONSORTIUM QTY: 352950; ASTA VARDHMAN CONSORTIUM QTY: 364000; ASTA VARDHMAN CONSORTIUM QTY: 373100
| Dy. EXECUTIVE ENGINEER | ASTA VARDHMAN CONSORTIUM UOM: EXECUTIVE ENGINEER (Engineer In-charge); ASTA VARDHMAN CONSORTIUM Rate: SUPERINTENDENT ENGINEER
| TSMSIDC, MEDCHAL MALKAJGIRI | ASTA VARDHMAN CONSORTIUM UOM: TSMSIDC, HYDERABAD DIVISION-1; ASTA VARDHMAN CONSORTIUM Rate: TSMSIDC, HYDERABAD CIRCLE

## AC
COMPARITIVE STATEMENT
Name of the work: Design, fabrication, establishing & commissioning of In-Vitro Fertility Centers (IVFCs) along with allied services on Turnkey basis at Gandhi Hospital, Secunderabad, MGM Hospital, Warangal & MGMH Petlaburj, Hyd.
S.No | Descriptio of item | ASTA VARDHMAN CONSORTIUM |  |  |  | VJ-Engineers |  |  |  | Comfort Cool Care Services
|  | QTY | UOM | Rate | Amont | QTY | UOM | Rate | Amont | QTY | UOM | Rate | Amont
1 | SITC of CPVC drain ping with supports, clamps of the following size. 25mm Dia at Gandhi Hospital | 66 | Rmt | 200 | 13200 | 66 | Rmt | 295 | 19470 | 66 | Rmt | 290 | 19140
2 | Supply and installation of 2.2 TR 3 Star capable of delivering 21600 BTU/hr and above with operating on refrigerant R-32 / R-410 with condeser stand, layoing copper pipe of 15mm size of length 15 mt including Nitrile rubber insulation connected with 2.5 sqm x 4 core cable for power supply and equipped with drain pump. Makes : Daikin / Toshibha / Carrier / BlueStar / Hitachi or equivalent | 1 | Nos | 72225 | 72225 | 1 | Nos | 98000 | 98000 | 1 | Nos | 99000 | 99000
3 | Supply & Installation of MS Angle for Duct Support, Cable Tray Support and Condensing Unit Stand of size 40 X 40 x 5 mm Thick. | 92.2 | Kg | 190 | 17518 | 92.2 | Kg | 220 | 20284 | 92.2 | Kg | 215 | 19823
4 | Supply & Installation of MS Angle for Duct Support, Cable Tray Support and Condensing Unit Stand of size 25 X 25 x 5 mm Thick. | 25.5 | Kg | 190 | 4845 | 25.5 | Kg | 220 | 5610 | 25.5 | Kg | 215 | 5482.5
5 | Supply and installation of Canvas Connections For AHUS | 2 | Nos | 6500 | 13000 | 2 | Nos | 11000 | 22000 | 2 | Nos | 12000 | 24000
Sub Total |  | ASTA VARDHMAN CONSORTIUM QTY: 120788; VJ-Engineers QTY: 165364; Comfort Cool Care Services QTY: 167445.5
GST @ 18% |  | ASTA VARDHMAN CONSORTIUM QTY: 21741.84; VJ-Engineers QTY: 29765.52; Comfort Cool Care Services QTY: 30140.19
Total Amount without CAMC |  | ASTA VARDHMAN CONSORTIUM QTY: 142529.84; VJ-Engineers QTY: 195129.52; Comfort Cool Care Services QTY: 197585.69
CAMC Amount |  | ASTA VARDHMAN CONSORTIUM QTY: 76096.44; VJ-Engineers QTY: 109140.24; Comfort Cool Care Services QTY: 113862.94
Total Amount including CAMC |  | ASTA VARDHMAN CONSORTIUM QTY: 218626.28; VJ-Engineers QTY: 304269.76; Comfort Cool Care Services QTY: 311448.63
| Dy. EXECUTIVE ENGINEER | ASTA VARDHMAN CONSORTIUM UOM: EXECUTIVE ENGINEER (Engineer In-charge); Comfort Cool Care Services QTY: SUPERINTENDENT ENGINEER
| TSMSIDC, MEDCHAL MALKAJGIRI | ASTA VARDHMAN CONSORTIUM UOM: TSMSIDC, HYDERABAD DIVISION-1; Comfort Cool Care Services QTY: TSMSIDC, HYDERABAD CIRCLE

## MGPS
COMPARITIVE STATEMENT
Name of the work: Design, fabrication, establishing & commissioning of In-Vitro Fertility Centers (IVFCs) along with allied services on Turnkey basis at Gandhi Hospital, Secunderabad, MGM Hospital, Warangal & MGMH Petlaburj, Hyd.
S.No | Descriptio of item | ASTA VARDHMAN CONSORTIUM |  |  |  | LSS Engineering |  |  |  | GasTech Engineering
|  | QTY | UOM | RATE | AMOUNT | QTY | UOM | RATE | AMOUNT | QTY | UOM | RATE | AMOUNT
1 | Fully Automatic Control Panel for Oxygen System: Supply, installation and commissioning of Fully Automatic control panel for unintrupted Oxygen supply | 1 | Set | 175180 | 175180 | 1 | Set | 183939 | 183939 | 1 | Set | 189194 | 189194
2 | Trigas Emergency Manifold: SITC of Emergency Trigas Manifold maximum for 1+1 D-type Gas Cylinders complete with separate NRVs, tail pipes and brass fittings for each cylinders. | 1 | Set | 9620 | 9620 | 1 | Set | 10101 | 10101 | 1 | Set | 10390 | 10390
3 | Fully Automatic Control Panel for Trigas System: Supply, installation and commissioning of Fully Automatic control panel for unintrupted Nirous Oxide supply. | 1 | Set | 175180 | 175180 | 1 | Set | 183939 | 183939 | 1 | Set | 189194 | 189194
4 | Fully Automatic Control Panel for CO2 System: Supply, installation and commissioning of Fully Automatic control panel for unintrupted Nirous Oxide supply. | 1 | Set | 175180 | 175180 | 1 | Set | 183939 | 183939 | 1 | Set | 189194 | 189194
5 | SITC of Medical Air-4 Outlet with matching probe as per HTM-2022/02-01 of UK/ NFPA 99C of USA as per enclosed technical Specification. | 6 | Nos | 12470 | 74820 | 6 | Nos | 13094 | 78564 | 6 | Nos | 13468 | 80808
6 | 12 mm Valve for 12 mm OD Pipe Note: New item added | 3 | Nos. | 930 | 2790 | 3 | Nos. | 977 | 2931 | 3 | Nos. | 1004 | 3012
7 | Supply and installation of 46.7 liter size CO2 cylinders confirming to IS:7285 Part-2 (2017). The cylinder shall have an outer diameter of 232mm, a nominal length of 1365mm, and a minimum wall thickness of 5.3mm, ensuring robustness and safety during handling and storage. The cylinders shall have a capacity of 46.7 liters and comply with the standards set forth by the Indian Standards Institute. They shall be constructed from high-quality 37 Mn (Carbon Manganese) material, guaranteeing durability and reliability. The design shall feature a concave bottom and neck threading conforming to IS 3224:2002 14 TPI Type 4 - Size 2 specifications, facilitating secure connections and ease of use. The cylinder shall be capable of withstanding a test pressure of 250 BAR and have a working pressure of 150 BAR. The nominal tare weight of each cylinder shall be 51 kg. The cylinder includes first fill. | 2 | Nos | 20850 | 41700 | 2 | Nos | 21893 | 43786 | 2 | Nos | 22518 | 45036
8 | Supply and installation of 46.7 liter size O2 cylinders confirming to IS:7285 Part-2 (2017). The cylinder shall have an outer diameter of 232mm, a nominal length of 1365mm, and a minimum wall thickness of 5.3mm, ensuring robustness and safety during handling and storage. The cylinders shall have a capacity of 46.7 liters and comply with the standards set forth by the Indian Standards Institute. They shall be constructed from high-quality 37 Mn (Carbon Manganese) material, guaranteeing durability and reliability. The design shall feature a concave bottom and neck threading conforming to IS 3224:2002 14 TPI Type 4 - Size 2 specifications, facilitating secure connections and ease of use. The cylinder shall be capable of withstanding a test pressure of 250 BAR and have a working pressure of 150 BAR. The nominal tare weight of each cylinder shall be 51 kg. The cylinder includes first fill. | 2 | Nos | 17850 | 35700 | 2 | Nos | 18743 | 37486 | 2 | Nos | 19278 | 38556
9 | Supply and installation of 46.7 liter size Trigas cylinders confirming to IS:7285 Part-2 (2017). The cylinder shall have an outer diameter of 232mm, a nominal length of 1365mm, and a minimum wall thickness of 5.3mm, ensuring robustness and safety during handling and storage. The cylinders shall have a capacity of 46.7 liters and comply with the standards set forth by the Indian Standards Institute. They shall be constructed from high-quality 37 Mn (Carbon Manganese) material, guaranteeing durability and reliability. The design shall feature a concave bottom and neck threading conforming to IS 3224:2002 14 TPI Type 4 - Size 2 specifications, facilitating secure connections and ease of use. The cylinder shall be capable of withstanding a test pressure of 250 BAR and have a working pressure of 150 BAR. The nominal tare weight of each cylinder shall be 51 kg. The cylinder includes first fill. | 2 | Nos | 29250 | 58500 | 2 | Nos | 30713 | 61426 | 2 | Nos | 31590 | 63180
10 | Supply and installation of 46.7 liter size N2O cylinders confirming to IS:7285 Part-2 (2017). The cylinder shall have an outer diameter of 232mm, a nominal length of 1365mm, and a minimum wall thickness of 5.3mm, ensuring robustness and safety during handling and storage. The cylinders shall have a capacity of 46.7 liters and comply with the standards set forth by the Indian Standards Institute. They shall be constructed from high-quality 37 Mn (Carbon Manganese) material, guaranteeing durability and reliability. The design shall feature a concave bottom and neck threading conforming to IS 3224:2002 14 TPI Type 4 - Size 2 specifications, facilitating secure connections and ease of use. The cylinder shall be capable of withstanding a test pressure of 250 BAR and have a working pressure of 150 BAR. The nominal tare weight of each cylinder shall be 51 kg. The cylinder includes first fill. | 2 | Nos | 33000 | 66000 | 2 | Nos | 34650 | 69300 | 2 | Nos | 35640 | 71280
Sub Total |  | 814670 |  |  |  | 855411 |  |  |  | 879844
GST @ 18% |  | 146640.6 |  |  |  | 153973.98 |  |  |  | 158371.92
Total Amount without CAMC |  | 961310.6 |  |  |  | 1009384.98 |  |  |  | 1038215.92
CAMC Amount |  | 513242.1 |  |  |  | 556017.15 |  |  |  | 589495.48
Total Amount including CAMC |  | 1474552.7 |  |  |  | 1565402.13 |  |  |  | 1627711.4
| Dy. EXECUTIVE ENGINEER |  |  | EXECUTIVE ENGINEER (Engineer In-charge) | [6 empty] | SUPERINTENDENT ENGINEER
| TSMSIDC, MEDCHAL MALKAJGIRI |  |  | TSMSIDC, HYDERABAD DIVISION-1 | [6 empty] | TSMSIDC, HYDERABAD CIRCLE

## MGPS (2)
COMPARITIVE STATEMENT
Name of the work: Design, fabrication, establishing & commissioning of In-Vitro Fertility Centers (IVFCs) along with allied services on Turnkey basis at Gandhi Hospital, Secunderabad, MGM Hospital, Warangal & MGMH Petlaburj, Hyd.
S.No | Descriptio of item | ASTA VARDHMAN CONSORTIUM |  |  |  | LSS Engineering |  |  |  | GasTech Engineering
|  | QTY | UOM | RATE | AMOUNT | QTY | UOM | RATE | AMOUNT | QTY | UOM | RATE | AMOUNT
1 | Fully Automatic Control Panel for Oxygen System: Supply, installation and commissioning of Fully Automatic control panel for unintrupted Oxygen supply | 1 | Set | 175180 | 175180 | 1 | Set | 183939 | 183939 | 1 | Set | 189194 | 189194
2 | Trigas Emergency Manifold: SITC of Emergency Trigas Manifold maximum for 1+1 D-type Gas Cylinders complete with separate NRVs, tail pipes and brass fittings for each cylinders. | 1 | Set | 9620 | 9620 | 1 | Set | 10101 | 10101 | 1 | Set | 10390 | 10390
3 | Fully Automatic Control Panel for Trigas System: Supply, installation and commissioning of Fully Automatic control panel for unintrupted Nirous Oxide supply. | 1 | Set | 175180 | 175180 | 1 | Set | 183939 | 183939 | 1 | Set | 189194 | 189194
4 | Fully Automatic Control Panel for CO2 System: Supply, installation and commissioning of Fully Automatic control panel for unintrupted Nirous Oxide supply. | 1 | Set | 175180 | 175180 | 1 | Set | 183939 | 183939 | 1 | Set | 189194 | 189194
5 | SITC of Medical Air-4 Outlet with matching probe as per HTM-2022/02-01 of UK/ NFPA 99C of USA as per enclosed technical Specification. | 6 | Nos | 12470 | 74820 | 6 | Nos | 13094 | 78564 | 6 | Nos | 13468 | 80808
6 | 12 mm Valve for 12 mm OD Pipe Note: New item added | 3 | Nos. | 930 | 2790 | 3 | Nos. | 977 | 2931 | 3 | Nos. | 1004 | 3012
7 | Supply and installation of 46.7 liter size CO2 cylinders confirming to IS:7285 Part-2 (2017). The cylinder shall have an outer diameter of 232mm, a nominal length of 1365mm, and a minimum wall thickness of 5.3mm, ensuring robustness and safety during handling and storage. The cylinders shall have a capacity of 46.7 liters and comply with the standards set forth by the Indian Standards Institute. They shall be constructed from high-quality 37 Mn (Carbon Manganese) material, guaranteeing durability and reliability. The design shall feature a concave bottom and neck threading conforming to IS 3224:2002 14 TPI Type 4 - Size 2 specifications, facilitating secure connections and ease of use. The cylinder shall be capable of withstanding a test pressure of 250 BAR and have a working pressure of 150 BAR. The nominal tare weight of each cylinder shall be 51 kg. The cylinder includes first fill. | 2 | Nos | 20850 | 41700 | 2 | Nos | 21893 | 43786 | 2 | Nos | 22518 | 45036
8 | Supply and installation of 46.7 liter size O2 cylinders confirming to IS:7285 Part-2 (2017). The cylinder shall have an outer diameter of 232mm, a nominal length of 1365mm, and a minimum wall thickness of 5.3mm, ensuring robustness and safety during handling and storage. The cylinders shall have a capacity of 46.7 liters and comply with the standards set forth by the Indian Standards Institute. They shall be constructed from high-quality 37 Mn (Carbon Manganese) material, guaranteeing durability and reliability. The design shall feature a concave bottom and neck threading conforming to IS 3224:2002 14 TPI Type 4 - Size 2 specifications, facilitating secure connections and ease of use. The cylinder shall be capable of withstanding a test pressure of 250 BAR and have a working pressure of 150 BAR. The nominal tare weight of each cylinder shall be 51 kg. The cylinder includes first fill. | 2 | Nos | 17850 | 35700 | 2 | Nos | 18743 | 37486 | 2 | Nos | 19278 | 38556
9 | Supply and installation of 46.7 liter size Trigas cylinders confirming to IS:7285 Part-2 (2017). The cylinder shall have an outer diameter of 232mm, a nominal length of 1365mm, and a minimum wall thickness of 5.3mm, ensuring robustness and safety during handling and storage. The cylinders shall have a capacity of 46.7 liters and comply with the standards set forth by the Indian Standards Institute. They shall be constructed from high-quality 37 Mn (Carbon Manganese) material, guaranteeing durability and reliability. The design shall feature a concave bottom and neck threading conforming to IS 3224:2002 14 TPI Type 4 - Size 2 specifications, facilitating secure connections and ease of use. The cylinder shall be capable of withstanding a test pressure of 250 BAR and have a working pressure of 150 BAR. The nominal tare weight of each cylinder shall be 51 kg. The cylinder includes first fill. | 2 | Nos | 29250 | 58500 | 2 | Nos | 30713 | 61426 | 2 | Nos | 31590 | 63180
10 | Supply and installation of 46.7 liter size N2O cylinders confirming to IS:7285 Part-2 (2017). The cylinder shall have an outer diameter of 232mm, a nominal length of 1365mm, and a minimum wall thickness of 5.3mm, ensuring robustness and safety during handling and storage. The cylinders shall have a capacity of 46.7 liters and comply with the standards set forth by the Indian Standards Institute. They shall be constructed from high-quality 37 Mn (Carbon Manganese) material, guaranteeing durability and reliability. The design shall feature a concave bottom and neck threading conforming to IS 3224:2002 14 TPI Type 4 - Size 2 specifications, facilitating secure connections and ease of use. The cylinder shall be capable of withstanding a test pressure of 250 BAR and have a working pressure of 150 BAR. The nominal tare weight of each cylinder shall be 51 kg. The cylinder includes first fill. | 2 | Nos | 33000 | 66000 | 2 | Nos | 34650 | 69300 | 2 | Nos | 35640 | 71280
Sub Total |  | 814670 |  |  |  | 855411 |  |  |  | 879844
GST @ 18% |  | 146640.6 |  |  |  | 153973.98 |  |  |  | 158371.92
Total Amount without CAMC |  | 961310.6 |  |  |  | 1009384.98 |  |  |  | 1038215.92
CAMC Amount |  | 513242.1 |  |  |  | 556017.15 |  |  |  | 589495.48
Total Amount including CAMC |  | 1474552.7 |  |  |  | 1565402.13 |  |  |  | 1627711.4
| Dy. EXECUTIVE ENGINEER |  |  | EXECUTIVE ENGINEER (Engineer In-charge) | [6 empty] | SUPERINTENDENT ENGINEER
| TSMSIDC, MEDCHAL MALKAJGIRI |  |  | TSMSIDC, HYDERABAD DIVISION-1 | [6 empty] | TSMSIDC, HYDERABAD CIRCLE

## INTERIORS
COMPARITIVE STATEMENT
Name of the work: Design, fabrication, establishing & commissioning of In-Vitro Fertility Centers (IVFCs) along with allied services on Turnkey basis at Gandhi Hospital, Secunderabad, MGM Hospital, Warangal & MGMH Petlaburj, Hyd.
S.No | Descriptio of item | ASTA VARDHMAN CONSORTIUM |  |  |  | AA Architecture & Interiors |  |  |  | GKS Interiors Pvt. Ltd.
|  | Qty | UOM | Rate (Rs.) | Amount (Rs.) | Qty | UOM | Rate (Rs.) | Amount (Rs.) | Qty | UOM | Rate (Rs.) | Amount (Rs.)
1 | Supply and fixing of Dress Hangers of size 450mm length with 8 Nos hooks, each capped with plastic protective cap (in change rooms). | 5 | Nos | 510 | 2550 | 5 | Nos | 535 | 2675 | 5 | Nos | 560 | 2800
2 | Name Plates (Room Names) as approved by the Engineer In-charge. | 31 | Nos | 600 | 18600 | 31 | Nos | 630 | 19530 | 31 | Nos | 650 | 20150
3 | Supply and fixing of High Quality IVF Procedural photos placed between two transparent acrylic boards fixed with studs at four corners to the PVC frame placed on DBs. (2'X2' and above) | 14 | Nos | 9000 | 126000 | 14 | Nos | 9500 | 133000 | 14 | Nos | 9900 | 138600
4 | Side Paneling 14mm thick Indoor WPC louvers providing & Fixing full height said 12mm SHERA Board panneling till slab with wooden framing in line and level including fling joints and joint calls and neccesary hardware | 18.58 | Sqm | 15500 | 287990 | 18.58 | Sqm | 16500 | 306570 | 18.58 | Sqm | 17000 | 315860
5 | 2 WPC LOUVers Ceiling Praviding and fixing WPC Louvers to the Celling of which includes G Perimeter Channels of size 0.55mm thick (having One Flange of 20mm and another flange of 30mm and a web of 27mm) along with perimeter of ceiling screw fixed to brick wall/partition with the help of Nylon sleeves and screws at 610mm centres. Then suspending G1 intermediate channels of size 45mm 10. 9mm thick with 2 flanges of 15mm each) from the soffis at 1220mm centres with ceiling angle of width 25mm x 10mm X0.55mm thick fixed to saffit with GI. cleat and steel expansion fasteners. Ceiling section of 0.55mm thick having knurled web of 51.5mm and 2 flanges of 26mm each with lips of 10.5mm are Soft then fixed to the intermediate channel with the help of connecting clips and in direction perpendicular to the intermediate channel at 450 mm centres IN ULTRA GI CHANNELS Rute to be included all kinds of profiles and cut outs required for light fixtures Speakers. Smoke detector, trao doors and AC grill in the ceiling | 7.58 | Sqm | 17450 | 132271 | 7.58 | Sqm | 18400 | 139472 | 7.58 | Sqm | 19000 | 144020
6 | Providing and fixing of wooden box celling at the top of Reception table with Imm thick laminate with wooden framing of BWP 710 Gurjan Ply support from the top slab end to end with neccesary cutouts for lighting and hardware. | 2.58 | Sqm | 11335 | 29244.3 | 2.58 | Sqm | 12000 | 30960 | 2.58 | Sqm | 12300 | 31734
7 | Back Pannelling with laminate Finish of 1 mm thick Providing & Fixing full height solid 12mm BWF 710 GURIAN PLY Board panneling till slab with wooden framing in line and level including the neccesary hardware and cutouts | 7.5 | Sqm | 10500 | 78750 | 7.5 | Sqm | 11000 | 82500 | 7.5 | Sqm | 11500 | 86250
8 | Providing and fixing ISI marked Magnetic 25mm Block Board door shutters, core of block board construction with frame of 1st class hard wood and fixing 1 MM laminate on both faces of shutters, including ISI marked Stainless Steel butt hinges with necessary screws and tower bolt complete 850 x 2210 mm door) | 1 | Nos | 13800 | 13800 | 1 | Nos | 15000 | 15000 | 1 | Nos | 15000 | 15000
9 | Providing and fixing PVC frames on the walls for covering the area over DB Boxes with 12 mm PVC sheets in a box section of 60mm thick including neccesary accessories. | 4.45 | Sqm | 6473 | 28804.85 | 4.45 | Sqm | 6800 | 30260 | 4.45 | Sqm | 7150 | 31817.5
10 | Providing and Fixing of (25X25) mm WPC corner L-Patties at the topper edge of the wall tile cladding | 38 | Rmt | 230 | 8740 | 38 | Rmt | 250 | 9500 | 38 | Rmt | 250 | 9500
11 | Providing and Fixing of SS-ROSE GOLD corner & L-Patties at the SIDE edge of the wall tile cladding | 7 | Nos | 1500 | 10500 | 7 | Nos | 1600 | 11200 | 7 | Nos | 1650 | 11550
12 | Providing and fixing of Door Frame panneling with 18mm BWP 710 Gurjan Ply and 8mm thick beeding half rounded on the both sides with 1mm thick laminate Finish with necessary handware and Polishing. | 11.58 | Rmt | 2166 | 25082.28 | 11.58 | Rmt | 2300 | 26634 | 11.58 | Rmt | 2380 | 27560.4
13 | Providing and fixing the 60mm Thick Box framing as the back support for the name plate installed of 18mm BWP 710 Gurjan and 1mm thick high glossy laminate finish | 1.32 | Sqm | 11012 | 14535.84 | 1.32 | Sqm | 11500 | 15180 | 1.32 | Sqm | 12000 | 15840
14 | Providing and Fixing of 32mm Double Flush Door with frame 8mm beeding on its edges on four sides with polishing finish and 1 mm thick laminate on the both sides of which including ISI marked Stainless Steel centre lock and butt hinges with necessary screws and tower bolt complete (1500x2000 mm door) | 1 | Nos | 50400 | 50400 | 1 | Nos | 53000 | 53000 | 1 | Nos | 55000 | 55000
15 | Providing and fixing of Side wall decor Frame for photo hangings panneling with 18mm BWP 710 Gurjan Ply and 8mm thick beeding half rounded on the both sides with 1mm thick laminate finish with necessary hardware and Polishing. | 10.97 | Rmt | 2170 | 23804.9 | 10.97 | Rmt | 2300 | 25231 | 10.97 | Rmt | 2375 | 26053.75
16 | Supply and fixing of Wall paper as approved by the Engineer In-charge. 1. 1 x 2 x 4350 x 85 mm 2. 1 x 2 x 820 x 85 mm | 2 | Nos | 5175 | 10350 | 2 | Nos | 5500 | 11000 | 2 | Nos | 5700 | 11400
17 | Supply and fixing of Main IVF logo with LED arcylic board fixed with LEDs inside and electrical connections as approved by the Engineer In-charge. (520 mm dia thickness 50mm) | 1 | Set | 11475 | 11475 | 1 | Set | 12000 | 12000 | 1 | Set | 12600 | 12600
18 | Supply and fixing of Main Entrance LED 3D Arcylic letter board fixed with LEDs inside and electrical connections as approved by the Engineer In-charge. (2890 x 465 mm) | 1 | Set | 44250 | 44250 | 1 | Set | 46500 | 46500 | 1 | Set | 48000 | 48000
19 | POINT WIRING and LIGHT FIXTURES & FITTINGS Providing Point wiring for Light Concealed Type with 2 x 1.0 Sq.mm. Copper. PVC Insulated wire 1.1 KV grade ISI marked in rigid ISI mark PVC conduit minimum 20mm (1.6 mm thick) dia. with necessary accessories and Pannel and Spot LED lights of Havells/Wipro company. | 13 | Nos | 1200 | 15600 | 13 | Nos | 1260 | 16380 | 13 | Nos | 1300 | 16900
20 | Proving and fixing Profile lights at wpc Louvers | 10.66 | Rmt | 1182 | 12600.12 | 10.66 | Rmt | 1250 | 13325 | 10.66 | Rmt | 1300 | 13858
21 | Proving and fixing Track lights at side wall décor frame with 4 fixtures and 2 tracks | 1 | Job | 9600 | 9600 | 1 | Job | 10100 | 10100 | 1 | Job | 10500 | 10500
22 | External Profile light at Name Plate | 2.89 | Rmt | 1182 | 3415.98 | 2.89 | Rmt | 1250 | 3612.5 | 2.89 | Rmt | 1300 | 3757
| Sub Total | 958364.27 |  |  |  | 1013629.5 |  |  |  | 1048750.65
| GST @ 18% | 172505.5686 |  |  |  | 182453.31 |  |  |  | 188775.117
| Total Amount without CAMC | 1130869.8386 |  |  |  | 1196082.81 |  |  |  | 1237525.767
| CAMC Amount | 603769.4901 |  |  |  | 679131.765 |  |  |  | 713150.442
| Total Amount including CAMC | 1734639.3287 |  |  |  | 1875214.575 |  |  |  | 1950676.209
| Dy. EXECUTIVE ENGINEER |  |  | EXECUTIVE ENGINEER (Engineer In-charge) | [8 empty] | SUPERINTENDENT ENGINEER
| TSMSIDC, MEDCHAL MALKAJGIRI |  |  | TSMSIDC, HYDERABAD DIVISION-1 | [8 empty] | TSMSIDC, HYDERABAD CIRCLE