## RE
REVISED ESTIMATE OF MGM HOSPITAL WARANGAL
S.No | RE NO | Description | As Per Sanctioned Estimate |  |  |  | As Per Working Estimate |  |  |  | Excess | Remarks
|  |  | QTY | UOM | RATE (Rs.) | AMOUNT (Rs.) | QTY | UOM | RATE (Rs.) | AMOUNT (Rs.)
MGM Hospital, Warangal
EQUIPMENT SUPPLIMENTAL
1 | 1 | 3-Bay Surgical Scrub Station/Sink at Sterile Corridor |  |  |  |  | 1 | Nos | 97000 | 97000 | 97000 |  | EQPS
2 | 2 | Supply and installation of Stainless Steel 304 grade CSSD Rectangular Working table of size 1200 x 480 x 1050 mm with inbuilt sink of size 450 x 380 x 300 mm (In Autoclave Room) |  |  |  |  | 1 | Nos | 46000 | 46000 | 46000 |  | EQPS
3 | 3 | Writing board made of Pressed wood coated with melamine surface.(In Counselling Rooms) |  |  |  |  | 1 | Nos | 2100 | 2100 | 2100 |  | EQPS
4 | 4 | Providing MDF 18 mm thick wooden table of size 900x450 mm (in Ultrasound Room) |  |  |  |  | 1 | Nos | 14500 | 14500 | 14500 |  | EQPS
5 | 5 | SS-304 working table of size 685 x 685 x 762 mm in Embryology Lab |  |  |  |  | 2 | Nos | 16300 | 32600 | 32600 |  | EQPS
6 | 6 | SS-304 working table of size 457 x 457 x 762 mm in Andrology Lab |  |  |  |  | 1 | Nos | 14500 | 14500 | 14500 |  | EQPS
7 | 7 | SS-304 working table of size 61 x 610 x 762 mm in Andrology Lab |  |  |  |  | 1 | Nos | 15100 | 15100 | 15100 |  | EQPS
8 | 8 | SS-304 working table of size 660 x 610 x 762 mm in Embryology Lab |  |  |  |  | 1 | Nos | 15800 | 15800 | 15800 |  | EQPS
9 | 9 | Supply and fixing of Powder coated GI stand with 4 nos height adjustable racks of size 670x410x1570 mm in IVF-OT. |  |  |  |  | 1 | Nos | 80000 | 80000 | 80000 |  | EQPS
[6 empty] | 0 |  |  | PART-A | 317600 | 317600 | 317600
CIVIL WORKS
10 | 445 | Dismantling clearing away of Flooring at MGM Warangal | 400 | Sqm | 20 | 8000 | 487.68 | Sqm | 20 | 9753.6 | 1753.6 |  | C
11 | 447 | Dismantling doors, windows Exceeding 3 sqm in area : Doors1.50x2.60M at MGM Warangal | 2 | No | 468 | 936 | 37 | No | 468 | 17316 | 16380 |  | C
12 | 448 | Conveyance of un-useful excavated earth to a distance of 15 KM for disposal of Dismantled Brick masonry and Existing flooring at MGM Warangal | 120 | Cum | 455 | 54600 | 205 | Cum | 455 | 93275 | 38675 |  | C
13 | 449 | Brick masonry for panel walls in superstructure with CM 1:8 prop: Aerated Cellular Autoclaved Concrete Blocks 2nd Floor at MGM Warangal | 15 | Cum | 16055 | 240825 | 77.69 | Cum | 16055 | 1247312.95 | 1006487.95 |  | C
14 | 452 | Plastering 20mm thick in two coats 2ND Floor at MGM Warangal | 45 | Sqm | 1077 | 48465 | 182.18 | Sqm | 1077 | 196207.86 | 147742.86 |  | C
15 | 453 | Plastering 12mm thick in two coats using screened sand 2ND Floor at MGM Warangal | 930 | Sqm | 1041 | 968130 | 1415.32 | Sqm | 1041 | 1473348.12 | 505218.12 |  | C
16 | 457 | Supplying and fixing of Unplasticised Poly Vinyl Chloride UPVC 3 track sliding windows at MGM Warangal | 15 | Sqm | 9517 | 142755 | 26 | Sqm | 9517 | 247442 | 104687 |  | C |  | 25.92
17 | 461 | Flooring with soluble salt porcelain vitrified tiles screen printed and polished of size 600 x 600 mm and thickness between 8 to 10mm 2nd Floor at MGM Warangal | 265 | Sqm | 1725 | 457125 | 488.6 | Sqm | 1725 | 842835 | 385710 |  | C
18 | 463 | Providing and fixing in true horizontal level 14 mm - Mineral Fiber sheet 595 x 595 Square in 2nd floor. at MGM Warangal | 300 | Sqm | 1636 | 490800 | 475 | Sqm | 1636 | 777100 | 286300 |  | C
19 | 464 | Providing dadooing to walls with glazed full body porcelain wall tiles of size 300 x 600 mm . 2nd Floor at MGM Warangal | 70 | Sqm | 1423 | 99610 | 221.37 | Sqm | 1423 | 315009.51 | 215399.51 |  | C
20 | 465 | Providing and applying Wall putty of White Cement in 2nd floor Internal walls. at MGM Warangal | 800 | Sqm | 315 | 252000 | 2000 | Sqm | 315 | 630000 | 378000 |  | C
21 | 467 | Supply and application of one coat water based cement primer of interior grade I and two coats of water based PU paint in 2nd floor. at MGM Warangal | 600 | Sqm | 260 | 156000 | 1450 | Sqm | 260 | 377000 | 221000 |  | C
22 | 485 | Double leaf clean room Doors : Size 1500 X 2100 mm with 300mm X 300mm double glazed view panels at MGM Warangal | 5 | No | 46000 | 230000 | 7 | No | 46000 | 322000 | 92000 |  | C
23 | 486 | Single leaf clean room Doors : Size 900 X 2100 mm with 300 mm x 300 mm View panel at MGM Warangal | 1 | No | 28700 | 28700 | 5 | No | 28700 | 143500 | 114800 |  | C
24 | 489 | Providing, laying of scratch proof PVC/Vinyl flooring of 2mm thickness . at MGM Warangal | 120 | Sqm | 4070 | 488400 | 170 | Sqm | 4070 | 691900 | 203500 |  | C
CIVIL SUPPLIMENTAL
25 | 10 | Providing, Fabricating and fixing full height V-board partitions of overall thickness of 75mm Partition |  |  |  |  | 15 | Sqm | 1625 | 24375 | 24375 |  | CS
26 | 11 | Providing of Factory made prelaminated FPVC (Foamed Polyvinyl Chloride) Door frame of the size 105x40mm with Maximum shutter size of : 910 x 2030 mm |  |  |  |  | 26 | Sqm | 9241 | 240266 | 240266 |  | CS
27 | 12 | Providing and fixing factory made solid Wood Polymer Composite (WPC) single extruded Door |  |  |  |  | 6.5 | Sqm | 6734 | 43771 | 43771 |  | CS | 6.4
28 | 13 | 50 LPH storage type RO of dimensions 525 x 425 x 1450 mm (WxDxH) |  |  |  |  | 1 | Nos | 75000 | 75000 | 75000 |  | CS
29 | 14 | Supply of Sun Control film to the glazed windows (For Windows & Door view Windows) |  |  |  |  | 45 | Sqm | 381 | 17145 | 17145 |  | CS
30 | 15 | Supply of Venetian blinds Vertical blinds 100 mm wide with all accessories. (For semen collection room & Counselling room Windows) |  |  |  |  | 15 | Sqm | 2187 | 32805 | 32805 |  | CS
31 | 16 | Supply and fixing of Dress Hangers of size 450mm length with 8 Nos hooks, each capped with plastic protective cap (in change rooms). |  |  |  |  | 5 | Nos | 510 | 2550 | 2550 |  | CS
32 | 17 | Supplying and fixing Rectangular Mirror Frameless of size 457 .2 mm x 609.6 mm (For Change room) |  |  |  |  | 5 | Nos | 1775 | 8875 | 8875 |  | CS
33 | 18 | Name Plates (Room Names) as approved by the Engineer In-charge. |  |  |  |  | 30 | Nos | 600 | 18000 | 18000 |  | CS
34 | 19 | AHU shed with provision for fencing, door with lock- key arrangement |  |  |  |  | 1 | Job | 300000 | 300000 | 300000 |  | CS
35 | 20 | Providing Thermo Mechanically Treated ( TMT) ( Fe-500/500D/550D from primery producer TATA, SAIL, VSP, JSW Steel, Goel steel, Jindal panther, X- Vega & balaji Shakthi as per IS 1786-2008) of Different Diameters RCC Works , |  |  |  |  | 0.3 | MT | 95386 | 28616 | 28616 |  | CS
36 | 21 | Supplying and fixing of to windows / in open court yards using 25mm x 6mm MS flat alround and 10mm MS square bars |  |  |  |  | 26 | Sqm | 1791 | 46566 | 46566 |  | CS | 25.92
37 | 22 | Supply and placing of the Design Mix Concrete M 25 grade corresponding to IS 456 |  |  |  |  | 0.75 | Cum | 14683 | 11012 | 11012 |  | CS
38 | 23 | Providing skirting to internal walls to 10 cm height with Double charged / multi charged stain free fullbody porcelain vitrified tiles |  |  |  |  | 475 | Rmt | 151 | 71725 | 71725 |  | CS
[6 empty] | 3666346 |  |  | PART-A | 8304706.04 | 4638360.04 | 4638360.04
PLUMBING SUPPLIMENTAL
39 | 24 | Supplying and fixing 50 mm Nominal Bore GI pipe Medium Grade properties (For Autoclave) |  |  |  |  | 15 | Rmt | 599 | 8985 | 8985 |  | PS
[6 empty] | 0 |  |  | PART-A | 8985 | 8985 | 8985
ELECTRICAL
40 | 492 | Supply and laying of ISI 25mm outer dia medium grade with IS:9537-part 3 rigid PVC pipe concealed in wall at MGM Warangal | 220 | Rmt | 116 | 25520 | 356.9 | Rmt | 116 | 41400.4 | 15880.4 |  | E
41 | 493 | Supply and laying of ISI 25mm outer dia medium grade with IS:9537-part 3 rigid PVC pipe surface on wall at MGM Warangal | 500 | Rmt | 107 | 53500 | 1191.9 | Rmt | 107 | 127533.3 | 74033.3 |  | E
42 | 494 | Wiring with 2 runs of 22/0.3mm 1.5 Sq.mm FRLS / HFFR P.V.C. insulated flexible copper cable at MGM Warangal | 105 | Pts | 1070 | 112350 | 170 | Pts | 1070 | 181900 | 69550 |  | E
43 | 495 | Supply and fixing of 6A ISI Mark 3/2 pin Modular socket with 6A 1way Modular switch, 3 Module box at MGM Warangal | 12 | No | 766 | 9192 | 30 | No | 766 | 22980 | 13788 |  | E
44 | 500 | Supply and run of 3 of 2.5 sq.mm 36/0.mm phase neutral and earth FRLS / HFFR PVC insulated flexible copper cable at MGM Warangal | 600 | Rmt | 177 | 106200 | 1098.7 | Rmt | 177 | 194469.9 | 88269.9 |  | E
45 | 501 | Supply and 3 runs of 4.0 sq mm 56/0.3 mm phase neutral and earth FRLS / HFFR PVC insulated flexible copper cable at MGM Warangal | 1200 | Rmt | 255 | 306000 | 1368.8 | Rmt | 255 | 349044 | 43044 |  | E
46 | 502 | Supply and run of 5 of 6.0 Sqmm 90/0.3 mm 3 phases, neutral and earth FRLS / HFFR PVC insulated flexible copper cable at MGM Warangal | 60 | Rmt | 606 | 36360 | 212.8 | Rmt | 606 | 128956.8 | 92596.8 |  | E
47 | 503 | Supply and run of 5 of 10.0 Sqmm 140/0.3 mm 3 phases, neutral and earth FRLS / HFFR PVC insulated flexible copper cable at MGM Warangal | 40 | Rmt | 967 | 38680 | 314.4 | Rmt | 967 | 304024.8 | 265344.8 |  | E
48 | 505 | Supply and fixing of 4 Way TPN DB Horizontal with IP 43 Protection as per IS:13032 at MGM Warangal | 3 | No | 18325 | 54975 | 10 | No | 18325 | 183250 | 128275 |  | E
49 | 510 | Supply, transportation and fixing of 24W edge lit LED Down light at MGM Warangal | 56 | No | 2652 | 148512 | 70 | No | 2652 | 185640 | 37128 |  | E
50 | 511 | Supply and Transportation 36W Edge lit, 2 feet x2 feet 600mm x600mm slim panel LED luminaire at MGM Warangal | 36 | No | 4350 | 156600 | 86 | No | 4350 | 374100 | 217500 |  | E
51 | 515 | Supply and fixing of Modular type Stepped electronic regulator at MGM Warangal | 12 | No | 827 | 9924 | 32 | No | 827 | 26464 | 16540 |  | E
52 | 516 | Supply and installation of 225mm Light duty exhaust fan at MGM Warangal | 5 | No | 2203 | 11015 | 7 | No | 2203 | 15421 | 4406 |  | E
53 | 518 | SITC of Hot dip galvanized perforated cable tray of 300 mm Wide sizes at MGM Warangal | 80 | Rmt | 1310 | 104800 | 117.3 | Rmt | 1310 | 153663 | 48863 |  | E
54 | 520 | Supply and fixing of 12V 65 AH SMF battery including wire leads. Makes: Quanta / Racket / Exide. at MGM Warangal | 20 | No | 20584 | 411680 | 32 | No | 20584 | 658688 | 247008 |  | E
55 | 523 | Providing and Fixing maintenance free earthing which consists of copper. Earth station, with 600X600X3.15mm Copper Plate at 2500mm Depth at MGM Warangal | 2 | No | 22283 | 44566 | 4 | No | 22283 | 89132 | 44566 |  | E
56 | 524 | Supply and installation of 50x6 GI flat for body earthing of electrical panel and AC Panel which is laid in 300mm cable tray at MGM Warangal | 200 | Rmt | 329 | 65800 | 236.7 | Rmt | 329 | 77874.3 | 12074.3 |  | E
57 | 526 | Supply and installation of 25x3 Copper flat for Neutral earthing of UPS and Equipment which is laid in 100mm cable tray at MGM Warangal | 200 | Rmt | 902 | 180400 | 202.1 | Rmt | 902 | 182294.2 | 1894.2 |  | E
58 | 527 | Supply and installation of 4 sqmm Copper wire for Earthing of DBs Equipment at MGM Warangal | 80 | Rmt | 83 | 6640 | 564.8 | Rmt | 83 | 46878.4 | 40238.4 |  | E
59 | 530 | Supply, Lying and testing of 4Cx16 sqmm PVC Insulated Cable 1100V grade armoured Copper cable at MGM Warangal | 100 | Rmt | 1483 | 148300 | 294.3 | Rmt | 1483 | 436446.9 | 288146.9 |  | E
60 | 531 | Supply, Lying and testing of 4Cx6 sqmm PVC Insulated Cable 1100V grade armoured Copper cable at MGM Warangal | 120 | Rmt | 484 | 58080 | 184.2 | Rmt | 484 | 89152.8 | 31072.8 |  | E
61 | 532 | Supply, Lying and testing of 4Cx4 sqmm PVC Insulated Cable 1100V grade armoured Copper cable at MGM Warangal | 80 | Rmt | 356 | 28480 | 183.6 | Rmt | 356 | 65361.6 | 36881.6 |  | E
ELECTRICAL SUPPLIMENTAL
62 | 25 | Supply and Transportation 56W Clean room Light fixture, 2' x2' (600mm x600mm) LED luminaire |  |  |  |  | 12 | Nos | 17241 | 206892 | 206892 |  | ES
63 | 26 | Supply and Transportation of 48" ( 1200 mm) High Speed Fan Sweep Celing Fan with all accessories etc., complete |  |  |  |  | 32 | Nos | 4317 | 138144 | 138144 |  | ES
64 | 27 | Labour charges for fixing of ceiling fan and regulator including transportation and giving connections with twin core wire etc., complete. |  |  |  |  | 32 | Nos | 185 | 5920 | 5920 |  | ES
65 | 28 | Supply and fixing of Anchor fastner with fan hook / Providing MS Fan hook with grouting and cement plastering. |  |  |  |  | 32 | Nos | 122 | 3904 | 3904 |  | ES
66 | 29 | Supply & fixing of 2nos6A, 2 in one socket - 2 Nos with 6A switch control - 2 Nos modular type |  |  |  |  | 23 | Nos | 1178 | 27094 | 27094 |  | ES
67 | 30 | Supply and erecting 19/20mm steel tube down rod of one meter length with bolts & nuts duly painted with matching colour of fan complete |  |  |  |  | 32 | Nos | 162 | 5184 | 5184 |  | ES
68 | 31 | Supply and fixing of 12 Way SPN DB Horizontal with IP 43 Protection as per IS:13032 (For UPS DBs) |  |  |  |  | 1 | Nos | 9444 | 9444 | 9444 |  | ES
69 | 32 | Supply and fixing of cable adopteres box with cover for DBs including, massanory work etc., complete., |  |  |  |  | 10 | Nos | 5085 | 50850 | 50850 |  | ES
70 | 33 | Supply and fixing of FP Metal Enclosure with IP 20 Protection DB Make with 1 No 63A, 10 KA DP MCB |  |  |  |  | 1 | Nos | 4203 | 4203 | 4203 |  | ES
71 | 34 | Supply and fixing of suitable out door feeder piller box of size made with 14 SWG CRCA sheet with double door arrangement, |  |  |  |  | 1 | No | 35000 | 35000 | 35000 |  | ES
[6 empty] | 2117574 |  |  | PART-A | 4421310.4 | 2303736.4 | 2303736.4
FIRE FIGHTING SUPPLIMENTAL
72 | 35 | Supply, Installation, testing and commissioning of EN54-2 Listed and LPCB approved based analog addressable fire control panel |  |  |  |  | 1 | Nos | 291366 | 291366 | 291366 |  | FFS
[6 empty] | 0 |  |  | PART-A | 291366 | 291366 | 291366
AIR CONDITIONING WORKS
73 | 545 | Supply, transportation and installation of split AC unit 1.5 TR at MGM Warangal | 1 | No | 48000 | 48000 | 4 | No | 48000 | 192000 | 144000 |  | AC
74 | 549 | SITC of air cooled condensing units with two scroll compressors, air cooled condenser, 8.5 TR capacity at MGM Warangal | 1 | No | 182000 | 182000 | 2 | No | 182000 | 364000 | 182000 |  | AC
75 | 571 | VRF Indoor Units : Hi wall Splits : 1.0 TR at MGM Warangal | 2 | No | 30700 | 61400 | 4 | No | 30700 | 122800 | 61400 |  | AC
76 | 573 | VRF Indoor Units : Hi wall Splits : 1.50 TR at MGM Warangal | 4 | No | 35000 | 140000 | 5 | No | 35000 | 175000 | 35000 |  | AC
77 | 576 | Supply, Installation , Testing and Commissioning of Refnet joints to be provided in refrigerant pipe line. at MGM Warangal | 10 | Set | 6191 | 61910 | 11 | Set | 6191 | 68101 | 6191 |  | AC
AIR CONDITIONING SUPPLIMENTAL
78 | 36 | Supply & Installation of MS Angle for Duct Support, Cable Tray Support and Condensing Unit Stand of size 50 X 50 x 5 mm Thick. |  |  |  |  | 200 | Kg | 190 | 38000 | 38000 |  | ACS
79 | 37 | Supply & Installation of MS Angle for Duct Support, Cable Tray Support and Condensing Unit Stand of size 32 X 32 x 5 mm Thick. |  |  |  |  | 75 | Kg | 190 | 14250 | 14250 |  | ACS
80 | 38 | Supply and installation of Canvas Connections For AHUS |  |  |  |  | 2 | Nos | 6500 | 13000 | 13000 |  | ACS
[6 empty] | 493310 |  |  | PART-A | 987151 | 493841 | 493841
MGPS
81 | 584 | SITC of C02 Manifold for 2 Cylinders, with high pressure Regulator, NRV, tailpipes etc. as per technical specifications | 1 | Set | 20750 | 20750 | 2 | Set | 20750 | 41500 | 20750 |  | G
MGPS SUPPLIMENTAL
82 | 39 | Fully Automatic Control Panel for Oxygen System: Supply, installation and commissioning of Fully Automatic control panel for unintrupted Oxygen supply |  |  |  |  | 1 | Set | 175180 | 175180 | 175180 |  | GS
83 | 40 | Trigas Emergency Manifold: SITC of Emergency Trigas Manifold maximum for 1+1 D-type Gas Cylinders complete with separate NRVs, tail pipes and brass fittings for each cylinders. |  |  |  |  | 1 | Set | 9620 | 9620 | 9620 |  | GS
84 | 41 | Fully Automatic Control Panel for Trigas System: Supply, installation and commissioning of Fully Automatic control panel for unintrupted Nirous Oxide supply. |  |  |  |  | 1 | Set | 175180 | 175180 | 175180 |  | GS
85 | 42 | Fully Automatic Control Panel for CO2 System: Supply, installation and commissioning of Fully Automatic control panel for unintrupted Nirous Oxide supply. |  |  |  |  | 1 | Set | 175180 | 175180 | 175180 |  | GS
86 | 43 | SITC of Medical Air-4 Outlet with matching probe as per HTM-2022/02-01 of UK/ NFPA 99C of USA as per enclosed technical Specification. |  |  |  |  | 6 | Nos | 12470 | 74820 | 74820 |  | GS
87 | 44 | 12 mm Valve for 12 mm OD Pipe Note: New item added |  |  |  |  | 3 | Nos. | 930 | 2790 | 2790 |  | GS
88 | 45 | Supply and installation of 46.7 liter size CO2 cylinders |  |  |  |  | 2 | Nos | 20850 | 41700 | 41700 |  | GS
89 | 46 | Supply and installation of 46.7 liter size O2 cylinders |  |  |  |  | 2 | Nos | 17850 | 35700 | 35700 |  | GS
90 | 47 | Supply and installation of 46.7 liter size Trigas cylinders |  |  |  |  | 2 | Nos | 29250 | 58500 | 58500 |  | GS
91 | 48 | Supply and installation of 46.7 liter size N2O cylinders |  |  |  |  | 2 | Nos | 33000 | 66000 | 66000 |  | GS
[6 empty] | 20750 |  |  | PART-A | 856170 | 835420 | 835420
WATERPROOFING WORKS
92 |  | WATERPROOFING WORKS |  |  |  |  | 1 | Job | 1500000 | 1500000 | 1500000
[6 empty] | 0 |  |  | PART-A | 1500000 | 1500000
[6 empty] | 6297980 |  |  | TOTAL PART-A | 16687288.44 | 10389308.44
[7 empty] | As Per Agreement |  | Excess | 10389308.44
[7 empty] | As Per RE |  | Less | 1588136.39
[7 empty] | Difference |  | Difference | 8801172.05