## Sheet1
SOTC Gandhi Hospital
S.No | Room Name | Dimensions (m) |  |  | Door Size (m)
|  | Length N | Width W | Area | Width | Height
1 | UPS Room | 3.168 | 4.992 | 15.8147 |  | 2.1
2 | Waiting Area | 5.45 | 5 | 27.25 |  | 2.1
3 | Toilets @ Waiting Area |  |  | 0 |  | 2.1
4 | Passage (entry) | 1.09 | 5.25 | 5.7225 |  | 2.1
5 | Passage (Inside) | 5.78 | 1.65 | 9.537 |  | 2.1
6 | Toilet-1 | 1.254 | 1.5 | 1.881 |  | 2.1
7 | Toilet-2 | 1.37 | 1.5 | 2.055 |  | 2.1
8 | Toilet-3 | 1.41 | 1.5 | 2.115 |  | 2.1
9 | Toilet-4 | 1.41 | 1.5 | 2.115 |  | 2.1
10 | MOT'S Integration | 10.62 | 5.75 | 61.065 |  | 2.1
11 | Post ICU | 14.29 | 5.72 | 81.7388 |  | 2.1
12 | Toilets @ Post ICU |  |  | 0 |  | 2.1
13 | Toilet-1 | 1.376 | 1.43 | 1.9677 |  | 2.1
14 | Toilet-2 | 1.36 | 1.36 | 1.8496 |  | 2.1 |  |  |  | 274.3638
15 | Toilet-3 | 1.38 | 1.26 | 1.7388 |  | 2.1
16 | Toilet-4 | 1.38 | 1.3 | 1.794 |  | 2.1
17 | Passage | 1.82 | 5.75 | 10.465 |  | 2.1
18 | Extra portion in corridor @ Post ICU | 1.49 | 1.8 | 2.682 |  | 2.1
19 | OT-1 | 5.76 | 6.95 | 40.032 | 1.79 | 2.1
20 | OT-2 | 5.74 | 6.94 | 39.8356 | 1.78 | 2.1
21 | OT-3 | 5.77 | 6.93 | 39.9861 | 1.78 | 2.1
22 | OT-4 | 5.78 | 6.98 | 40.3444 | 1.78 | 2.1
23 | OT-5 | 5.74 | 7.05 | 40.467 | 1.79 | 2.1
24 | OT-6 | 5.75 | 6.96 | 40.02 | 1.78 | 2.1
25 | Surgeons Lounge | 5.72 | 5.16 | 29.5152 | 1.19 | 2.1
26 | Toilet @ Surgeons lounge | 1.41 | 1.6 | 2.256 | 0.75 | 2.1
27 | Anesthesia Lounge | 5.78 | 5.17 | 29.8826 | 1.18 | 2.1
28 | Toilet @ Anesthesian Lounge | 1.42 | 1.47 | 2.0874 | 0.78 | 2.1
29 | Clean Store | 3 | 2.947 | 8.841 | 0.99 | 2.1
30 | Store Room | 5.66 | 5.75 | 32.545 |  | 2.1
31 | Point of Care Lab | 7.75 | 5.74 | 44.485 | 1.5 | 2.1
32 | Wash Area | 4.57 | 1.81 | 8.2717 |  | 2.1
33 | Lab Store | 4.57 | 3.83 | 17.5031 | 0.97 | 2.1
34 | Passage Toiles |  |  | 0 |  | 2.1
35 | Passage | 10.74 | 1.72 | 18.4728 | 1.99 | 2.1
36 | Toilet-1 | 1.54 | 1.5 | 2.31 | 0.78 | 2.1
37 | Toilet-2 | 1.51 | 1.51 | 2.2801 | 0.79 | 2.1
38 | Toilet-3 | 1.45 | 1.56 | 2.262 | 0.8 | 2.1
39 | TIR-1 | 5.91 | 3.29 | 19.4439 | 1.79 | 2.1
40 | TIR-2 | 5.77 | 5.27 | 30.4079 | 1.79 | 2.1
41 | TIR-3 | 5.75 | 5.17 | 29.7275 | 1.79 | 2.1
42 | TICU | 5.72 | 14.15 | 80.938 | 1.14 | 2.1 | 1.49
43 | Room | 5.72 | 8.85 | 50.622
44 | Doctor's Room | 6.04 | 3.34 | 20.1736 | 1 | 2.1
45 | Toilet @ Doctors Room | 1.4 | 1.6 | 2.24 | 0.77 | 2.1
46 | Change Room-1 | 2.09 | 1.8 | 3.762 | 1 | 2.1
47 | Change Room-2 | 2.08 | 1.83 | 3.8064 | 0.98 | 2.1
48 | Change Room-3 | 2.08 | 1.82 | 3.7856 | 1 | 2.1
49 | Change Room-4 | 2.09 | 1.8 | 3.762 | 1 | 2.1
50 | Passage1 @ Change Room | 1.26 | 4.2 | 5.292 | 1.27 | 2.1
51 | Passage2 @ Change Room | 5.72 | 1.6 | 9.152 | 1 | 2.1
52 | Duty Nurse Room | 5.72 | 2.77 | 15.8444 | 1 | 2.1
53 | Toilet @ Duty Nurse | 1.61 | 1.41 | 2.2701 | 0.8 | 2.1
54 | Counselling Room | 5.7 | 2.02 | 11.514 | 1 | 2.1
55 | HOD Room | 5.72 | 3.3 | 18.876 | 1 | 2.1
56 | Toilet @ HOD Room | 1.6 | 1.4 | 2.24 | 0.8 | 2.1
57 | CSSD | 6.19 | 5.75 | 35.5925 | 1.5 | 2.1
58 | Clean Utility | 1.8 | 2.91 | 5.238 | 0.76 | 2.1
59 | Dirty Utility | 1.8 | 5.75 | 10.35 | 0.76 | 2.1
60 | Toilets @ Dirty Utility |  |  | 0 |  | 2.1
61 | Passage | 2.11 | 5.77 | 12.1747 |  | 2.1
62 | Toilet-1 | 1.4 | 1.33 | 1.862 |  | 2.1
63 | Toilet-2 | 1.38 | 1.49 | 2.0562 |  | 2.1
64 | Toilet-3 | 1.4 | 1.27 | 1.778 |  | 2.1 |  |  | 735.6524
65 | Toilet-4 | 1.4 | 1.3 | 1.82 |  | 2.1
66 | MOT'S Integration Corridor | 6 |  | 1055.9168
Corridors
67 | Corridor-A | 15 | 1 | 2.9 | 43.5
68 | Corridor-B | 1 | 28.5 | 2.9 | 82.65
69 | Corridor-D | 21.8 | 1 | 2.9 | 63.22
70 | Corridor-E | 18 | 1 | 2.9 | 52.2
71 | Corridor-F | 1 | 18.1 | 2.9 | 52.49
72 | Corridor-G | 11.7 | 1 | 2.9 | 33.93 |  |  | 186.47
73 | Corridor-H | 1 | 15.8 | 2.9 | 45.82
373.81

## Sheet3
Waiting | Passage (entry) | 1.09 | 2.1 | 2.289 | 5.25 | 2.1 | 11.025
| Passage (Inside) | 5.78 | 2.1 | 12.138 | 1.65 | 2.1 | 3.465
| Toilet-1 | 1.254 | 2.1 | 2.6334 | 1.5 | 2.1 | 3.15 | 1.881
| Toilet-2 | 1.37 | 2.1 | 2.877 | 1.5 | 2.1 | 3.15 | 2.055
| Toilet-3 | 1.41 | 2.1 | 2.961 | 1.5 | 2.1 | 3.15 | 2.115
| Toilet-4 | 1.41 | 2.1 | 2.961 | 1.5 | 2.1 | 3.15 | 2.115
Post ICU | Toilet-1 | 1.376 | 2.1 | 2.8896 | 1.43 | 2.1 | 3.003 | 1.9677
| Toilet-2 | 1.36 | 2.1 | 2.856 | 1.36 | 2.1 | 2.856 | 1.8496
| Toilet-3 | 1.38 | 2.1 | 2.898 | 1.26 | 2.1 | 2.646 | 1.7388
| Toilet-4 | 1.38 | 2.1 | 2.898 | 1.3 | 2.1 | 2.73 | 1.794
| Passage | 1.82 | 2.1 | 3.822 | 5.75 | 2.1 | 12.075
| Toilet @ Surgeons lounge | 1.41 | 2.1 | 2.961 | 1.6 | 2.1 | 3.36 | 2.256
| Toilet @ Anesthesian Lounge | 1.42 | 2.1 | 2.982 | 1.47 | 2.1 | 3.087 | 2.0874
Passage | Passage | 10.74 | 2.1 | 22.554 | 1.72 | 2.1 | 3.612
| Toilet-1 | 1.54 | 2.1 | 3.234 | 1.5 | 2.1 | 3.15 | 2.31
| Toilet-2 | 1.51 | 2.1 | 3.171 | 1.51 | 2.1 | 3.171 | 2.2801
| Toilet-3 | 1.45 | 2.1 | 3.045 | 1.56 | 2.1 | 3.276 | 2.262
| Toilet @ Doctors Room | 1.4 | 2.1 | 2.94 | 1.6 | 2.1 | 3.36 | 2.24
| Toilet @ Duty Nurse | 1.61 | 2.1 | 3.381 | 1.41 | 2.1 | 2.961 | 2.2701
| Toilet @ HOD Room | 1.6 | 2.1 | 3.36 | 1.4 | 2.1 | 2.94 | 2.24
Dirty Utility | Passage | 2.11 | 2.1 | 4.431 | 5.77 | 2.1 | 12.117
| Toilet-1 | 1.4 | 2.1 | 2.94 | 1.33 | 2.1 | 2.793 | 1.862
| Toilet-2 | 1.38 | 2.1 | 2.898 | 1.49 | 2.1 | 3.129 | 2.0562
| Toilet-3 | 1.4 | 2.1 | 2.94 | 1.27 | 2.1 | 2.667 | 1.778
| Toilet-4 | 1.4 | 2.1 | 2.94 | 1.3 | 2.1 | 2.73 | 1.82
|  |  |  | 105 |  |  | 102.753 | 40.9779

## Sheet2
S.No |  | Description | Tender Quantity | Unit of Measurment | Additional 6 Ots | Total Quantity | Quantity as per site conditions | Deviation
24 | 16 | Video and Image Management system | 1 | Nos
27 | 16.3 & 16.4 | Cable connections for integration within MOTs and with Workshop Projector Hall, Networks with OFC Cable | 4 | Job
Electrical
57 | 22 a | Supply and Fixing of 25mm dia Conduit Pipes surface on wall. | 10000 | Rmt
58 | 22 b | Supply and Fixing of 25mm dia Conduit Pipes Concealed on wall. | 4000 | Rmt
59 | 23 a | Wiring with run of 2 of 1.5 Sqmm Copper cable for points wiring. | 570 | Pts
60 | 23 b | Wiring with run of 2 of 1.5 Sqmm Copper cable for stairecase points wiring. | 10 | Pts
61 | 23 c | Supply and fixing of 6A/10A ISI Mark 3/2 pin Modular socket Common switch board | 25 | Pts
62 | 23 d | Wiring with 3 of 1.5 sq.mm with 6A switch and 6A, 3/2 pin socket Modular type with 6A switch control fixing on separate board. | 50 | Pts
63 | 23 e | Supply and fixing of 6A switchs - 2 Nos and 6A 3/2 pin socket - 3 Nos Modular type with cover plate | 200 | Pts
64 | 23 f | Supply & fixing of 16A/6A, 2 in one socket with 16A switch control modular type | 200 | Nos
65 | 23 g | Supply & fixing of 32A, socket with switch control modular | 18 | Nos
66 | 23 h | Supply & fixing of 64A, socket with 64A switch control modular type | 4 | Nos
67 | 24 a | Supply and Run of 1 of 1.5 sq.mm (phase, neutral and earth) FRLSH / HFFR PVC insulated 1100V grade as per IS:694/1990, IS 17048 specifications for Copper cable. | 2000 | Rmt
68 | 24 b | Supply and Run of 3 of 1.5 sq.mm (phase, neutral and earth) FRLSH / HFFR PVC insulated 1100V grade as per IS:694/1990, IS 17048 specifications for Copper cable . | 2000 | Rmt
69 | 24 c | Supply and Run of 3 of 2.5 sq.mm (phase, neutral and earth) FRLSH / HFFR PVC insulated 1100V grade as per IS:694/1990, IS 17048 specifications for Copper cable. | 8000 | Rmt
70 | 24 d | Supply and Run of 3 runs of 4.0 sq mm (phase neutral and earth) FRLSH / HFFR PVC insulated 1100V grade as per IS:694/1990, IS 17048 specifications for Copper cable. | 5000 | Rmt
71 | 24 e | Supply and Run of 3 of 6.0 Sq.mm FRLSH / HFFR PVC insulated 1100V grade as per IS:694/1990, IS 17048 specifications for Copper cable. | 300 | Rmt
72 | 24 f | Supply and Run of 5 of 6.0 Sq.mm FRLSH / HFFR PVC insulated 1100V grade as per IS:694/1990, IS 17048 specifications for Copper cable. | 300 | Rmt
73 | 24 g | Supply and Run of 5 of 10.0 Sq.mm FRLSH / HFFR PVC insulated 1100V grade as per IS:694/1990, IS 17048 specifications for Copper cable. | 500 | Rmt
74 | 25 a | Supply and fixing of DP Metal Enclosure with IP 20 Protection DB Make with 1 No 20A, 10 KA DP MCB | 8 | Nos
75 | 25 b | Supply and fixing of 4 Way TPN DB Horizontal with IP 43 Protection as per IS:13032 (For Lighting DBs) | 10 | Nos
76 | 25 c | Supply and fixing of 4 Way TPN DB Horizontal with IP 43 Protection as per IS:13032 (For Power DB's) | 14 | Nos
77 | 25 d | Supply and fixing of 8 Way VTPN DB with IP 43 Protection as per IS:13032 | 5 | Nos
78 | 25 e | Supply and fixing of cable adopteres box with cover for DBs including, massanory work etc., complete., | 10 | Nos
79 | 26 a | Providing independent earthing for Important equipment with 40mm dia 'B' class 2.5m long G.I pipe (GI Earthing) | 18 | Nos
80 | 26 b | Providing independent earthing by exacavating a pit to a depth of 2.25Mtr in all soils as per size specified in the data for Sophisticated Electronic equipment (Copper Earthing) | 18 | Nos
81 | 26 b 1 | Providing independent earthing for Important equipment with 100mm dia Heavy gauge C.I Earthing | 6 | Nos
82 | 26 c | Supply and Run of 50mm x 6mm G.I Strip | 400 | Rmt
83 | 26 d | Supply and Run of 25mm x 3mm copper strip | 400 | Rmt
84 | 27 a | Supply, transportation and fixing of 22W +/ 10% , >/ 2300 lumens, 1200mm length LED light | 20 | Nos
85 | 27 b | Supply, transportation and fixing 32-36W (>=3600 Lumens), 2' x2' (600mm x 600mm) slim panel LED luminaire | 60 | Nos
86 | 27 c | Supply, transportation and fixing 12 W +/-10% (>= 1200 Lumens) Down lighter back lit LED Down Light Recessed / Surface | 215 | Nos
87 | 27 d | Supply, transportation and fixing 18 W +/-10% (>= 1800 Lumens) Down lighter back lit LED Down Light | 95 | Nos
88 | 27 e | Supply, transportation and fixing ISI mark batten holder / slanting holder | 8 | Nos
89 | 27 f | Supply, Transportation of energy efficient fan, 1200 mm sweep, aluminium body, consuming 28 W, BEE 5 star rated, ceiling fan | 40 | Nos
90 | 27 f 1 | Supply and fixing of Modular type Stepped electronic regulator. | 40 | Nos
91 | 27 f 2 | Labour charges for fixing of ceiling fan and regulator | 40 | Nos
92 | 27 f 3 | Supply and erecting 19/20mm steel tube down rod of one meter length | 40 | Nos
93 | 27 g | Supply of 12" (300mm) Light duty exhaust fan | 5 | Nos
94 | 27 h | Supply,Transportation of 12" (300mm) ISI, 900 RPM Heavy duty exhaust fan | 10 | Nos
95 | 27 i | Labour charges for fixing the exhaust fan in wall with necessary connections | 15 | Nos
96 | 27 j | Supply and fixing of GI louver shutter including GI mesh | 15 | Nos
97 | 28 a) | Main Power Panel with 1000A 4 Pole ACB as incomer - 1 No and out goings 800 A 4P MCCB - 1 No., 630 A 4P MCCB - 1 No., 400A 4P MCCB - 4 Nos & 250A 4P MCCB - 3 No's with required Digital Ammeter and Voltmer, LED Indicators | 1 | Nos
98 | 28 b) | Floor Power Panel : Incomer: 630A 4 Pole MCCB,- 1 No Outgoings 250 A 4P MCCB - 4 No's 125 A 4P MCCB - 10 No's, 63 A 4P MCCB - 4 No's with required Digital Ammeter and Voltmer, LED Indicators | 1 | Nos
99 | 28 c) | Electrical Lighting Panels : Incomer: 250 A 4 Pole MCCB - 1 No, Out Goings 125 A 4P MCCB - 4 No's 63 A 4P MCCB - 3 No's with required Digital Ammeter and Voltmer, LED Indicators | 2 | Nos
100 | 28 d) | 130KVAR Out Door Capacitor panel : Incomer: 250A FP MCCB - 1 No, 63A 10KA TP MCB - 9 Nos. 20 KVAR Capacitor Duty contactors - 5 Nos., 10 KVAR Capacitor Duty contactors - 2 Nos, .5 KVAR Capacitor Duty contactors - 2 Nos. 12 stage APFC Relay - 1 No | 1 | Nos
101 | 29 a) | 630 KVA Transformer OLTC for transformers with RTCC: Supply, Transportation, Installation, Testing and Commissioning of 630 KVA TRANSFORMER with all test reports. The Transformer shall be designed and manufactured as per IS:1180 OLTC with level-II with initial filling of oil as per IS 335-1993. 1000 A LT Breaker Kiosk - 01 No.The basic details of the Transformer are as under. Makes: Kirloskar / PETE / Esennar / Voltamp / Crompton / ABB / Schneider. | 1 | Nos
102 | 30 a) | Supply of 25 Sqmm 3.5 Core XLPE insulated UG Cable. | 200 | Rmt
103 | 30 b) | Supply of 50 Sqmm 3.5 Core XLPE insulated UG Cable. | 200 | Rmt
104 | 30 c) | Supply of 70 Sqmm 3.5 Core XLPE insulated UG Cable. | 75 | Rmt
105 | 30 d) | Supply of 120 Sqmm 3.5 Core XLPE insulated UG Cable. | 50 | Rmt
106 | 30 e) | Supply of 185 Sqmm 3.5 Core XLPE insulated UG Cable. | 50 | Rmt
107 | 30 f) | Supply of 240 Sqmm 3.5 Core XLPE insulated UG Cable. | 100 | Rmt
108 | 30 g) | Supply of 300 Sqmm 3.5 Core XLPE insulated UG Cable. | 500 | Rmt
109 | 31 a) | Termination of UG cables of 3.5 core 25 Sq.mm | 8 | Nos
110 | 31 b) | Termination of UG cables of 3.5 core 50 Sq.mm | 8 | Nos
111 | 31 c) | Termination of UG cables of 3.5 core 70 Sq.mm | 8 | Nos
112 | 31 d) | Termination of UG cables of 3.5 core 120 Sq.mm | 4 | Nos
113 | 31 e) | Termination of UG cables of 3.5 core 185 Sq.mm | 4 | Nos
114 | 31 f) | Termination of UG cables of 3.5 core 240 Sq.mm | 4 | Nos
115 | 31 g) | Termination of UG cables of 3.5 core 300 Sq.mm | 12 | Nos
116 | 31 h) | Earth work excavation of Trench laying of U.G cables up to 70 sqmm | 100 | Rmt
117 | 31 i) | Earth work excavation of Trench laying of U.G cables from 95 Sqmm | 100 | Rmt
118 | 31 j) | Laying of PVC armoured under ground cable up to 95 Sqmm on wall | 200 | Rmt
119 | 31 k) | Laying of PVC armoured under ground cable from 120 Sq.mm to 400 Sqmm saddles on wall | 700 | Rmt
120 | 32 a | Supply, Transportation and Installation of 150mm x 50mm x 2mm thick hot dip GI perforated cable tray | 200 | Rmt
121 | 32 b | Supply, Transportation and Installation of 300mm x 50mm x 2mm thick thick hot dip GI perforated cable tray | 100 | Rmt
122 | 33 a | Supply, Transportation and installation of 10KVA / 312V DC on line UPS system | 7 | Nos
123 | 33 b | Supply and fixing of 12V, 150 AH MF battery | 182 | Nos
124 | 33 c | Supply and providing of UPS cum battery rack 20 batteries | 7 | Nos
125 | 33 d | Supply, Transportation, Installation, Testing and commissioning of storage / Pressure type 5 Star rated water heater with ABS plastic body of 15 Ltrs | 7 | Nos
126 | 34 | 26 persons ICU bed cum passenger lift (1768 Kgs) G+8 Floors, 9 stops,9 Openings (Cost Includes amount for Construction of Shaft / Cladding from Ground to 8th Floor) | 1 | Nos
Air Conditioning
127 | 35.1 | 1.50 TR with , 18000 BTU/Hr High Wall mount Split Air Conditioners | 6 | Nos
128 | 35.2 | 2.0 TR with , 24000 BTU/Hr High Wall mount Split Air Conditioners | 2 | Nos
129 | 35.3 | Voltage stabilizer for 4 KVA maximum load | 6 | Nos
130 | 35.4 | Voltage stabilizer for 5 KVA maximum load | 2 | Nos
131 | 35.5 | Ductable Air Conditioners 11.0 TR with ISEER ≥ 4 | 1 | Nos
132 | 35.6 | Ductable Air Conditioners 8.5 TR with ISEER ≥ 4 | 2 | Nos
133 | 35.7 | Ductable Air Conditioners 5.5 TR with ISEER ≥ 4 | 1 | Nos
FIRE FIGHTING
134 | 36.2 | Automatic Smoke Detection System | 1 | Job
135 | 36.3 | Automatic Fire Alarm System | 1 | Job
136 | 36.4 | Supply & Fixing of 4.5Kg, CO2 Type Fire Extinguisher. | 6 | Nos
137 | 36.5 | Supply and fixing of ABC stored pressure squeeze grip type fire extinguishers, 9 kg capacity. | 6 | Nos
138 | 36.6 | Supply and fixing of ABC Powder MAP 4 Kg Fire extinguisher | 10 | Nos
139 | 36.7 | Supply and fixing of 2 Kg Fire extinguisher Clean Agent | 10 | Nos
140 | 36.8 | Supply and fixing of Escape signage boards in Rigid Photo luminescent based glow | 150 | Nos
141 | 36.9 | Supply & Fixing of Powder Coated Fire Rated doors. | 6 | Sqm
ELV System
142 | 37 | Telephone & EPABX System | 1 | Job
143 | 38 | Local Area Network (LAN) System | 1 | Job
144 | 39 | Biometric Access Control System | 2 | Nos
CIVIL & PLUMBING
145 |  | Dismantling, clearing away and carefully stacking useful materials for re-use and disposal of unserviceable materials with 100m lead as directed by Engineer-in-Charge duly taking actual premeasurements before dismantling including all charges complete (Reinforced cement concrete) | 10 | Cum
146 |  | Dismantling, clearing away and carefully stacking useful materials for re-use and disposal of unserviceable materials with 100m lead as directed by Engineer-in-Charge duly taking actual premeasurements before dismantling including all charges complete (Unreinforced cement concrete) | 1.5 | Cum
147 |  | Dismantling, clearing away and carefully stacking useful materials for re-use and disposal of unserviceable materials with 100m lead as directed by Engineer-in-Charge duly taking actual premeasurements before dismantling including all charges complete (Brick Masonary) | 118 | Cum
148 |  | Dismantling, clearing away and carefully stacking useful materials for re-use and disposal of unserviceable materials with 100m lead as directed by Engineer-in-Charge duly taking actual premeasurements before dismantling including all charges complete (Kadapa slabs or shahabad stone slabs on sand bed) | 25 | Sqm
149 |  | Dismantling doors, windows and clear storey windows, Ventilators etc., (wood or steel) shutters including Chowkhats, architraves,hold fasts and other attachments etc., and stacking them within 100m lead including charge etc., complete for finished item of work. (Not exceeding 3 sqm in area) | 57 | Nos
150 |  | Conveyance of un-useful excavated earth to a distance of 16 KM for disposal including hire charges of T and P, labour charges etc., complete for finished item of work. | 250 | Cum
151 | 40 | RCC M 25 grade design mix (For lintels) | 3 | Cum
152 | 41 | RCC M 20 grade design mix (50mm thick platforms) | 12 | Sqm
153 | 41 | RCC M 20 grade design mix (25 mm thick Shelves) | 12 | Sqm
154 | 42 | Brick Masonry work in CM (1:6) prop in superstructure | 3 | Cum
155 | 43 | Reinforced Masonry for partition walls (100 mm thick) in CM (1:4) | 500 | Sqm
156 | 44 | PCC (1:3:6) nominal mix using 20mm size graded m/c (For bed blocks and hold fasts) | 1.5 | Cum
157 | 45 | Filling with light weight concrete in Cement Concrete (1:5:10) proportion using brick jelly for low roofs | 23 | Cum
158 | 46 | Thermo Mechanically Treated (Fe -500/500D/550D) for RCC works | 1.25 | MT
159 | 49 | Plastering 12mm thick in two coats with base coat of 8mm thick in CM (1:6) and top coat of 4mm thick in CM (1:4). for Internal walls. | 1600 | Sqm
160 | 51 | Impervious coat to exposed RCC roof slab surfaces (APSS No. 901 and 903) For Toilets | 77.78 | Sqm
161 | 92 | Providing and applying Wall putty of White Cement or Polymer or Cement based of average 1 to 2 mm thickness over plastered surface to prepare the surface even and smooth after thoroughly brushing the surface to remove all dirt and remains of loose powdered materials, applying emery paper, Sand the surface, clean & wipe off loose dust, applying knifing paste filler by putty knife / muslin pad, air dry for 2 - 3 | 4447 | Sqm
162 | 53 | Flooring with non-skid full body ceramic floor tiles | 85 | Sqm
163 | 55 | Dadooing to walls with glazed full body Porcelain wall tiles | 225 | Sqm
164 | 56 | Dadooing to walls with glazed full body Ceramic tiles | 350 | Sqm
165 | 57 | Painting one coat water based cement primer of interior grade I and two coats of acrylic emulsion paint for ceiling and Walls | 4447 | Sqm
166 | 59 | Painting to new wood work | 313 | Sqm
167 | 60 | Painting to new iron work | 88 | Sqm
168 | 61 | Two shutter cupboards | 100 | Sqm
169 | 64 | UPVC Fixed Louvered Ventilator | 7 | Sqm
170 |  | UPVC 3 track Sliding Windows | 15 | Sqm
171 |  | MS Grills to Windows | 150 | Sqm
172 | 66 | Flooring with 16 to 18 mm thick high polished granite stone slabs black colour for platforms (S.S.701 and special) | 50 | Sqm
173 | 67 | Doors as per approved drawings with medium teak wood frame (1500mm x 2600mm) | 50 | Sqm
174 | 68 | Doors as per approved drawings with medium teak wood frame (1000mm x 2100mm) | 45 | Sqm
175 | 69 | Doors Shutters WPC(800mm x 2100mm) | 40 | Sqm
176 | 70 | Scientific Doors with metal door frames and door shutters made of galvanize steel | 45 | Sqm
177 | 71 | False ceiling as per Technical specification | 1400 | Sqm
178 | 72 | Vinyl flooring | 500 | Sqm
179 | 74 | Impervious coat to exposed RCC roof slab surfacesof 20mm thick (APSS No. 901 and 903) | 350 | Sqm
180 | 63 | Fixed Glass Window – 1200 x 1200 | 53.55 | Sqm
181 | 95 | Grouting the holes with neat cement slurry of 20mm dia with all required accessories of all materials etc., including cost & Conveyance of all labour Charges etc., complete finished item of work (*As per SSR2021-22 of S.NO:-8) | 500 | Nos
182 | 96 | Pressure grouting the drilled holes with neat cement slurry or with approved grout admixture using pump - excluding cost of drilling holes after fixing nozzles as technical specification approved by the department etc., including cost & Conveyance of all labour charges etc., complete finished item of work | 1200 | Nos
183 | 87A | Supply and fabricating,erecting and fixing inposition trusses of approved design with structural steel other than MS. | 6500 | Kgs
184 | 87B | Supply and fixing of pre painted Galvalume Trapezoidal Profile Roofing with 0.50mm Thickness. | 65 | Sqm
185 | 75 | 4" (101.6mm) multi floor trap with jali - UPVC/SWR | 25 | Nos
186 | 76 | 580mm x 440mm long Orissa pan white glazed Water Closet | 4 | Nos
187 | 77 | European Water Closet of 1st quality | 9 | Nos
188 | 78 | Indian make Flat Back Wash Hand Basin 1st quality | 16 | Nos
189 | 79 | CP finish brass soap dish | 21 | Nos
190 | 80 | TV shape mirror with plastic frame of size 609.6mm x 457.2mm | 25 | Nos
191 | 81 | 25.4mm dia , 609.6mm long aluminium anodized towel rods | 36 | Nos
192 | 82 | 15 mm brass body CP finish bib tap of not less than 300 grams weight | 25 | Nos
193 | 87C | Self Closing Tap - Push Type | 25 | Nos
194 | 84 | Chromium plated finish brass body quarter turn Bibcock cum Health Faucet | 12 | Nos
195 | 85 | Ashirvad/ Ajay/ Astral Flowguard or equivalent CPVC Pipes and Fittings - 15.90mm OD pipe | 55 | Rmt
196 | 85 | Ashirvad/Ajay/Astral Flowguard or equivalent CPVC Pipes and Fittings - 22.20mm OD pipe | 115 | Rmt
197 | 85 | Ashirvad/ Ajay/ Astral Flowguard or equivalent CPVC Pipes and Fittings -28.60mm OD pipe | 143 | Rmt
198 | 86 | Bronze Gate/ Globe valve - 25mm Nominal bore | 15 | Nos
199 | 87 | SWR PVC pipes (Prince/ Sudhakar/ Kisan/ Supreme or any ISI brand) 4 Kg/Sq.cm. - 75mmdia | 145 | Rmt
200 | 87 | SWR PVC pipes (Prince/ Sudhakar/ Kisan/ Supreme or any ISI brand) 4 Kg/Sq.cm. -110mmdia | 145 | Rmt
201 | 90 | Supplying and fixing15 mm nominal size 152.0 mm CP finish iron body shower rose 1st quality including cost and conveyance of all materials, labour charges , overheads & contractors profit for finished item of work in all floors. | 5 | Nos
202 | 87D | Supply and Fixing of white glazed flat back bowl urinals | 4 | Nos
203 | 87E | Supply and fixing of 16mm to 20 mm thick ploished marbles slab partitions of size 4'0"*2'0" | 10 | Nos