## Prices
ANNEXURE-01
S.No | Material Description | Qty | Units | Unit Rate | Total Amount | HSN / SAC Code
1 | Wall Panels 50mm Thick (Powder Coated)
1.1 | 50mm thick double skin wall panels of skin thick 0.8mm GPSP (120GSM Zinc Coated ) Sheet. PUF as infill material Density 40-42 Kg/Cu mtr with both side powder coating of thickness 60-70 microns including Bottom track & silicon sealent etc. | 387 | Sqmt | 3200 | 1238400 | 73089090
2 | Ceiling Panels 50mm Thick (Powder Coated)
2.1 | 50mm thick double skin False cealing panels of skin thick 0.8mm GPSP (120GSM Zinc Coated ) Sheet. PUF as infill material Density 40-42 Kg/Cu mtr with both side powder coating of thickness 60-70 microns.with suitable Ceiling grid and supporting hardware. Joints shall be sealed with cleanroom compatible silicon | 189 | Sqmt | 3432 | 648648 | 73089090
3 | Accessories
3.1 | Aluminium Extruded Male & Female Coving Powder Coated R70 ( Int & Ext ) | 198 | Rmt | 422 | 83556 | 73089090
3.2 | 2D & 3D Cornners | 18 | Nos | 264 | 4752 | 73089090
4 | Cutouts
4.1 | HVAC and Electrical cutouts (Approx Qty) | 50 | Nos | 396 | 19800 | 73089090
5 | GI Powder Coated Scientific Doors (0.8mm shutter sheet thk & 1.2mm frame sheet thk with Single Rebate and Honeycomb Infill) |  |  |  | 0
5.1 | Single Leaf Door 950 x 2150 mm | 1 | Nos | 8627.52 | 8627.52 | 73083000
5.2 | Single Leaf Door 975 x 2150 mm | 1 | Nos | 8854.56 | 8854.56 | 73083000
5.3 | Single Leaf Door 990 x 2150 mm | 1 | Nos | 8990.784 | 8990.784 | 73083000
5.4 | Single Leaf Door 995 x 2125 mm | 1 | Nos | 8931.12 | 8931.12 | 73083000
5.5 | Double Unequal Leaf Door 1400 x 2150 mm | 1 | Nos | 12714.24 | 12714.24 | 73083000
5.6 | Double Unequal Leaf Door 1500 x 2150 mm | 1 | Nos | 13622.4 | 13622.4 | 73083000
5.7 | Double Unequal Leaf Door 1500 x 2155 mm | 1 | Nos | 13654.08 | 13654.08 | 73083000
5.8 | Double Unequal Leaf Door1980 x 2108 mm | 1 | Nos | 17630.3002 | 17630.3002 | 73083000
5.9 | Double Unequal Leaf Door2000 x 2115 mm | 1 | Nos | 17867.52 | 17867.52 | 73083000
5.10 | Double Unequal Leaf Door2000 x 2130 mm | 1 | Nos | 18019.8 | 18019.8 | 73083000
5.11 | Double Unequal Leaf Door2000 x 2150 mm | 1 | Nos | 18189 | 18189 | 73083000
5.12 | Double Unequal Leaf Door2000 x 2165 mm | 1 | Nos | 18315.9 | 18315.9 | 73083000
5.13 | Single Leaf Emergency Door 995 x2115 mm - Emergency Exit Fire Door 2 Hrs | 1 | Nos | 8889.0912 | 8889.0912 | 73083000
5.14 | Double Leaf Door 1800 x 2150 mm - Emergency Exit Fire Door 2 Hrs | 1 | Nos | 16346.88 | 16346.88 | 73083000
6 | Hardware |  |  |  | 0
6.1 | SS Ball baring hinges of size 102x76x3mm - Dorset | 69 | Nos | 218 | 15042 | 83026000
6.2 | Door Closer Standard Arm TS 68 - Dorma Make | 14 | Nos | 2200 | 30800 | 83026000
6.3 | Dead Lock with Both side key operating lock-ML 100D+CL206 - Dorset | 12 | Nos | 1446 | 17352 | 83011000
6.4 | SS D-Handle 19X254mm on Both Sides - Dorset | 20 | Nos | 850 | 17000 | 83024110
6.5 | Concealed Flush Bolt 300mm - Ahlada | 8 | Nos | 659 | 5272 | 83026000
6.6 | Single Point Locking Panic Bar - Geze | 1 | Nos | 5500 | 5500 | 83026000
6.7 | Triple Point Locking Panic Bar - Geze | 1 | Nos | 11475 | 11475 | 83026000
6.8 | External Trim - Geze | 2 | Nos | 3995 | 7990 | 83026000
6.9 | Concealed automatic door drop seal | 23 | Nos | 1709 | 39307 | 83024190
7 | SS304 Kick Plates upto 350mmht - Ahlada | 23 | Nos | 1615 | 37145 | 73089090
7.1 | Double Glazed Clear Toughened Glass of size 350x750x6mm with Both side Adhesive tape, Silicon sealent & Black Border | 20 | Nos | 1700 | 34000 | 70071900
7.12 | Fire Rated Clear Glass 200 x 300 mm with Ceramic Tape | 3 | Nos | 2948 | 8844 | 70071900
| TOTAL AMOUNT - Supply |  |  |  | 2415536.1954
| Installation Charges |  |  |  | 241553.6195
| TOTAL AMOUNT (Supply + Installation Charges) - Basic |  |  |  | 2657089.8149