## IE
ANNEXURE-01
Sr.No. | IEI Std Products / Items Offered | Quantity | Remarks
(Nos)/Unit
1 | NGMF- 30 Sand Filter- 3m3/Hr | 1 | Make -Ion Exchange
2 | NGMA-30 Carbon Filter-3m3/Hr | 1 | Make -Ion Exchange
3 | CIP- Cleaning in Place system CS 16-3-4 m3/Hr-250 Ltrs tank | 1 | Make-Ion Exchange
1 | Erection & Commissioning |  | Inclusive | LS
2 | Freight charges |  | Inclusive | LS
3 | Fabrication works- Drawings |  | Inclusive | LS
4 | Inloading & Shifting charges |  | Inclusive | LS
| Total Final Price offered for supply, Installation and commissioning |  | 1050000
Payment Terms:
1. 30% as Advance
2. 50% after readiness of material to dispatch
3. 10% against successful installation
4. 10% against after successful comissioning

## RIO
ANNEXURE-02
Sr.No. | IEI Std Products / Items Offered | Quantity | Remarks
(Nos)/Unit
1 | Dosing System- CDS 3- Antiscalent-6 LPH | 2 | Make- E Dose
2 | RO System- INDROMATIC 405 - 1000 LPH | 1 | Make- E Dose
3 | RO System- INDROMATIC 403 - 600 LPH | 1 | Make- E Dose
4 | MCC Electrical panel with cabling and cable tray | 1 | Local/Standard Make
5 | ICPW Feed pumps to RO to SS tanks to Transfer Pumps | 1 | Astral/Supreme/Sudhakar CPVC pipes | LS
6 | Electrical Cables and cable trays | 1 | Polycab/Equivalent Cables | LS
7 | Filter feed pump for Primary RO RO ( 1W+ 1S) 4 m3/Hr @ 30MWC - Make Kirloskar | 2 | Make: Kirloskar |  | Standby Is Optional
8 | Filter feed pump for Secondary RO RO ( 1W+ 1S) 1.5 m3/Hr @ 30MWC - Make Kirloskar | 2 | Make: Kirloskar
9 | Treated storage tank- 5000 L SS 304 food grade -0,8 mm thickness | 1 | Make -Nova
10 | Treated storage tank- 2000 L SS 316 food grade -0.8mm thickness | 1 | Make -Nova
11 | UV disinfection system Lamp - Make Alfa | 2 | Make -Alfa |  | Optional
12 | Dosing System with pump and Tank-100 Ltrs- -pH correction | 1 | Make- E Dose
13 | Antiscakant Dosing- Pump with Tank 100 Ltrs | 1 | Make-E Dose
14 | Transfer Pumps from Terrace to 8th Floor and back as circulation( 1W+1S) Kirloskar Agnes- Casing -SS , Impellar -SS- 1 HP -3 Phase-Head 45-50 Mtrs, Discharge : 1.2 to 0.6m3;Hr | 2 | Make- Kirloskar
15 | Level Controller and indication- for Primary RO & Secondary RO | 2 | Make- Sridhan/Equivalent
1 | Erection & Commissioning |  | Inclusive | LS
2 | Freight charges |  | Inclusive | LS
3 | Fabrication works- Drawings |  | Inclusive | LS
4 | Inloading & Shifting charges |  | Inclusive | LS
| Total Final Price offered for supply, Installation and commissioning |  | 927000
Payment Terms:
1. 10% as Advance
2. 50% after readiness of material to dispatch
3. 20% against delivery of material.
4. 10% against successful installation
5. 10% against after successful comissioning

## PEX
ANNEXURE-03
JINDAL COMPOSITE PEX
Make : Jindal
S.No | Pex Size | QTY | Supply rate (Rs.) | Installation rate (Rs.) | Total (Supply & Installation) | Amount (Rs.)
1 | 2532 | 250 | 372 | 227 | 599 | 149750 | 418.5 | 373 | 255 | 227
2 | 2025 | 250 | 266 | 174 | 440 | 110000 | 298.5 | 266 | 195 | 174
3 | 1620 | 100 | 159 | 134 | 293 | 29300 | 178.5 | 159 | 150 | 134
|  |  |  | Sub Total Amount (A) |  | 289050
PEX ACCESSORIES, Make: Jindal
S.No | Description | Size | QTY | Rate (Rs.) | Amount (Rs.)
1 | Male Union | 1620 | 25 | 220 | 5500 |  | 245.7 | 219
2 | MTA (Male Thread Adapter) | 2025 | 25 | 320 | 8000 |  | 362.7 | 323
3 |  | 2532 | 25 | 520 | 13000 |  | 583.7 | 520
4 |  | 3240 | 0 | 497 | 0 |  | 557.7 | 497
|  |  | Sub Total Amount (B) |  | 26500
SS Ball Valve, Make: ACP
S.No | Size | QTY | Supply rate (Rs.) | Amount (Rs.)
1 | 16/20 | 30 | 608 | 18240 |  |  | 682.5 | 608
2 | 20/25 | 20 | 868 | 17360 |  |  | 975 | 868
3 | 25/32 | 20 | 1215 | 24300 |  |  | 1365 | 1215
|  | Sub Total Amount (C) |  | 59900
Other PEX Accessories, Make: Jindal
S.No | Description | Size | QTY | Rate (Rs.) | Amount (Rs.)
1 | 2532x1620x2025 | Unequal Tee | 20 | 450 | 9000 |  | 505.7 | 450
2 | 2532x2025x2532 | Unequal Tee | 20 | 450 | 9000 |  | 505.7 | 450
3 | 2025x1620x2025 | Unequal Tee | 25 | 346 | 8650 |  | 388.7 | 346
4 | 2025x2025 | Equal Union | 10 | 300 | 3000 |  | 336.7 | 300
5 | 2532x2532 | Equal Union | 10 | 450 | 4500 |  | 505.7 | 450
6 | 2532x2532 | Equal Elbow | 25 | 416 | 10400 |  | 466.7 | 416
|  |  | Sub Total Amount (D) |  | 44550
| Sub Total (A+B+C+D) |  |  |  | 420000
| Supports & Clamps |  |  |  | 30000
| Grand Total |  |  |  | 450000
Payment Terms:
1. 10% as Advance
2. 50% after readiness of material to dispatch
3. 20% against delivery of material.
4. 10% against successful installation
5. 10% against after successful comissioning
6. Payment will be made as per the actual quantities executed at the site.