## Sheet1
SOTC Gandhi Hospital
S.No | Room Name | Dimensions (m) |  | Door Size (m) |  | Area | door area
|  | Length N | Width W | Width | Height |  |  |  | vinyl coving
1 | UPS Room | 3.168 | 4.992 | 1.517 | 2.1 | 15.8147 | 3.1857 |  | 3.168 | 0.1 | 2 | 0.6336 | 4.992 | 0.1 | 2 | 0.9984
2 | Electrical Room | 5.45 | 5 |  |  | 27.25 | 3.12 |  | 5.45 | 0.1 | 2 | 1.09 | 5 | 0.1 | 2 | 1
3 | Toilets @ Waiting Area | [5 empty] | 0 |  | 10.62 | 0.1 | 2 | 2.124 | 5.75 | 0.1 | 2 | 1.15
4 | Passage (entry) | 1.09 | 5.25 |  |  |  | 0 |  | 14.29 | 0.1 | 2 | 2.858 | 5.72 | 0.1 | 2 | 1.144
5 | Passage (Inside) | 5.78 | 1.65 | 1 | 2.1 | 9.537 | 2.1 |  | 1.49 | 0.1 | 2 | 0.298 | 1.8 | 0.1 | 2 | 0.36 |  |  |  |  | 10.62 | 2.7 | 2 | 57.348 |  | 5.75 | 2.7 | 2 | 31.05
6 | Toilet-1 | 1.254 | 1.5 | 0.75 | 2.1 | 1.881 |  |  | 5.72 | 0.1 | 2 | 1.144 | 5.16 | 0.1 | 2 | 1.032
7 | Toilet-2 | 1.37 | 1.5 | 0.75 | 2.1 | 2.055 |  |  | 5.78 | 0.1 | 2 | 1.156 | 5.17 | 0.1 | 2 | 1.034 | [8 empty] | 88.398
8 | Toilet-3 | 1.41 | 1.5 | 0.75 | 2.1 | 2.115 |  |  | 3 | 0.1 | 2 | 0.6 | 2.947 | 0.1 | 2 | 0.5894
9 | Toilet-4 | 1.41 | 1.5 | 0.75 | 2.1 | 2.115 |  |  | 5.66 | 0.1 | 2 | 1.132 | 5.75 | 0.1 | 2 | 1.15
10 | MOT'S Integration | 10.62 | 5.75 | 1.503 | 2.1 | 61.065 | 3.1563 | 1.502 | 7.75 | 0.1 | 2 | 1.55 | 5.74 | 0.1 | 2 | 1.148
11 | Post ICU | 14.29 | 5.72 | 1.498 | 2.1 | 81.7388 | 3.1458 | 3.1542 | 4.57 | 0.1 | 2 | 0.914 | 1.81 | 0.1 | 2 | 0.362
12 | Toilets @ Post ICU |  |  |  |  | 0 |  |  | 4.57 | 0.1 | 2 | 0.914 | 3.83 | 0.1 | 2 | 0.766
13 | Toilet-1 | 1.376 | 1.43 | 0.75 | 2.1 | 1.9677 |  |  | 5.72 | 0.1 | 2 | 1.144 | 14.15 | 0.1 | 2 | 2.83
14 | Toilet-2 | 1.36 | 1.36 | 0.75 | 2.1 | 1.8496 |  |  | 6.04 | 0.1 | 2 | 1.208 | 3.34 | 0.1 | 2 | 0.668
15 | Toilet-3 | 1.38 | 1.26 | 0.75 | 2.1 | 1.7388 |  |  | 2.09 | 0.1 | 2 | 0.418 | 1.8 | 0.1 | 2 | 0.36
16 | Toilet-4 | 1.38 | 1.3 | 0.75 | 2.1 | 1.794 |  |  | 2.08 | 0.1 | 2 | 0.416 | 1.83 | 0.1 | 2 | 0.366
17 | Passage | 1.82 | 5.75 | 1 | 2.1 | 10.465 | 2.1 |  | 2.08 | 0.1 | 2 | 0.416 | 1.82 | 0.1 | 2 | 0.364
18 | Extra portion in corridor @ Post ICU | 1.49 | 1.8 |  | 2.1 | 2.682 |  |  | 2.09 | 0.1 | 2 | 0.418 | 1.8 | 0.1 | 2 | 0.36
19 | OT-1 | 5.76 | 6.95 | 1.79 | 2.14 | 40.032 |  |  | 1.26 | 0.1 | 2 | 0.252 | 4.2 | 0.1 | 2 | 0.84
20 | OT-2 | 5.74 | 6.94 | 1.78 | 2.1 | 39.8356 |  |  | 5.72 | 0.1 | 2 | 1.144 | 1.6 | 0.1 | 2 | 0.32
21 | OT-3 | 5.77 | 6.93 | 1.78 | 2.14 | 39.9861 |  |  | 5.72 | 0.1 | 2 | 1.144 | 2.77 | 0.1 | 2 | 0.554
22 | OT-4 | 5.78 | 6.98 | 1.78 | 2.14 | 40.3444 |  |  | 5.7 | 0.1 | 2 | 1.14 | 2.02 | 0.1 | 2 | 0.404
23 | OT-5 | 5.74 | 7.05 | 1.79 | 2.14 | 40.467 |  |  | 5.72 | 0.1 | 2 | 1.144 | 3.3 | 0.1 | 2 | 0.66
24 | OT-6 | 5.75 | 6.96 | 1.78 | 2.14 | 40.02 |  |  | 6.19 | 0.1 | 2 | 1.238 | 5.75 | 0.1 | 2 | 1.15
25 | Surgeons Lounge | 5.72 | 5.16 | 1.19 | 2.15 | 29.5152 | 2.5585 |  | 1.8 | 0.1 | 2 | 0.36 | 2.91 | 0.1 | 2 | 0.582
26 | Toilet @ Surgeons lounge | 1.41 | 1.6 | 0.75 | 2.14 | 2.256 |  |  | 1.8 | 0.1 | 2 | 0.36 | 5.75 | 0.1 | 2 | 1.15
27 | Anesthesia Lounge | 5.78 | 5.17 | 1.18 | 2.13 | 29.8826 | 2.5134 |  |  |  |  | 25.2156 |  |  |  | 21.3418 |  | 46.5574
28 | Toilet @ Anesthesian Lounge | 1.42 | 1.47 | 0.78 | 2.14 | 2.0874
29 | Clean Store | 3 | 2.947 | 0.99 | 2.15 | 8.841 | 2.1285
30 | Store Room | 5.66 | 5.75 | 1 | 2.1 | 32.545 | 2.1 | [9 empty] | 805
31 | Point of Care Lab | 7.75 | 5.74 | 1.5 | 2.149 | 44.485 | 3.2235 |  |  | vinyl coving extra corridor
32 | Wash Area | 4.57 | 1.81 | 0.765 | 2.148 | 8.2717 | 1.6432 |  |  | 15.3 | 2.9 | 0.1 | 2 | 44.37 | 3.06
33 | Lab Store | 4.57 | 3.83 | 0.97 | 2.15 | 17.5031 | 2.0855 |  |  | 6 | 2.9 | 0.1 | 2 | 17.4 | 1.2
34 | Passage Toiles |  |  |  | 2.1 | 0 | 0 | [6 empty] | 61.77 | 4.26
35 | Passage | 10.74 | 1.72 | 1.99 | 2.1 | 18.4728 | 4.179
36 | Toilet-1 | 1.54 | 1.5 | 0.78 | 2.1 | 2.31 | [7 empty] | toilets dado
37 | Toilet-2 | 1.51 | 1.51 | 0.79 | 2.1 | 2.2801 | [6 empty] | waiting area | 1.09 | 2 | 2.1 | 4.578 | 5.25 | 2 | 2.1 | 22.05
38 | Toilet-3 | 1.45 | 1.56 | 0.8 | 2.1 | 2.262 | [7 empty] | 5.78 | 2 | 2.1 | 24.276 | 1.65 | 2 | 2.1 | 6.93
39 | TIR-1 | 5.91 | 3.29 | 1.79 | 2.14 | 19.4439 | [7 empty] | 1.254 | 2 | 2.1 | 5.2668 | 1.5 | 2 | 2.1 | 6.3
40 | TIR-2 | 5.77 | 5.27 | 1.79 | 2.14 | 30.4079 | [7 empty] | 1.37 | 2 | 2.1 | 5.754 | 1.5 | 2 | 2.1 | 6.3
41 | TIR-3 | 5.75 | 5.17 | 1.79 | 2.13 | 29.7275 | [7 empty] | 1.41 | 2 | 2.1 | 5.922 | 1.5 | 2 | 2.1 | 6.3
42 | TICU | 5.72 | 14.15 | 1.14 | 2.13 | 80.938 | 2.4282 | 1.495 | 3.1844 |  |  |  |  | 1.41 | 2 | 2.1 | 5.922 | 1.5 | 2 | 2.1 | 6.3
43 | ICU-2 | 5.73 | 8.85 | 1.48 | 2.13 | 50.7105 | 3.1524 | [5 empty] | post icu | 1.376 | 2 | 2.1 | 5.7792 | 1.43 | 2 | 2.1 | 6.006
44 | Doctor's Room | 6.04 | 3.34 | 1 | 2.13 | 20.1736 | 2.13 | [6 empty] | 1.36 | 2 | 2.1 | 5.712 | 1.36 | 2 | 2.1 | 5.712
45 | Toilet @ Doctors Room | 1.4 | 1.6 | 0.77 | 2.1 | 2.24 | [7 empty] | 1.38 | 2 | 2.1 | 5.796 | 1.26 | 2 | 2.1 | 5.292
46 | Change Room-1 | 2.09 | 1.8 | 1 | 2.1 | 3.762 | 2.1 | [6 empty] | 1.38 | 2 | 2.1 | 5.796 | 1.3 | 2 | 2.1 | 5.46
47 | Change Room-2 | 2.08 | 1.83 | 0.98 | 2.1 | 3.8064 | 2.058 |  | non-skid | 81.754 |  |  |  | 1.82 | 2 | 2.1 | 7.644 | 5.75 | 2 | 2.1 | 24.15
48 | Change Room-3 | 2.08 | 1.82 | 1 | 2.1 | 3.7856 | 2.1 | [5 empty] | surgeons | 1.41 | 2 | 2.1 | 5.922 | 1.6 | 2 | 2.1 | 6.72
49 | Change Room-4 | 2.09 | 1.8 | 1 | 2.1 | 3.762 | 2.1 | [5 empty] | anesthesia | 1.42 | 2 | 2.1 | 5.964 | 1.47 | 2 | 2.1 | 6.174
50 | Passage1 @ Change Room | 1.26 | 4.2 | 1.27 | 2.1 | 5.292 | 2.667 | [5 empty] | passage | 10.74 | 2 | 2.1 | 45.108 | 1.72 | 2 | 2.1 | 7.224
51 | Passage2 @ Change Room | 5.72 | 1.6 | 1 | 2.1 | 9.152 | 2.1 | [6 empty] | 1.54 | 2 | 2.1 | 6.468 | 1.5 | 2 | 2.1 | 6.3
52 | Duty Nurse Room | 5.72 | 2.77 | 1 | 2.1 | 15.8444 | 2.1 | [6 empty] | 1.51 | 2 | 2.1 | 6.342 | 1.51 | 2 | 2.1 | 6.342
53 | Toilet @ Duty Nurse | 1.61 | 1.41 | 0.8 | 2.1 | 2.2701 | [7 empty] | 1.45 | 2 | 2.1 | 6.09 | 1.56 | 2 | 2.1 | 6.552
54 | Counselling Room | 5.7 | 2.02 | 1 | 2.1 | 11.514 | 2.1 | [5 empty] | doctors | 1.4 | 2 | 2.1 | 5.88 | 1.6 | 2 | 2.1 | 6.72
55 | HOD Room | 5.72 | 3.3 | 1 | 2.1 | 18.876 | 2.1 |  | Vinyl | 946.8552 |  |  | nurse | 1.61 | 2 | 2.1 | 6.762 | 1.41 | 2 | 2.1 | 5.922
56 | Toilet @ HOD Room | 1.6 | 1.4 | 0.8 | 2.1 | 2.24 |  |  | FC | 1165.6028 |  |  | hod | 1.6 | 2 | 2.1 | 6.72 | 1.4 | 2 | 2.1 | 5.88
57 | CSSD | 6.19 | 5.75 | 1.5 | 2.1 | 35.5925 | 3.15 | [5 empty] | dirty utility | 2.11 | 2 | 2.1 | 8.862 | 5.77 | 2 | 2.1 | 24.234
58 | Clean Utility | 1.8 | 2.91 | 0.76 | 2.1 | 5.238 | 1.596 | [6 empty] | 1.4 | 2 | 2.1 | 5.88 | 1.33 | 2 | 2.1 | 5.586
59 | Dirty Utility | 1.8 | 5.75 | 0.76 | 2.1 | 10.35 | 1.596 | [6 empty] | 1.38 | 2 | 2.1 | 5.796 | 1.49 | 2 | 2.1 | 6.258
60 | Toilets @ Dirty Utility |  |  |  | 2.1 | 0 | 0 | [6 empty] | 1.4 | 2 | 2.1 | 5.88 | 1.27 | 2 | 2.1 | 5.334
61 | Passage | 2.11 | 5.77 | 1 | 2.1 | 12.1747 | 2.1 | [6 empty] | 1.4 | 2 | 2.1 | 5.88 | 1.3 | 2 | 2.1 | 5.46
62 | Toilet-1 | 1.4 | 1.33 | 0.75 | 2.1 | 1.862 | [10 empty] | 210 |  |  |  | 205.506
63 | Toilet-2 | 1.38 | 1.49 | 0.75 | 2.1 | 2.0562 | [6 empty] | door qty | 42.607 |  |  |  | total dado | 415.506 | final | 372.899
64 | Toilet-3 | 1.4 | 1.27 | 0.75 | 2.1 | 1.778
65 | Toilet-4 | 1.4 | 1.3 | 0.75 | 2.1 | 1.82
66 | MOT'S Integration Corridor | 6 |  |  |  | 0 |  |  |  |  | vinyl coving corridor | 15 | 0.1 | 2 | 3
Corridors | [5 empty] | 1050.2828 |  | 730.0228 | [5 empty] | 2 | 0 |  | passage toilet doors
67 | Corridor-A | 15 | 1 | 2.9 | 43.5 | 87 |  | 634.9378 |  |  |  | 21.8 | 0.1 | 2 | 4.36 |  | 0.75 | 2.1
68 | Corridor-B | 1 | 28.5 | 2.9 | 82.65 | 165.3 | [7 empty] | 2 | 0 |  | 0.75 | 2.1
69 | Corridor-D | 21.8 | 1 | 2.9 | 63.22 | 126.44 | [7 empty] | 2 | 0 |  | 0.75 | 2.1
70 | Corridor-E | 18 | 1 | 2.9 | 52.2 | 104.4 | [5 empty] | 11.7 | 0.1 | 2 | 2.34 |  | 0.75 | 2.1
71 | Corridor-F | 1 | 18.1 | 2.9 | 52.49 | 104.98 | [5 empty] | 0.1 | 15.8 | 2 | 3.16 |  | 0.75 | 2.1
72 | Corridor-G | 11.7 | 1 | 2.9 | 33.93 | 67.86 | [8 empty] | 12.86 |  |  | 2.1
73 | Corridor-H | 1 | 15.8 | 2.9 | 45.82 | 91.64
[5 empty] | 373.81 | 747.62 | 186.47
[12 empty] | scientific door |  | 63.603
dado qty 4 icus
|  | 5.72 | 1.5 | 2 | 17.16 | 14.15 | 1.5 | 2 | 42.45
|  | 10.62 | 1.5 | 2 | 31.86 | 5.75 | 1.5 | 2 | 17.25
|  | 14.29 | 1.5 | 2 | 42.87 | 5.72 | 1.5 | 2 | 17.16
|  | 5.73 | 1.5 | 2 | 17.19 | 8.85 | 1.5 | 2 | 26.55
|  | door qty | 18.222 |  | 109.08 |  |  |  | 103.41
[6 empty] | total | 194.268
| corridor dado qty | 15 | 1 | 2 | 1.5 | 45
[6 empty] | 0 |  |  | granite | 9.89 | 2.9 | 28.681
|  | 21.8 | 1 | 2 | 1.5 | 65.4 |  |  |  | 6 | 2.9 | 17.4
| extra | 15.3 | 1 | 2 | 1.5 | 45.9 |  |  |  | 5.25 | 1.09 | 5.7225
| extra | 6 | 1 | 2 | 1.5 | 18 |  |  |  | 5.74 | 1.72 | 9.8728
|  | 11.7 | 1 | 2 | 1.5 | 35.1 | [5 empty] | 61.6763
|  | 1 | 15.8 | 2 | 1.5 | 47.4
| main entry | 6 | 1 | 2 | 1.5 | 18 |  | under deck insulation |  | 274.453
| Corridor @ UPS | 10.23 | 1 | 1 | 1.5 | 15.345
|  | door qty | 46.841 |  |  | 290.145
| total | 437.572 |  | total | 243.304

## False Ceiling
Supplying and fixing Gyp board Fine line Grid false ceiling (GS-FLC-4.6)using 12.5mm thick Gyp Board sheet tiles of size 595mm x 595mm conforming to IS 2095 - 1992 fixing to Gyp steel precoated GI wall angle of size 25mm x 25mm x 0.70mm thick along the perimeter of ceiling screw fixed to brick work / partition at 610mm center to center and suspending the frame work using precoated GI Tee section (24mm x 38mm x 0.7mm) from soffit at 1220mm center to center fixed with GI Soffit Cleat, rawl plugs and steel expansion fasteners & connecting clip to the GI Tee section with 4mm dia GI rod with galvanised spring steel level clip of PVC unversal holding clips system at 1200mm center to center and fixing the 12.5mm Gypboard sheet tiles of size 595mm x 595mm and finishing two coats of drywall top coat, overheads and contractor profit complete for finished item of work in all floors.
S.No | Room Name | Dimensions (m) |  | Area
|  | Length N | Width W
1 | UPS Room | 3.168 | 4.992 | 15.8147
2 | Electrical Room | 5.06 | 6.73 | 34.0538
| Waiting Area | 10.315 | 5.74 | 59.2081
3 | Toilets @ Waiting Area
4 | Passage (entry) | 1.09 | 5.25 | 5.7225
5 | Passage (Inside) | 5.78 | 1.65 | 9.537
6 | Toilet-1 | 1.254 | 1.5 | 1.881
7 | Toilet-2 | 1.37 | 1.5 | 2.055
8 | Toilet-3 | 1.41 | 1.5 | 2.115
9 | Toilet-4 | 1.41 | 1.5 | 2.115
10 | MOT'S Integration | 10.62 | 5.75 | 61.065
11 | Post ICU | 14.29 | 5.72 | 81.7388
12 | Toilets @ Post ICU |  |  | 0
13 | Toilet-1 | 1.376 | 1.43 | 1.9677
14 | Toilet-2 | 1.36 | 1.36 | 1.8496
15 | Toilet-3 | 1.38 | 1.26 | 1.7388
16 | Toilet-4 | 1.38 | 1.3 | 1.794
17 | Passage | 1.82 | 5.75 | 10.465
18 | Extra portion in corridor @ Post ICU | 1.49 | 1.8 | 2.682
| Electrical/UPS Room | 5.9 | 2.1 | 12.39
25 | Surgeons Lounge | 5.72 | 5.16 | 29.5152
26 | Toilet @ Surgeons lounge | 1.41 | 1.6 | 2.256
27 | Anesthesia Lounge | 5.78 | 5.17 | 29.8826
28 | Toilet @ Anesthesian Lounge | 1.42 | 1.47 | 2.0874
29 | Clean Store | 3 | 2.947 | 8.841
30 | Store Room | 5.66 | 5.75 | 32.545
31 | Point of Care Lab | 7.75 | 5.74 | 44.485
32 | Wash Area | 4.57 | 1.81 | 8.2717
33 | Lab Store | 4.57 | 3.83 | 17.5031
34 | Passage Toiles |  |  | 0
35 | Passage | 10.74 | 1.72 | 18.4728
36 | Toilet-1 | 1.54 | 1.5 | 2.31
37 | Toilet-2 | 1.51 | 1.51 | 2.2801
38 | Toilet-3 | 1.45 | 1.56 | 2.262
42 | TICU | 5.72 | 14.15 | 80.938
43 | Room | 5.73 | 8.85 | 50.7105
44 | Doctor's Room | 6.04 | 3.34 | 20.1736
45 | Toilet @ Doctors Room | 1.4 | 1.6 | 2.24
46 | Change Room-1 | 2.09 | 1.8 | 3.762
47 | Change Room-2 | 2.08 | 1.83 | 3.8064
48 | Change Room-3 | 2.08 | 1.82 | 3.7856
49 | Change Room-4 | 2.09 | 1.8 | 3.762
50 | Passage1 @ Change Room | 1.26 | 4.2 | 5.292
51 | Passage2 @ Change Room | 5.72 | 1.6 | 9.152
52 | Duty Nurse Room | 5.72 | 2.77 | 15.8444
53 | Toilet @ Duty Nurse | 1.61 | 1.41 | 2.2701
54 | Counselling Room | 5.7 | 2.02 | 11.514
55 | HOD Room | 5.72 | 3.3 | 18.876
56 | Toilet @ HOD Room | 1.6 | 1.4 | 2.24
57 | CSSD | 6.19 | 5.75 | 35.5925
58 | Clean Utility | 1.8 | 2.91 | 5.238
59 | Dirty Utility | 1.8 | 5.75 | 10.35
60 | Toilets @ Dirty Utility |  |  | 0
61 | Passage | 2.11 | 5.77 | 12.1747
62 | Toilet-1 | 1.4 | 1.33 | 1.862
63 | Toilet-2 | 1.38 | 1.49 | 2.0562
64 | Toilet-3 | 1.4 | 1.27 | 1.778
65 | Toilet-4 | 1.4 | 1.3 | 1.82
66 |  |  |  | 0
814.1428
Corridors
67 | Corridor-G | 11.7 | 2.9 | 33.93
68 | Corridor-H | 2.9 | 8.94 | 25.926
69 | Corridor -I | 19.36 | 2.9 | 56.144
70 | Corridor -J | 6 | 2.9 | 17.4
|  | Total |  | 133.4
| Total False Ceiling Quantity |  |  | 947.5428

## Granite
Flooring with 16 to 18mm thick high polished granite stone slabs other than black and regular colours (i.e. of shades like paradiso / bala flower / copper silk / laka red / lavender blue) with borders and design as per the pattern approved by the Engineer-in-Charge of length not less than 2.43 mts set over base coat of cement mortar (1:8) , 20mm thick using screened sand over CC bed already laid or RCC roof slab including neat grey cement slurry of honey like consistency spread @ 3.3 Kg per sqm and jointed neatly with white cement paste mixed with pigment of matching shade to full depth including cost and conveyance of all materials like cement , sand , water , granite slabs etc., to work site and all operational, incidental labour & lift charges, polishing charges and all other taxes on all materials, cost of base coat and overheads & contractors profit complete for finished item of work (S.S.701 & special)
S.No | Room Name | Length | Width | Area
1 | Corridor @ UPS | 19.4 | 2.9 | 56.26
2 | Main Entry Corridor | 6 | 2.9 | 17.4
3 | Corridor @ HOD Room | 8.94 | 3 | 26.82
4 |  |  |  | 0
5 |  |  |  | 0
|  | Total |  | 100.48

## Dado
Providing dadooing to walls with glazed full body porcelain wall tiles of size 300 x 600 mm with any type of design texture such as marble finish, wooden, bamboo, stone finishes etc., scratch less, stain free and thickness between 6-8 mm 1st quality conforming to IS:13711, IS:13712, IS:13630 (Parts 1 to 15) of any colour and finish in all shades and designs with borders as approved by Engineer-in-Charge set over base coat of CM(1:5) 12 mm thick using screened sand with cement slurry of honey like consistency spread at the rate of 3.30 kgs per sqm and jointing with white cement paste mixed with pigment of matching shade to full depth, including cost of all materials like tiles, cement, sand and water etc., complete overheads & contractors profit complete for finished item of work.
| Room Name | Length | Nos | Height | Area | Width | Nos | Height | Area
Waiting Area | Passage-1 | 1.09 | 2 | 2.1 | 4.578 | 5.25 | 2 | 2.1 | 22.05 | Providing dadooing to walls with glazed full body porcelain wall tiles of size 300 x 600 mm with any type of design texture such as marble finish, wooden, bamboo, stone finishes etc., scratch less, stain free and thickness between 6-8 mm 1st quality conforming to IS:13711, IS:13712, IS:13630 (Parts 1 to 15) of any colour and finish in all shades and designs with borders as approved by Engineer-in-Charge set over base coat of CM(1:5) 12 mm thick using screened sand with cement slurry of honey like consistency spread at the rate of 3.30 kgs per sqm and jointing with white cement paste mixed with pigment of matching shade to full depth, including cost of all materials like tiles, cement, sand and water etc., complete overheads & contractors profit complete for finished item of work.
| passage-2 | 5.78 | 2 | 2.1 | 24.276 | 1.65 | 2 | 2.1 | 6.93 | S.No | Room Name | Length | Height | Nos | Area | Width | Height | Nos | Area
| Toilet -1 | 1.254 | 2 | 2.1 | 5.2668 | 1.5 | 2 | 2.1 | 6.3 | 1 | TICU | 5.72 | 1.5 | 2 | 17.16 | 14.15 | 1.5 | 2 | 42.45
| Toilet-2 | 1.37 | 2 | 2.1 | 5.754 | 1.5 | 2 | 2.1 | 6.3 | 2 | MOTs Integration | 10.62 | 1.5 | 2 | 31.86 | 5.75 | 1.5 | 2 | 17.25
| Toilet-3 | 1.41 | 2 | 2.1 | 5.922 | 1.5 | 2 | 2.1 | 6.3 | 3 | Post ICU | 14.29 | 1.5 | 2 | 42.87 | 5.72 | 1.5 | 2 | 17.16
| Toilet-4 | 1.41 | 2 | 2.1 | 5.922 | 1.5 | 2 | 2.1 | 6.3 | 4 | Room | 5.73 | 1.5 | 2 | 17.19 | 8.85 | 1.5 | 2 | 26.55
Post ICU Toilets | Toilet -1 | 1.376 | 2 | 2.1 | 5.7792 | 1.43 | 2 | 2.1 | 6.006 | 5 | CSSD | 6.19 | 1.5 | 2 | 18.57 | 5.75 | 1.5 | 2 | 17.25
| Toilet-2 | 1.36 | 2 | 2.1 | 5.712 | 1.36 | 2 | 2.1 | 5.712 |  |  | door qty | 18.222 |  | 127.65 |  |  |  | 120.66
| Toilet-3 | 1.38 | 2 | 2.1 | 5.796 | 1.26 | 2 | 2.1 | 5.292 | [6 empty] | total | 230.088
| Toilet-4 | 1.38 | 2 | 2.1 | 5.796 | 1.3 | 2 | 2.1 | 5.46 |  | Providing dadooing to walls with glazed full body porcelain wall tiles of size 300 x 600 mm with any type of design texture such as marble finish, wooden, bamboo, stone finishes etc., scratch less, stain free and thickness between 6-8 mm 1st quality conforming to IS:13711, IS:13712, IS:13630 (Parts 1 to 15) of any colour and finish in all shades and designs with borders as approved by Engineer-in-Charge set over base coat of CM(1:5) 12 mm thick using screened sand with cement slurry of honey like consistency spread at the rate of 3.30 kgs per sqm and jointing with white cement paste mixed with pigment of matching shade to full depth, including cost of all materials like tiles, cement, sand and water etc., complete overheads & contractors profit complete for finished item of work.
| Passage | 1.82 | 2 | 2.1 | 7.644 | 5.75 | 2 | 2.1 | 24.15 |  | Corridor -G | 11.7 | 1 | 2 | 1.5 | 35.1
surgeons Lounge | Toilet -1 | 1.41 | 2 | 2.1 | 5.922 | 1.6 | 2 | 2.1 | 6.72 |  |  | door qty | 9.45 |  |  | 35.1
anesthesia Lounge | Toilet -1 | 1.42 | 2 | 2.1 | 5.964 | 1.47 | 2 | 2.1 | 6.174 |  |  |  |  | total | 25.65
Passage Toilets | passage | 10.74 | 2 | 2.1 | 45.108 | 1.72 | 2 | 2.1 | 7.224
| Toilet -1 | 1.54 | 2 | 2.1 | 6.468 | 1.5 | 2 | 2.1 | 6.3 |  | Total Dado Quantity |  |  |  | 219.918
| Toilet-2 | 1.51 | 2 | 2.1 | 6.342 | 1.51 | 2 | 2.1 | 6.342
| Toilet-3 | 1.45 | 2 | 2.1 | 6.09 | 1.56 | 2 | 2.1 | 6.552
Doctors Room | Toilet -1 | 1.4 | 2 | 2.1 | 5.88 | 1.6 | 2 | 2.1 | 6.72
Duty Nurse Room | Toilet -1 | 1.61 | 2 | 2.1 | 6.762 | 1.41 | 2 | 2.1 | 5.922
HOD Room | Toilet -1 | 1.6 | 2 | 2.1 | 6.72 | 1.4 | 2 | 2.1 | 5.88
Toilets @ dirty utility | Passage | 2.11 | 2 | 2.1 | 8.862 | 5.77 | 2 | 2.1 | 24.234
| Toilet -1 | 1.4 | 2 | 2.1 | 5.88 | 1.33 | 2 | 2.1 | 5.586 |  |  |  |  | 0
| Toilet-2 | 1.38 | 2 | 2.1 | 5.796 | 1.49 | 2 | 2.1 | 6.258
| Toilet-3 | 1.4 | 2 | 2.1 | 5.88 | 1.27 | 2 | 2.1 | 5.334 |  |  |  |  | 602.987
| Toilet-4 | 1.4 | 2 | 2.1 | 5.88 | 1.3 | 2 | 2.1 | 5.46
[5 empty] | 210 |  |  |  | 205.506
| door qty | 42.607 |  |  |  | total dado | 415.506 | final | 372.899

## Low Roof
Filling with light weight concrete in Cement Concrete (1:5:10) proportion using brick jelly for low roofs including cost and conveyance of all materials like cement, sand, brick bats etc., to site including cost of all labour charges for laying concrete, ramming, curing , overheads & contractors profit etc., complete for finished item of work. (APSS. No. 402)
S.No | Room Name | Length | Width | Depth | Quantity
1 | Toilets @ Waiting Area
2 | Toilet-1 | 1.254 | 1.5 | 0.5 | 0.9405
3 | Toilet-2 | 1.37 | 1.5 | 0.5 | 1.0275
4 | Toilet-3 | 1.41 | 1.5 | 0.5 | 1.0575
5 | Toilet-4 | 1.41 | 1.5 | 0.5 | 1.0575
6 | Toilets @ Post ICU |  |  |  | 0
7 | Toilet-1 | 1.376 | 1.43 | 0.5 | 0.98384
8 | Toilet-2 | 1.36 | 1.36 | 0.5 | 0.9248
9 | Toilet-3 | 1.38 | 1.26 | 0.5 | 0.8694
10 | Toilet-4 | 1.38 | 1.3 | 0.5 | 0.897
11 | Passage Toiles |  |  |  | 0
12 | Toilet-1 | 1.54 | 1.5 | 0.5 | 1.155
13 | Toilet-2 | 1.51 | 1.51 | 0.5 | 1.1401
14 | Toilet-3 | 1.45 | 1.56 | 0.5 | 1.131
15 | Toilet @ HOD Room | 1.6 | 1.4 | 0.5 | 1.12
16 | Toilets @ Dirty Utility |  |  |  | 0
17 | Toilet-1 | 1.4 | 1.33 | 0.5 | 0.931
18 | Toilet-2 | 1.38 | 1.49 | 0.5 | 1.0281
19 | Toilet-3 | 1.4 | 1.27 | 0.5 | 0.889
20 | Toilet-4 | 1.4 | 1.3 | 0.5 | 0.91
|  | Total Quantity |  |  | 16.0622

## Impervious Coat
Providing impervious coat to exposed RCC roof slab surfaces of sump, sump side wall,sump bottom slab, in side of septic tank, in sunken slabs etc. to required slopes with CM (1:3) prop. using screened sand 12mm thick mixed with integral cement water proofing liquid confirming to IS: 2645-2003 manufactured by reputed manufacturers as approved by Engineer-in-charge at 1 Kg per one bag of cement, laid over roof slab when it is green, finished smooth with a floating coat of neat cement and thread lining at regular intervals of 45cmx45cm where ever necessary including cost and conveyance of all materials like cement, sand, water proofing compound, water etc., to site, including sales & other taxes on all materials and operational, incidental, and labour charges for mixing mortar, laying, lift charges, rendering smooth and thread lining, curing including rounding off junctions of wall and slab etc., and overheads & contractors profit complete for finished item of work. (APSS No. 901 & 903).
S.No | Room Name | Length | Width | Area
2 | Toilets @ Waiting Area Toilet-1 | 1.254 | 1.5 | 1.881
3 | Toilet-2 | 1.37 | 1.5 | 2.055
4 | Toilet-3 | 1.41 | 1.5 | 2.115
5 | Toilet-4 | 1.41 | 1.5 | 2.115
7 | Toilets @ Post ICU Toilet-1 | 1.376 | 1.43 | 1.9677
8 | Toilet-2 | 1.36 | 1.36 | 1.8496
9 | Toilet-3 | 1.38 | 1.26 | 1.7388
10 | Toilet-4 | 1.38 | 1.3 | 1.794
11 | Toilet @ Surgeons lounge | 1.41 | 1.6 | 2.256
12 | Toilet @ Anesthesian Lounge | 1.42 | 1.47 | 2.0874
14 | Passage Toiles Toilet-1 | 1.54 | 1.5 | 2.31
15 | Toilet-2 | 1.51 | 1.51 | 2.2801
16 | Toilet-3 | 1.45 | 1.56 | 2.262
17 | Toilet @ Doctors Room | 1.4 | 1.6 | 2.24
18 | Toilet @ Duty Nurse | 1.61 | 1.41 | 2.2701
19 | Toilet @ HOD Room | 1.6 | 1.4 | 2.24
21 | Toilets @ Dirty Utility Toilet-1 | 1.4 | 1.33 | 1.862
22 | Toilet-2 | 1.38 | 1.49 | 2.0562
23 | Toilet-3 | 1.4 | 1.27 | 1.778
24 | Toilet-4 | 1.4 | 1.3 | 1.82
|  | Total |  | 40.9779

## Vinyl
Vinyl Flooring
S.No | Room Name | Dimensions (m) |  | Area | Coving Area
|  | Length N | Width W |  | S.No | Room Name | Length N | Coving | Nos | Area | Width W | Coving | Nos | Area
1 | Post ICU | 14.29 | 5.72 | 81.7388 | 1 | MOT'S Integration | 10.62 | 0.1 | 2 | 2.124 | 5.75 | 0.1 | 2 | 1.15
2 | Extra portion in corridor @ Post ICU | 1.49 | 1.8 | 2.682 |  | Post ICU | 14.29 | 0.1 | 2 | 2.858 | 5.72 | 0.1 | 2 | 1.144
3 | Electrical Room-2 | 4.175 | 2.1 | 11.4 | 2 | Extra portion in corridor @ Post ICU | 1.49 | 0.1 | 2 | 0.298 | 1.8 | 0.1 | 2 | 0.36
4 | Surgeons Lounge | 5.72 | 5.16 | 29.5152 | 3 | Electrical Room-2 | 5.9 | 0.1 | 2 | 1.18 | 2.1 | 0.1 | 2 | 0.42
5 | Anesthesia Lounge | 5.78 | 5.17 | 29.8826 | 4 | Surgeons Lounge | 5.72 | 0.1 | 2 | 1.144 | 5.16 | 0.1 | 2 | 1.032
6 | Clean Store | 3 | 2.947 | 8.841 | 5 | Anesthesia Lounge | 5.78 | 0.1 | 2 | 1.156 | 5.17 | 0.1 | 2 | 1.034
7 | SterileStore Room | 5.66 | 5.75 | 32.545 | 6 | Clean Store | 3 | 0.1 | 2 | 0.6 | 2.947 | 0.1 | 2 | 0.5894
8 | Point of Care Lab | 7.75 | 5.74 | 44.485 | 7 | Store Room | 5.66 | 0.1 | 2 | 1.132 | 5.75 | 0.1 | 2 | 1.15
9 | Wash Area | 4.57 | 1.81 | 8.2717 | 8 | Point of Care Lab | 7.75 | 0.1 | 2 | 1.55 | 5.74 | 0.1 | 2 | 1.148
10 | Lab Store | 4.57 | 3.83 | 17.5031 | 9 | Wash Area | 4.57 | 0.1 | 2 | 0.914 | 1.81 | 0.1 | 2 | 0.362
11 | TICU | 5.72 | 14.15 | 80.938 | 10 | Lab Store | 4.57 | 0.1 | 2 | 0.914 | 3.83 | 0.1 | 2 | 0.766
12 | Room | 5.73 | 8.85 | 50.7105 | 11 | TICU | 5.72 | 0.1 | 2 | 1.144 | 14.15 | 0.1 | 2 | 2.83
13 | Doctor's Room | 6.04 | 3.34 | 20.1736 | 12 | Room | 5.73 | 0.1 | 2 | 1.146 | 8.85 | 0.1 | 2 | 1.77
14 | Change Room-1 | 2.09 | 1.8 | 3.762 | 13 | Doctor's Room | 6.04 | 0.1 | 2 | 1.208 | 3.34 | 0.1 | 2 | 0.668
15 | Change Room-2 | 2.08 | 1.83 | 3.8064 | 14 | Change Room-1 | 2.09 | 0.1 | 2 | 0.418 | 1.8 | 0.1 | 2 | 0.36
16 | Change Room-3 | 2.08 | 1.82 | 3.7856 | 15 | Change Room-2 | 2.08 | 0.1 | 2 | 0.416 | 1.83 | 0.1 | 2 | 0.366
17 | Change Room-4 | 2.09 | 1.8 | 3.762 | 16 | Change Room-3 | 2.08 | 0.1 | 2 | 0.416 | 1.82 | 0.1 | 2 | 0.364
18 | Passage1 @ Change Room | 1.26 | 4.2 | 5.292 | 17 | Change Room-4 | 2.09 | 0.1 | 2 | 0.418 | 1.8 | 0.1 | 2 | 0.36
19 | Passage2 @ Change Room | 5.72 | 1.6 | 9.152 | 18 | Passage1 @ Change Room | 1.26 | 0.1 | 2 | 0.252 | 4.2 | 0.1 | 2 | 0.84
20 | Duty Nurse Room | 5.72 | 2.77 | 15.8444 | 19 | Passage2 @ Change Room | 5.72 | 0.1 | 2 | 1.144 | 1.6 | 0.1 | 2 | 0.32
|  |  |  | 464.0909 | 20 | Duty Nurse Room | 5.72 | 0.1 | 2 | 1.144 | 2.77 | 0.1 | 2 | 0.554
Corridors |  |  |  |  | 21 |  |  |  |  | 21.576 |  |  |  | 17.5874
21 | Corridor-A | 31.45 | 2.9 | 91.205 | 22 | [5 empty] | Total |  |  | 39.1634
22 | Corridor-D | 22.84 | 2.9 | 66.236 | 23
23 | Corridor-C | 5.978 | 2.9 | 17.3362 | 24
|  |  |  | 174.7772 | 25
26
27
Total Vinyl Flooring Areaa |  |  |  | 690.0851
Vinyl Coving Area Corridor
[6 empty] | Corridor Name | Length | Coving | Nos | Area
[5 empty] | 28 | Corridor-A | 31.45 | 0.1 | 2 | 6.29
[5 empty] | 29 | Corridor-D | 22.84 | 0.1 | 2 | 4.568
[6 empty] | Corridor-C | 5.978 | 0.1 | 2 | 1.1956
12.0536
32
33

## Tile Flooring
Flooring with non-skid full body ceramic floor tiles of size 300mm x 300mm and thickness between 7 - 8mm 1st quality conforming to IS: 13711, IS: 13712, IS: 13630(Part 1 to 15) of any colour and finish in all shades and designs as approved by Engineer-in-charge, set over base coat of cement mortar (1:8), 12mm thick using screened sand over CC bed already laid or RCC roof slab, including neat cement slurry of honey like consistency spread @ 3.3 Kgs per Sqm & jointed neatly with white cement paste to full depth mixed with pigment of matching shade, including cost of all materials like cement, screened sand , water and tiles etc., and overheads & contractors profit complete for finished item of work. (APSS No.701 & 707)
S.No | Room Name | Length | Width | Area
1 | Waiting Area Toilets
2 | Passage (Inside) | 5.78 | 1.65 | 9.537
4 | Toilet-1 | 1.254 | 1.5 | 1.881
5 | Toilet-2 | 1.37 | 1.5 | 2.055
6 | Toilet-3 | 1.41 | 1.5 | 2.115
7 | Toilet-4 | 1.41 | 1.5 | 2.115
8 | Toilets @ Post ICU
9 | Toilet-1 | 1.376 | 1.43 | 1.9677
10 | Toilet-2 | 1.36 | 1.36 | 1.8496
11 | Toilet-3 | 1.38 | 1.26 | 1.7388
12 | Toilet-4 | 1.38 | 1.3 | 1.794
13 | Passage | 1.82 | 5.75 | 10.465
14 | Toilet @ Surgeons lounge | 1.41 | 1.6 | 2.256
15 | Toilet @ Anesthesian Lounge | 1.42 | 1.47 | 2.0874
16 | Passage Toiles
| Entry @ Passage Toilets | 5.74 | 1.72 | 9.8728
17 | Passage | 6.04 | 1.72 | 10.3888
18 | Toilet-1 | 1.54 | 1.5 | 2.31
19 | Toilet-2 | 1.51 | 1.51 | 2.2801
20 | Toilet-3 | 1.45 | 1.56 | 2.262
21 | Toilet @ Doctors Room | 1.4 | 1.6 | 2.24
22 | Toilet @ Duty Nurse | 1.61 | 1.41 | 2.2701
| Toilet @ HOD Room | 1.6 | 1.4 | 2.24
Toilets @ Dirty Utility
| Passage | 2.11 | 5.77 | 12.1747
| Toilet-1 | 1.4 | 1.33 | 1.862
| Toilet-2 | 1.38 | 1.49 | 2.0562
| Toilet-3 | 1.4 | 1.27 | 1.778
| Toilet-4 | 1.4 | 1.3 | 1.82
| Total area of non-skid flooring |  |  | 93.4162

## Sheet2
S.No | Room Name | Length (m) | Breadth (m) | Area (m^2)
| UPS Room | 3.168 | 4.992 | 15.8147
| Waiting Area | 10.315 | 5.74 | 59.2081
| Electrical room | 5.45 | 5 | 27.25
| Counselling Room | 5.7 | 2.02 | 11.514
| HOD Room | 5.72 | 3.3 | 18.876
| CSSD | 6.19 | 5.75 | 35.5925
| Clean Utility | 1.8 | 2.91 | 5.238
| Dirty Utility | 1.8 | 5.75 | 10.35
183.8433
Corridor
| Corridor-G | 11.7 | 2.9 | 33.93
| Corridor-H | 2.9 | 8.94 | 25.926
| Corridor -I | 19.36 | 2.9 | 56.144
| Corridor -J | 6 | 2.9 | 17.4
133.4
| Total Tile Flooring |  |  | 317.2433

## Sheet3
CC 2nd Part Bill
| Name of the work: Design,Fabrication,Installation and Commissioning on Turnkeybasis the work of "Establishment of State Organ Transplant Centre" in the 8th Floor,SW-Block of Gandhi Hospital,Secunderanad. | [7 empty] | Agency: M/s. MPS ASTA Consortium | [5 empty] | Agt.No:255/A/TSMIDC/SOTC/Spl.Proj/2022-23,Dt.08.02.2023
Date Of Measurement | Discription Of Work etc., | Measurements Up to date | [7 empty] | Per | Total Volume |  | Deduct/previous Measurements |  | Since last measurement |  |  | Remarks
|  | No |  | L | B | D | Content | Rs | Ps. |  | Rs. | Ps | P.No. | Qty. | Qty | Value
[16 empty] | Rs. | Ps.
177 | Supplying and fixing Gyp board Fine line Grid false ceiling (GS-FLC-4.6)using 12.5mm thick Gyp Board sheet tiles of size 595mm x 595mm conforming to IS 2095 - 1992 fixing to Gyp steel precoated GI wall angle of size 25mm x 25mm x 0.70mm thick along the perimeter of ceiling screw fixed to brick work / partition at 610mm center to center and suspending the frame work using precoated GI Tee section (24mm x 38mm x 0.7mm) from soffit at 1220mm center to center fixed with GI Soffit Cleat, rawl plugs and steel expansion fasteners & connecting clip to the GI Tee section with 4mm dia GI rod with galvanised spring steel level clip of PVC unversal holding clips system at 1200mm center to center and fixing the 12.5mm Gypboard sheet tiles of size 595mm x 595mm and finishing two coats of drywall top coat, overheads and contractor profit complete for finished item of work in all floors. False ceiling as per Technical specification
| UPS Room | 1 | 1 | 3.168 | 4.992 |  | 15.8147
| Electrical Room | 1 | 1 | 5.06 | 6.73 |  | 34.0538
| Waiting Area | 1 | 1 | 10.315 | 5.74 |  | 59.2081
| Toilets @ Waiting Area Passage (entry) | 1 | 1 | 1.09 | 5.25 |  | 5.7225
| Passage (Inside) | 1 | 1 | 5.78 | 1.65 |  | 9.537
| Toilet-1 | 1 | 1 | 1.254 | 1.5 |  | 1.881
| Toilet-2 | 1 | 1 | 1.37 | 1.5 |  | 2.055
| Toilet-3 | 1 | 1 | 1.41 | 1.5 |  | 2.115
| Toilet-4 | 1 | 1 | 1.41 | 1.5 |  | 2.115
| MOT'S Integration | 1 | 1 | 10.62 | 5.75 |  | 61.065
| Post ICU | 1 | 1 | 14.29 | 5.72 |  | 81.7388
| Toilets @ Post ICU Toilet-1 | 1 | 1 | 1.376 | 1.43 |  | 1.9677
| Toilet-2 | 1 | 1 | 1.36 | 1.36 |  | 1.8496
| Toilet-3 | 1 | 1 | 1.38 | 1.26 |  | 1.7388
| Toilet-4 | 1 | 1 | 1.38 | 1.3 |  | 1.794
| Passage | 1 | 1 | 1.82 | 5.75 |  | 10.465
| Extra portion in corridor @ Post ICU | 1 | 1 | 1.49 | 1.8 |  | 2.682
| Electrical/UPS Room | 1 | 1 | 5.9 | 2.1 |  | 12.39
| Surgeons Lounge | 1 | 1 | 5.72 | 5.16 |  | 29.5152
| Toilet @ Surgeons lounge | 1 | 1 | 1.41 | 1.6 |  | 2.256
| Anesthesia Lounge | 1 | 1 | 5.78 | 5.17 |  | 29.8826
| Toilet @ Anesthesian Lounge | 1 | 1 | 1.42 | 1.47 |  | 2.0874
| Clean Store | 1 | 1 | 3 | 2.947 |  | 8.841
| Store Room | 1 | 1 | 5.66 | 5.75 |  | 32.545
| Point of Care Lab | 1 | 1 | 7.75 | 5.74 |  | 44.485
| Wash Area | 1 | 1 | 4.57 | 1.81 |  | 8.2717
| Lab Store | 1 | 1 | 4.57 | 3.83 |  | 17.5031
| Passage Toiles Passage | 1 | 1 | 10.74 | 1.72 |  | 18.4728
| Toilet-1 | 1 | 1 | 1.54 | 1.5 |  | 2.31
| Toilet-2 | 1 | 1 | 1.51 | 1.51 |  | 2.2801
| Toilet-3 | 1 | 1 | 1.45 | 1.56 |  | 2.262
| TICU | 1 | 1 | 5.72 | 14.15 |  | 80.938
| Room | 1 | 1 | 5.73 | 8.85 |  | 50.7105
| Doctor's Room | 1 | 1 | 6.04 | 3.34 |  | 20.1736
| Toilet @ Doctors Room | 1 | 1 | 1.4 | 1.6 |  | 2.24
| Change Room-1 | 1 | 1 | 2.09 | 1.8 |  | 3.762
| Change Room-2 | 1 | 1 | 2.08 | 1.83 |  | 3.8064
| Change Room-3 | 1 | 1 | 2.08 | 1.82 |  | 3.7856
| Change Room-4 | 1 | 1 | 2.09 | 1.8 |  | 3.762
| Passage1 @ Change Room | 1 | 1 | 1.26 | 4.2 |  | 5.292
| Passage2 @ Change Room | 1 | 1 | 5.72 | 1.6 |  | 9.152
| Duty Nurse Room | 1 | 1 | 5.72 | 2.77 |  | 15.8444
| Toilet @ Duty Nurse | 1 | 1 | 1.61 | 1.41 |  | 2.2701
| Counselling Room | 1 | 1 | 5.7 | 2.02 |  | 11.514
| HOD Room | 1 | 1 | 5.72 | 3.3 |  | 18.876
| Toilet @ HOD Room | 1 | 1 | 1.6 | 1.4 |  | 2.24
| CSSD | 1 | 1 | 6.19 | 5.75 |  | 35.5925
| Clean Utility | 1 | 1 | 1.8 | 2.91 |  | 5.238
| Dirty Utility | 1 | 1 | 1.8 | 5.75 |  | 10.35
| Toilets @ Dirty Utility Passage | 1 | 1 | 2.11 | 5.77 |  | 12.1747
| Toilet-1 | 1 | 1 | 1.4 | 1.33 |  | 1.862
| Toilet-2 | 1 | 1 | 1.38 | 1.49 |  | 2.0562
| Toilet-3 | 1 | 1 | 1.4 | 1.27 |  | 1.778
| Toilet-4 | 1 | 1 | 1.4 | 1.3 |  | 1.82
| General Store | 1 | 1 | 3.42 | 3.3 |  | 11.286
162 | Providing dadooing to walls with glazed full body porcelain wall tiles of size 300 x 600 mm with any type of design texture such as marble finish, wooden, bamboo, stone finishes etc., scratch less, stain free and thickness between 6-8 mm 1st quality conforming to IS:13711, IS:13712, IS:13630 (Parts 1 to 15) of any colour and finish in all shades and designs with borders as approved by Engineer-in-Charge set over base coat of CM(1:5) 12 mm thick using screened sand with cement slurry of honey like consistency spread at the rate of 3.30 kgs per sqm and jointing with white cement paste mixed with pigment of matching shade to full depth, including cost of all materials like tiles, cement, sand and water etc., complete overheads & contractors profit complete for finished item of work. Dadooing to walls with glazed full body Porcelain wall tiles
| passage-2 Long Wall | 1 | 2 | 5.78 |  | 2.1 | 24.276
| Short Wall | 1 | 2 | 1.65 |  | 2.1 | 6.93
| Door Deduction(-) | -1 | 1 | 1 |  | 2.1 | -2.1
| Toilet -1 Short Wall | 1 | 2 | 1.254 |  | 2.1 | 5.2668
| Long Wall | 1 | 2 | 1.5 |  | 2.1 | 6.3
| Door Deduction(-) | -1 | 2 | 0.75 |  | 2.1 | -3.15
| Toilet-2 Short Wall | 1 | 2 | 1.37 |  | 2.1 | 5.754
| Long Wall | 1 | 2 | 1.5 |  | 2.1 | 6.3
| Door Deduction(-) | -1 | 2 | 0.75 |  | 2.1 | -3.15
| Toilet-3 Short Wall | 1 | 2 | 1.41 |  | 2.1 | 5.922
| Long Wall | 1 | 2 | 1.5 |  | 2.1 | 6.3
| Door Deduction(-) | -1 | 2 | 0.75 |  | 2.1 | -3.15
| Toilet-4 Short Wall | 1 | 2 | 1.41 |  | 2.1 | 5.922
| Long Wall | 1 | 2 | 1.5 |  | 2.1 | 6.3
| Door Deduction(-) | -1 | 2 | 0.75 |  | 2.1 | -3.15
| Post ICU Toilet -1 Short Wall | 1 | 2 | 1.376 |  | 2.1 | 5.7792
| Long Wall | 1 | 2 | 1.43 |  | 2.1 | 6.006
| Door Deduction(-) | -1 | 2 | 0.75 |  | 2.1 | -3.15
| Toilet-2 Short Wall | 1 | 2 | 1.36 |  | 2.1 | 5.712
| Long Wall | 1 | 2 | 1.36 |  | 2.1 | 5.712
| Door Deduction(-) | -1 | 2 | 0.75 |  | 2.1 | -3.15
| Toilet-3 Long Wall | 1 | 2 | 1.38 |  | 2.1 | 5.796
| Short Wall | 1 | 2 | 1.26 |  | 2.1 | 5.292
| Door Deduction(-) | -1 | 2 | 0.75 |  | 2.1 | -3.15
| Toilet-4 Short Wall | 1 | 2 | 1.38 |  | 2.1 | 5.796
| Long Wall | 1 | 2 | 1.38 |  | 2.1 | 5.796
| Door Deduction(-) | -1 | 2 | 0.75 |  | 2.1 | -3.15
| Passage Short Wall | 1 | 2 | 1.82 |  | 2.1 | 7.644
| Long Wall | 1 | 2 | 5.75 |  | 2.1 | 24.15
| Door Deduction(-) | -1 | 1 | 1 |  | 2.1 | -2.1
| Surgeouns Lounge Toilet -1 Short Wall | 1 | 2 | 1.41 |  | 2.1 | 5.922
| Long Wall | 1 | 2 | 1.6 |  | 2.1 | 6.72
| Door Deduction(-) | -1 | 1 | 0.75 |  | 2.1 | -1.575
| Anesthesia Toilet -1 Short Wall | 1 | 2 | 1.42 |  | 2.1 | 5.964
| Long Wall | 1 | 2 | 1.47 |  | 2.1 | 6.174
| Door Deduction(-) | -1 | 1 | 0.75 |  | 2.1 | -1.575
| passage Toilets Long Wall | 1 | 2 | 10.74 |  | 2.1 | 45.108
| Ashort Wall | 1 | 2 | 1.72 |  | 2.1 | 7.224
| Door Deduction(-) | -1 | 1 | 1 |  | 2.1 | -2.1
| Toilet -1 Short Wall | 1 | 2 | 1.54 |  | 2.1 | 6.468
| Long Wall | 1 | 2 | 1.54 |  | 2.1 | 6.468
| Door Deduction(-) | -1 | 2 | 0.75 |  | 2.1 | -3.15
| Toilet-2 Long Wall | 1 | 2 | 1.51 |  | 2.1 | 6.342
| Short Wall | 1 | 2 | 1.51 |  | 2.1 | 6.342
| Door Deduction(-) | -1 | 2 | 0.75 |  | 2.1 | -3.15
| Toilet-3 short Wall | 1 | 2 | 1.45 |  | 2.1 | 6.09
| Long Wall | 1 | 2 | 1.56 |  | 2.1 | 6.552
| Door Deduction(-) | -1 | 2 | 0.75 |  | 2.1 | -3.15
| Doctors Room Toilet Short Wall | 1 | 2 | 1.4 |  | 2.1 | 5.88
| Long Wall | 1 | 2 | 1.6 |  | 2.1 | 6.72
| Door Deduction(-) | -1 | 1 | 0.75 |  | 2.1 | -1.575
| Duty Nurses RoomToilet Long Wall | 1 | 2 | 1.61 |  | 2.1 | 6.762
| Short Wall | 1 | 2 | 1.41 |  | 2.1 | 5.922
| Door Deduction(-) | -1 | 1 | 0.75 |  | 2.1 | -1.575
| HOD Toilet long Wall | 1 | 2 | 1.6 |  | 2.1 | 6.72
| Short Wall | 1 | 2 | 1.4 |  | 2.1 | 5.88
| Door Deduction(-) | -1 | 1 | 0.75 |  | 2.1 | -1.575
| Dirty Utility Passage Short Wall | 1 | 2 | 2.11 |  | 2.1 | 8.862
| Long Wall | 1 | 2 | 5.77 |  | 2.1 | 24.234
| Door Deduction(-) | -1 | 1 | 1 |  | 2.1 | -2.1
| Toilet -1 Short Wall | 1 | 2 | 1.4 |  | 2.1 | 5.88
| Long Wall | 1 | 2 | 1.33 |  | 2.1 | 5.586
| Door Deduction(-) | -1 | 2 | 0.75 |  | 2.1 | -3.15
| Toilet-2 Short Wall | 1 | 2 | 1.38 |  | 2.1 | 5.796
| Long Wall | 1 | 2 | 1.49 |  | 2.1 | 6.258
| Door Deduction(-) | -1 | 2 | 0.75 |  | 2.1 | -3.15
| Toilet-3 Long Wall | 1 | 2 | 1.4 |  | 2.1 | 5.88
| Short Wall | 1 | 2 | 1.27 |  | 2.1 | 5.334
| Door Deduction(-) | -1 | 2 | 0.75 |  | 2.1 | -3.15
| Toilet-4 Long Wall | 1 | 2 | 1.4 |  | 2.1 | 5.88
| Short Wall | 1 | 2 | 1.3 |  | 2.1 | 5.46
| Door Deduction(-) | -1 | 2 | 0.75 |  | 2.1 | -3.15
163 | Providing dadooing to walls with glazed full body porcelain wall tiles of size 300 x 600 mm with any type of design texture such as marble finish, wooden, bamboo, stone finishes etc., scratch less, stain free and thickness between 6-8 mm 1st quality conforming to IS:13711, IS:13712, IS:13630 (Parts 1 to 15) of any colour and finish in all shades and designs with borders as approved by Engineer-in-Charge set over base coat of CM(1:5) 12 mm thick using screened sand with cement slurry of honey like consistency spread at the rate of 3.30 kgs per sqm and jointing with white cement paste mixed with pigment of matching shade to full depth, including cost of all materials like tiles, cement, sand and water etc., complete overheads & contractors profit complete for finished item of work.Dadooing to walls with glazed full body Ceramic tiles
| TICU Short Wall | 1 | 2 | 5.72 |  | 1.5 | 17.16
| Long Wall | 1 | 2 | 14.15 |  | 1.5 | 42.45
| Door Deduction(-) | -1 | 1 | 1.14 |  | 1.5 | -1.71
| Door Deduction(-) | -1 | 1 | 1.49 |  | 1.5 | -2.235
| MOTs Integration Long Wall | 1 | 2 | 10.62 |  | 1.5 | 31.86
| Short Wall | 1 | 2 | 5.75 |  | 1.5 | 17.25
| Door Deduction(-) | -1 | 1 | 1.5 |  | 1.5 | -2.25
| Door Deduction(-) | -1 | 1 | 1.5 |  | 1.5 | -2.25
| Post ICU Long Wall | 1 | 2 | 14.29 |  | 1.5 | 42.87
| Short Wall | 1 | 2 | 5.72 |  | 1.5 | 17.16
| Door Deduction(-) | -1 | 1 | 1.49 |  | 1.5 | -2.235
| ICU 2 Long Wall | 1 | 2 | 5.73 |  | 1.5 | 17.19
| Short Wall | 1 | 2 | 8.85 |  | 1.5 | 26.55
| Door Deduction(-) | -1 | 1 | 1.48 |  | 1.5 | -2.22
| CSSD Long Wall | 1 | 2 | 6.19 |  | 1.5 | 18.57
| Short Wall | 1 | 2 | 5.75 |  | 1.5 | 17.25
| Door Deduction(-) | -1 | 1 | 1.5 |  | 1.5 | -2.25
| Clean Utility Door Deduction(-) | -1 | 1 | 0.76 |  | 1.5 | -1.14
| Dirty Utility Door Deduction(-) | -1 | 1 | 0.76 |  | 1.5 | -1.14
156 | Filling with light weight concrete in Cement Concrete (1:5:10) proportion using brick jelly for low roofs including cost and conveyance of all materials like cement, sand, brick bats etc., to site including cost of all labour charges for laying concrete, ramming, curing , overheads & contractors profit etc., complete for finished item of work. (APSS. No. 402)
| Toilets @ Waiting AreaToilet-1 | 1 | 1 | 1.254 | 1.5 | 0.5
| Toilet-2 | 1 | 1 | 1.37 | 1.5 | 0.5
| Toilet-3 | 1 | 1 | 1.41 | 1.5 | 0.5
| Toilet-4 | 1 | 1 | 1.41 | 1.5 | 0.5
| Toilets @ Post ICUToilet-1 | 1 | 1 | 1.376 | 1.43 | 0.5
| Toilet-2 | 1 | 1 | 1.36 | 1.36 | 0.5
| Toilet-3 | 1 | 1 | 1.38 | 1.26 | 0.5
| Toilet-4 | 1 | 1 | 1.38 | 1.3 | 0.5
| Passage Toiles Toilet-1 | 1 | 1 | 1.54 | 1.5 | 0.5
| Toilet-2 | 1 | 1 | 1.51 | 1.51 | 0.5
| Toilet-3 | 1 | 1 | 1.45 | 1.56 | 0.5
| Toilet @ HOD Room | 1 | 1 | 1.6 | 1.4 | 0.5
| Toilets @ Dirty Utility Toilet-1 | 1 | 1 | 1.4 | 1.33 | 0.5
| Toilet-2 | 1 | 1 | 1.38 | 1.49 | 0.5
| Toilet-3 | 1 | 1 | 1.4 | 1.27 | 0.5
| Toilet-4 | 1 | 1 | 1.4 | 1.3 | 0.5
Providing impervious coat to exposed RCC roof slab surfaces of sump, sump side wall,sump bottom slab, in side of septic tank, in sunken slabs etc. to required slopes with CM (1:3) prop. using screened sand 12mm thick mixed with integral cement water proofing liquid confirming to IS: 2645-2003 manufactured by reputed manufacturers as approved by Engineer-in-charge at 1 Kg per one bag of cement, laid over roof slab when it is green, finished smooth with a floating coat of neat cement and thread lining at regular intervals of 45cmx45cm where ever necessary including cost and conveyance of all materials like cement, sand, water proofing compound, water etc., to site, including sales & other taxes on all materials and operational, incidental, and labour charges for mixing mortar, laying, lift charges, rendering smooth and thread lining, curing including rounding off junctions of wall and slab etc., and overheads & contractors profit complete for finished item of work. (APSS No. 901 & 903).
| Toilets @ Waiting Area Toilet-1 | 1 | 1 | 1.254 | 1.5
| Toilet-2 | 1 | 1 | 1.37 | 1.5
| Toilet-3 | 1 | 1 | 1.41 | 1.5
| Toilet-4 | 1 | 1 | 1.41 | 1.5
| Toilets @ Post ICU Toilet-1 | 1 | 1 | 1.376 | 1.43
| Toilet-2 | 1 | 1 | 1.36 | 1.36
| Toilet-3 | 1 | 1 | 1.38 | 1.26
| Toilet-4 | 1 | 1 | 1.38 | 1.3
| Toilet @ Surgeons lounge | 1 | 1 | 1.41 | 1.6
| Toilet @ Anesthesian Lounge | 1 | 1 | 1.42 | 1.47
| Passage Toiles Toilet-1 | 1 | 1 | 1.54 | 1.5
| Toilet-2 | 1 | 1 | 1.51 | 1.51
| Toilet-3 | 1 | 1 | 1.45 | 1.56
| Toilet @ Doctors Room | 1 | 1 | 1.4 | 1.6
| Toilet @ Duty Nurse | 1 | 1 | 1.61 | 1.41
| Toilet @ HOD Room | 1 | 1 | 1.6 | 1.4
| Toilets @ Dirty Utility Toilet-1 | 1 | 1 | 1.4 | 1.33
| Toilet-2 | 1 | 1 | 1.38 | 1.49
| Toilet-3 | 1 | 1 | 1.4 | 1.27
| Toilet-4 | 1 | 1 | 1.4 | 1.3
Vinyl Flooring
| Post ICU | 1 | 1 | 14.29 | 5.72 |  | 81.7388
| Extra portion in corridor @ Post ICU | 1 | 1 | 1.49 | 1.8 |  | 2.682
| Electrical Room-2 | 1 | 1 | 4.175 | 2.1 |  | 8.7675
| Surgeons Lounge | 1 | 1 | 5.72 | 5.16 |  | 29.5152
| Anesthesia Lounge | 1 | 1 | 5.78 | 5.17 |  | 29.8826
| Clean Store | 1 | 1 | 3 | 2.947 |  | 8.841
| SterileStore Room | 1 | 1 | 5.66 | 5.75 |  | 32.545
| Point of Care Lab | 1 | 1 | 7.75 | 5.74 |  | 44.485
| Wash Area | 1 | 1 | 4.57 | 1.81 |  | 8.2717
| Lab Store | 1 | 1 | 4.57 | 3.83 |  | 17.5031
| TICU | 1 | 1 | 5.72 | 14.15 |  | 80.938
| Room | 1 | 1 | 5.73 | 8.85 |  | 50.7105
| Doctor's Room | 1 | 1 | 6.04 | 3.34 |  | 20.1736
| Change Room-1 | 1 | 1 | 2.09 | 1.8 |  | 3.762
| Change Room-2 | 1 | 1 | 2.08 | 1.83 |  | 3.8064
| Change Room-3 | 1 | 1 | 2.08 | 1.82 |  | 3.7856
| Change Room-4 | 1 | 1 | 2.09 | 1.8 |  | 3.762
| Passage1 @ Change Room | 1 | 1 | 1.26 | 4.2 |  | 5.292
| Passage2 @ Change Room | 1 | 1 | 5.72 | 1.6 |  | 9.152
| Duty Nurse Room | 1 | 1 | 5.72 | 2.77 |  | 15.8444
| Corridor-A | 1 | 1 | 31.45 | 2.9 |  | 91.205
| Corridor-D | 1 | 1 | 22.84 | 2.9 |  | 66.236
| Corridor-C | 1 | 1 | 5.978 | 2.9 |  | 17.3362
636.2356
Coving Area
| Post ICU Long Wall Long Wall | 1 | 2 | 14.29 |  | 0.1 | 2.858
| Short Wall | 1 | 2 | 5.72 |  | 0.1 | 1.144
| Extra portion in corridor @ Post ICU Long Wall | 1 | 2 | 1.49 |  | 0.1 | 0.298
| Short Wall | 1 | 2 | 5.72 |  | 0.1 | 1.144
| Electrical Room-2 Long Wall | 1 | 2 | 5.9 |  | 0.1 | 1.18
| Short Wall | 1 | 2 | 1.8 |  | 0.1 | 0.36
| Surgeons Lounge Long Wall | 1 | 2 | 5.72 |  | 0.1 | 1.144
| Short Wall | 1 | 2 | 2.1 |  | 0.1 | 0.42
| Anesthesia Lounge Long Wall | 1 | 2 | 5.78 |  | 0.1 | 1.156
| Short Wall | 1 | 2 | 5.16 |  | 0.1 | 1.032
| Clean Store Short Wall | 1 | 2 | 3 |  | 0.1 | 0.6
| Long Wall | 1 | 2 | 5.17 |  | 0.1 | 1.034
| Store Room Long Wall | 1 | 2 | 5.66 |  | 0.1 | 1.132
| Short Wall | 1 | 2 | 2.94 |  | 0.1 | 0.588
| Point of Care Lab Long Wall | 1 | 2 | 7.75 |  | 0.1 | 1.55
| Short Wall | 1 | 2 | 5.75 |  | 0.1 | 1.15
| Wash Area Short Wall | 1 | 2 | 4.57 |  | 0.1 | 0.914
| Long Wall | 1 | 2 | 5.74 |  | 0.1 | 1.148
| Lab Store Long Wall | 1 | 2 | 4.57 |  | 0.1 | 0.914
| Short Wall | 1 | 2 | 1.81 |  | 0.1 | 0.362
| TICU Long wall | 1 | 2 | 5.72 |  | 0.1 | 1.144
| Short Wall | 1 | 2 | 3.83 |  | 0.1 | 0.766
| Room Short Wall | 1 | 2 | 5.73 |  | 0.1 | 1.146
| Long Wall | 1 | 2 | 14.15 |  | 0.1 | 2.83
| Doctor's Room Short Wall | 1 | 2 | 6.04 |  | 0.1 | 1.208
| Long Wall | 1 | 2 | 8.85 |  | 0.1 | 1.77
| Change Room-1 Short Wall | 1 | 2 | 2.09 |  | 0.1 | 0.418
| Long Wall | 1 | 2 | 3.34 |  | 0.1 | 0.668
| Change Room-2 Long Wall | 1 | 2 | 2.08 |  | 0.1 | 0.416
| Short Wall | 1 | 2 | 1.8 |  | 0.1 | 0.36
| Change Room-3 Long Wall | 1 | 2 | 2.08 |  | 0.1 | 0.416
| Short Wall | 1 | 2 | 1.83 |  | 0.1 | 0.366
| Change Room-4 Long Wall | 1 | 2 | 2.09 |  | 0.1 | 0.418
| Short Wall | 1 | 2 | 1.82 |  | 0.1 | 0.364
| Passage1 @ Change Room Short Wall | 1 | 2 | 1.26 |  | 0.1 | 0.252
| Long Wall | 1 | 2 | 4.2 |  | 0.1 | 0.84
| Passage2 @ Change Room Long Wall | 1 | 2 | 5.72 |  | 0.1 | 1.144
| Short Wall | 1 | 2 | 1.6 |  | 0.1 | 0.32
| Duty Nurse Room Long Wall | 1 | 2 | 5.72 |  | 0.1 | 1.144
| Short Wall | 1 | 2 | 2.77 |  | 0.1 | 0.554
36.672
Scientific Doors with metal door frames and door shutters made of galvanize steel
Supply and fabricating,erecting and fixing inposition trusses of approved design with structural steel other than MS.
Supply and fixing of pre painted Galvalume Trapezoidal Profile Roofing with 0.50mm Thickness.
4" (101.6mm) multi floor trap with jali - UPVC/SWR
| ICU 2 Toilets | 1 | 7
| Poat ICU | 1 | 7
| TIC Toilets | 1 | 6
| Dirty Utility @ Toilets | 1 | 7
| Dirty Utility Room | 1 | 1
| Wash Area | 1 | 1
| Surgeouns Loung | 1 | 2
| Anesthesia Lounge | 1 | 2
| Dr Room | 1 | 2
| Duty Nurse Toilet | 1 | 2
| Change Rooms Passage | 1 | 1
| HOD Room | 1 | 2
| Scrub Stations | 1 | 4
580mm x 440mm long Orissa pan white glazed Water Closet
| ICU 2 Toilets | 1 | 1
| Post ICU Toilet | 1 | 1
| TICU Toilet | 1 | 1
| Toilet @ Dirty Utility | 1 | 1
European Water Closet of 1st quality
| ICU 2 Toilets | 1 | 1
| Post ICU Toilet | 1 | 1
| TICU Toilet | 1 | 1
| Toilet @ Dirty Utility | 1 | 1
| Surgeouns Loung | 1 | 1
| Anesthesia Lounge | 1 | 1
| Dr Room | 1 | 1
| Duty Nurse Toilet | 1 | 1
| HOD Room | 1 | 1
Indian make Flat Back Wash Hand Basin 1st quality
| ICU 2 Toilets | 1 | 2
| Post ICU Toilet | 1 | 2
| TICU Toilet | 1 | 2
| Toilet @ Dirty Utility | 1 | 2
| Surgeouns Loung | 1 | 1
| Anesthesia Lounge | 1 | 1
| Dr Room | 1 | 1
| Duty Nurse Toilet | 1 | 1
| HOD Room | 1 | 1
| Change Rooms Passage | 1 | 1
| Wash Area | 1 | 1
CP finish brass soap dish
| ICU 2 Toilets | 1 | 3
| Post ICU Toilet | 1 | 4
| TICU Toilet | 1 | 3
| Toilet @ Dirty Utility | 1 | 4
| Surgeouns Loung | 1 | 1
| Anesthesia Lounge | 1 | 1
| Dr Room | 1 | 1
| Duty Nurse Toilet | 1 | 1
| HOD Room | 1 | 1
| Change Rooms Passage | 1 | 1
| Wash Area | 1 | 1
TV shape mirror with plastic frame of size 609.6mm x 457.2mm
| ICU 2 Toilets | 1 | 2
| Post ICU Toilet | 1 | 2
| TICU Toilet | 1 | 2
| Toilet @ Dirty Utility | 1 | 2
| Surgeouns Loung | 1 | 1
| Anesthesia Lounge | 1 | 1
| Dr Room | 1 | 1
| Duty Nurse Toilet | 1 | 1
| HOD Room | 1 | 1
| Change Rooms Passage | 1 | 1
| Wash Area | 1 | 1
25.4mm dia , 609.6mm long aluminium anodized towel rods
| ICU 2 Toilets | 1 | 3
| Post ICU Toilet | 1 | 4
| TICU Toilet | 1 | 3
| Toilet @ Dirty Utility | 1 | 4
| Surgeouns Loung | 1 | 1
| Anesthesia Lounge | 1 | 1
| Dr Room | 1 | 1
| Duty Nurse Toilet | 1 | 1
| HOD Room | 1 | 1
| Change Rooms Passage | 1 | 1
| Wash Area | 1 | 1
15 mm brass body CP finish bib tap of not less than 300 grams weight
| ICU 2 Toilets | 1 | 3
| Post ICU Toilet | 1 | 4
| TICU Toilet | 1 | 3
| Toilet @ Dirty Utility | 1 | 4
Self Closing Tap - Push Type
| ICU 2 Toilets | 1 | 2
| Post ICU Toilet | 1 | 2
| TICU Toilet | 1 | 2
| Toilet @ Dirty Utility | 1 | 2
| Surgeouns Loung | 1 | 1
| Anesthesia Lounge | 1 | 1
| Dr Room | 1 | 1
| Duty Nurse Toilet | 1 | 1
| HOD Room | 1 | 1
| Change Rooms Passage | 1 | 1
| Wash Area | 1 | 1
Chromium plated finish brass body quarter turn Bibcock cum Health Faucet
| ICU 2 Toilets | 1 | 1
| Post ICU Toilet | 1 | 1
| TICU Toilet | 1 | 1
| Toilet @ Dirty Utility | 1 | 1
| Surgeouns Loung | 1 | 1
| Anesthesia Lounge | 1 | 1
| Dr Room | 1 | 1
| Duty Nurse Toilet | 1 | 1
| HOD Room | 1 | 1
| ICU 2 Toilets | 1 | 2
| Post ICU Toilet | 1 | 2
| TICU Toilet | 1 | 2
| Toilet @ Dirty Utility | 1 | 2
| Surgeouns Loung | 1 | 1
| Anesthesia Lounge | 1 | 1
| Dr Room | 1 | 1
| Duty Nurse Toilet | 1 | 1
| HOD Room | 1 | 1
| Change Rooms Passage | 1 | 1
| Wash Area | 1 | 1
Ashirvad/ Ajay/ Astral Flowguard or equivalent CPVC Pipes and Fittings - 15.90mm OD pipe
Ashirvad/Ajay/Astral Flowguard or equivalent CPVC Pipes and Fittings - 22.20mm OD pipe
Ashirvad/ Ajay/ Astral Flowguard or equivalent CPVC Pipes and Fittings -28.60mm OD pipe
Bronze Gate/ Globe valve - 25mm Nominal bore
SWR PVC pipes (Prince/ Sudhakar/ Kisan/ Supreme or any ISI brand) 4 Kg/Sq.cm. - 75mmdia
SWR PVC pipes (Prince/ Sudhakar/ Kisan/ Supreme or any ISI brand) 4 Kg/Sq.cm. -110mmdia
Supplying and fixing15 mm nominal size 152.0 mm CP finish iron body shower rose 1st quality including cost and conveyance of all materials, labour charges , overheads & contractors profit for finished item of work in all floors.
| ICU 2 Toilets | 1 | 1
| Post ICU Toilet | 1 | 2
| TICU Toilet | 1 | 1
| Toilet @ Dirty Utility | 1 | 2
Supply and Fixing of white glazed flat back bowl urinals
Tile Flooring
| UPS Room | 1 | 1 | 3.168 | 4.992 |  | 15.8147
| Electrical Room | 1 | 1 | 6.75 | 5 |  | 33.75
| Waiting Area | 1 | 1 | 10.315 | 5.74 |  | 59.2081
| MOTs IntegrationRoom | 1 | 1 | 10.62 | 5.75 |  | 61.065
| Counselling Room | 1 | 1 | 5.7 | 2.02 |  | 11.514
| HOD Room | 1 | 1 | 5.72 | 3.3 |  | 18.876
| CSSD Room | 1 | 1 | 6.19 | 5.75 |  | 35.5925
| Clean utility room deduction (-) | -1 | -1 | 1.9 | 3.01 |  | 5.719
| Clean Utility Room | 1 | 1 | 1.8 | 2.91 |  | 5.238
| Dirty Utility Room | 1 | 1 | 1.8 | 5.75 |  | 10.35
| Corridor infront of CSSD to Dirty Utility | 1 | 1 | 11.7 | 2.9 |  | 33.93
| Corridor infront of HOD Room | 1 | 1 | 8.94 | 2.9 |  | 25.926
| Corridor Infront of UPS Room to MOTs Integration Room | 1 | 1 | 19.36 | 2.9 |  | 56.144
| Main Entry Corridor | 1 | 1 | 6.1 | 2.9 |  | 17.69
Electro conductive flooring inside MOTs
| OT-1 | 1 | 1 | 6.54 | 5.29 |  | 34.5966
| OT-2 | 1 | 1 | 6.57 | 5.28 |  | 34.6896
| OT-3 | 1 | 1 | 6.43 | 5.46 |  | 35.1078
| OT-4 | 1 | 1 | 6.5 | 5.47 |  | 35.555
139.949
Electro conductive flooring inside MOTs
| OT-5 | 1 | 1 | 6.81 | 5.41 |  | 36.8421
| OT-6 | 1 | 1 | 6.79 | 5.41 |  | 36.7339
73.576
Electro conductive flooring inside TIRs
| TIR-1 | 1 | 1 | 5.59 | 4.95 |  | 27.6705
| TIR-2 | 1 | 1 | 5.49 | 4.84 |  | 26.5716
| TIR-3 | 1 | 1 | 5.71 | 3.15 |  | 17.9865
72.2286
Vinyl Flooring in MOTs Corridor
| Corridor OT-1 to OT-6 | 1 | 1 | 30.6 | 2.59 |  | 79.254
| Corridor Anesthetist Lounge to Tir-2 | 1 | 1 | 18.2 | 3.19 |  | 58.058
137.312
Vinyl Flooring in TIR Corridor
| Corridor TIR-3 to Duty Nurse Room | 1 | 1 | 21.9 | 2.8 |  | 61.32