## Prices
QUOTATION
|  |  |  | CLIENT |  | : Asta Infra Projects Pvt Ltd
|  |  |  | ADDRESS |  | : Gandhi Hospital
|  |  |  | PROJECT |  | : 8th Floor Corridors
AHLADA CLEAN ROOM TECH PRIVATE LIMITED |  |  |  | OFFER NO |  | : ACTPL/QUO/ASTA/0563/23-24
ADDRESS : Sy No. 687 Part, Gundlapochampalli, Medchal - Malkajgiri Dist, |  |  |  | OFFER DATE |  | : 22-09-2023
Hyderabad - 501401, Telangana, India |  |  |  | KIND ATTN |  | :
GSTIN : 36AAQCA4826R1ZU
MAIL ID : sales@ahladacleanroom.com
Bank Name |  | : IDFC First Bank | Account No : 10078799632 | CONTACT PERSON |  | : Mr. A.Mallikarjun
IFSC Code |  | : IDFB0080203 | Address : Paradise Secunderabad Branch, | CONTACT NO |  | : +91 9963994994
|  |  | Legend Crystal, First Floor, Hyderabad - 500003 | MAIL ID |  | : mallikarjun@ahladacleanroom.com
S.No | Material Description |  |  | Qty | Units | Unit Rate | Total Amount | HSN / SAC Code
1 | Wall Panels 50mm Thick (Powder Coated)
1.1 | 50mm thick double skin wall panels of skin thick 0.8mm GPSP (120GSM Zinc Coated ) Sheet. PUF as infill material Density 40-42 Kg/Cu mtr with both side powder coating of thickness 60-70 microns including Bottom track & silicon sealent etc. |  |  | 373 | Sqmt | 3846 | 1434558 | 73089090
2 | Ceiling Panels 50mm Thick (Powder Coated)
2.1 | 50mm thick double skin False cealing panels of skin thick 0.8mm GPSP (120GSM Zinc Coated ) Sheet. PUF as infill material Density 40-42 Kg/Cu mtr with both side powder coating of thickness 60-70 microns.with suitable Ceiling grid and supporting hardware. Joints shall be sealed with cleanroom compatible silicon |  |  | 183 | Sqmt | 3947 | 722301 | 73089090
3 | Accessories
3.1 | Aluminium Extruded Male & Female Coving Powder Coated R70 ( Int & Ext ) |  |  | 194 | Rmt | 485 | 94090 | 73089090
3.2 | 2D & 3D Cornners |  |  | 16 | Nos | 304 | 4864 | 73089090
4 | Cutouts
4.1 | HVAC and Electrical cutouts (Approx Qty) |  |  | 50 | Nos | 455 | 22750 | 73089090
| TOTAL AMOUNT - Supply | [5 empty] | 2278563
| Installation Charges | [5 empty] | 296213.19 | 998719
| TOTAL AMOUNT (Supply + Installation Charges) - Basic | [5 empty] | 2574776.19
Terms & Conditions
1 | GST |  | : @ 18% Extra As Applicable
2 | Packing |  | : Included with Polythene Sheet & Corrugated Sheet.
3 | Payment Terms for Supply |  | : 20% Advance, 70% against PI, 10% after Installation
4 | Payment Terms for Service |  | : On Pro Rata Basis - Immedaitely
5 | Transportation |  | : Extra At Actuals / Vehicle Client Scope
6 | Unloading, Shifting and Storage |  | : Unloading of the material, Shifting to requied area & storage and security of material on receipt at
: your site shall be your responsibility and arranged by you at your cost
7 | Insurance |  | : To your Account
8 | Delivery |  | : Minimum 5 - 7 weeks from the date of receipt of Drawings Approval along with technically &
commercially clear Purchase order and advance payment
9 | Offer Validity |  | : 1 Week
10 | Warranty |  | : 12 Months from the Date of Supply
11 | Prices are subject to vary as per price escalation of raw material in the market
FOR AHLADA CLEAN ROOM TECH PVT LTD
Authorised Signatory

## Sheet2
S.No | Description | QTY | UOM | Unit Rate (Rs.) | Amount (Rs.) | CAMC Amount for 5th year to 10th year
1 | Supply and installation of 50mm thick double skin modular wall Panels made of 0.8 mm thick powder coated GI on both the sides, with 40 plus or minus 2 kg/m3 density PUF as infill, GI profiles all along the periphery, flush on both sides with maximum allowable gap of 3- 4mm filled with food grade silicon sealant and placed on cold rolled galvanised bottom tracks with a recess to provide floor to wall coving flush with the wall panel. This includes all required harware for completion Panels to be covered with a protective film to avoid any damages during transportation and installation | 297.52 | Sqm | 6675 | 1985946 | 794378.4
2 | Supply and installation of 50mm thick double skin ceiling system made of 0.8 mm thick Powder Coated GI sheets on both sides, 40 plus or minus 2 kg/m3 density PUF as infill, GI profiles all along the periphery, panels flush towards room side with maximum allowable gap of 3-4mm at panel to panel joints filled with silicon sealant. Ceiling panels are suspended from the RCC slab by using concealed AL ceiling grid with tie rod and adjustable turn buckle arrangement etc. This includes all required hardware for completion. Panels to be covered with a protective film to avoid any damages during transportation and installation | 163.08 | Sqm | 6675 | 1088559 | 435423.6
Total Amount |  |  |  |  | 3074505 | 1229802
GST @ 18% |  |  |  |  | 553410.9
Total Amount excluding CAMC |  |  |  |  | 3627915.9
CAMC Amount as per below table |  |  |  |  | 1229802
Total Amount including CAMC Amount |  |  |  |  | 4857717.9
Comprehensive Annual Maintanance Charges post warranty period for 5 years (6th year to 10th year) @ 8,8,8,8,8 % respectively
[7 empty] | Base Price |  |  | 3074505
[7 empty] | S.No | Year | CAMC % | Amount
[7 empty] | 1 | 6th | 8% | 245960.4
[7 empty] | 2 | 7th | 8% | 245960.4
[7 empty] | 3 | 8th | 8% | 245960.4
[7 empty] | 4 | 9th | 8% | 245960.4
[7 empty] | 5 | 10th | 8% | 245960.4
[7 empty] | Total % |  | 40%
[7 empty] | Total Amount |  |  | 1229802