## Prices
QUOTATION
|  |  |  | CLIENT |  | : Asta Infra Projects Pvt Ltd
|  |  |  | ADDRESS |  | : Gandhi Hospital
|  |  |  | PROJECT |  | : 8th Floor Corridors
AHLADA CLEAN ROOM TECH PRIVATE LIMITED |  |  |  | OFFER NO |  | : ACTPL/QUO/ASTA/0563/23-24
ADDRESS : Sy No. 687 Part, Gundlapochampalli, Medchal - Malkajgiri Dist, |  |  |  | OFFER DATE |  | : 02-07-2024
Hyderabad - 501401, Telangana, India |  |  |  | KIND ATTN |  | : Mr. Shiva
GSTIN : 36AAQCA4826R1ZU
MAIL ID : sales@ahladacleanroom.com
Bank Name |  | : IDFC First Bank | Account No : 10078799632 | CONTACT PERSON |  | : Mr. A.Mallikarjun
IFSC Code |  | : IDFB0080203 | Address : Paradise Secunderabad Branch, | CONTACT NO |  | : +91 9963994994
|  |  | Legend Crystal, First Floor, Hyderabad - 500003 | MAIL ID |  | : mallikarjun@ahladacleanroom.com
S.No | Material Description |  |  | Qty | Units | Unit Rate | Total Amount | HSN / SAC Code
1 | Wall Panels 50mm Thick (Powder Coated)
1.1 | 50mm thick double skin wall panels of skin thick 0.8mm GPSP (120GSM Zinc Coated ) Sheet. PUF as infill material Density 40-42 Kg/Cu mtr with both side powder coating of thickness 60-70 microns including Bottom track & silicon sealent etc. |  |  | 387 | Sqmt | 3344 | 1294128 | 73089090
2 | Ceiling Panels 50mm Thick (Powder Coated)
2.1 | 50mm thick double skin False cealing panels of skin thick 0.8mm GPSP (120GSM Zinc Coated ) Sheet. PUF as infill material Density 40-42 Kg/Cu mtr with both side powder coating of thickness 60-70 microns.with suitable Ceiling grid and supporting hardware. Joints shall be sealed with cleanroom compatible silicon |  |  | 189 | Sqmt | 3432 | 648648 | 73089090
3 | Accessories
3.1 | Aluminium Extruded Male & Female Coving Powder Coated R70 ( Int & Ext ) |  |  | 198 | Rmt | 422 | 83556 | 73089090
3.2 | 2D & 3D Cornners |  |  | 18 | Nos | 264 | 4752 | 73089090
4 | Cutouts
4.1 | HVAC and Electrical cutouts (Approx Qty) |  |  | 50 | Nos | 396 | 19800 | 73089090
5 | GI Powder Coated Scientific Doors (0.8mm shutter sheet thk & 1.2mm frame sheet thk with Single Rebate and Honeycomb Infill) | [5 empty] | 0
5.1 | Single Leaf Door 950 x 2150 mm |  |  | 1 | Nos | 8627.52 | 8627.52 | 73083000
5.2 | Single Leaf Door 975 x 2150 mm |  |  | 1 | Nos | 8854.56 | 8854.56 | 73083000
5.3 | Single Leaf Door 990 x 2150 mm |  |  | 1 | Nos | 8990.784 | 8990.784 | 73083000
5.4 | Single Leaf Door 995 x 2125 mm |  |  | 1 | Nos | 8931.12 | 8931.12 | 73083000
5.5 | Double Unequal Leaf Door 1400 x 2150 mm |  |  | 1 | Nos | 12714.24 | 12714.24 | 73083000
5.6 | Double Unequal Leaf Door 1500 x 2150 mm |  |  | 1 | Nos | 13622.4 | 13622.4 | 73083000
5.7 | Double Unequal Leaf Door 1500 x 2155 mm |  |  | 1 | Nos | 13654.08 | 13654.08 | 73083000
5.8 | Double Unequal Leaf Door1980 x 2108 mm |  |  | 1 | Nos | 17630.3002 | 17630.3002 | 73083000
5.9 | Double Unequal Leaf Door2000 x 2115 mm |  |  | 1 | Nos | 17867.52 | 17867.52 | 73083000
5.10 | Double Unequal Leaf Door2000 x 2130 mm |  |  | 1 | Nos | 18019.8 | 18019.8 | 73083000
5.11 | Double Unequal Leaf Door2000 x 2150 mm |  |  | 1 | Nos | 18189 | 18189 | 73083000
5.12 | Double Unequal Leaf Door2000 x 2165 mm |  |  | 1 | Nos | 18315.9 | 18315.9 | 73083000
5.13 | Single Leaf Emergency Door 995 x2115 mm - Emergency Exit Fire Door 2 Hrs |  |  | 1 | Nos | 8889.0912 | 8889.0912 | 73083000
5.14 | Double Leaf Door 1800 x 2150 mm - Emergency Exit Fire Door 2 Hrs |  |  | 1 | Nos | 16346.88 | 16346.88 | 73083000
6 | Hardware | [5 empty] | 0
6.1 | SS Ball baring hinges of size 102x76x3mm - Dorset |  |  | 69 | Nos | 218 | 15042 | 83026000
6.2 | Door Closer Standard Arm TS 68 - Dorma Make |  |  | 14 | Nos | 2200 | 30800 | 83026000
6.3 | Dead Lock with Both side key operating lock-ML 100D+CL206 - Dorset |  |  | 12 | Nos | 1446 | 17352 | 83011000
6.4 | SS D-Handle 19X254mm on Both Sides - Dorset |  |  | 20 | Nos | 850 | 17000 | 83024110
6.5 | Concealed Flush Bolt 300mm - Ahlada |  |  | 8 | Nos | 659 | 5272 | 83026000
6.6 | Single Point Locking Panic Bar - Geze |  |  | 1 | Nos | 5500 | 5500 | 83026000
6.7 | Triple Point Locking Panic Bar - Geze |  |  | 1 | Nos | 11475 | 11475 | 83026000
6.8 | External Trim - Geze |  |  | 2 | Nos | 3995 | 7990 | 83026000
6.9 | Concealed automatic door drop seal |  |  | 23 | Nos | 1709 | 39307 | 83024190
7 | SS304 Kick Plates upto 350mmht - Ahlada |  |  | 23 | Nos | 1615 | 37145 | 73089090
7.1 | Double Glazed Clear Toughened Glass of size 350x750x6mm with Both side Adhesive tape, Silicon sealent & Black Border |  |  | 20 | Nos | 1700 | 34000 | 70071900
7.12 | Fire Rated Clear Glass 200 x 300 mm with Ceramic Tape |  |  | 3 | Nos | 2948 | 8844 | 70071900
| TOTAL AMOUNT - Supply | [5 empty] | 2471264.1954
| Installation Charges | [5 empty] | 321264.3454 | 998719
| TOTAL AMOUNT (Supply + Installation Charges) - Basic | [5 empty] | 2792528.5408
Terms & Conditions
1 | GST |  | : @ 18% Extra As Applicable
2 | Packing |  | : Included with Polythene Sheet & Corrugated Sheet.
3 | Payment Terms for Supply |  | : 20% Advance, 70% against PI, 10% after Installation
4 | Payment Terms for Service |  | : On Pro Rata Basis - Immedaitely
5 | Transportation |  | : Extra At Actuals / Vehicle Client Scope
6 | Unloading, Shifting and Storage |  | : Unloading of the material, Shifting to requied area & storage and security of material on receipt at
: your site shall be your responsibility and arranged by you at your cost
7 | Insurance |  | : To your Account
8 | Delivery |  | : Minimum 5 - 7 weeks from the date of receipt of Drawings Approval along with technically &
commercially clear Purchase order and advance payment
9 | Offer Validity |  | : 1 Week
10 | Warranty |  | : 12 Months from the Date of Supply
11 | Prices are subject to vary as per price escalation of raw material in the market
FOR AHLADA CLEAN ROOM TECH PVT LTD
Authorised Signatory