## RO plant BOQ
Gandhi Hospitaks 8th Floor
Sr.No. | IEI Std Products / Items Offered | Quantity | Remarks
(Nos)/Unit
1 | NGMF- 30 Sand Filter- 3m3/Hr | 1 | Make -Ion Exchange
2 | NGMA-30 Carbon Filter-3m3/Hr | 1 | Make -Ion Exchange
3 | Dosing System- CDS 3- Antiscalent-6 LPH | 2 | Make- E Dose
4 | RO System- INDROMATIC 405 - 1000 LPH | 1 | Make- E Dose
5 | RO System- INDROMATIC 403 - 600 LPH | 1 | Make- E Dose
6 | MCC Electrical panel with cabling and cable tray | 1 | Local/Standard Make
7 | ICPW Feed pumps to RO to SS tanks to Transfer Pumps | 1 | Astral/Supreme/Sudhakar CPVC pipes | LS
8 | Electrical Cables and cable trays | 1 | Polycab/Equivalent Cables | LS
9 | Filter feed pump for Primary RO RO ( 1W+ 1S) 4 m3/Hr @ 30MWC - Make Kirloskar | 2 | Make: Kirloskar |  | Standby Is Optional
10 | Filter feed pump for Secondary RO RO ( 1W+ 1S) 1.5 m3/Hr @ 30MWC - Make Kirloskar | 2 | Make: Kirloskar
11 | Treated storage tank- 5000 L SS 304 food grade -0,8 mm thickness | 1 | Make -Nova
12 | Treated storage tank- 2000 L SS 316 food grade -0.8mm thickness | 1 | Make -Nova
13 | UV disinfection system Lamp - Make Alfa | 2 | Make -Alfa |  | Optional
14 | Dosing System with pump and Tank-100 Ltrs- -pH correction | 1 | Make- E Dose
15 | Antiscakant Dosing- Pump with Tank 100 Ltrs | 1 | Make-E Dose
16 | Transfer Pumps from Terrace to 8th Floor and back as circulation( 1W+1S) Kirloskar Agnes- Casing -SS , Impellar -SS- 1 HP -3 Phase-Head 45-50 Mtrs, Discharge : 1.2 to 0.6m3;Hr | 2 | Make- Kirloskar
17 | CIP- Cleaning in Place system CS 16-3-4 m3/Hr-250 Ltrs tank | 1 | Make-Ion Exchange
19 | Level Controller and indication- for Primary RO & Secondary RO AKD | 2 | Make- Sridhan/Equivalent
1 | Erection & Commissioning |  | Inclusive | LS
2 | Freight charges |  | Inclusive | LS
3 | Fabrication works- Drawings |  | Inclusive | LS
4 | Inloading & Shifting charges |  | Inclusive | LS
| Total Final Price offered for supply, Installation and commissioning |  | 2273981

## RO plant With AKD
Gandhi Hospitaks 8th Floor
Sr.No. | Ion Exchange Std Products / Items Offered | Quantity | Remarks
(Nos)/Unit
1 | NGMF- 30 Sand Filter- 3m3/Hr | 1 | Make -Ion Exchange
2 | NGMA-30 Carbon Filter-3 m3/Hr | 1 | Make -Ion Exchange
3 | Dosing System- Antiscalent | 1 | Make- E Dose
4 | PH correction system E- Dose with pump & tank--0- 6 LPH | 1 | Make- E Dose
5 | SMBS dosing E Dose with Pump & Tank--0- 6 LPH | 1 | Make- E Dose
6 | RO System- INDROMATIC 405 - 1000 LPH | 1 | Make -Ion Exchange
7 | AKD system 400 LPH-Indion Hemo-400- single pass HSRO -60-80 % recover with HSRO membranes | 1 | Make -Ion Exchange
8 | MCC Electrical panel -Interconnection Primary RO andSecondary RO- AKD and pumps | 1 | Local/Standard Make |  | LS
9 | Electrical cable laying with suitable cable trays and supports | 1 | Polycab/Equivalant Cables |  | LS
10 | CPVC ICPW Feed pumps to RO to SS tanks to Transfer Pumps | 1 | Astral/Supreme/Sudhakar CPVC pipes |  | LS
11 | Filter feed pump for Primary RO ( 1W+ 1S) 4 m3/Hr @ 30MWC - Make Kirloskar | 2 | Make: Kirloskar | Standby Is Optional
12 | Filter feed pump for Secondary RO ( 1W+ 1S) 1.5 m3/Hr @ 30MWC - Make Kirloskar | 2 | Make: Kirloskar
13 | Treated storage tank- 5000 L SS 304 food grade -0,8 mm thickness | 1 | Make -Nova
14 | Treated storage tank- 2000 L SS 316 food grade -0.8mm thickness | 1 | Make-Nova
15 | UV disinfection system Lampfor Primary RO - Make Alfa | 1 | Make- Alfa | Optional
16 | Transfer Pumps from Terrace to 8th Floor and back as circulation( 1W+1S) Kirloskar Agnes- Casing -SS , Impellar -SS- 1 HP -3 Phase-Head 45-50 Mtrs, Discharge : 1.2 to 0.6m3;Hr | 2 | Make- Kirloskar
17 | CIP- Cleaning in Place system CS 16-3-4 m3/Hr-250 Ltrs tank | 1 | Make-Ion Exchange
18 | SS piping 316 25NB/40B with ncessary accessories-316 from Secondary RO to SS tank to distribution pumps | 1 | Make Venus |  | LS
19 | Level Controller and indication- for Primary RO & Secondary RO AKD | 2 | Make- Sridhan/Equivalent
20 | Air compressor with 100 Ltrs Tank | 1 | Standard Make
1 | Erection & Commissioning |  | Inclusive |  | LS
2 | Freight charges |  | Inclusive |  | LS
3 | Fabrication works- withn Battery limts |  | Inclusive |  | LS
4 | Unloading & Shifting charges |  | Inclusive |  | LS
| Total Final Price offered for supply, Installation and commissioning |  | 4717640

## PEX works
JINDAL COMPOSITE PEX
|  | Make : Jindal |  |  |  |  | Make : Jindal
|  | PEX SIZE | 2532 | 2025 | 1620
|  | QUANTITY | 250 | 250 | 100 |  | Other PEX Accessories | SIZE | Price | Qty | Total Price
|  | Supply cost | 418.5 | 298.5 | 178.5 |  | 2532 *1620*2025 | Unequal Tee | 505.7 | 20 | 10114
|  | Laying charges | 255 | 195 | 150 |  | 2532*2025*2532 | Unequal Tee | 505.7 | 20 | 10114
|  | S+L | 673.5 | 493.5 | 328.5 |  | 2025*1620*2025 | Unequal Tee | 388.7 | 25 | 9717.5
|  | Total cost | 168375 | 123375 | 32850 | 324600 | 2025 *2025 | Equal Union | 336.7 | 10 | 3367
|  | Make : Jindal |  |  |  |  | 2532 *2532 | Equal Union | 505.7 | 10 | 5057
|  | PEX Accessories | Size | Qty | Price | BP | 2532 *2532 | Equal Elbow | 466.7 | 25 | 11667.5
|  | Male Union | 1620 | 25 | 245.7 | 6142.5 |  |  |  |  | 50037
|  | MTA( Male Thread Adapter) | 2025 | 25 | 362.7 | 9067.5
|  |  | 2532 | 25 | 583.7 | 14592.5
|  |  | 3240 | 0 | 557.7 | 0
[6 empty] | 29802.5 | Total Pex Cost | Material | Total Price
[8 empty] | Pipes | 324600
[8 empty] | MTA | 29802.5
|  |  | Size | Qty | Supply cost | BP |  | SS Valves | 67275
| SS BALL VALVE | Make | 16/20 | 30 | 682.5 | 20475 |  | Other Accessories | 50037
Make |  | ACP | 20/25 | 20 | 975 | 19500 |  | Total Price | 471714.5
|  |  | 25/32 | 20 | 1365 | 27300 |  | Supports and clamps | 50000 | LS
[6 empty] | 67275 |  | Total Price fpr PEX works | 521714.5
Any items missed out will be added seperately