## Table 1
AIRWIN SERVICES Plot No.116/A,Savithri Nilayam Sriven Enclave, Near Chittaramma Temple, Gajularamaram, Hyderabad-500 055, Ph No: +91 9177755343 Email: airwinservices@gmail.com; sekhar@airwintech.com www.airwintech.com GST:36ANPPG6480O1ZH
QUOTATION-303
QUOTATION NO: 303/AWS/CLEAN ROOM/23-24/523 |  |  |  |  | DATE: 27.12.2023
CLIENT
To
The Executive Engineer,
(Engineer In-Charge)
TSMSIDC,
Hyderabad Division.
Sub: Quotation Submission for Gandhi Hospitals
Ref: Your enquiry dated 11-12-2023
Sr. No | Description |  |  |  | Unit | Qty | Rate | Amount | CAMC Amount
1 | Supply and installation of 50mm thick double skin modular wall Panels made of 0.8 mm thick powder coated GI on both the sides, with 40 plus or minus 2 kg/m3 density PUF as infill, GI profiles all along the periphery, flush on both sides with maximum allowable gap of 3- 4mm filled with food grade silicon sealant and placed on cold rolled galvanised bottom tracks with a recess to provide floor to wall coving flush with the wall panel. This includes all required harware for completion Panels to be covered with a protective film to avoid any damages during transportation and installation |  |  |  | Sqm | 297.52 | 6800 | 2023136 | 829485.76
2 | Supply and installation of 50mm thick double skin ceiling system made of 0.8 mm thick Powder Coated GI sheets on both sides, 40 plus or minus 2 kg/m3 density PUF as infill, GI profiles all along the periphery, panels flush towards room side with maximum allowable gap of 3-4mm at panel to panel joints filled with silicon sealant. Ceiling panels are suspended from the RCC slab by using concealed AL ceiling grid with tie rod and adjustable turn buckle arrangement etc. This includes all required hardware for completion. Panels to be covered with a protective film to avoid any damages during transportation and installation |  |  |  | Sqm | 163.08 | 6800 | 1108944 | 454667.04
| Total Amount | [6 empty] | 3132080 | 1284152.8
| GST @ 18% | [6 empty] | 563774.4
| Total Amount excluding CAMC | [6 empty] | 3695854.4
| CAMC Amount as per below table | [6 empty] | 1284152.8
| Total Amount including CAMC | [6 empty] | 4980007.2
Comprehensive Annual Maintanace charges post warranty period for 5 years (6th to 10th year) @ 7, 8, 8, 9, 9 % respectively.
| Base Price |  |  | 3132080
| S.No | Year | CAMC % | Amount
| 1 | 6th | 7% | 219245.6
| 2 | 7th | 8% | 250566.4
| 3 | 8th | 8% | 250566.4
| 4 | 9th | 9% | 281887.2
| 5 | 10th | 9% | 281887.2
| Total % |  | 41% | 1284152.8
CHECKED BY SEKHAR