## Civil1
To
The Executive Engineer,
TSMSIDC, NIMS -SPL-Division,
Narayanaguda, Hyderabad.
Sir,
We are giving our lowest Quotation Rates of the items mentioned for the work of Design, Development
& Commisssioning on Turnkey Basis, the work of Establishment of State Organ Transplantation Centre
in the 8th Floor, South West Block of Gandhi Hospital, Secunderabad.
Submission of Quotation - Request - Reg.
Sl. No | Item Description | Qty | Unit | Rate | Amount | AMC Amount
Unit
1 | Supply and installation of Under-deck Thermocol insulation sheets of 40 mm thick having more than 30 Kg/m3 density to ceiling by brush application of bituminous adhesive to the sheets and secured with screw along with washer at the centre of the sheet supported with GI wire running diagonally to the sheet of 2mm dia. | 262.74 | Sqm | 1014 | 266418.36 | 111895.7112
2 | Supply and Laying of Floor leveller compund (self smoothing mortar) to level the surface, having bulk density not less than 2 Kg/l for a fresh mortor, compressive strength not less than 20 N/mm2, initial setting time not more than 40 minutes and offer a 25 minutes working time, The surface should be walkabe after 30 min of laying. (ICUs) | 725.55 | Sqm | 1460 | 1059303 | 444907.26
3 | Providing dadooing to walls with glazed full body ceramic wall tiles of size 800 x 1600 mm with any type of design texture such as marble finish, wooden, bamboo, stone finishes etc., scratch less, stain free and thickness between 6-8 mm 1st quality conforming to IS:13711, IS:13712, IS:13630 Parts 1 to 15 of any colour and finish in all shades and designs with borders as approved by Engineer-in-Charge set over base coat of CM1:5 12 mm thick using screened sand with cement slurry of honey like consistency spread at the rate of 3.30 kgs per sqm and jointing with white cement paste mixed with pigment of matching shade to full depth, including cost of all materials like tiles, cement, sand and water etc., complete for finished item of work. | 119.385 | Sqm | 4665 | 556931.025 | 233911.0305
4 | GI Powder Coated Sliding Doors (0.8mm shutter sheet thk & 1.2mm frame sheet thk with Single Rebate and Honeycomb Infill) Double Leaf Door 1200 x 2100mm with Accessories (Sliding Track for Double Door, Sliding Dead Lock Enox, Concealed Handles 100mm Ahlada, Flush Bolt 300mm Ahlada, SS304 Kick Plate upto 350mm ht, DG Clear Float Glass 350x750x6mm with Adhesive Tape & Silicon Sealant) | 2 | Nos | 270276 | 540552 | 227031.84
5 | V-Board Partitions on top of false ceiling for partitioning of sterile corridor and non-sterile corridor | 16 | Sqm | 3640 | 58240 | 24460.8
6 | GI Powder Coated Sliding Doors (0.8mm shutter sheet thk & 1.2mm frame sheet thk with Single Rebate and Honeycomb Infill) Double Leaf Door 1200 x 2100mm with Accessories (Sliding Track for Double Door, Sliding Dead Lock Enox, Concealed Handles 100mm Ahlada, Flush Bolt 300mm Ahlada, SS304 Kick Plate upto 350mm ht, DG Clear Float Glass 350x750x6mm with Adhesive Tape & Silicon Sealant) | 1 | Nos | 84133 | 84133 | 35335.86
| Total Amount |  |  |  | 2565577.385
| Total AMC Amount for 5 Years |  |  |  | 1077542.5017
| Total |  |  |  | 3643119.8867
Request for the early approoval for the above mentioned items.
Yearly Maintanance Charges post warranty period for 5 years(6th to 10th year) @8, 8,8, 9, 9 % respectively.

## GAS1
To
The Executive Engineer,
TSMSIDC, NIMS -SPL-Division,
Narayanaguda, Hyderabad.
Sir,
We are giving our lowest Quotation Rates of the items mentioned for the work of Design, Development
& Commisssioning on Turnkey Basis, the work of Establishment of State Organ Transplantation Centre
in the 8th Floor, South West Block of Gandhi Hospital, Secunderabad.
Submission of Quotation - Request - Reg.
Sl. No | Item Description | Qty | Unit | Rate | Amount | AMC Amount
Unit
1 | 4 Gas Digital Alarm Panels : 4 Gas Digital Alarm Panel consisting of atl necessary accessories ie Pressure sensors,reguIators,hand valves ,pressure gauges ecL(Oxygen, Nitrous oxide, Medical Air, Vacuum) | 1 | Nos | 42150 | 42150 | 17703
2 | 6 Gas Digital Alarm Panele : 6 Gas Digital Alarm Panel(Oxygen, Nitrous oxide, Medical Air, Surgical Air, Vacuum, Carbon dieoxide) consisting of all necessary accessories ie pressure sensors, regulators, hand vatves, pressure gauges etc. | 6 | Nos | 60008 | 360048 | 151220.16
3 | Valve box -4 services : Valve box - 4 Service consisting of Isolation valve 15 mm OD - 04 Nos. and isolation valve 22 mm OD - 01 Nos. accessories ie Pressure gauge connection in a powder coated box The box consisting of lock & key and a brakable glass for emergency. | 1 | Nos | 22201 | 22201 | 9324.42
4 | 4 + 4 size of O2 manifold system : 4+4 Oxygen Main mannifold with 19mm ODx12mm I.D .Copper pipe mounted on top frame, Middle frmae and Bottom frame along with brass blocks, NRVs/ cylinder valves and pigtail pipes of 1m long of 8mm OD x 3mm I.D. duly tested at250Kg/Cum 2 pressure & Fully automatic control panel for Oxygen. | 1 | Job | 48103 | 48103 | 20203.26
5 | Fully Automatic O2 Control System ”Manufactured under an ISO 9001: 2015 certified works. ”Control Panel cover made of M.S. duly powder coated. “Compact and fully automatic manifold control system far Oxygen services. *Easy to maintain and use. “Designed with both safety and continuity of flow supply at a constant pressure via to/o banks of bottled gas cylinders with following status monitoring. ”A-Bank in use (Green indication). ”B-Bank ready for use (Yelk›w indication). ”C-Empty Bank (Red indication). ”Control Panel has build in LED display to indicate Normal. High & Low line Pressure. ”It has facility to test all above indicators working perfectly. the Control Panel indudes Pressure gauge (63 mm) to indicate the gas pressure of each header and pipe line diistribution pressure. ”Capable to provide a distribution distribution flow rate of 2IXI0 LPM or more for O2. the control panel incorporte safety puncture system in case pressure exceeds 100 Psi. ”In ease of failure of electronic pneumatics system, control can be used manually through by pass system. * CE CERTIFIED. | 1 | Job | 222013 | 222013 | 93245.46
6 | 4 + 4 size of N2O manifold system : 4+4 Nitrous oxide Main mannifold with 19mm ODx12mm I.D .Copper pipe mounted on top frame, Middle frmae and Bottom frame along with brass blocks, NRVs/ cylinder valves and pigtail pipes of 1m long of 8mm OD x 3mm I.D. duly tested at 250Kg/Cum 2 pressure & Fully automatic control panel for Nitrous Oxide. | 1 | Job | 48103 | 48103 | 20203.26
7 | 2 cylinder emergency maniféld - N2O : 2 Cylinder Nftmus oxide Emergency mannifold with 19mm ODx12mm I.D .Copper pipe mounted on top frame, Middle frmae and Bottom frame along with brass blocks, NRVs/ cytinder valves and pigtail pipes of 1m long of 8mm OD x 3mm I.D. duly tested at 250Kg/Cum 2 pressure & Fully automatic control panel for Nitrous Oxide. | 1 | Job | 17401 | 17401 | 7308.42
8 | Fully Automatic N2O Control System Manufactured under an ISO 9001: 2015 certified works. *Control Panel cover made of M.S. duly powder coated. *Compact and fully automatic manifold control system for N2O services. "Easy to maintain and use. *Designed with both safety and continuity of flow supply at a constant pressure via two banks of bottled gas cylinders with following status monitoring. *A-Bank in use (Green indication). *B-Bank ready for use (Yellow indication). Authorise&PITAL ENGINERS D-4 A, YADAV PARK, ROHTAK ROAD, NANGLOI, DELHI-110041 C-Empty Bank (Red indication). *Control Panel has build in LED display to indicate Normal. High & Low line Pressure. "It has facility to test all above indicators working perfectly. *The Control Panel includes Pressure gauge (63 mm) to indicate the gas pressure of each header and pipe line diistribution pressure. *Capable to provide a distribution flow rate of 500 LPM or more for N2O. *The control panel incorporte safety puncture system in case pressure exceeds 100 Psi. In ease of failure of electronic pneumatics system, control can be used manually through by pass system. CE CERTIFIED | 1 | Job | 222013 | 222013 | 93245.46
| Total Amount |  |  |  | 982032
| Total AMC Amount for 5 Years |  |  |  | 412453.44
| Total |  |  |  | 1394485.44
Request for the early approoval for the above mentioned items.
Yearly Maintanance Charges post warranty period for 5 years(6th to 10th year) @8, 8,8, 9, 9 % respectively.

## ELV1
To
The Executive Engineer,
TSMSIDC, NIMS -SPL-Division,
Narayanaguda, Hyderabad.
Sir,
We are giving our lowest Quotation Rates of the items mentioned for the work of Design, Development
& Commisssioning on Turnkey Basis, the work of Establishment of State Organ Transplantation Centre
in the 8th Floor, South West Block of Gandhi Hospital, Secunderabad.
Submission of Quotation - Request - Reg.
Sl. No | Item Description | Qty | Unit | Rate | Amount | AMC Amount
Unit
1 | Recording in counselling room | 1 | Job | 155378 | 155378 | 65258.76
2 | Local Area Network (LAN) System | 1 | Job | 460242 | 460242 | 193301.64
3 | Supply, Transportation and installation of 20KVA / 312V DC on line UPS system | 1 | Nos | 629358 | 629358 | 264330.36
| Total Amount |  |  |  | 1244978
| Total AMC Amount for 5 Years |  |  |  | 522890.76
| Total |  |  |  | 1767868.76
Request for the early approoval for the above mentioned items.
Yearly Maintanance Charges post warranty period for 5 years(6th to 10th year) @8, 8,8, 9, 9 % respectively.

## ELE1
To
The Executive Engineer,
TSMSIDC, NIMS -SPL-Division,
Narayanaguda, Hyderabad.
Sir,
We are giving our lowest Quotation Rates of the items mentioned for the work of Design, Development
& Commisssioning on Turnkey Basis, the work of Establishment of State Organ Transplantation Centre
in the 8th Floor, South West Block of Gandhi Hospital, Secunderabad.
Submission of Quotation - Request - Reg.
Sl. No | Item Description | Qty | Unit | Rate | Amount | AMC Amount
Unit
1 | 800 KVA Transformer OLTC for transformers with RTCC: Supply, Transportation, Installation, Testing and Commissioning of 800 KVA TRANSFORMER with all test reports. The Transformer shall be designed and manufactured as per IS:1180 OLTC with level-II with initial filling of oil as per IS 335-1993. 1000 A LT Breaker Kiosk - 01 No.The basic details of the Transformer are as under. Makes: Kirloskar / PETE / Esennar / Voltamp / Crompton / ABB / Schneider. | 1 | Nos | 5086347 | 5086347 | 2136265.74
| Total Amount |  |  |  | 5086347
| Total AMC Amount for 5 Years |  |  |  | 2136265.74
| Total |  |  |  | 7222612.74
Request for the early approoval for the above mentioned items.
Yearly Maintanance Charges post warranty period for 5 years(6th to 10th year) @8, 8,8, 9, 9 % respectively.

## EQP1
To
The Executive Engineer,
TSMSIDC, NIMS -SPL-Division,
Narayanaguda, Hyderabad.
Sir,
We are giving our lowest Quotation Rates of the items mentioned for the work of Design, Development
& Commisssioning on Turnkey Basis, the work of Establishment of State Organ Transplantation Centre
in the 8th Floor, South West Block of Gandhi Hospital, Secunderabad.
Submission of Quotation - Request - Reg.
Sl. No | Item Description | Qty | Unit | Rate | Amount | AMC Amount
Unit
1 | Monitor Stand beside Bed in ICUs & TIRs | 31 | Nos | 6176 | 191456 | 80411.52
| Total Amount |  |  |  | 191456
| Total AMC Amount for 5 Years |  |  |  | 80411.52
| Total |  |  |  | 271867.52
Request for the early approoval for the above mentioned items.
Yearly Maintanance Charges post warranty period for 5 years(6th to 10th year) @8, 8,8, 9, 9 % respectively.

## Civil2
To
The Executive Engineer,
TSMSIDC, NIMS -SPL-Division,
Narayanaguda, Hyderabad.
Sir,
We are giving our lowest Quotation Rates of the items mentioned for the work of Design, Development & Commisssioning on Turnkey Basis,
the work of Establishment of State Organ Transplantation Centre in the 8th Floor, South West Block of Gandhi Hospital, Secunderabad.
Submission of Quotation - Request - Reg.
Sl. No | Specification of the item | UOM | Quantity | Rate (Rs.) | Amount (Rs.) | AMC Amount
Unit
1 | Providing (1500 X 2100) single sliding door operated by elbow switches / foot switch as well as touchless sensor of 10mm thick toughened glass (Saint Gobin / Modi Guard) fixed in SS 304 grade 2 Track top channel of 45 mm (one track to hold fixed glass partition in position and second track with top rollers suitably angled to reduce resistance to movement to facilitate smooth sliding movement of the door). Single track bottom channel to be provided for fixed glass partition. Floor guide to be provided for smooth sliding of the door. Concealed door handle of (150 mm) to be provided in cutout on the sliding door for manual operation when required. All fittings provided should be of Titon /Ozone / Enox make in SS 304 - In TIRs | Nos | 2 | 270276 | 540552 | 2162208
2 | GI Powder Coated Sliding Doors (0.8mm shutter sheet thk & 1.2mm frame sheet thk with Single Rebate and Honeycomb Infill) Double Leaf Door 1200 x 2100mm with Accessories (Sliding Track for Double Door, Sliding Dead Lock Enox, Concealed Handles 100mm Ahlada, Flush Bolt 300mm Ahlada, SS304 Kick Plate upto 350mm ht, DG Clear Float Glass 350x750x6mm with Adhesive Tape & Silicon Sealant) | Nos | 1 | 84133 | 84133 | 336532
3 | V-Board Partitions on top of false ceiling for partitioning of sterile corridor and non-sterile corridor | Sqm | 16 | 3640 | 58240 | 232960
4 | Supply and installation of Under-deck Thermocol insulation sheets of 40 mm thick having more than 30 Kg/m3 density to ceiling by brush application of bituminous adhesive to the sheets and secured with screw along with washer at the centre of the sheet supported with GI wire running diagonally to the sheet of 2mm dia. | Sqm | 262.74 | 1014 | 266418.36 | 1065673.44
5 | Providing dadooing to walls with glazed full body ceramic wall tiles of size 800 x 1600 mm with any type of design texture such as marble finish, wooden, bamboo, stone finishes etc., scratch less, stain free and thickness between 6-8 mm 1st quality conforming to IS:13711, IS:13712, IS:13630 Parts 1 to 15 of any colour and finish in all shades and designs with borders as approved by Engineer-in-Charge set over base coat of CM1:5 12 mm thick using screened sand with cement slurry of honey like consistency spread at the rate of 3.30 kgs per sqm and jointing with white cement paste mixed with pigment of matching shade to full depth, including cost of all materials like tiles, cement, sand and water etc., complete for finished item of work. | Sqm | 119.385 | 4665 | 556931.025 | 2227724.1
6 | Supply and Laying of Floor leveller compund (self smoothing mortar) to level the surface, having bulk density not less than 2 Kg/l for a fresh mortor, compressive strength not less than 20 N/mm2, initial setting time not more than 40 minutes and offer a 25 minutes working time, The surface should be walkabe after 30 min of laying. (ICUs) | Sqm | 725.55 | 1460 | 1059303 | 4237212
| Total Amount: |  |  |  | 2565577.385
| Total AMC Amount for 5 Years: |  |  |  | 10262309.54
| Total: |  |  |  | 12827886.925
Request for the early approoval for the above mentioned items.
Annual Maintanance Charges for 5 years from 6th to 10th year @8% each year.

## GAS2
To
The Executive Engineer,
TSMSIDC, NIMS -SPL-Division,
Narayanaguda, Hyderabad.
Sir,
We are giving our lowest Quotation Rates of the items mentioned for the work of Design, Development & Commisssioning on Turnkey Basis,
the work of Establishment of State Organ Transplantation Centre in the 8th Floor, South West Block of Gandhi Hospital, Secunderabad.
Submission of Quotation - Request - Reg.
Sl. No | Specification of the item | UOM | Quantity | Rate (Rs.) | Amount (Rs.) | AMC Amount
Unit
1 | Valve box -4 services : Valve box - 4 Service consisting of Isolation valve 15 mm OD - 04 Nos. and isolation valve 22 mm OD - 01 Nos. accessories ie Pressure gauge connection in a powder coated box The box consisting of lock & key and a brakable glass for emergency. | Nos | 1 | 22201 | 22201 | 88804
2 | 4 Gas Digital Alarm Panels : 4 Gas Digital Alarm Panel consisting of atl necessary accessories ie Pressure sensors,reguIators,hand valves ,pressure gauges ecL(Oxygen, Nitrous oxide, Medical Air, Vacuum) | Nos | 1 | 42150 | 42150 | 168600
3 | 2 cylinder emergency maniféld - N2O : 2 Cylinder Nftmus oxide Emergency mannifold with 19mm ODx12mm I.D .Copper pipe mounted on top frame, Middle frmae and Bottom frame along with brass blocks, NRVs/ cytinder valves and pigtail pipes of 1m long of 8mm OD x 3mm I.D. duly tested at 250Kg/Cum 2 pressure & Fully automatic control panel for Nitrous Oxide. | Job | 1 | 17401 | 17401 | 69604
4 | Fully Automatic O2 Control System ”Manufactured under an ISO 9001: 2015 certified works. ”Control Panel cover made of M.S. duly powder coated. “Compact and fully automatic manifold control system far Oxygen services. *Easy to maintain and use. “Designed with both safety and continuity of flow supply at a constant pressure via to/o banks of bottled gas cylinders with following status monitoring. ”A-Bank in use (Green indication). ”B-Bank ready for use (Yelk›w indication). ”C-Empty Bank (Red indication). ”Control Panel has build in LED display to indicate Normal. High & Low line Pressure. ”It has facility to test all above indicators working perfectly. the Control Panel indudes Pressure gauge (63 mm) to indicate the gas pressure of each header and pipe line diistribution pressure. ”Capable to provide a distribution distribution flow rate of 2IXI0 LPM or more for O2. the control panel incorporte safety puncture system in case pressure exceeds 100 Psi. ”In ease of failure of electronic pneumatics system, control can be used manually through by pass system. * CE CERTIFIED. | Job | 1 | 222013 | 222013 | 888052
5 | Fully Automatic N2O Control System Manufactured under an ISO 9001: 2015 certified works. *Control Panel cover made of M.S. duly powder coated. *Compact and fully automatic manifold control system for N2O services. "Easy to maintain and use. *Designed with both safety and continuity of flow supply at a constant pressure via two banks of bottled gas cylinders with following status monitoring. *A-Bank in use (Green indication). *B-Bank ready for use (Yellow indication). Authorise&PITAL ENGINERS D-4 A, YADAV PARK, ROHTAK ROAD, NANGLOI, DELHI-110041 C-Empty Bank (Red indication). *Control Panel has build in LED display to indicate Normal. High & Low line Pressure. "It has facility to test all above indicators working perfectly. *The Control Panel includes Pressure gauge (63 mm) to indicate the gas pressure of each header and pipe line diistribution pressure. *Capable to provide a distribution flow rate of 500 LPM or more for N2O. *The control panel incorporte safety puncture system in case pressure exceeds 100 Psi. In ease of failure of electronic pneumatics system, control can be used manually through by pass system. CE CERTIFIED | Job | 1 | 222013 | 222013 | 888052
6 | 4 + 4 size of O2 manifold system : 4+4 Oxygen Main mannifold with 19mm ODx12mm I.D .Copper pipe mounted on top frame, Middle frmae and Bottom frame along with brass blocks, NRVs/ cylinder valves and pigtail pipes of 1m long of 8mm OD x 3mm I.D. duly tested at250Kg/Cum 2 pressure & Fully automatic control panel for Oxygen. | Job | 1 | 48103 | 48103 | 192412
7 | 6 Gas Digital Alarm Panele : 6 Gas Digital Alarm Panel(Oxygen, Nitrous oxide, Medical Air, Surgical Air, Vacuum, Carbon dieoxide) consisting of all necessary accessories ie pressure sensors, regulators, hand vatves, pressure gauges etc. | Nos | 6 | 60008 | 360048 | 1440192
8 | 4 + 4 size of N2O manifold system : 4+4 Nitrous oxide Main mannifold with 19mm ODx12mm I.D .Copper pipe mounted on top frame, Middle frmae and Bottom frame along with brass blocks, NRVs/ cylinder valves and pigtail pipes of 1m long of 8mm OD x 3mm I.D. duly tested at 250Kg/Cum 2 pressure & Fully automatic control panel for Nitrous Oxide. | Job | 1 | 48103 | 48103 | 192412
| Total Amount: |  |  |  | 982032
| Total AMC Amount for 5 Years: |  |  |  | 3928128
| Total: |  |  |  | 4910160
Request for the early approoval for the above mentioned items.
Annual Maintanance Charges for 5 years from 6th to 10th year @8% each year.

## ELV2
To
The Executive Engineer,
TSMSIDC, NIMS -SPL-Division,
Narayanaguda, Hyderabad.
Sir,
We are giving our lowest Quotation Rates of the items mentioned for the work of Design, Development & Commisssioning on Turnkey Basis,
the work of Establishment of State Organ Transplantation Centre in the 8th Floor, South West Block of Gandhi Hospital, Secunderabad.
Submission of Quotation - Request - Reg.
Sl. No | Specification of the item | UOM | Quantity | Rate (Rs.) | Amount (Rs.) | AMC Amount
Unit
2 | Local Area Network (LAN) System | Job | 1 | 460242 | 460242 | 1840968
3 | Supply, Transportation and installation of 20KVA / 312V DC on line UPS system | Nos | 1 | 629358 | 629358 | 2517432
1 | Recording in counselling room | Job | 1 | 155378 | 155378 | 621512
| Total Amount: |  |  |  | 1244978
| Total AMC Amount for 5 Years: |  |  |  | 4979912
| Total: |  |  |  | 6224890
Request for the early approoval for the above mentioned items.
Annual Maintanance Charges for 5 years from 6th to 10th year @8% each year.

## ELE2
To
The Executive Engineer,
TSMSIDC, NIMS -SPL-Division,
Narayanaguda, Hyderabad.
Sir,
We are giving our lowest Quotation Rates of the items mentioned for the work of Design, Development & Commisssioning on Turnkey Basis,
the work of Establishment of State Organ Transplantation Centre in the 8th Floor, South West Block of Gandhi Hospital, Secunderabad.
Submission of Quotation - Request - Reg.
Sl. No | Specification of the item | UOM | Quantity | Rate (Rs.) | Amount (Rs.) | AMC Amount
Unit
1 | 800 KVA Transformer OLTC for transformers with RTCC: Supply, Transportation, Installation, Testing and Commissioning of 800 KVA TRANSFORMER with all test reports. The Transformer shall be designed and manufactured as per IS:1180 OLTC with level-II with initial filling of oil as per IS 335-1993. 1000 A LT Breaker Kiosk - 01 No.The basic details of the Transformer are as under. Makes: Kirloskar / PETE / Esennar / Voltamp / Crompton / ABB / Schneider. | Nos | 1 | 5086347 | 5086347 | 20345388
| Total Amount: |  |  |  | 5086347
| Total AMC Amount for 5 Years: |  |  |  | 20345388
| Total: |  |  |  | 25431735
Request for the early approoval for the above mentioned items.
Annual Maintanance Charges for 5 years from 6th to 10th year @8% each year.

## EQP2
To
The Executive Engineer,
TSMSIDC, NIMS -SPL-Division,
Narayanaguda, Hyderabad.
Sir,
We are giving our lowest Quotation Rates of the items mentioned for the work of Design, Development & Commisssioning on Turnkey Basis,
the work of Establishment of State Organ Transplantation Centre in the 8th Floor, South West Block of Gandhi Hospital, Secunderabad.
Submission of Quotation - Request - Reg.
Sl. No | Specification of the item | UOM | Quantity | Rate (Rs.) | Amount (Rs.) | AMC Amount
Unit
1 | Monitor Stand beside Bed in ICUs & TIRs | Nos | 31 | 6176 | 191456 | 765824
| Total Amount: |  |  |  | 191456
| Total AMC Amount for 5 Years: |  |  |  | 765824
| Total: |  |  |  | 957280
Request for the early approoval for the above mentioned items.
Annual Maintanance Charges for 5 years from 6th to 10th year @8% each year.

## Gas
To
The Executive Engineer,
TSMSIDC, NIMS -SPL-Division,
Narayanaguda, Hyderabad.
Sir,
We are giving our lowest Quotation Rates of the items mentioned for the work of Design, Development
& Commisssioning on Turnkey Basis, the work of Establishment of State Organ Transplantation Centre
in the 8th Floor, South West Block of Gandhi Hospital, Secunderabad.
Submission of Quotation - Request - Reg.
Sl. No | Item Description | Qty | Unit | Rate | Amount
1 | 4 Gas Digital Alarm Panels : 4 Gas Digital Alarm Panel consisting of atl necessary accessories ie Pressure sensors,reguIators,hand valves ,pressure gauges ecL(Oxygen, Nitrous oxide, Medical Air, Vacuum) | 1 | Nos | 42150 | 42150
2 | 6 Gas Digital Alarm Panele : 6 Gas Digital Alarm Panel(Oxygen, Nitrous oxide, Medical Air, Surgical Air, Vacuum, Carbon dieoxide) consisting of all necessary accessories ie pressure sensors, regulators, hand vatves, pressure gauges etc. | 6 | Nos | 60008 | 360048
3 | Valve box -4 services : Valve box - 4 Service consisting of Isolation valve 15 mm OD - 04 Nos. and isolation valve 22 mm OD - 01 Nos. accessories ie Pressure gauge connection in a powder coated box The box consisting of lock & key and a brakable glass for emergency. | 1 | Nos | 22201 | 22201
4 | 4 + 4 size of O2 manifold system : 4+4 Oxygen Main mannifold with 19mm ODx12mm I.D .Copper pipe mounted on top frame, Middle frmae and Bottom frame along with brass blocks, NRVs/ cylinder valves and pigtail pipes of 1m long of 8mm OD x 3mm I.D. duly tested at250Kg/Cum 2 pressure & Fully automatic control panel for Oxygen. | 1 | Job | 48103 | 48103
5 | Fully Automatic O2 Control System ”Manufactured under an ISO 9001: 2015 certified works. ”Control Panel cover made of M.S. duly powder coated. “Compact and fully automatic manifold control system far Oxygen services. *Easy to maintain and use. “Designed with both safety and continuity of flow supply at a constant pressure via to/o banks of bottled gas cylinders with following status monitoring. ”A-Bank in use (Green indication). ”B-Bank ready for use (Yelk›w indication). ”C-Empty Bank (Red indication). ”Control Panel has build in LED display to indicate Normal. High & Low line Pressure. ”It has facility to test all above indicators working perfectly. the Control Panel indudes Pressure gauge (63 mm) to indicate the gas pressure of each header and pipe line diistribution pressure. ”Capable to provide a distribution distribution flow rate of 2IXI0 LPM or more for O2. the control panel incorporte safety puncture system in case pressure exceeds 100 Psi. ”In ease of failure of electronic pneumatics system, control can be used manually through by pass system. * CE CERTIFIED. | 1 | Job | 222013 | 222013
6 | 4 + 4 size of N2O manifold system : 4+4 Nitrous oxide Main mannifold with 19mm ODx12mm I.D .Copper pipe mounted on top frame, Middle frmae and Bottom frame along with brass blocks, NRVs/ cylinder valves and pigtail pipes of 1m long of 8mm OD x 3mm I.D. duly tested at 250Kg/Cum 2 pressure & Fully automatic control panel for Nitrous Oxide. | 1 | Job | 48103 | 48103
7 | 2 cylinder emergency maniféld - N2O : 2 Cylinder Nftmus oxide Emergency mannifold with 19mm ODx12mm I.D .Copper pipe mounted on top frame, Middle frmae and Bottom frame along with brass blocks, NRVs/ cytinder valves and pigtail pipes of 1m long of 8mm OD x 3mm I.D. duly tested at 250Kg/Cum 2 pressure & Fully automatic control panel for Nitrous Oxide. | 1 | Job | 17401 | 17401
8 | Fully Automatic N2O Control System Manufactured under an ISO 9001: 2015 certified works. *Control Panel cover made of M.S. duly powder coated. *Compact and fully automatic manifold control system for N2O services. "Easy to maintain and use. *Designed with both safety and continuity of flow supply at a constant pressure via two banks of bottled gas cylinders with following status monitoring. *A-Bank in use (Green indication). *B-Bank ready for use (Yellow indication). Authorise&PITAL ENGINERS D-4 A, YADAV PARK, ROHTAK ROAD, NANGLOI, DELHI-110041 C-Empty Bank (Red indication). *Control Panel has build in LED display to indicate Normal. High & Low line Pressure. "It has facility to test all above indicators working perfectly. *The Control Panel includes Pressure gauge (63 mm) to indicate the gas pressure of each header and pipe line diistribution pressure. *Capable to provide a distribution flow rate of 500 LPM or more for N2O. *The control panel incorporte safety puncture system in case pressure exceeds 100 Psi. In ease of failure of electronic pneumatics system, control can be used manually through by pass system. CE CERTIFIED | 1 | Job | 222013 | 222013
Request for the early approoval for the above mentioned items.

## ELV
To
The Executive Engineer,
TSMSIDC, NIMS -SPL-Division,
Narayanaguda, Hyderabad.
Sir,
We are giving our lowest Quotation Rates of the items mentioned for the work of Design, Development
& Commisssioning on Turnkey Basis, the work of Establishment of State Organ Transplantation Centre
in the 8th Floor, South West Block of Gandhi Hospital, Secunderabad.
Submission of Quotation - Request - Reg.
Sl. No | Item Description | Qty | Unit | Rate | Amount
1 | Recording in counselling room | 1 | Job | 155378 | 155378
2 | Local Area Network (LAN) System | 1 | Job | 460242 | 460242
3 | Supply, Transportation and installation of 20KVA / 312V DC on line UPS system | 1 | Nos | 629358 | 629358
Request for the early approoval for the above mentioned items.

## ELE
To
The Executive Engineer,
TSMSIDC, NIMS -SPL-Division,
Narayanaguda, Hyderabad.
Sir,
We are giving our lowest Quotation Rates of the items mentioned for the work of Design, Development
& Commisssioning on Turnkey Basis, the work of Establishment of State Organ Transplantation Centre
in the 8th Floor, South West Block of Gandhi Hospital, Secunderabad.
Submission of Quotation - Request - Reg.
Sl. No | Item Description | Qty | Unit | Rate | Amount
1 | 800 KVA Transformer OLTC for transformers with RTCC: Supply, Transportation, Installation, Testing and Commissioning of 800 KVA TRANSFORMER with all test reports. The Transformer shall be designed and manufactured as per IS:1180 OLTC with level-II with initial filling of oil as per IS 335-1993. 1000 A LT Breaker Kiosk - 01 No.The basic details of the Transformer are as under. Makes: Kirloskar / PETE / Esennar / Voltamp / Crompton / ABB / Schneider. | 1 | Nos | 5086347 | 5086347
Request for the early approoval for the above mentioned items.

## EQP
To
The Executive Engineer,
TSMSIDC, NIMS -SPL-Division,
Narayanaguda, Hyderabad.
Sir,
We are giving our lowest Quotation Rates of the items mentioned for the work of Design, Development
& Commisssioning on Turnkey Basis, the work of Establishment of State Organ Transplantation Centre
in the 8th Floor, South West Block of Gandhi Hospital, Secunderabad.
Submission of Quotation - Request - Reg.
Sl. No | Item Description | Qty | Unit | Rate | Amount
1 | Monitor Stand beside Bed in ICUs & TIRs | 31 | Nos | 6176 | 191456
Request for the early approoval for the above mentioned items.