## 2 N20 EMG MANIFOLD
Company Name: MPS ASTA Consortium |  | QUOTATION COMPARISION STATEMENT FOR SOTC 8th FLOOR, GANDHI HOSPITAL
Client: TSMSIDC
Project: SOTC 8th floor, Gandhi Hospital
S.No | Description of item | Vendor |  | MEDICAL PRODUCTS SERVICES |  | HOSPITAL ENGINEERS |  | GE PROJECTS Pvt. Ltd
|  | Contact |  | 011-25925960/61 |  | 9312611704
|  | Ref |  | MPS/2023-24/9570 |  | HOSP.ENG/2023-24/915 |  | GE/2023-24/1103
|  | Date |  | 2023-12-28 |  | 2023-12-28 |  | 2023-12-28
|  | Unit | Qty | Rate (Rs.) | Amount (Rs.) | Rate (Rs.) | Amount (Rs.) | Rate (Rs.) | Amount (Rs.)
1 | 2 Cylinder Emergency Manifold N2O | Nos | 1 | 10816 | 10816 | 11000 | 11000 | 12000 | 12000
| GST @ 18% |  |  |  | 1946.88 |  | 1980 |  | 2160
| TOTAL |  |  | 12762.88 |  | 12980 |  | 14160
| Terms of Payment |  |  | 40% advance |  | 50% advance |  | 75% against delivery
|  |  |  | 60% against delivery of materials |  | 50% against delivery of goods |  | 15% against installation
10% againt handover
We found MEDICAL PRODUCT SERVICES Quote the lowest price in the market and same has been adopted in price estimation as the rates are reasonable
| Base Price | 10816
| 20% for 4 year maintanance | 2163.2
12979.2
| 13.615% contractors profit | 1767.1181
14746.3181
| 18% GST | 2654.3373
| Total | 17400.6553

## N2O CONTROL SYSTEM
Company Name: MPS ASTA Consortium |  | QUOTATION COMPARISION STATEMENT FOR SOTC 8th FLOOR, GANDHI HOSPITAL
Client: TSMSIDC
Project: SOTC 8th floor, Gandhi Hospital
S.No | Description of item | Vendor |  | MEDICAL PRODUCTS SERVICES |  | HOSPITAL ENGINEERS |  | GE PROJECTS Pvt. Ltd
|  | Contact |  | 011-25925960/61 |  | 9312611704
|  | Ref |  | MPS/2023-24/9570 |  | HOSP.ENG/2023-24/915 |  | GE/2023-24/1103
|  | Date |  | 2023-12-28 |  | 2023-12-28 |  | 2023-12-28
|  | Unit | Qty | Rate (Rs.) | Amount (Rs.) | Rate (Rs.) | Amount (Rs.) | Rate (Rs.) | Amount (Rs.)
1 | Fully Automatic N2O Control System | Nos | 1 | 138000 | 138000 | 142000 | 142000 | 140000 | 140000
| GST @ 18% |  |  |  | 24840 |  | 25560 |  | 25200
| TOTAL |  |  | 162840 |  | 167560 |  | 165200
| Terms of Payment |  |  | 40% advance |  | 50% advance |  | 75% against delivery
|  |  |  | 60% against delivery of materials |  | 50% against delivery of goods |  | 15% against installation
10% againt handover
We found MEDICAL PRODUCT SERVICES Quote the lowest price in the market and same has been adopted in price estimation as the rates are reasonable
| Base Price | 138000
| 20% for 4 year maintanance | 27600
165600
| 13.615% contractors profit | 22546.44
188146.44
| 18% GST | 33866.3592
| Total | 222012.7992

## 4+4 N2O MANIFOLD
Company Name: MPS ASTA Consortium |  | QUOTATION COMPARISION STATEMENT FOR SOTC 8th FLOOR, GANDHI HOSPITAL
Client: TSMSIDC
Project: SOTC 8th floor, Gandhi Hospital
S.No | Description of item | Vendor |  | MEDICAL PRODUCTS SERVICES |  | HOSPITAL ENGINEERS |  | GE PROJECTS Pvt. Ltd
|  | Contact |  | 011-25925960/61 |  | 9312611704
|  | Ref |  | MPS/2023-24/9570 |  | HOSP.ENG/2023-24/915 |  | GE/2023-24/1103
|  | Date |  | 2023-12-28 |  | 2023-12-28 |  | 2023-12-28
|  | Unit | Qty | Rate (Rs.) | Amount (Rs.) | Rate (Rs.) | Amount (Rs.) | Rate (Rs.) | Amount (Rs.)
1 | 4+4 N2O Manifold System | Nos | 1 | 29900 | 29900 | 31000 | 31000 | 35000 | 35000
| GST @ 18% |  |  |  | 5382 |  | 5580 |  | 6300
| TOTAL |  |  | 35282 |  | 36580 |  | 41300
| Terms of Payment |  |  | 40% advance |  | 50% advance |  | 75% against delivery
|  |  |  | 60% against delivery of materials |  | 50% against delivery of goods |  | 15% against installation
10% againt handover
We found MEDICAL PRODUCT SERVICES Quote the lowest price in the market and same has been adopted in price estimation as the rates are reasonable
| Base Price | 29900
| 20% for 4 year maintanance | 5980
35880
| 13.615% contractors profit | 4885.062
40765.062
| 18% GST | 7337.7112
| Total | 48102.7732

## V-BOARD
Company Name: MPS ASTA Consortium |  | QUOTATION COMPARISION STATEMENT FOR SOTC 8th FLOOR, GANDHI HOSPITAL
Client: TSMSIDC
Project: SOTC 8th floor, Gandhi Hospital
S.No | Description of item | Vendor |  | D HOME INTERIORS |  | AA ARCHITECTURE & INTERIORS |  | GKS INTERIORS Pvt. Ltd
|  | Contact |  | 7993722569 |  | 9030344466 |  | 9030543307
|  | Ref |  | 135 |  | 5445
|  | Date |  |  |  | 2023-12-27 |  | 2023-12-28
|  | Unit | Qty | Rate (Rs.) | Amount (Rs.) | Rate (Rs.) | Amount (Rs.) | Rate (Rs.) | Amount (Rs.)
1 | Providing and fixing 75mm thick Non asbestos fibre reinforced aerated cement sandwich modules made out of light weight fibre reinforced aerated cement/concrete core composed of Portland cement, flyash, binders etc and 4mm thick High pressure steam cured non asbestos fibre cement standard board Density>1200kg/m3 confirming to IS 14862 and Type B category III of ISO 8336 E tested as per AS 1530 part 3 and BS 476 Part 4,5,6,7 on either side of the core having a tongue and groove on longitudinal side of the modules. These solid wall panel should be equivalent to ISO 354-1985, ASTM 423-90 and BS 476 Part 22 1987, IS 8225-1987 modules are erected/installed using galvanized iron steel tracks of 1mm thick and of size 15x77x25mm as bottom track, 25x77x25mm as top track for fixing to the floor and top of the wall respectively including all necessary materials required for erecting and fixing all panel | Sqm | 16 | 2260 | 36160 | 2475 | 39600 | 2690 | 43040
| GST @ 18% |  |  |  | 6508.8 |  | 7128 |  | 7747.2
| TOTAL |  |  | 42668.8 |  | 46728 |  | 50787.2
| Terms of Payment |  |  | 40% Advance |  | 40% Advance
|  |  |  | 25% after material delivery |  | 25% after material delivery
|  |  |  | 20% after 70% work completion |  | 20% after 70% work completion
|  |  |  | 15% after handover |  | 15% after handover
We found D HOME INTERIORS Quote the lowest price in the market and same has been adopted in price estimation as the rates are reasonable
| Base Price | 2260
| 20% for 4 year maintanance | 452
2712
| 13.615% contractors profit | 369.2388
3081.2388
| 18% GST | 554.623
| Total | 3635.8618

## GLASS SLIDING DOOR
Company Name: MPS ASTA Consortium |  | QUOTATION COMPARISION STATEMENT FOR SOTC 8th FLOOR, GANDHI HOSPITAL
Client: TSMSIDC
Project: SOTC 8th floor, Gandhi Hospital
S.No | Description of item | Vendor |  | MEDICAL PRODUCTS SERVICES |  | HOSPITAL ENGINEERS |  | GE PROJECTS Pvt. Ltd
|  | Contact |  | 011-25925960/61 |  | 9312611704
|  | Ref |  | MPS/2023-24/9566 |  | HOSP.ENG/2023-24/918 |  | GE/2023-24/1090
|  | Date |  | 2023-12-27 |  | 2023-12-27 |  | 2023-12-27
|  | Unit | Qty | Rate (Rs.) | Amount (Rs.) | Rate (Rs.) | Amount (Rs.) | Rate (Rs.) | Amount (Rs.)
1 | Glass Sliding Door (1800 X 2100) | Nos | 1 | 168000 | 168000 | 186500 | 186500 | 185000 | 185000
| GST @ 18% |  |  |  | 30240 |  | 33570 |  | 33300
| TOTAL |  |  | 198240 |  | 220070 |  | 218300
| Terms of Payment |  |  | 40% advance |  | 50% advance |  | 75% against delivery
|  |  |  | 60% against delivery of materials |  | 50% against delivery of goods |  | 15% against installation
10% againt handover
We found MEDICAL PRODUCT SERVICES Quote the lowest price in the market and same has been adopted in price estimation as the rates are reasonable
| Base Price | 168000
| 20% for 4 year maintanance | 33600
201600
| 13.615% contractors profit | 27447.84
229047.84
| 18% GST | 41228.6112
| Total | 270276.4512

## HERMATICALLY SLIDING DOOR
Company Name: MPS ASTA Consortium |  | QUOTATION COMPARISION STATEMENT FOR SOTC 8th FLOOR, GANDHI HOSPITAL
Client: TSMSIDC
Project: SOTC 8th floor, Gandhi Hospital
S.No | Description of item | Vendor |  | MEDICAL PRODUCTS SERVICES |  | HOSPITAL ENGINEERS |  | GE PROJECTS Pvt. Ltd
|  | Contact |  | 011-25925960/61 |  | 9312611704
|  | Ref |  | MPS/2023-24/9559 |  | HOSP.ENG/2023-24/915 |  | GE/2023-24/1089
|  | Date |  | 2023-12-26 |  | 2023-12-27 |  | 2023-12-26
|  | Unit | Qty | Rate (Rs.) | Amount (Rs.) | Rate (Rs.) | Amount (Rs.) | Rate (Rs.) | Amount (Rs.)
1 | Manual Hermatically sealed sliding door (1200X2100) | Nos | 1 | 350800 | 350800 | 475000 | 475000 | 490000 | 490000
| GST @ 18% |  |  |  | 63144 |  | 85500 |  | 88200
| TOTAL |  |  | 413944 |  | 560500 |  | 578200
| Terms of Payment |  |  | 40% advance |  | 50% advance |  | 75% against delivery
|  |  |  | 60% against delivery of materials |  | 50% against delivery of goods |  | 15% against installation
10% againt handover
We found MEDICAL PRODUCT SERVICES Quote the lowest price in the market and same has been adopted in price estimation as the rates are reasonable
| Base Price | 350800
| 20% for 4 year maintanance | 70160
420960
| 13.615% contractors profit | 57313.704
478273.704
| 18% GST | 86089.2667
| Total | 564362.9707

## SURGICAL PENDANTS
Company Name: MPS ASTA Consortium |  | QUOTATION COMPARISION STATEMENT FOR SOTC 8th FLOOR, GANDHI HOSPITAL
Client: TSMSIDC
Project: SOTC 8th floor, Gandhi Hospital
S.No | Description of item | Vendor |  | MEDICAL PRODUCTS SERVICES |  | HOSPITAL ENGINEERS |  | GE PROJECTS Pvt. Ltd
|  | Contact |  | 011-25925960/61 |  | 9312611704
|  | Ref |  | MPS/2023-24/9529 |  | HOSP.ENG/2023-24/618 |  | GE/2023-24/285
|  | Date |  | 2023-12-15 |  | 2023-12-16 |  | 2023-12-18
|  | Unit | Qty | Rate (Rs.) | Amount (Rs.) | Rate (Rs.) | Amount (Rs.) | Rate (Rs.) | Amount (Rs.)
1 | Double Arm Surgical Pendants (Imported) | Nos | 6 | 891400 | 5348400 | 966400 | 5798400 | 950000 | 5700000
| GST @ 18% |  |  |  | 962712 |  | 1043712 |  | 1026000
| TOTAL |  |  | 6311112 |  | 6842112 |  | 6726000
| Terms of Payment |  |  | 40% advance |  | 50% advance |  | 75% against delivery
|  |  |  | 60% against delivery of materials |  | 50% against delivery of goods |  | 15% against installation
10% againt handover
We found MEDICAL PRODUCT SERVICES Quote the lowest price in the market and same has been adopted in price estimation as the rates are reasonable
| Base Price | 891400
| 20% for 4 year maintanance | 178280
1069680
| 13.615% contractors profit | 145636.932
1215316.932
| 18% GST | 218757.0478
| Total | 1434073.9798

## O2 CONTROL SYSTEM
Company Name: MPS ASTA Consortium |  | QUOTATION COMPARISION STATEMENT FOR SOTC 8th FLOOR, GANDHI HOSPITAL
Client: TSMSIDC
Project: SOTC 8th floor, Gandhi Hospital
S.No | Description of item | Vendor |  | MEDICAL PRODUCTS SERVICES |  | HOSPITAL ENGINEERS |  | GE PROJECTS Pvt. Ltd
|  | Contact |  | 011-25925960/61 |  | 9312611704
|  | Ref |  | MPS/2023-24/9529 |  | HOSP.ENG/2023-24/618 |  | GE/2023-24/285
|  | Date |  | 2023-12-15 |  | 2023-12-16 |  | 2023-12-18
|  | Unit | Qty | Rate (Rs.) | Amount (Rs.) | Rate (Rs.) | Amount (Rs.) | Rate (Rs.) | Amount (Rs.)
1 | Fully Automatic O2 Control System | Nos | 1 | 138000 | 138000 | 142000 | 142000 | 140000 | 140000
| GST @ 18% |  |  |  | 24840 |  | 25560 |  | 25200
| TOTAL |  |  | 162840 |  | 167560 |  | 165200
| Terms of Payment |  |  | 40% advance |  | 50% advance |  | 75% against delivery
|  |  |  | 60% against delivery of materials |  | 50% against delivery of goods |  | 15% against installation
10% againt handover
We found MEDICAL PRODUCT SERVICES Quote the lowest price in the market and same has been adopted in price estimation as the rates are reasonable
| Base Price | 138000
| 20% for 4 year maintanance | 27600
165600
| 13.615% contractors profit | 22546.44
188146.44
| 18% GST | 33866.3592
| Total | 222012.7992

## 4+4 O2 MANIFOLD
Company Name: MPS ASTA Consortium |  | QUOTATION COMPARISION STATEMENT FOR SOTC 8th FLOOR, GANDHI HOSPITAL
Client: TSMSIDC
Project: SOTC 8th floor, Gandhi Hospital
S.No | Description of item | Vendor |  | MEDICAL PRODUCTS SERVICES |  | HOSPITAL ENGINEERS |  | GE PROJECTS Pvt. Ltd
|  | Contact |  | 011-25925960/61 |  | 9312611704
|  | Ref |  | MPS/2023-24/9529 |  | HOSP.ENG/2023-24/618 |  | GE/2023-24/285
|  | Date |  | 2023-12-15 |  | 2023-12-16 |  | 2023-12-18
|  | Unit | Qty | Rate (Rs.) | Amount (Rs.) | Rate (Rs.) | Amount (Rs.) | Rate (Rs.) | Amount (Rs.)
1 | 4+4 O2 Manifold System | Nos | 1 | 29900 | 29900 | 31000 | 31000 | 35000 | 35000
| GST @ 18% |  |  |  | 5382 |  | 5580 |  | 6300
| TOTAL |  |  | 35282 |  | 36580 |  | 41300
| Terms of Payment |  |  | 40% advance |  | 50% advance |  | 75% against delivery
|  |  |  | 60% against delivery of materials |  | 50% against delivery of goods |  | 15% against installation
10% againt handover
We found MEDICAL PRODUCT SERVICES Quote the lowest price in the market and same has been adopted in price estimation as the rates are reasonable
| Base Price | 29900
| 20% for 4 year maintanance | 5980
35880
| 13.615% contractors profit | 4885.062
40765.062
| 18% GST | 7337.7112
| Total | 48102.7732

## VALVE BOX 4 SERIES
Company Name: MPS ASTA Consortium |  | QUOTATION COMPARISION STATEMENT FOR SOTC 8th FLOOR, GANDHI HOSPITAL
Client: TSMSIDC
Project: SOTC 8th floor, Gandhi Hospital
S.No | Description of item | Vendor |  | MEDICAL PRODUCTS SERVICES |  | HOSPITAL ENGINEERS |  | GE PROJECTS Pvt. Ltd
|  | Contact |  | 011-25925960/61 |  | 9312611704
|  | Ref |  | MPS/2023-24/9529 |  | HOSP.ENG/2023-24/618 |  | GE/2023-24/285
|  | Date |  | 2023-12-15 |  | 2023-12-16 |  | 2023-12-18
|  | Unit | Qty | Rate (Rs.) | Amount (Rs.) | Rate (Rs.) | Amount (Rs.) | Rate (Rs.) | Amount (Rs.)
1 | Valve Box 4 Series | Nos | 1 | 13800 | 13800 | 15000 | 15000 | 14000 | 14000
| GST @ 18% |  |  |  | 2484 |  | 2700 |  | 2520
| TOTAL |  |  | 16284 |  | 17700 |  | 16520
| Terms of Payment |  |  | 40% advance |  | 50% advance |  | 75% against delivery
|  |  |  | 60% against delivery of materials |  | 50% against delivery of goods |  | 15% against installation
10% againt handover
We found MEDICAL PRODUCT SERVICES Quote the lowest price in the market and same has been adopted in price estimation as the rates are reasonable
| Base Price | 13800
| 20% for 4 year maintanance | 2760
16560
| 13.615% contractors profit | 2254.644
18814.644
| 18% GST | 3386.6359
| Total | 22201.2799

## 6 GAS ALARM PANELS
Company Name: MPS ASTA Consortium |  | QUOTATION COMPARISION STATEMENT FOR SOTC 8th FLOOR, GANDHI HOSPITAL
Client: TSMSIDC
Project: SOTC 8th floor, Gandhi Hospital
S.No | Description of item | Vendor |  | MEDICAL PRODUCTS SERVICES |  | HOSPITAL ENGINEERS |  | GE PROJECTS Pvt. Ltd
|  | Contact |  | 011-25925960/61 |  | 9312611704
|  | Ref |  | MPS/2023-24/9529 |  | HOSP.ENG/2023-24/618 |  | GE/2023-24/285
|  | Date |  | 2023-12-15 |  | 2023-12-16 |  | 2023-12-18
|  | Unit | Qty | Rate (Rs.) | Amount (Rs.) | Rate (Rs.) | Amount (Rs.) | Rate (Rs.) | Amount (Rs.)
1 | 6 Gas Digital Alarm Panels | Nos | 7 | 37300 | 261100 | 40000 | 280000 | 39000 | 273000
| GST @ 18% |  |  |  | 46998 |  | 50400 |  | 49140
| TOTAL |  |  | 308098 |  | 330400 |  | 322140
| Terms of Payment |  |  | 40% advance |  | 50% advance |  | 75% against delivery
|  |  |  | 60% against delivery of materials |  | 50% against delivery of goods |  | 15% against installation
10% againt handover
We found MEDICAL PRODUCT SERVICES Quote the lowest price in the market and same has been adopted in price estimation as the rates are reasonable
| Base Price | 37300
| 20% for 4 year maintanance | 7460
44760
| 13.615% contractors profit | 6094.074
50854.074
| 18% GST | 9153.7333
| Total | 60007.8073

## 4 GAS ALARM PANELS
Company Name: MPS ASTA Consortium |  | QUOTATION COMPARISION STATEMENT FOR SOTC 8th FLOOR, GANDHI HOSPITAL
Client: TSMSIDC
Project: SOTC 8th floor, Gandhi Hospital
S.No | Description of item | Vendor |  | MEDICAL PRODUCTS SERVICES |  | HOSPITAL ENGINEERS |  | GE PROJECTS Pvt. Ltd
|  | Contact |  | 011-25925960/61 |  | 9312611704
|  | Ref |  | MPS/2023-24/9529 |  | HOSP.ENG/2023-24/618 |  | GE/2023-24/285
|  | Date |  | 2023-12-15 |  | 2023-12-16 |  | 2023-12-18
|  | Unit | Qty | Rate (Rs.) | Amount (Rs.) | Rate (Rs.) | Amount (Rs.) | Rate (Rs.) | Amount (Rs.)
1 | 4 Gas Digital Alarm Panels | Nos | 1 | 26200 | 26200 | 30000 | 30000 | 32000 | 32000
| GST @ 18% |  |  |  | 4716 |  | 5400 |  | 5760
| TOTAL |  |  | 30916 |  | 35400 |  | 37760
| Terms of Payment |  |  | 40% advance |  | 50% advance |  | 75% against delivery
|  |  |  | 60% against delivery of materials |  | 50% against delivery of goods |  | 15% against installation
10% againt handover
We found MEDICAL PRODUCT SERVICES Quote the lowest price in the market and same has been adopted in price estimation as the rates are reasonable
| Base Price | 26200
| 20% for 4 year maintanance | 5240
31440
| 13.615% contractors profit | 4280.556
35720.556
| 18% GST | 6429.7001
| Total | 42150.2561

## Monitor Stand
Company Name: MPS ASTA Consortium |  | QUOTATION COMPARISION STATEMENT OF MONITOR STAND FOR SOTC 8th FLOOR, GANDHI HOSPITAL
Client: TSMSIDC
Project: SOTC 8th floor, Gandhi Hospital
S.No | Description of item | Vendor |  | ALTIUS MEDICAL SYSTEMS |  | BLUE SPACE MEDICAL SYSTEMS |  | SHARADAMBA TECHNOLOGIES
|  | Contact |  |  |  | 9866230839 |  | 9666877143
|  | Ref |  | Mounts/23/119 |  | BSMS/PMS/22-23/0111F |  | ST/WM/268
|  | Date |  | 2023-12-14 |  | 2023-12-14 |  | 2023-06-22
|  | Unit | Qty | Rate (Rs.) | Amount (Rs.) | Rate (Rs.) | Amount (Rs.) | Rate (Rs.) | Amount (Rs.)
1 | ICU Monitor wall mounts with tray HSN Code: 94029020  Full of Aluminum (Rust free)  Variable /adjustable height rail  Monitor Plate: Comen Star 8000 | Nos | 31 | 4100 | 127100 | 3839 | 119009 | 4175 | 129425
| GST @ 18% |  |  |  | 22878 |  | 21421.62 |  | 23296.5
| TOTAL |  |  | 149978 |  | 140430.62 |  | 152721.5
| Terms of Payment |  |  | 50% as Advance |  | 50% as Advance |  | 100 % Advance along with PO
|  |  |  | 50% against delivery |  | 50% against delivery
We found BLUE SPACE MEDICAL SYSTEMS Quote the lowest price in the market and same has been adopted in price estimation as the rates are reasonable
| Base Price | 3839
| 20% for 4 year maintanance | 767.8
4606.8
| 13.615% contractors profit | 627.2158
5234.0158
| 18% GST | 942.1228
| Total | 6176.1387

## Shoe rack
Company Name: MPS ASTA Consortium |  | QUOTATION COMPARISION STATEMENT FOR SOTC 8th FLOOR, GANDHI HOSPITAL
Client: TSMSIDC
Project: SOTC 8th floor, Gandhi Hospital
S.No | Description of item | Vendor |  | AHLADA
|  | Contact |  | 9963994994
|  | Ref |  | ACTPL/QUO/AIPPL/843/2023-24
|  | Date |  | 2023-12-13
|  | Unit | Qty | Rate (Rs.) | Amount (Rs.) | Rate (Rs.) | Amount (Rs.) | Rate (Rs.) | Amount (Rs.) | Rate (Rs.) | Amount (Rs.)
1 | SS Foot Ware Rack Size:1300x300x650mm ht Moc:SS304,Thick:18Swg,Finish:Mirror Drawing no:2009145020 | Sqm | 1 | 10992 | 10992 |  | 0 |  | 0 |  | 0
| GST @ 18% |  |  |  | 1978.56 |  | 0 |  | 0 |  | 0
| TOTAL |  |  | 12970.56 |  | 0 |  | 0 |  | 0
Terms of Payment
We found AHLADA Clean Room Tech Pvt. Ltd Quote the lowest price in the market and same has been adopted in price estimation as the rates are reasonable

## AV communication
Company Name: MPS ASTA Consortium |  | QUOTATION COMPARISION STATEMENT OF COUNSELLING ROOM RECORDING FOR SOTC 8th FLOOR, GANDHI HOSPITAL
Client: TSMSIDC
Project: SOTC 8th floor, Gandhi Hospital
S.No | Description of item | Vendor |  | VELIND VIRTUAL SYSTEMS |  | VELTRONIX INDUSTRIES |  | GAZELLE TECHNOLOGIES
|  | Contact |  | 40-275538464 |  | 40-27634550 |  | 0-9246812240
|  | Ref |  | 2312/93/2023
|  | Date |  | 2023-12-12 |  | 2023-12-12 |  | 2023-12-12
|  | Unit | Qty | Rate (Rs.) | Amount (Rs.) | Rate (Rs.) | Amount (Rs.) | Rate (Rs.) | Amount (Rs.)
1 | IP Camera DS-2CD2526G2-I(S) | Nos | 2 | 8500 | 17000 | 8800 | 17600 | 9000 | 18000
2 | Back box for camera | Nos | 2 | 280 | 560 |  | 0 | 300 | 600
3 | 8 Channel NVR DS-7608NI-K2/8P | Nos | 1 | 18650 | 18650 | 22500 | 22500 | 20000 | 20000
4 | 4 TB HDD (Skyhawk) | Nos | 1 | 12500 | 12500 | 14000 | 14000 | 13850 | 13850
5 | 4 Port POE Switch | Nos | 1 | 6500 | 6500 | 8500 | 8500 | 8000 | 8000
6 | 6U Network Rack | Nos | 1 | 8500 | 8500 | 11000 | 11000 | 10350 | 10350
7 | CAT6 UTP | Mtrs | 200 | 37 | 7400 | 42 | 8400 | 40 | 8000
8 | PVC FRLS Conduit | Mtrs | 100 | 75 | 7500 | 82 | 8200 | 80 | 8000
9 | Wall Mount Audio MIC | Nos | 1 | 5000 | 5000 | 6500 | 6500 | 6350 | 6350
10 | Installation and Configuration | Lot | 1 | 12970 | 12970 | 23598 | 23598 | 18540 | 18540
| Total |  |  |  | 96580 |  | 120298 |  | 111690
| GST @ 18% |  |  |  | 17384.4 |  | 21653.64 |  | 20104.2
| TOTAL |  |  | 113964.4 |  | 141951.64 |  | 131794.2
| Terms of Payment |  |  | 75% as Advance |  | 30% as Advance |  | 50% as Advance
|  |  |  | 25% against delivery |  | 50% against delivery |  | 50% after installation
20% after installation
We found Velind Virtual Systems Pvt. Ltd Quote the lowest price in the market and same has been adopted in price estimation as the rates are reasonable
| Base Price | 96580
| 20% for 4 year maintanance | 19316
115896
| 13.615% contractors profit | 15779.2404
131675.2404
| 18% GST | 23701.5433
| Total | 155376.7837

## UPS
Company Name: MPS ASTA Consortium |  | QUOTATION COMPARISION STATEMENT OF UPS FOR SOTC 8th FLOOR, GANDHI HOSPITAL
Client: TSMSIDC
Project: SOTC 8th floor, Gandhi Hospital
S.No | Description of item | Vendor |  | APS Tech Systems Pvt. Ltd |  | SBA TECHNOLOGIES |  | SRI SAI POWER SOLUTIONS
|  | Contact |  | 080-48055655 |  | 9849750976 |  | 7794940870
|  | Ref |  | APS/AK/306A/2023-24 |  | SBA/UPS/23-24/45 |  | SSPS/ASTA/27-12
|  | Date |  | 2023-12-05 |  | 2023-12-07 |  | 2023-12-12
|  | Unit | Qty | Rate (Rs.) | Amount (Rs.) | Rate (Rs.) | Amount (Rs.) | Rate (Rs.) | Amount (Rs.)
1 | Vertiv Liebert S 600 E 20KVA Double conversion online UPS System, 3Phase Input and 3Phase Output With Inbuilt Isolation Transformer. | Nos | 2 | 374400 | 748800 | 392910 | 785820 | 374200 | 748400
2 | Cables for battery, interlinks for battery bank to UPS, MS rack for batteries, Installation and Commissioning. | Nos | 2 | 16800 | 33600 | 28000 | 56000 | 21000 | 42000
| Total |  |  |  | 782400 |  | 841820 |  | 790400 | 6585
| GST @ 18% |  |  |  | 140832 |  | 151527.6 |  | 142272
| TOTAL |  |  | 923232 |  | 993347.6 |  | 932672
| Terms of Payment |  |  | 100% as advance |  | 100% as advance |  | 100% as advance
We found APS Tech Systems Pvt. Ltd Quote the lowest price in the market and same has been adopted in price estimation as the rates are reasonable
| Base Price | 391200
| 20% for 4 year maintanance | 78240
469440
| 13.615% contractors profit | 63914.256
533354.256
| 18% GST | 96003.7661
| Total | 629358.0221

## LAN
Company Name: MPS ASTA Consortium |  | QUOTATION COMPARISION STATEMENTOF LAN FOR SOTC 8th FLOOR, GANDHI HOSPITAL
Client: TSMSIDC
Project: SOTC 8th floor, Gandhi Hospital
S.No | Description of item | Vendor |  | VELIND VIRTUAL SYSTEMS |  | GAZELLE TECHNOLOGIES |  | VELTRONIX INDUSTRIES
|  | Contact |  | 40-275538464 |  | 0-9246812240 |  | 40-27634550
|  | Ref |  | 2312/93/2023
|  | Date |  | 2023-12-12 |  | 2023-12-11 |  | 2023-12-12
|  | Unit | Qty | Rate (Rs.) | Amount (Rs.) | Rate (Rs.) | Amount (Rs.) | Rate (Rs.) | Amount (Rs.)
1 | Data Outlet (RJ45) for LAN Sockets with Anodized GI Box, Front Plate, Labelling. | Nos | 32 | 350 | 11200 | 415 | 13280 | 485 | 15520
2 | CAT-6 UTP | Mtrs | 3000 | 37 | 111000 | 40 | 120000 | 42 | 126000
3 | Certificate, Testing and Documentation of LAN points | Nos | 32 | 350 | 11200 | 500 | 16000 | 575 | 18400
4 | 19” 17U Network Rack. Floor Mount. | Nos | 1 | 28200 | 28200 | 31850 | 31850 | 30750 | 30750
5 | 24 Port manageable Switch | Nos | 1 | 28500 | 28500 | 30000 | 30000 | 32750 | 32750
6 | 24 Port Patch Panel | Nos | 1 | 7500 | 7500 | 11350 | 11350 | 13380 | 13380
7 | Patch Cords. 1 meter. | Nos | 32 | 175 | 5600 | 180 | 5760 | 200 | 6400
8 | PVC FRLS Conduits | Mtrs | 250 | 75 | 18750 | 80 | 20000 | 82 | 20500
9 | Installation Charges | Lot | 1 | 64130 | 64130 | 78740 | 78740 | 85280 | 85280
| Total |  |  |  | 286080 |  | 326980 |  | 348980
| GST @ 18% |  |  |  | 51494.4 |  | 58856.4 |  | 62816.4
| TOTAL |  |  | 337574.4 |  | 385836.4 |  | 411796.4
| Terms of Payment |  |  | 75% as Advance |  | 50% as Advance |  | 30% as Advance
|  |  |  | 25% after installation |  | 50% after installation |  | 50% against delivery
20% after installation
We found Velind Virtual Systems Pvt. Ltd Quote the lowest price in the market and same has been adopted in price estimation as the rates are reasonable
| Base Price | 286080
| 20% for 4 year maintanance | 57216
343296
| 13.615% contractors profit | 46739.7504
390035.7504
| 18% GST | 70206.4351
| Total | 460242.1855

## panelling
Company Name: MPS ASTA Consortium |  | QUOTATION COMPARISION STATEMENT OF PCGI PANELING FOR SOTC 8th FLOOR, GANDHI HOSPITAL
Client: TSMSIDC
Project: SOTC 8th floor, Gandhi Hospital
S.No | Description of item | Vendor |  | AHLADA |  | SRI MEDILAND HOSPITEX |  | DECOMET INDUSTRIES Pvt. Ltd
|  | Contact |  | 9963994994 |  | 9490751098 |  | 8074796394
|  | Ref |  | ACTPL/QUO/ASTA/0563/23-24 |  | SMLH/AIPL/096/ANDHI HOSPITAL/2023-202 |  | DIPL/AIPPL/2324/0158
|  | Date |  | 2023-09-22 |  | 2023-12-15 |  | 2023-12-18
|  | Unit | Qty | Rate (Rs.) | Amount (Rs.) | Rate (Rs.) | Amount (Rs.) | Rate (Rs.) | Amount (Rs.)
1 | Wall Panels 50mm Thick (Powder Coated) |  |  |  | 0 |  | 0 |  | 0
1.1 | 50mm thick double skin wall panels of skin thick 0.8mm GPSP (120GSM Zinc Coated ) Sheet. PUF as infill material Density 40-42 Kg/Cu mtr with both side powder coating of thickness 60-70 microns including Bottom track & silicon sealent etc. | Sqm | 373 | 3846 | 1434558 | 4230 | 1577790 | 4250 | 1585250
2 | Ceiling Panels 50mm Thick (Powder Coated) |  |  |  | 0 |  | 0 |  | 0
2.1 | 50mm thick double skin False cealing panels of skin thick 0.8mm GPSP (120GSM Zinc Coated ) Sheet. PUF as infill material Density 40-42 Kg/Cu mtr with both side powder coating of thickness 60-70 microns.with suitable Ceiling grid and supporting hardware. Joints shall be sealed with cleanroom compatible silicon | Sqm | 183 | 3947 | 722301 | 4342 | 794586 | 4300 | 786900
3 | Accessories |  |  |  | 0 |  | 0 |  | 0
3.1 | Aluminium Extruded Male & Female Coving Powder Coated R70 ( Int & Ext ) | Rmt | 194 | 485 | 94090 | 534 | 103596 | 585 | 113490
3.2 | 2D & 3D Cornners | Nos | 16 | 304 | 4864 | 335 | 5360 | 425 | 6800
4 | Cutouts |  |  |  | 0 |  | 0 |  | 0
4.1 | HVAC and Electrical cutouts (Approx Qty) | Sqm | 50 | 455 | 22750 | 500 | 25000 | 530 | 26500
| Installation Charges |  |  |  | 296213.19 |  | 501266.4 |  | 503788
| Total |  |  |  | 2574776.19 |  | 3007598.4 |  | 3022728
| GST @ 18% |  |  |  | 463459.7142 |  | 541367.712 |  | 544091.04
| TOTAL |  |  | 3038235.9042 |  | 3548966.112 |  | 3566819.04
| Terms of Payment |  |  | 20% Advance |  | 30% Advance |  | 50% as Advance
|  |  |  | 70% against Performa Invoice |  | 70% against delivery |  | 40% against Performa Invoice
|  |  |  | 10% after installation |  |  |  | 10% after installation
We found AHLADA Clean Room Tech Pvt. Ltd Quote the lowest price in the market and same has been adopted in price estimation as the rates are reasonable
| Total Paneling Area (Sqm) | 556
| Total cost | 2574776.19
| Cost/Sqm | 4630.8924
| Base Price | 4630.8924
| 20% for 4 year maintanance | 926.1785
5557.0709
| 13.615% contractors profit | 756.5952
6313.6661
| 18% GST | 1136.4599
| Total | 7450.126

## transformer
Company Name: MPS ASTA Consortium |  | QUOTATION COMPARISION STATEMENT OF 800 KVA TRANSFORMER FOR SOTC 8th FLOOR, GANDHI HOSPITAL
Client: TSMSIDC
Project: SOTC 8th floor, Gandhi Hospital
S.No | Description of item | Vendor |  | ESENNAR |  | SRINIDHI POWER SOLUTIONS |  | i Care Electricals
|  | Contact |  | 8978171717 |  | 9246338738 |  | 9550365656
|  | Ref |  | QTN-37731/R1
|  | Date |  | 2023-12-12 |  | 2023-12-14 |  | 2023-12-16
|  | Unit | Qty | Rate (Rs.) | Amount (Rs.) | Rate (Rs.) | Amount (Rs.) | Rate (Rs.) | Amount (Rs.)
1 | 800 KVA Transformer OLTC for transformers with RTCC: Supply, Transportation, Installation, Testing and Commissioning of 800 KVA TRANSFORMER with all test reports. The Transformer shall be designed and manufactured as per IS:1180 OLTC with level-II with initial filling of oil as per IS 335-1993. 1000 A LT Breaker Kiosk - 01 No.The basic details of the Transformer are as under. Makes: Kirloskar / PETE / Esennar / Voltamp / Crompton / ABB / Schneider. | Nos | 1 | 1975000 | 1975000 | 2135000 | 2135000 | 2175000 | 2175000
2 | OLTC-RTTC | No | 1 | 652800 | 652800 | 700000 | 700000 | 730000 | 730000
3 | Level-2 | No | 1 | 197500 | 197500 | 220000 | 220000 | 185000 | 185000
4 | 1000A ACB | No | 1 | 266381 | 266381 | 285000 | 285000 | 300000 | 300000
5 | Installation | Job | 1 | 52556 | 52556 | 85000 | 85000 | 100000 | 100000
[5 empty] | 3144237 |  | 3425000 |  | 3490000
| GST @ 18% |  |  |  | 565962.66 |  | 616500 |  | 628200
| TOTAL |  |  | 3710199.66 |  | 4041500 |  | 4118200
| Terms of Payment |  |  | 40 % as Advance |  | 100 % Advance |  | 75 % Advance
|  |  |  | 60% against Performa Invoice |  |  |  | 20% against delivery
5% after installation
We found ESENNAR Transformers Pvt. Ltd Unit-2 Quote the lowest price in the market and same has been adopted in price estimation as the rates are reasonable

## Template
Company Name: MPS ASTA Consortium |  | QUOTATION COMPARISION STATEMENT FOR SOTC 8th FLOOR, GANDHI HOSPITAL
Client: TSMSIDC
Project: SOTC 8th floor, Gandhi Hospital
S.No | Description of item | Vendor |  | SURESH KUMAR ANILA |  | R. CHANDRA SEKHAR |  | AA ARCHITECTURE & INTERIORS |  | GKS INTERIORS Pvt. Ltd
|  | Contact |  | 9247155945 |  | 8886393456 |  |  |  | 9030543307
Ref
|  | Date |  | 2023-12-11 |  | 2023-12-07 |  | 2023-11-04 |  | 2023-11-20
|  | Unit | Qty | Rate (Rs.) | Amount (Rs.) | Rate (Rs.) | Amount (Rs.) | Rate (Rs.) | Amount (Rs.) | Rate (Rs.) | Amount (Rs.)
1 | Supply and Laying of Floor leveller compund (self smoothing mortar) to level the surface, having bulk density not less than 2 Kg/l for a fresh mortor, compressive strength not less than 20 N/mm2, initial setting time not more than 40 minutes and offer a 25 minutes working time, The surface should be walkabe after 30 min of laying. (ICUs) | Sqm |  |  | 0 |  | 0 |  | 0 |  | 0
| GST @ 18% |  |  |  | 0 |  | 0 |  | 0 |  | 0
| TOTAL |  |  | 0 |  | 0 |  | 0 |  | 0
Terms of Payment
| Base Price | 2900
| 20% for 4 year maintanance | 580
3480
| 13.615% contractors profit | 473.802
3953.802
| 18% GST | 711.6844
| Total | 4665.4864

## Dado
Company Name: MPS ASTA Consortium |  | QUOTATION COMPARISION STATEMENT OF WALL TILES FOR SOTC 8th FLOOR, GANDHI HOSPITAL
Client: TSMSIDC
Project: SOTC 8th floor, Gandhi Hospital
S.No | Description of item | Vendor |  | SURESH KUMAR ANILA |  | R. CHANDRA SEKHAR |  | AA ARCHITECTURE & INTERIORS |  | GKS INTERIORS Pvt. Ltd
|  | Contact |  | 9247155945 |  | 8886393456 |  |  |  | 9030543307
Ref
|  | Date |  | 2023-12-11 |  | 2023-12-07 |  | 2023-11-04 |  | 2023-11-20
|  | Unit | Qty | Rate (Rs.) | Amount (Rs.) | Rate (Rs.) | Amount (Rs.) | Rate (Rs.) | Amount (Rs.) | Rate (Rs.) | Amount (Rs.)
1 | Providing dadooing to walls with glazed full body ceramic wall tiles of size 800 x 1600 mm with any type of design texture such as marble finish, wooden, bamboo, stone finishes etc., scratch less, stain free and thickness between 6-8 mm 1st quality conforming to IS:13711, IS:13712, IS:13630 Parts 1 to 15 of any colour and finish in all shades and designs with borders as approved by Engineer-in-Charge set over base coat of CM1:5 12 mm thick using screened sand with cement slurry of honey like consistency spread at the rate of 3.30 kgs per sqm and jointing with white cement paste mixed with pigment of matching shade to full depth, including cost of all materials like tiles, cement, sand and water etc., complete for finished item of work. | Sqm | 120 | 3067 | 368040 | 3020 | 362400 | 3000 | 360000 | 2900 | 348000
| GST @ 18% |  |  |  | 66247.2 |  | 65232 |  | 64800 |  | 62640
| Total |  |  | 434287.2 |  | 427632 |  | 424800 |  | 410640
| Terms of Payment |  |  | 35% Advance |  | 30% Advance |  | 20% Advance
|  |  |  | 50% against delivery |  | 60% Against delivery |  | 50% against material
|  |  |  | 15% after installation |  | 10% after installation |  | 30% after completion
We found GKS Interiors Pvt. Ltd Quote the lowest price in the market and same has been adopted in price estimation as the rates are reasonable
| Base Price | 2900
| 20% for 4 year maintanance | 580
3480
| 13.615% contractors profit | 473.802
3953.802
| 18% GST | 711.6844
| Total | 4665.4864

## self levelling
Company Name: MPS ASTA Consortium |  | QUOTATION COMPARISION STATEMENT OF FLOOR LEVELLER FOR SOTC 8th FLOOR, GANDHI HOSPITAL
Client: TSMSIDC
Project: SOTC 8th floor, Gandhi Hospital
S.No | Description of item | Vendor |  | SURESH KUMAR ANILA |  | R. CHANDRA SEKHAR |  | GKS INTERIORS Pvt. Ltd
|  | Contact |  | 9247155945 |  | 8886393456 |  | 9030543307
Ref
|  | Date |  | 2023-12-11 |  | 2023-12-07 |  | 2023-11-20
|  | Unit | Qty | Rate (Rs.) | Amount (Rs.) | Rate (Rs.) | Amount (Rs.) | Rate (Rs.) | Amount (Rs.)
1 | Supply and Laying of Floor leveller compund (self smoothing mortar) to level the surface, having bulk density not less than 2 Kg/l for a fresh mortor, compressive strength not less than 20 N/mm2, initial setting time not more than 40 minutes and offer a 25 minutes working time, The surface should be walkabe after 30 min of laying. (ICUs) | Sqm | 726 | 1033 | 749958 | 930 | 675180 | 907 | 658482
| GST @ 18% |  |  |  | 134992.44 |  | 121532.4 |  | 118526.76
| TOTAL |  |  | 884950.44 |  | 796712.4 |  | 777008.76
| Terms of Payment |  |  | 35% Advance |  | 30% Advance
|  |  |  | 50% against delivery |  | 60% Against delivery
|  |  |  | 15% after installation |  | 10% after installation
We found GKS Interiors Pvt. Ltd Quote the lowest price in the market and same has been adopted in price estimation as the rates are reasonable
| Base Price | 907
| 20% for 4 year maintanance | 181.4
1088.4
| 13.615% contractors profit | 148.1857
1236.5857
| 18% GST | 222.5854
| Total | 1459.1711

## Under deck insulation
| Company Name: MPS ASTA Consortium | QUOTATION COMPARISION STATEMENT OF UNDER-DECK INSULATION FOR SOTC 8th FLOOR, GANDHI HOSPITAL
Client: TSMSIDC
Project: SOTC 8th floor, Gandhi Hospital
S.No | Description of item | Vendor |  | SURESH KUMAR ANILA |  | AA ARCHITECTURE & INTERIORS |  | GKS INTERIORS Pvt. Ltd
|  | Contact |  | 9247155945 |  |  |  | 9030543307
Ref
|  | Date |  | 2023-12-11 |  | 2023-11-04 |  | 2023-11-20
|  | Unit | Qty | Rate (Rs.) | Amount (Rs.) | Rate (Rs.) | Amount (Rs.) | Rate (Rs.) | Amount (Rs.)
1 | Supply and installation of Under-deck insulation sheets of 40 mm thick having more than 30 Kg/m3 density to ceiling by brush application of bituminous adhesive to the sheets and secured with screw along with washer at the centre of the sheet supported with GI wire running diagonally to the sheet of 2mm dia. | Sqm | 263 | 655 | 172265 | 630 | 165690 | 630 | 165690
| Total |  |  |  | 172265 |  | 165690 |  | 165690
| GST @ 18% |  |  | 31007.7 |  | 29824.2 |  | 29824.2
| Total Amount |  |  | 203272.7 |  | 195514.2 |  | 195514.2
Duration
| Terms of Payment |  |  | 35% Advance |  | 20% Advance
|  |  |  | 50% against delivery |  | 50% against material
|  |  |  | 15% after installation |  | 30% after completion
We found GKS Interiors Pvt. Ltd Quote the lowest price in the market and same has been adopted in price estimation as the rates are reasonable
UNDER-DECK INSULATION
| Base Price | 630
| 20% for 4 year maintanance | 126
756
| 13.615% contractors profit | 102.9294
858.9294
| 18% GST | 154.6073
| Total | 1013.5367

## Sheet1
Company Name
Client
Project
S.No | Description of item | Vendor
Contact
Ref
Date
|  | Unit | Qty | Rate (Rs.) | Amount (Rs.) | Rate (Rs.) | Amount (Rs.) | Rate (Rs.) | Amount (Rs.) | Rate (Rs.) | Amount (Rs.)
1 | Supply and installation of Under-deck insulation sheets of 40 mm thick having more than 30 Kg/m3 density to ceiling by brush application of bituminous adhesive to the sheets and secured with screw along with washer at the centre of the sheet supported with GI wire running diagonally to the sheet of 2mm dia. | Sqm
2 | Supply and Laying of Floor leveller compund (self smoothing mortar) to level the surface, having bulk density not less than 2 Kg/l for a fresh mortor, compressive strength not less than 20 N/mm2, initial setting time not more than 40 minutes and offer a 25 minutes working time, The surface should be walkabe after 30 min of laying. (ICUs) | Sqm
3 | Providing dadooing to walls with glazed full body ceramic wall tiles of size 800 x 1600 mm with any type of design texture such as marble finish, wooden, bamboo, stone finishes etc., scratch less, stain free and thickness between 6-8 mm 1st quality conforming to IS:13711, IS:13712, IS:13630 Parts 1 to 15 of any colour and finish in all shades and designs with borders as approved by Engineer-in-Charge set over base coat of CM1:5 12 mm thick using screened sand with cement slurry of honey like consistency spread at the rate of 3.30 kgs per sqm and jointing with white cement paste mixed with pigment of matching shade to full depth, including cost of all materials like tiles, cement, sand and water etc., complete for finished item of work. | Sqm
Total
Duration
Terms of Payment