## MPS Asta
Gandhi Hospital, Secunderabad
BOQ | [7 empty] | Additional 2 OT Work |  |  | Total Qty. (As per Both Order) |  |  | Extra |  |  | Save |  |  |  | Total Requirement as per Site (Already approved Drawing plan Qty.) |  |  | Remarks
S. No. | Tech. Spec Cl. No in TED | DESCRIPTION OF ITEM | Makes | Qty. | Unit | Quoted Price (with all taxes) | Amount (Rs.) | Qty. | Rate (Rs.) | Amount (Rs.) | Qty. | Rate (Rs.) | Amount (Rs.) | Qty. | Rate (Rs.) | Amount (Rs.) | Qty. | Rate (Rs.) | Amount (Rs.) |  | Qty. | Rate (Rs.) | Amount (Rs.)
MPS WORKS
FOR MOTs
1 | 1 | Stainless Steel Pre-fabricated Wall panels in MOTs & MOT extended Corridor | Material: JINDAL/ TATA Make: MPS | 400 | Sqm | 15010 | 6004000 | 350 | 15010 | 5253500 | 952 | 15010 | 14289520 |  |  |  | 132 | 15010 | 1981320 |  | 820 | 15010 | 12308200
39 | 1 | Stainless Steel Pre-fabricated Wall panels in TIRs and TIR Corridor | Material: JINDAL/ TATA Make: MPS | 202 | Sqm | 15010 | 3032020
2 | 1 | Stainless Steel Pre-fabricated Ceiling panels In MOTs & MOTs Corridor | Material: JINDAL/ TATA Make: MPS | 385 | Sqm | 15010 | 5778850 | 78 | 15010 | 1170780 | 609 | 15010 | 9141090 |  |  |  | 199 | 15010 | 2986990 |  | 410 | 15010 | 6154100
40 | 1 | Stainless Steel Pre-fabricated Ceiling panels in TIRs and TIR Corridor | Material: JINDAL/ TATA Make: MPS | 146 | Sqm | 15010 | 2191460
3 | 1.5 | Dynamic Hatch Box | MPS | 2 | Nos | 295000 | 590000 | 1 | 295000 | 295000 | 3 | 295000 | 885000 | [7 empty] | 3 | 295000 | 885000
4 | 2.1 | Electro conductive Flooring inside MOTs | GERFLOR/ TARKETT | 160 | Sqm | 4035 | 645600 | 80 | 4035 | 322800 | 386 | 4035 | 1557510 | [7 empty] | 386 | 4035 | 1557510
41 | 2.1 | Electro conductive Flooring inside TIRs & TIR Corridor | GERFLOR/ TARKETT | 146 | Sqm | 4035 | 589110
5 | 2.2 | Flooring with Vinyl Sheets In MOT Corridor | GERFLOR/ TARKETT | 175 | Sqm | 3750 | 656250 | 50 | 3750 | 187500 | 286 | 3750 | 1072500 |  |  |  | 152 | 3750 | 570000 |  | 134 | 3750 | 502500
42 | 2.2 | Flooring with Vinyl Sheets In TIR Corridor | GERFLOR/ TARKETT | 61 | Sqm | 3750 | 228750
6 | 3 | Uni Directional Ceiling Laminar Airflow Systems | LAF: MPS HEPA FILTER: MECHMARK | 4 | Nos | 465000 | 1860000 | 2 | 465000 | 930000 | 6 | 465000 | 2790000 | [7 empty] | 6 | 465000 | 2790000
7 | 3.1 | Air Handling Units (AHUs) 11 TR | ONE OF THE APPROVED MAKE | 4 | Nos | 1495000 | 5980000 | 2 | 1495000 | 2990000 | 6 | 1495000 | 8970000 | [7 empty] | 6 | 1495000 | 8970000
8 | 3.2 | Condensing Units | ONE OF THE APPROVED MAKE | 4 | Nos | 345000 | 1380000 | 2 | 345000 | 690000 | 6 | 345000 | 2070000 | [7 empty] | 6 | 345000 | 2070000
9 | 4 | Pressure Relief Dampers | MPS | 4 | Nos | 22500 | 90000 | 2 | 22500 | 45000 | 6 | 22500 | 135000 | [7 empty] | 6 | 22500 | 135000
10 | 5.1 (a) | Single arm Anesthesia Pendants (Imported) | REANIMED | 4 | Nos | 1195000 | 4780000 | 2 | 1195000 | 2390000 | 6 | 1195000 | 7170000 | [7 empty] | 6 | 1195000 | 7170000
| 5.1 (b) | Double arm Anesthesia Pendants (Imported) | REANIMED |  | Nos | 1195000 |  | 6 | 1195000 | 7170000 | 6 | 1195000 | 7170000 | [7 empty] | 6 | 1195000 | 7170000
11 | 5.2 | Triple Dome Ceiling OT LED Lights (Imported) | ETKIN | 2 | Nos | 4750000 | 9500000 |  |  |  | 2 | 4750000 | 9500000 | [7 empty] | 2 | 4750000 | 9500000
12 | 5.3 | Double Dome Ceiling OT LED Lights (Imported) | ETKIN | 2 | Nos | 3550000 | 7100000 | 2 | 3550000 | 7100000 | 4 | 3550000 | 14200000 | [7 empty] | 4 | 3550000 | 14200000
13 | 5.4 | Detachable Hi Definition Cameras in Triple Dome Ceiling OT Lights | ETKIN | 2 | Nos | 995000 | 1990000 | 1 | 995000 | 995000 | 3 | 995000 | 2985000 | [7 empty] | 3 | 995000 | 2985000
14 | 91 | Ceiling/Wall mounted CCTV Room Camera | SONY/PANASONIC/SAMSUNG | 4 | Nos | 22500 | 90000 | 2 | 22500 | 45000 | 6 | 22500 | 135000 | [7 empty] | 6 | 22500 | 135000
15 | 6 | LED Peripheral Lights cum clean room (OT) luminaries | PHILIPS/ WIPRO | 62 | Nos | 18750 | 1162500 | 40 | 18750 | 750000 | 102 | 18750 | 1912500 | [7 empty] | 102 | 18750 | 1912500
16 | 7 | View Window with Motorised Blinds of 1 Mt Length & 1 Mt Height | MPS | 7 | Nos | 115000 | 805000 | 2 | 115000 | 230000 | 9 | 115000 | 1035000 | [7 empty] | 9 | 115000 | 1035000
17 | 8 | Hermetically Sealed Doors (1.80mt x 2.10 mt) | MPS | 4 | Nos | 115000 | 460000 | 2 | 115000 | 230000 | 6 | 115000 | 690000 | [7 empty] | 6 | 115000 | 690000
18 | 8 | (1.50mt x 2.10 mt) Sliding Automatic Sliding Doors with View Windoy of 1 Mt x 1 Mt | MPS | 2 | Nos | 525000 | 1050000 |  |  |  | 2 | 525000 | 1050000 | [7 empty] | 2 | 525000 | 1050000
19 | 10 | Storage Units | MPS | 4 | Nos | 75000 | 300000 | 2 | 75000 | 150000 | 6 | 75000 | 450000 | [7 empty] | 6 | 75000 | 450000
20 | 11 | Writing Board (List Board) | MPS | 4 | Nos | 18750 | 75000 | 2 | 18750 | 37500 | 6 | 18750 | 112500 | [7 empty] | 6 | 18750 | 112500
21 | 12 | X-Ray CT Scan LED viewing Screen | MPS | 4 | Nos | 37500 | 150000 | 2 | 37500 | 75000 | 6 | 37500 | 225000 | [7 empty] | 6 | 37500 | 225000
22 | 13 | Touch Screen Surgeon Control Panels | MPS | 4 | Nos | 385000 | 1540000 | 2 | 385000 | 770000 | 6 | 385000 | 2310000 | [7 empty] | 6 | 385000 | 2310000
23 | 14 | 3-Bay Scrub Stations/Sinks | MPS | 2 | Nos | 368750 | 737500 |  |  |  | 2 | 368750 | 737500 | [7 empty] | 2 | 368750 | 737500
25 | 16.1 | Medical Grade Monitors 32 inch 4 K Resolution | DELL/NDS/ ADVANTECH/ BARCO | 4 | Nos | 1295000 | 5180000 | 2 | 1295000 | 2590000 | 6 | 1295000 | 7770000 | [7 empty] | 6 | 1295000 | 7770000
26 | 16.2 | Wall mounted large screen display 55 inch (Commercial Grade) | SONY/SAMSUNG/ DELL/LG | 2 | Nos | 495000 | 990000 |  |  |  | 2 | 495000 | 990000 | [7 empty] | 2 | 495000 | 990000
28 | 16.5 | Wireless Microphone | JBL/AHUJA/ SENNEHSIER | 1 | Nos | 255000 | 255000 |  |  |  | 1 | 255000 | 255000 | [7 empty] | 1 | 255000 | 255000
29 | 16.6 | Digital mixer Amplifier | APART/AHUJA/ AUDAC | 1 | Nos | 245000 | 245000 |  |  |  | 1 | 245000 | 245000 | [7 empty] | 1 | 245000 | 245000
30 | 16.7 | Ceiling Mounted Speakers | APART/AUDAC/JBL | 4 | Nos | 15000 | 60000 | 2 | 15000 | 30000 | 6 | 15000 | 90000 | [7 empty] | 6 | 15000 | 90000
31 | 16.8 | Video Conferencing System | POLYCOM/PHILIPS | 1 | Nos | 1195000 | 1195000 |  |  |  | 1 | 1195000 | 1195000 | [7 empty] | 1 | 1195000 | 1195000
32 | 17.1 | Home Theatre Power Conditioner, 230 V | FURMAN/AUDIO QUEST/PANAMAX | 1 | Nos | 145000 | 145000 |  |  |  | 1 | 145000 | 145000 | [7 empty] | 1 | 145000 | 145000
33 | 17.2 | Amplifier (8 Channel) | AUDCO/SONY/ AHUJA | 1 | Nos | 245000 | 245000 |  |  |  | 1 | 245000 | 245000 | [7 empty] | 1 | 245000 | 245000
34 | 17.3 | HiFi Active Sub Woofer | AUDAC/SONY/ AUDIOMAXX | 1 | Nos | 50000 | 50000 |  |  |  | 1 | 50000 | 50000 | [7 empty] | 1 | 50000 | 50000
35 | 17.5 | 4K Laser Projection TV | BENQ/SPRODE/LG/ SAMSUNG/EPSON | 1 | Nos | 1495000 | 1495000 |  |  |  | 1 | 1495000 | 1495000 | [7 empty] | 1 | 1495000 | 1495000
36 | 17.6 & 17.7 | Equalization & Loud Speaker Control System | BEHRINGER/JBL | 1 | Nos | 40000 | 40000 |  |  |  | 1 | 40000 | 40000 | [7 empty] | 1 | 40000 | 40000
37 | 17.8 | Sound Analog Mixer | YAHAMA/MEDHA | 1 | Nos | 245000 | 245000 |  |  |  | 1 | 245000 | 245000 | [7 empty] | 1 | 245000 | 245000
[22 empty] | 0 | 0
|  | For TIR | [19 empty] | 0 | 0
38 | 19 | Electrical Installations in MOTs & TIRs | STANDARD | 7 | Job | 195000 | 1365000 | 2 | 195000 | 390000 | 9 | 195000 | 1755000 | [7 empty] | 9 | 195000 | 1755000
43 | 3 | Uni Directional Ceiling Laminar Airflow Systems | LAF: MPS HEPA FILTER: MECHMARK | 3 | Nos | 395000 | 1185000 |  |  |  | 3 | 395000 | 1185000 | [7 empty] | 3 | 395000 | 1185000
44 | 3.1 | Air Handling Units (AHUs) 11 TR | ONE OF THE APPROVED MAKE | 2 | Nos | 1495000 | 2990000 |  |  |  | 2 | 1495000 | 2990000 | [7 empty] | 2 | 1495000 | 2990000
45 | 3.1 | Air Handling Units (AHUs) 8.5 TR | ONE OF THE APPROVED MAKE | 1 | Nos | 1195000 | 1195000 |  |  |  | 1 | 1195000 | 1195000 | [7 empty] | 1 | 1195000 | 1195000
46 | 3.2 | Condensing Units | ONE OF THE APPROVED MAKE | 3 | Nos | 345000 | 1035000 |  |  |  | 3 | 345000 | 1035000 | [7 empty] | 3 | 345000 | 1035000
47 | 4 | Pressure Relief Dampers | MPS | 3 | Nos | 22500 | 67500 |  |  |  | 3 | 22500 | 67500 | [7 empty] | 3 | 22500 | 67500
49 | 8 | Hermetically Sealed Doors (1.80mt x 2.10 mt) | MPS | 3 | Nos | 525000 | 1575000 |  |  |  | 3 | 525000 | 1575000 | [7 empty] | 3 | 525000 | 1575000
50 | 15 | 12mm thick glazed Glass partition walls in TIRs | SAINT-GOBAIN/ ASAHI/BOROSIL | 40 | Sqm | 650 | 26000 |  |  |  | 40 | 650 | 26000 | [7 empty] | 40 | 650 | 26000
51 | 15 | Wall mounted LED TV43 inchesFull HD | SAMSUNG/ SONY/DELL/LG/ PANASONIC | 3 | Nos | 165000 | 495000 |  |  |  | 3 | 165000 | 495000 | [7 empty] | 3 | 165000 | 495000
52 | 91 | Ceiling/Wall mounted CCTV Room Camera | SONY/PANASONIC/SAMSUNG/CP PLUS | 3 | Nos | 12000 | 36000 |  |  |  | 3 | 12000 | 36000 | [7 empty] | 3 | 12000 | 36000
53 | 88.6 | BED HEAD PANEL FOR TIR WITH DOUBLE OUTLETS AND ELECTRICAL OUTLETS | MPS | 3 | Nos | 49500 | 148500 |  |  |  | 3 | 49500 | 148500 | 3 | 49500 | 148500 |  |  |  |  | 6 | 49500 | 297000
54 | 12 | X-RAY VIEWERS FOR ALL ICUS AND PRE OPP AREAS AND DOCTORS ROOMS | MPS | 5 | Nos | 37500 | 187500 |  |  |  | 5 | 37500 | 187500 | [7 empty] | 5 | 37500 | 187500
55 | 11 | WRITING BOARDS FOR ICUS, PRE OPP | MPS | 5 | Nos | 18750 | 93750 |  |  |  | 5 | 18750 | 93750 | [7 empty] | 5 | 18750 | 93750
56 | 91 | CCTV CEILING CAMERA | SONY/PANASONIC/SAMSUNG/CP PLUS | 10 | Nos | 9500 | 95000 |  |  |  | 10 | 9500 | 95000 | [7 empty] | 10 | 9500 | 95000
Total Amount | [6 empty] | 79405290 | Total Amount |  | 34837080 | Total Amount |  | 114242370 | Total Amount |  | 148500 | Total Amount |  | 5538310 |  | Total Amount |  | 108852560
For MGPS
204 | 88.1 | 28 mm dia. and 0.90 mm thick Copper Pipe Lines for Main lines | MEHTA TUBES LTD. (MEXFLOW) | 700 | Rmt | 1750 | 1225000 |  |  |  | 700 | 1750 | 1225000 | 132 | 1750 | 231000 |  |  |  |  | 832 | 1750 | 1456000
205 | 88.1 | 42 mm dia. and 1.20 mm thick Copper Pipe Lines for Main lines | MEHTA TUBES LTD. (MEXFLOW) | 200 | Rmt | 2250 | 450000 |  |  |  | 200 | 2250 | 450000 | 26 | 2250 | 58500 |  |  |  |  | 226 | 2250 | 508500
206 | 88.1 | 54 mm dia. and 1.20 mm thick Copper Pipe Lines for Main lines | MEHTA TUBES LTD. (MEXFLOW) | 550 | Rmt | 2950 | 1622500 |  |  |  | 550 | 2950 | 1622500 | [7 empty] | 550 | 2950 | 1622500
207 | 88.1 | 12 mm dia. and 0.70 mm thick Copper Pipe Lines for distribution lines | MEHTA TUBES LTD. (MEXFLOW) | 320 | Rmt | 650 | 208000 |  |  |  | 320 | 650 | 208000 | 271 | 650 | 176150 |  |  |  |  | 591 | 650 | 384150
208 | 88.1 | 15 mm dia. and 0.90 mm thick Copper Pipe Lines for distribution lines | MEHTA TUBES LTD. (MEXFLOW) | 525 | Rmt | 950 | 498750 |  |  |  | 525 | 950 | 498750 | 313 | 950 | 297350 |  |  |  |  | 838 | 950 | 796100
209 | 88.1 | 22 mm dia. and 0.90 mm thick Copper Pipe Lines for distribution lines | MEHTA TUBES LTD. (MEXFLOW) | 530 | Rmt | 1450 | 768500 |  |  |  | 530 | 1450 | 768500 | 106 | 1450 | 153700 |  |  |  |  | 636 | 1450 | 922200
210 | 88.2 | 15 mm (1/2") Isolation Valves | MPS | 40 | Nos | 1500 | 60000 |  |  |  | 40 | 1500 | 60000 |  |  |  | 5 | 1500 | 7500 |  | 35 | 1500 | 52500
211 | 88.2 | 22 mm (3/4") Isolation Valves | MPS | 15 | Nos | 2500 | 37500 |  |  |  | 15 | 2500 | 37500 |  |  |  | 2 | 2500 | 5000 |  | 13 | 2500 | 32500
212 | 88.2 | 28 mm Isolation Valves | MPS | 3 | Nos | 3500 | 10500 | 2 | 3500 | 7000 | 5 | 3500 | 17500 | 4 | 3500 | 14000 |  |  |  |  | 9 | 3500 | 31500
213 | 88.2 | 42 mm Isolation Valves | MPS | 2 | Nos | 4500 | 9000 | 3 | 4500 | 13500 | 5 | 4500 | 22500 |  |  |  | 1 | 4500 | 4500 |  | 4 | 4500 | 18000
214 | 88.2 | 54 mm Isolation Valves | MPS | 2 | Nos | 5500 | 11000 | 1 | 5500 | 5500 | 3 | 5500 | 16500 | 3 | 5500 | 16500 |  |  |  |  | 6 | 5500 | 33000
215 | 88.3 | Gas Outlet Points with probes for Oxygen with S Brackets | MPS | 189 | Nos | 2850 | 538650 |  |  |  | 189 | 2850 | 538650 | 42 | 2850 | 119700 |  |  |  |  | 231 | 2850 | 658350
216 | 88.4 | 2 Gas Digital Area Alarm Panels | MPS | 2 | Nos | 25000 | 50000 |  |  |  | 2 | 25000 | 50000 |  |  |  | 2 | 25000 | 50000 |  | 0 | 25000 | 0
217 | 88.4 | 3 Gas Digital Area Alarm Panels | MPS | 4 | Nos | 30000 | 120000 |  |  |  | 4 | 30000 | 120000 | 1 | 30000 | 30000 |  |  |  |  | 5 | 30000 | 150000
|  | 4 Gas Digital Area Alarm Panels | MPS |  | Nos | 30000 | [7 empty] | 1 | 30000 | 30000 |  |  |  |  | 1 | 30000 | 30000 | Rate taken of Alarm 3 Gas for your ease which is lower than it's actual rate
218 | 88.4 | 5 Gas Digital Area Alarm Panels | MPS | 5 | Nos | 40000 | 200000 | 1 | 40000 | 40000 | 6 | 40000 | 240000 |  |  |  | 6 | 40000 | 240000 |  | 0 | 40000 | 0
|  | 6 Gas Digital Area Alarm Panels | MPS |  | Nos | 40000 | [7 empty] | 7 | 40000 | 280000 |  |  |  |  | 7 | 40000 | 280000 | Rate taken of Alarm 5 gas for your ease which is lower than it's actual rate
219 | 88.4 | Master Digital Alarm Panels | MPS | 1 | Nos | 50000 | 50000 |  |  |  | 1 | 50000 | 50000 | [7 empty] | 1 | 50000 | 50000
220 | 88.5 | BPC Flow meter with Humidifier bottle and L adapter | MPS | 27 | Nos | 2250 | 60750 |  |  |  | 27 | 2250 | 60750 | 16 | 2250 | 36000 |  |  |  |  | 43 | 2250 | 96750
221 | 88.5 | L Type Adapter for Oxygen Flow meters | MPS | 27 | Nos | 1250 | 33750 |  |  |  | 27 | 1250 | 33750 | [7 empty] | 27 | 1250 | 33750
222 | 88.5 | Kit for conversion of Oxygen (Oxygen- 6 Qty, N20- 6Qty & AIR-4 - 6qty. ) | MPS | 27 | Nos | 1650 | 44550 |  |  |  | 27 | 1650 | 44550 |  |  |  | 9 | 1650 | 14850 |  | 18 | 1650 | 29700
223 | 88.5 | Suction Jars of 600 ml capacity | MPS | 27 | Nos | 3450 | 93150 |  |  |  | 27 | 3450 | 93150 | 10 | 3450 | 34500 |  |  |  |  | 37 | 3450 | 127650
224 | 88.5 | Adapters for Vacuum | MPS | 27 | Nos | 750 | 20250 |  |  |  | 27 | 750 | 20250 | [7 empty] | 27 | 750 | 20250
225 | 88.5 | Adapters for Air | MPS | 27 | Nos | 750 | 20250 |  |  |  | 27 | 750 | 20250 | [7 empty] | 27 | 750 | 20250
226 | 88.5 | Adapters for Nitrous Oxide | MPS | 15 | Nos | 750 | 11250 |  |  |  | 15 | 750 | 11250 | [7 empty] | 15 | 750 | 11250
227 | 88.5 | Vacuum Tube | MPS | 27 | Nos | 550 | 14850 | 58 | 550 | 31900 | 85 | 550 | 46750 |  |  |  | 53 | 550 | 29150 |  | 32 | 550 | 17600
228 | 88.6 | Bed Head wall panel horizontal 1500 mm long single railing | MPS | 27 | Nos | 35000 | 945000 |  |  |  | 27 | 35000 | 945000 | 4 | 35000 | 140000 |  |  |  |  | 31 | 35000 | 1085000
229 | 88.7 b | Valve box -2 services | MPS | 1 | Nos | 9500 | 9500 |  |  |  | 1 | 9500 | 9500 |  |  |  | 1 | 9500 | 9500 |  | 0 | 9500 | 0
230 | 88.7 b | Valve box -3 services | MPS | 3 | Nos | 14500 | 43500 |  |  |  | 3 | 14500 | 43500 | 2 | 14500 | 29000 |  |  |  |  | 5 | 14500 | 72500
|  | Valve box -4 services | MPS |  | Nos | 14500 | [7 empty] | 1 | 14500 | 14500 |  |  |  |  | 1 | 14500 | 14500 | Rate taken of Valve box 3 for your ease which is lower than it's actual rate
231 | 88.7 b | Valve box -6 services | MPS | 1 | Nos | 22500 | 22500 | 5 | 22500 | 112500 | 6 | 22500 | 135000 | 1 | 22500 | 22500 |  |  |  |  | 7 | 22500 | 157500
232 | 88.8 a | 4 + 4 size of CO2 manifold System | MPS | 1 | Job | 40000 | 40000 |  |  |  | 1 | 40000 | 40000 | [7 empty] | 1 | 40000 | 40000
|  | 4 + 4 size of N2O manifold System | MPS |  | Job | 40000 |  | 1 | 40000 | 40000 | 1 | 40000 | 40000 | [7 empty] | 1 | 40000 | 40000
|  | 4 + 4 size of O2 manifold System | MPS |  | Job | 40000 | [7 empty] | 1 | 40000 | 40000 |  |  |  |  | 1 | 40000 | 40000 | Extra
233 | 88.8 b | 2 cylinder emergency manifold - CO2 | MPS | 1 | Job | 14500 | 14500 |  |  |  | 1 | 14500 | 14500 | [7 empty] | 1 | 14500 | 14500
|  | 2 cylinder emergency manifold - N2O | MPS |  | Job | 14500 |  | 1 | 14500 | 14500 | 1 | 14500 | 14500 | [7 empty] | 1 | 14500 | 14500
234 | 88.8 c | Fully Automatic CO2 Control System | MPS | 1 | Job | 185000 | 185000 |  |  |  | 1 | 185000 | 185000 | [7 empty] | 1 | 185000 | 185000 | for Co2, O2 & N2O only regulators are different, other system is same. As in price biid O2 & N2O control panel missing which is to considered this with Co2 control panel existing price
|  | Fully Automatic N20 Control System | MPS |  | Job | 185000 |  | 1 | 185000 | 185000 | 1 | 185000 | 185000 | [7 empty] | 1 | 185000 | 185000
|  | Fully Automatic O2 Control System | MPS |  | Job | 185000 | [7 empty] | 1 | 185000 | 185000 |  |  |  |  | 1 | 185000 | 185000
235 | 88.9 | Aneste Iwata Make TFS 150 C9 Model, Compresso Two stage, Motor 15 HP & 57.18 CFM, 60 CFM Air Dryer with 2000 Ltrs Receiver Twin System (For Air4, Air7) | ANESTE IWATA | 1 | Job | 1895000 | 1895000 |  |  |  | 1 | 1895000 | 1895000 | [7 empty] | 1 | 1895000 | 1895000
236 | 88.1 | Supporting structure for MGPS lines with Ismb Columns, beams, MS angles, Flats and square rods | STANDARD | 1 | Job | 795000 | 795000 |  |  |  | 1 | 795000 | 795000 |  |  |  | 1 | 795000 | 795000 |  | 0 | 795000 | 0
237 | 88.11 | 2x20 Oxygen Main manifold System | MPS | 1 | Job | 95000 | 95000 |  |  |  | 1 | 95000 | 95000 | [7 empty] | 1 | 95000 | 95000
238 | 88.12 | Electrical Control Panel for MGPS | AIR TECH | 1 | Job | 145000 | 145000 |  |  |  | 1 | 145000 | 145000 | [7 empty] | 1 | 145000 | 145000
239 | 88.13 | Vaccum system Ingersoll Rand Make Model 15V x 10 Model with 5 HP Motor with 1000 Liters Reciever, Filters, Electricals, Etc Secretion Trap and Bacteria Filter | INGERSOLL RAND | 2 | Job | 1495000 | 2990000 |  |  |  | 2 | 1495000 | 2990000 | [7 empty] | 2 | 1495000 | 2990000
240 |  | Validation By Third Party Agency Charges per Each MOT | STANDARD | 4 | Each | 100000 | 400000 |  |  |  | 4 | 100000 | 400000 | [7 empty] | 4 | 100000 | 400000
241 |  | Anesthetic Gas Scavenging System (AGSS) | MPS | 1 | Job | 1213000 | 1213000 |  |  |  | 1 | 1213000 | 1213000 | [7 empty] | 1 | 1213000 | 1213000
| Extra Added | Theatre Trolley | [19 empty] | 0 | 0
| Extra Added | Low Pressure Tube | [19 empty] | 0 | 0
Total Amount | [6 empty] | 14951200 | Total |  | 449900 | Total |  | 15401100 | Total |  | 1908400 | Total |  | 1155500 |  | Total |  | 16154000
BOQ | [7 empty] | Additional 2 OT Work |  |  | Total Qty. (As per Both Order) |  |  | Extra |  |  | Save |  |  |  | Total Requirement as per Site (Drawing Qty.)
MOT & TIR | [6 empty] | 79405290 | MOT & TIR |  | 34837080 | MOT & TIR |  | 114242370 | MOT & TIR |  | 148500 | MOT & TIR |  | 5538310 |  | MOT & TIR |  | 108852560
MGPS | [6 empty] | 14951200 | MGPS |  | 449900 | MGPS |  | 15401100 | MGPS |  | 1908400 | MGPS |  | 1155500 |  | MGPS |  | 16154000
Total Amount | [6 empty] | 94356490 | Total |  | 35286980 | Total |  | 129643470 | Total |  | 2056900 | Total |  | 6693810 | 0 | Total |  | 125006560
BOQ Qty. | [7 empty] | Additional 2 OT Work |  |  | Total Qty. (As per Both Order)
S. No. | Tech. Spec Cl. No in TED | DESCRIPTION OF ITEM | Makes | Qty. | Unit | Quoting Price | Total Amount | Qty. | Rate (Rs.) | Amount (Rs.) | Qty. | Rate (Rs.) | Amount (Rs.)
ASTA WORKS
27 | 16.3 & 16.4 | Cable connections for integration with in MOTs and with Workshop Projector Hall, Networks with OFC Cable | STANDARD | 4 | Job | 997500 | 3990000 | 2 | 997500 | 1995000 | 6 | 997500 | 5985000
122 | 33 (a) | Supply, Transportation and installation of 1 OKVA / 312v DC on line UPS system | APC / Numeric / VERTIV (Emerson) | 7 | Nos | 400000 | 2800000 | 2 | 400000 | 800000 | 9 | 400000 | 3600000
123 | 33 (b) | Supply and fixing of 12V, 150 AH MF battery | Amar Raja / Exide / Panasonic | 182 | Nos | 25000 | 4550000 | 52 | 25000 | 1300000 | 234 | 25000 | 5850000
124 | 33 (c) | Supply and providing of UPS cum battery rack 20 batteries | STANDARD | 7 | Nos | 30000 | 210000 | 2 | 30000 | 60000 | 9 | 30000 | 270000
|  | Electrical connections for 2-UPS |  |  | Job | 100000 |  | 1 | 100000 | 100000 | 1 | 100000 | 100000
Total Amount | [6 empty] | 11550000 | Total |  | 4255000 | Total |  | 15805000
[5 empty] | BOQ Qty. |  |  | Additional 2 OT Work |  |  | Total Qty. (As per Both Order)
[5 empty] | MPS |  | 94356490 | MPS |  | 35286980 | MPS |  | 129643470
[5 empty] | ASTA |  | 11550000 | ASTA |  | 4255000 | ASTA |  | 15805000
[5 empty] | Total Amount |  | 105906490 | Total |  | 39541980 | Total |  | 145448470
Note: Wall panel and celing panel quantity as per dwgs plan B for corridors as discussed which is not approved yet.
Optional
| Tech. Spec Cl. No in TED | DESCRIPTION OF ITEM | Makes | Qty. | Unit | Quoted Price (with all taxes) | Amount (Rs.)
| 1 | Stainless Steel Pre-fabricated Wall panels | Material: JINDAL/ TATA Make: MPS | 176 | Sqm | 15010 | 2641760
| 1 | Stainless Steel Pre-fabricated Ceiling panels In MOTs & MOTs Corridor | Material: JINDAL/ TATA Make: MPS | 105 | Sqm | 15010 | 1576050
| 2.1 | Electro conductive Flooring inside TIRs & TIR Corridor | GERFLOR/ TARKETT | 116 | Sqm | 4035 | 468060
| Total Amount | [5 empty] | 4685870