## Sheet1
| S.No | Item Name | As Per Sanctioned Estimate 4 otS |  |  |  |  | Additional 2 Ots Quantity |  |  |  | Total Agreement Quantity
|  |  | Quantity |  |  | Rate (Rs.) | Amount (Rs.) | Quantity |  | Rate (Rs.) | Amount (Rs.) | Quantity |  | Rate (Rs.) | Amount (Rs.)
MPS
FOR MOTs
1 | 1 | Stainless Steel Pre-fabricated Wall panels in MOTs1) Make: SS 304 medical grade JINDAL certified by a notified body NABL Lab.2) Not less than 50mm thick (0.80mm thick sheet on both sides).3) 41Kg/Cum density PUF, fine grain surface, treated with anti bacterial/anti fungal paint, shall be made with single sheet without any joints/welding, should be covered with a protective sheet. Certified by a notified body NABL Lab. | 400 | Sqm | 12720.339 | 15010 | 6004000 | 200 | Sqm | 12720.339 | 2544067.7966 | 600 | Sqm | 12720.339 | 7632203.3898
1 | [14 empty] | 7632203.3898
2 | 2 | Stainless Steel Pre-fabricated Ceiling panels In MOTs & MOTs Corridor | 385 | Sqm | 12720.339 | 15010 | 5778850 | 70 | Sqm | 12720.339 | 890423.7288 | 455 | Sqm | 12720.339 | 5787754.2373
2
3 | 3 | Dynamic Hatch Box | 2 | Nos | 250000 | 295000 | 590000 | 1 | Nos | 250000 | 250000 | 3 | Nos | 250000 | 750000
3
4 | 4 | Electro conductive Flooring inside MOTs | 160 | Sqm | 3419.4915 | 4035 | 645600 | 80 | Sqm | 3419.4915 | 273559.322 | 240 | Sqm | 3419.4915 | 820677.9661
4
5 | 5 | Flooring with Vinyl Sheets In MOT Corridor | 175 | Sqm | 3177.9661 | 3750 | 656250 | 50 | Sqm | 3177.9661 | 158898.3051 | 225 | Sqm | 3177.9661 | 715042.3729
5
6 | 6 | Uni Directional Ceiling Laminar Airflow Systems | 4 | Nos | 394067.7966 | 465000 | 1860000 | 2 | Nos | 394067.7966 | 788135.5932 | 6 | Nos | 394067.7966 | 2364406.7797
6
7 | 7 | Air Handling Units (AHUs) 11 TR | 4 | Nos | 1266949.1525 | 1495000 | 5980000 | 2 | Nos | 1266949.1525 | 2533898.3051 | 6 | Nos | 1266949.1525 | 7601694.9153
7
8 | 8 | Condensing Units | 4 | Nos | 292372.8814 | 345000 | 1380000 | 2 | Nos | 292372.8814 | 584745.7627 | 6 | Nos | 292372.8814 | 1754237.2881
8
9 | 9 | Pressure Relief Dampers | 4 | Nos | 19067.7966 | 22500 | 90000 | 2 | Nos | 19067.7966 | 38135.5932 | 6 | Nos | 19067.7966 | 114406.7797
9
10 | 10 | Single arm Anesthesia Pendants (Imported) | 4 | Nos | 1012711.8644 | 1195000 | 4780000 | 8 | Nos | 1012711.8644 | 8101694.9153 | 12 | Nos | 1012711.8644 | 12152542.3729
10
11 | 11 | Triple Dome Ceiling OT LED Lights (Imported) | 2 | Nos | 4025423.7288 | 4750000 | 9500000 |  | Nos | 4025423.7288 | 0 | 2 | Nos | 4025423.7288 | 8050847.4576
11
12 | 12 | Double Dome Ceiling OT LED Lights (Imported) | 2 | Nos | 3008474.5763 | 3550000 | 7100000 | 2 | Nos | 3008474.5763 | 6016949.1525 | 4 | Nos | 3008474.5763 | 12033898.3051
12
13 | 13 | Detachable Hi Definition Cameras in Triple Dome Ceiling OT Lights | 2 | Nos | 843220.339 | 995000 | 1990000 | 1 | Nos | 843220.339 | 843220.339 | 3 | Nos | 843220.339 | 2529661.0169
13
14 | 14 | Ceiling/Wall mounted CCTV Room Camera | 4 | Nos | 19067.7966 | 22500 | 90000 | 2 | Nos | 19067.7966 | 38135.5932 | 6 | Nos | 19067.7966 | 114406.7797
14
15 | 15 | LED Peripheral Lights cum clean room (OT) luminaries | 62 | Nos | 15889.8305 | 18750 | 1162500 | 40 | Nos | 15889.8305 | 635593.2203 | 102 | Nos | 15889.8305 | 1620762.7119
15
16 | 16 | View Window with Motorised Blinds of 1 Mt Length & 1 Mt Height | 7 | Nos | 97457.6271 | 115000 | 805000 | 2 | Nos | 97457.6271 | 194915.2542 | 9 | Nos | 97457.6271 | 877118.6441
16
17 | 17 | Hermetically Sealed Doors (1.80mt x 2.10 mt) | 4 | Nos | 97457.6271 | 115000 | 460000 | 2 | Nos | 97457.6271 | 194915.2542 | 6 | Nos | 97457.6271 | 584745.7627
17
18 | 18 | (1.50mt x 2.10 mt) Sliding Automatic Sliding Doors with View Windoy of 1 Mt x 1 Mt | 2 | Nos | 444915.2542 | 525000 | 1050000 |  | Nos | 444915.2542 | 0 | 2 | Nos | 444915.2542 | 889830.5085
18
19 | 19 | Storage Units | 4 | Nos | 63559.322 | 75000 | 300000 | 2 | Nos | 63559.322 | 127118.6441 | 6 | Nos | 63559.322 | 381355.9322
19
20 | 20 | Writing Board (List Board) | 4 | Nos | 15889.8305 | 18750 | 75000 | 2 | Nos | 15889.8305 | 31779.661 | 6 | Nos | 15889.8305 | 95338.9831
20
21 | 21 | X-Ray CT Scan LED viewing Screen | 4 | Nos | 31779.661 | 37500 | 150000 | 2 | Nos | 31779.661 | 63559.322 | 6 | Nos | 31779.661 | 190677.9661
21
22 | 22 | Touch Screen Surgeon Control Panels | 4 | Nos | 326271.1864 | 385000 | 1540000 | 2 | Nos | 326271.1864 | 652542.3729 | 6 | Nos | 326271.1864 | 1957627.1186
22
23 | 23 | 3-Bay Scrub Stations/Sinks | 2 | Nos | 312500 | 368750 | 737500 |  | Nos | 312500 | 0 | 2 | Nos | 312500 | 625000
23
24 | 24 | Video and Image Management system | 1 | Nos | 6779661.0169 | 8000000 | 8000000 |  | Nos | 6779661.0169 | 0 | 1 | Nos | 6779661.0169 | 6779661.0169
24
25 | 25 | Medical Grade Monitors 32 inch 4 K Resolution | 4 | Nos | 1097457.6271 | 1295000 | 5180000 | 2 | Nos | 1097457.6271 | 2194915.2542 | 6 | Nos | 1097457.6271 | 6584745.7627
25
26 | 26 | Wall mounted large screen display 55 inch (Commercial Grade) | 2 | Nos | 419491.5254 | 495000 | 990000 |  | Nos | 419491.5254 | 0 | 2 | Nos | 419491.5254 | 838983.0508
26
27 | 27 | Cable connections for integration within MOTs and with Workshop Projector Hall, Networks with OFC Cable | 4 | Job | 845338.9831 | 997500 | 3990000 | 2 | Job | 845338.9831 | 1690677.9661 | 6 | Job | 845338.9831 | 5072033.8983
27
28 | 28 | Wireless Microphone | 1 | Nos | 216101.6949 | 255000 | 255000 |  | Nos | 216101.6949 | 0 | 1 | Nos | 216101.6949 | 216101.6949
28
29 | 29 | Digital mixer Amplifier | 1 | Nos | 207627.1186 | 245000 | 245000 |  | Nos | 207627.1186 | 0 | 1 | Nos | 207627.1186 | 207627.1186
29
30 | 30 | Ceiling Mounted Speakers | 4 | Nos | 12711.8644 | 15000 | 60000 | 2 | Nos | 12711.8644 | 25423.7288 | 6 | Nos | 12711.8644 | 76271.1864
30
31 | 31 | Video Conferencing System | 1 | Nos | 1012711.8644 | 1195000 | 1195000 |  | Nos | 1012711.8644 | 0 | 1 | Nos | 1012711.8644 | 1012711.8644
31
32 | 32 | Home Theatre Power Conditioner, 230 V | 1 | Nos | 122881.3559 | 145000 | 145000 |  | Nos | 122881.3559 | 0 | 1 | Nos | 122881.3559 | 122881.3559
32
33 | 33 | Amplifier (8 Channel) | 1 | Nos | 207627.1186 | 245000 | 245000 |  | Nos | 207627.1186 | 0 | 1 | Nos | 207627.1186 | 207627.1186
33
34 | 34 | HiFi Active Sub Woofer | 1 | Nos | 42372.8814 | 50000 | 50000 |  | Nos | 42372.8814 | 0 | 1 | Nos | 42372.8814 | 42372.8814
34
35 | 35 | 4K Laser Projection TV | 1 | Nos | 1266949.1525 | 1495000 | 1495000 |  | Nos | 1266949.1525 | 0 | 1 | Nos | 1266949.1525 | 1266949.1525
35
36 | 36 | Equalization & Loud Speaker Control System | 1 | Nos | 33898.3051 | 40000 | 40000 |  | Nos | 33898.3051 | 0 | 1 | Nos | 33898.3051 | 33898.3051
36
37 | 37 | Sound Analog Mixer | 1 | Nos | 207627.1186 | 245000 | 245000 |  | Nos | 207627.1186 | 0 | 1 | Nos | 207627.1186 | 207627.1186
37
38 | 38 | Electrical Installations in MOTs & TIRs | 7 | Job | 165254.2373 | 195000 | 1365000 | 2 | Job | 165254.2373 | 330508.4746 | 9 | Job | 165254.2373 | 1487288.1356
38
39 | 39 | Stainless Steel Pre-fabricated Wall panels in TIRs | 202 | Sqm | 12720.339 | 15010 | 3032020 | 150 |  | 12720.339 |  | 352 |  | 12720.339 | 4477559.322
39
40 | 40 | Stainless Steel Pre-fabricated Ceiling panels in TIRs and TIR Corridor | 146 | Sqm | 12720.339 | 15010 | 2191460 | 8 |  | 12720.339 | 101762.7119 | 154 |  | 12720.339 | 1958932.2034
40
41 | 41 | Electro conductive Flooring inside TIRs | 146 | Sqm | 3419.4915 | 4035 | 589110 |  |  | 3419.4915 | 0 | 146 |  | 3419.4915 | 499245.7627
41
42 | 42 | Flooring with Vinyl Sheets In TIR Corridor | 61 |  | 3177.9661 | 3750 | 228750 |  |  | 3177.9661 | 0 | 61 |  | 3177.9661 | 193855.9322
42
43 | 43 | Uni Directional Ceiling Laminar Airflow Systems | 3 | Nos | 334745.7627 | 395000 | 1185000 |  | Nos | 334745.7627 | 0 | 3 | Nos | 334745.7627 | 1004237.2881
43
44 | 44 | Air Handling Units (AHUs) 11 TR | 2 | Nos | 1266949.1525 | 1495000 | 2990000 |  | Nos | 1266949.1525 | 0 | 2 | Nos | 1266949.1525 | 2533898.3051
44
45 | 45 | Air Handling Units (AHUs) 8.5 TR | 1 | Nos | 1012711.8644 | 1195000 | 1195000 |  | Nos | 1012711.8644 | 0 | 1 | Nos | 1012711.8644 | 1012711.8644
45
46 | 46 | Condensing Units | 3 | Nos | 292372.8814 | 345000 | 1035000 |  | Nos | 292372.8814 | 0 | 3 | Nos | 292372.8814 | 877118.6441
46
47 | 47 | Pressure Relief Dampers | 3 | Nos | 19067.7966 | 22500 | 67500 |  | Nos | 19067.7966 | 0 | 3 | Nos | 19067.7966 | 57203.3898
47
48 | 48 | Hermetically Sealed Doors (1.80mt x 2.10 mt) | 3 | Nos | 444915.2542 | 525000 | 1575000 |  | Nos | 444915.2542 | 0 | 3 | Nos | 444915.2542 | 1334745.7627
48
49 | 49 | 12mm thick glazed Glass partition walls in TIRs | 40 | Sqm | 550.8475 | 650 | 26000 |  | Sqm | 550.8475 | 0 | 40 | Sqm | 550.8475 | 22033.8983
49
50 | 50 | Wall mounted LED TV43 inchesFull HD | 3 | Nos | 139830.5085 | 165000 | 495000 |  | Nos | 139830.5085 | 0 | 3 | Nos | 139830.5085 | 419491.5254
50
51 | 51 | Ceiling/Wall mounted CCTV Room Camera | 3 | Nos | 10169.4915 | 12000 | 36000 |  | Nos | 10169.4915 | 0 | 3 | Nos | 10169.4915 | 30508.4746
51
52 | 52 | BED HEAD PANEL FOR TIR WITH DOUBLE OUTLETS AND ELECTRICAL OUTLETS | 3 | Nos | 41949.1525 | 49500 | 148500 |  | Nos | 41949.1525 | 0 | 3 | Nos | 41949.1525 | 125847.4576
52
53 | 5 | X-RAY VIEWERS FOR ALL ICUS AND PRE OPP AREAS AND DOCTORS ROOMS | 5 | Nos | 31779.661 | 37500 | 187500 |  | Nos | 31779.661 | 0 | 5 | Nos | 31779.661 | 158898.3051
53
54 | 54 | WRITING BOARDS FOR ICUS, PRE OPP | 5 | Nos | 15889.8305 | 18750 | 93750 |  | Nos | 15889.8305 | 0 | 5 | Nos | 15889.8305 | 79449.1525
54
55 | 55 | CCTV CEILING CAMERA | 10 | Nos | 8050.8475 | 9500 | 95000 |  | Nos | 8050.8475 | 0 | 10 | Nos | 8050.8475 | 80508.4746
55
56 | 56 | Supply and Fixing of 25mm dia Conduit Pipes surface on wall. | 10000 | Rmt | 93.2203 | 110 | 1100000 |  | Rmt | 93.2203 | 0 | 10000 | Rmt | 93.2203 | 932203.3898
56
57 | 57 | Supply and Fixing of 25mm dia Conduit Pipes Concealed on wall. | 4000 | Rmt | 97.4576 | 115 | 460000 |  | Rmt | 97.4576 | 0 | 4000 | Rmt | 97.4576 | 389830.5085
57
58 | 58 | Wiring with run of 2 of 1.5 Sqmm Copper cable for points wiring. | 570 | Pts | 1292.3729 | 1525 | 869250 |  | Pts | 1292.3729 | 0 | 570 | Pts | 1292.3729 | 736652.5424
58
59 | 59 | Wiring with run of 2 of 1.5 Sqmm Copper cable for stairecase points wiring. | 10 | Pts | 932.2034 | 1100 | 11000 |  | Pts | 932.2034 | 0 | 10 | Pts | 932.2034 | 9322.0339
59
60 | 60 | Supply and fixing of 6A/10A ISI Mark 3/2 pin Modular socket Common switch board | 25 | Pts | 762.7119 | 900 | 22500 |  | Pts | 762.7119 | 0 | 25 | Pts | 762.7119 | 19067.7966
60
61 | 61 | Wiring with 3 of 1.5 sq.mm with 6A switch and 6A, 3/2 pin socket Modular type with 6A switch control fixing on separate board. | 50 | Pts | 2372.8814 | 2800 | 140000 |  | Pts | 2372.8814 | 0 | 50 | Pts | 2372.8814 | 118644.0678
61
62 | 62 | Supply and fixing of 6A switchs - 2 Nos and 6A 3/2 pin socket - 3 Nos Modular type with cover plate | 200 | Pts | 1186.4407 | 1400 | 280000 |  | Pts | 1186.4407 | 0 | 200 | Pts | 1186.4407 | 237288.1356
62
63 | 63 | Supply & fixing of 16A/6A, 2 in one socket with 16A switch control modular type | 200 | Nos | 762.7119 | 900 | 180000 |  | Nos | 762.7119 | 0 | 200 | Nos | 762.7119 | 152542.3729
63
64 | 64 | Supply & fixing of 32A, socket with switch control modular | 18 | Nos | 1355.9322 | 1600 | 28800 |  | Nos | 1355.9322 | 0 | 18 | Nos | 1355.9322 | 24406.7797
64
65 | 65 | Supply & fixing of 64A, socket with 64A switch control modular type | 4 | Nos | 15254.2373 | 18000 | 72000 |  | Nos | 15254.2373 | 0 | 4 | Nos | 15254.2373 | 61016.9492
65
66 | 66 | Supply and Run of 1 of 1.5 sq.mm (phase, neutral and earth) FRLSH / HFFR PVC insulated 1100V grade as per IS:694/1990, IS 17048 specifications for Copper cable. | 2000 | Rmt | 30.5085 | 36 | 72000 |  | Rmt | 30.5085 | 0 | 2000 | Rmt | 30.5085 | 61016.9492
66
67 | 67 | Supply and Run of 3 of 1.5 sq.mm (phase, neutral and earth) FRLSH / HFFR PVC insulated 1100V grade as per IS:694/1990, IS 17048 specifications for Copper cable . | 2000 | Rmt | 84.7458 | 100 | 200000 |  | Rmt | 84.7458 | 0 | 2000 | Rmt | 84.7458 | 169491.5254
67
68 | 68 | Supply and Run of 3 of 2.5 sq.mm (phase, neutral and earth) FRLSH / HFFR PVC insulated 1100V grade as per IS:694/1990, IS 17048 specifications for Copper cable. | 8000 | Rmt | 122.8814 | 145 | 1160000 |  | Rmt | 122.8814 | 0 | 8000 | Rmt | 122.8814 | 983050.8475
68
69 | 69 | Supply and Run of 3 runs of 4.0 sq mm (phase neutral and earth) FRLSH / HFFR PVC insulated 1100V grade as per IS:694/1990, IS 17048 specifications for Copper cable. | 5000 | Rmt | 194.9153 | 230 | 1150000 |  | Rmt | 194.9153 | 0 | 5000 | Rmt | 194.9153 | 974576.2712
69
70 | 70 | Supply and Run of 3 of 6.0 Sq.mm FRLSH / HFFR PVC insulated 1100V grade as per IS:694/1990, IS 17048 specifications for Copper cable. | 300 | Rmt | 275.4237 | 325 | 97500 |  | Rmt | 275.4237 | 0 | 300 | Rmt | 275.4237 | 82627.1186
70
71 | 71 | Supply and Run of 5 of 6.0 Sq.mm FRLSH / HFFR PVC insulated 1100V grade as per IS:694/1990, IS 17048 specifications for Copper cable. | 300 | Rmt | 461.8644 | 545 | 163500 |  | Rmt | 461.8644 | 0 | 300 | Rmt | 461.8644 | 138559.322
71
72 | 72 | Supply and Run of 5 of 10.0 Sq.mm FRLSH / HFFR PVC insulated 1100V grade as per IS:694/1990, IS 17048 specifications for Copper cable. | 500 | Rmt | 720.339 | 850 | 425000 |  | Rmt | 720.339 | 0 | 500 | Rmt | 720.339 | 360169.4915
72
73 | 73 | Supply and fixing of DP Metal Enclosure with IP 20 Protection DB Make with 1 No 20A, 10 KA DP MCB | 8 | Nos | 1525.4237 | 1800 | 14400 |  | Nos | 1525.4237 | 0 | 8 | Nos | 1525.4237 | 12203.3898
73
74 | 74 | Supply and fixing of 4 Way TPN DB Horizontal with IP 43 Protection as per IS:13032 (For Lighting DBs) | 10 | Nos | 11016.9492 | 13000 | 130000 |  | Nos | 11016.9492 | 0 | 10 | Nos | 11016.9492 | 110169.4915
74
75 | 75 | Supply and fixing of 4 Way TPN DB Horizontal with IP 43 Protection as per IS:13032 (For Power DB's) | 14 | Nos | 11016.9492 | 13000 | 182000 |  | Nos | 11016.9492 | 0 | 14 | Nos | 11016.9492 | 154237.2881
75
76 | 76 | Supply and fixing of 8 Way VTPN DB with IP 43 Protection as per IS:13032 | 5 | Nos | 42372.8814 | 50000 | 250000 |  | Nos | 42372.8814 | 0 | 5 | Nos | 42372.8814 | 211864.4068
76
77 | 77 | Supply and fixing of cable adopteres box with cover for DBs including, massanory work etc., complete., | 10 | Nos | 5084.7458 | 6000 | 60000 |  | Nos | 5084.7458 | 0 | 10 | Nos | 5084.7458 | 50847.4576
77
78 | 78 | Providing independent earthing for Important equipment with 40mm dia 'B' class 2.5m long G.I pipe (GI Earthing) | 18 | Nos | 19067.7966 | 22500 | 405000 |  | Nos | 19067.7966 | 0 | 18 | Nos | 19067.7966 | 343220.339
78
79 | 79 | Providing independent earthing by exacavating a pit to a depth of 2.25Mtr in all soils as per size specified in the data for Sophisticated Electronic equipment (Copper Earthing) | 18 | Nos | 45762.7119 | 54000 | 972000 |  | Nos | 45762.7119 | 0 | 18 | Nos | 45762.7119 | 823728.8136
79
80 | 80 | Providing independent earthing for Important equipment with 100mm dia Heavy gauge C.I Earthing | 6 | Nos | 21186.4407 | 25000 | 150000 |  | Nos | 21186.4407 | 0 | 6 | Nos | 21186.4407 | 127118.6441
80
81 | 81 | Supply and Run of 50mm x 6mm G.I Strip | 400 | Rmt | 381.3559 | 450 | 180000 |  | Rmt | 381.3559 | 0 | 400 | Rmt | 381.3559 | 152542.3729
81
82 | 82 | Supply and Run of 25mm x 3mm copper strip | 400 | Rmt | 254.2373 | 300 | 120000 |  | Rmt | 254.2373 | 0 | 400 | Rmt | 254.2373 | 101694.9153
82
83 | 83 | Supply, transportation and fixing of 22W +/ 10% , >/ 2300 lumens, 1200mm length LED light | 20 | Nos | 4067.7966 | 4800 | 96000 |  | Nos | 4067.7966 | 0 | 20 | Nos | 4067.7966 | 81355.9322
83
84 | 84 | Supply, transportation and fixing 32-36W (>=3600 Lumens), 2' x2' (600mm x 600mm) slim panel LED luminaire | 60 | Nos | 3389.8305 | 4000 | 240000 |  | Nos | 3389.8305 | 0 | 60 | Nos | 3389.8305 | 203389.8305
84
85 | 85 | Supply, transportation and fixing 12 W +/-10% (>= 1200 Lumens) Down lighter back lit LED Down Light Recessed / Surface | 215 | Nos | 1186.4407 | 1400 | 301000 |  | Nos | 1186.4407 | 0 | 215 | Nos | 1186.4407 | 255084.7458
85
86 | 86 | Supply, transportation and fixing 18 W +/-10% (>= 1800 Lumens) Down lighter back lit LED Down Light | 95 | Nos | 1525.4237 | 1800 | 171000 |  | Nos | 1525.4237 | 0 | 95 | Nos | 1525.4237 | 144915.2542
86
87 | 87 | Supply, transportation and fixing ISI mark batten holder / slanting holder | 8 | Nos | 135.5932 | 160 | 1280 |  | Nos | 135.5932 | 0 | 8 | Nos | 135.5932 | 1084.7458
87
88 | 88 | Supply, Transportation of energy efficient fan, 1200 mm sweep, aluminium body, consuming 28 W, BEE 5 star rated, ceiling fan | 40 | Nos | 3135.5932 | 3700 | 148000 |  | Nos | 3135.5932 | 0 | 40 | Nos | 3135.5932 | 125423.7288
88
89 | 89 | Supply and fixing of Modular type Stepped electronic regulator. | 40 | Nos | 847.4576 | 1000 | 40000 |  | Nos | 847.4576 | 0 | 40 | Nos | 847.4576 | 33898.3051
89
90 | 90 | Labour charges for fixing of ceiling fan and regulator | 40 | Nos | 177.9661 | 210 | 8400 |  | Nos | 177.9661 | 0 | 40 | Nos | 177.9661 | 7118.6441
90
91 | 91 | Supply and erecting 19/20mm steel tube down rod of one meter length | 40 | Nos | 508.4746 | 600 | 24000 |  | Nos | 508.4746 | 0 | 40 | Nos | 508.4746 | 20338.9831
91
92 | 92 | Supply of 12" (300mm) Light duty exhaust fan | 5 | Nos | 2542.3729 | 3000 | 15000 |  | Nos | 2542.3729 | 0 | 5 | Nos | 2542.3729 | 12711.8644
92
93 | 93 | Supply,Transportation of 12" (300mm) ISI, 900 RPM Heavy duty exhaust fan | 10 | Nos | 4152.5424 | 4900 | 49000 |  | Nos | 4152.5424 | 0 | 10 | Nos | 4152.5424 | 41525.4237
93
94 | 94 | Labour charges for fixing the exhaust fan in wall with necessary connections | 15 | Nos | 762.7119 | 900 | 13500 |  | Nos | 762.7119 | 0 | 15 | Nos | 762.7119 | 11440.678
94
95 | 95 | Supply and fixing of GI louver shutter including GI mesh | 15 | Nos | 2711.8644 | 3200 | 48000 |  | Nos | 2711.8644 | 0 | 15 | Nos | 2711.8644 | 40677.9661
95
96 | 96 | Main Power Panel with 1000A 4 Pole ACB as incomer - 1 No and out goings 800 A 4P MCCB - 1 No., 630 A 4P MCCB - 1 No., 400A 4P MCCB - 4 Nos & 250A 4P MCCB - 3 No's with required Digital Ammeter and Voltmer, LED Indicators | 1 | Nos | 1114406.7797 | 1315000 | 1315000 |  | Nos | 1114406.7797 | 0 | 1 | Nos | 1114406.7797 | 1114406.7797
96
97 | 97 | Floor Power Panel : Incomer: 630A 4 Pole MCCB,- 1 No Outgoings 250 A 4P MCCB - 4 No's 125 A 4P MCCB - 10 No's, 63 A 4P MCCB - 4 No's with required Digital Ammeter and Voltmer, LED Indicators | 1 | Nos | 741525.4237 | 875000 | 875000 |  | Nos | 741525.4237 | 0 | 1 | Nos | 741525.4237 | 741525.4237
97
98 | 98 | Electrical Lighting Panels : Incomer: 250 A 4 Pole MCCB - 1 No, Out Goings 125 A 4P MCCB - 4 No's 63 A 4P MCCB - 3 No's with required Digital Ammeter and Voltmer, LED Indicators | 2 | Nos | 313559.322 | 370000 | 740000 |  | Nos | 313559.322 | 0 | 2 | Nos | 313559.322 | 627118.6441
98
99 | 99 | 130KVAR Out Door Capacitor panel : Incomer: 250A FP MCCB - 1 No, 63A 10KA TP MCB - 9 Nos. 20 KVAR Capacitor Duty contactors - 5 Nos., 10 KVAR Capacitor Duty contactors - 2 Nos, .5 KVAR Capacitor Duty contactors - 2 Nos. 12 stage APFC Relay - 1 No | 1 | Nos | 381355.9322 | 450000 | 450000 |  | Nos | 381355.9322 | 0 | 1 | Nos | 381355.9322 | 381355.9322
99
100 | 100 | 630 KVA Transformer OLTC for transformers with RTCC: Supply, Transportation, Installation, Testing and Commissioning of 630 KVA TRANSFORMER with all test reports. The Transformer shall be designed and manufactured as per IS:1180 OLTC with level-II with initial filling of oil as per IS 335-1993. 1000 A LT Breaker Kiosk - 01 No.The basic details of the Transformer are as under. Makes: Kirloskar / PETE / Esennar / Voltamp / Crompton / ABB / Schneider. | 1 | Nos | 3389830.5085 | 4000000 | 4000000 |  | Nos | 3389830.5085 | 0 | 1 | Nos | 3389830.5085 | 3389830.5085
100
101 | 101 | Supply of 25 Sqmm 3.5 Core XLPE insulated UG Cable. | 200 | Rmt | 254.2373 | 300 | 60000 |  | Rmt | 254.2373 | 0 | 200 | Rmt | 254.2373 | 50847.4576
101
102 | 102 | Supply of 50 Sqmm 3.5 Core XLPE insulated UG Cable. | 200 | Rmt | 474.5763 | 560 | 112000 |  | Rmt | 474.5763 | 0 | 200 | Rmt | 474.5763 | 94915.2542
102
103 | 103 | Supply of 70 Sqmm 3.5 Core XLPE insulated UG Cable. | 75 | Rmt | 635.5932 | 750 | 56250 |  | Rmt | 635.5932 | 0 | 75 | Rmt | 635.5932 | 47669.4915
103
104 | 104 | Supply of 120 Sqmm 3.5 Core XLPE insulated UG Cable. | 50 | Rmt | 889.8305 | 1050 | 52500 |  | Rmt | 889.8305 | 0 | 50 | Rmt | 889.8305 | 44491.5254
104
105 | 105 | Supply of 185 Sqmm 3.5 Core XLPE insulated UG Cable. | 50 | Rmt | 1271.1864 | 1500 | 75000 |  | Rmt | 1271.1864 | 0 | 50 | Rmt | 1271.1864 | 63559.322
105
106 | 106 | Supply of 240 Sqmm 3.5 Core XLPE insulated UG Cable. | 100 | Rmt | 1610.1695 | 1900 | 190000 |  | Rmt | 1610.1695 | 0 | 100 | Rmt | 1610.1695 | 161016.9492
106
107 | 107 | Supply of 300 Sqmm 3.5 Core XLPE insulated UG Cable. | 500 | Rmt | 2033.8983 | 2400 | 1200000 |  | Rmt | 2033.8983 | 0 | 500 | Rmt | 2033.8983 | 1016949.1525
107
108 | 108 | Termination of UG cables of 3.5 core 25 Sq.mm | 8 | Nos | 720.339 | 850 | 6800 |  | Nos | 720.339 | 0 | 8 | Nos | 720.339 | 5762.7119
108
109 | 109 | Termination of UG cables of 3.5 core 50 Sq.mm | 8 | Nos | 1016.9492 | 1200 | 9600 |  | Nos | 1016.9492 | 0 | 8 | Nos | 1016.9492 | 8135.5932
109
110 | 110 | Termination of UG cables of 3.5 core 70 Sq.mm | 8 | Nos | 1271.1864 | 1500 | 12000 |  | Nos | 1271.1864 | 0 | 8 | Nos | 1271.1864 | 10169.4915
110
111 | 111 | Termination of UG cables of 3.5 core 120 Sq.mm | 4 | Nos | 1610.1695 | 1900 | 7600 |  | Nos | 1610.1695 | 0 | 4 | Nos | 1610.1695 | 6440.678
111
112 | 112 | Termination of UG cables of 3.5 core 185 Sq.mm | 4 | Nos | 2118.6441 | 2500 | 10000 |  | Nos | 2118.6441 | 0 | 4 | Nos | 2118.6441 | 8474.5763
112
113 | 113 | Termination of UG cables of 3.5 core 240 Sq.mm | 4 | Nos | 2966.1017 | 3500 | 14000 |  | Nos | 2966.1017 | 0 | 4 | Nos | 2966.1017 | 11864.4068
113
114 | 114 | Termination of UG cables of 3.5 core 300 Sq.mm | 12 | Nos | 3389.8305 | 4000 | 48000 |  | Nos | 3389.8305 | 0 | 12 | Nos | 3389.8305 | 40677.9661
114
115 | 115 | Earth work excavation of Trench laying of U.G cables up to 70 sqmm | 100 | Rmt | 932.2034 | 1100 | 110000 |  | Rmt | 932.2034 | 0 | 100 | Rmt | 932.2034 | 93220.339
115
116 | 116 | Earth work excavation of Trench laying of U.G cables from 95 Sqmm | 100 | Rmt | 974.5763 | 1150 | 115000 |  | Rmt | 974.5763 | 0 | 100 | Rmt | 974.5763 | 97457.6271
116
117 | 117 | Laying of PVC armoured under ground cable up to 95 Sqmm on wall | 200 | Rmt | 105.9322 | 125 | 25000 |  | Rmt | 105.9322 | 0 | 200 | Rmt | 105.9322 | 21186.4407
117
118 | 118 | Laying of PVC armoured under ground cable from 120 Sq.mm to 400 Sqmm saddles on wall | 700 | Rmt | 228.8136 | 270 | 189000 |  | Rmt | 228.8136 | 0 | 700 | Rmt | 228.8136 | 160169.4915
118
119 | 119 | Supply, Transportation and Installation of 150mm x 50mm x 2mm thick hot dip GI perforated cable tray | 200 | Rmt | 1097.4576 | 1295 | 259000 |  | Rmt | 1097.4576 | 0 | 200 | Rmt | 1097.4576 | 219491.5254
119
120 | 120 | Supply, Transportation and Installation of 300mm x 50mm x 2mm thick thick hot dip GI perforated cable tray | 100 | Rmt | 3813.5593 | 4500 | 450000 |  | Rmt | 3813.5593 | 0 | 100 | Rmt | 3813.5593 | 381355.9322
120
121 | 121 | Supply, Transportation and installation of 10KVA / 312V DC on line UPS system | 7 | Nos | 338983.0508 | 400000 | 2800000 | 2 | Nos | 338983.0508 | 677966.1017 | 9 | Nos | 338983.0508 | 3050847.4576
121
122 | 122 | Supply and fixing of 12V, 150 AH MF battery | 182 | Nos | 21186.4407 | 25000 | 4550000 | 52 | Nos | 21186.4407 | 1101694.9153 | 234 | Nos | 21186.4407 | 4957627.1186
122
123 | 123 | Supply and providing of UPS cum battery rack 20 batteries | 7 | Nos | 25423.7288 | 30000 | 210000 | 2 | Nos | 25423.7288 | 50847.4576 | 9 | Nos | 25423.7288 | 228813.5593
123
124 | 124 | Supply, Transportation, Installation, Testing and commissioning of storage / Pressure type 5 Star rated water heater with ABS plastic body of 15 Ltrs | 7 | Nos | 13559.322 | 16000 | 112000 |  | Nos | 13559.322 | 0 | 7 | Nos | 13559.322 | 94915.2542
124
125 | 125 | 26 persons ICU bed cum passenger lift (1768 Kgs) G+8 Floors, 9 stops,9 Openings (Cost Includes amount for Construction of Shaft / Cladding from Ground to 8th Floor) | 1 | Nos | 8894067.7966 | 10495000 | 10495000 |  | Nos | 8894067.7966 | 0 | 1 | Nos | 8894067.7966 | 8894067.7966
125
126 | 126 | 1.50 TR with , 18000 BTU/Hr High Wall mount Split Air Conditioners | 6 | Nos | 127118.6441 | 150000 | 900000 |  | Nos | 127118.6441 | 0 | 6 | Nos | 127118.6441 | 762711.8644
126
127 | 127 | 2.0 TR with , 24000 BTU/Hr High Wall mount Split Air Conditioners | 2 | Nos | 177966.1017 | 210000 | 420000 |  | Nos | 177966.1017 | 0 | 2 | Nos | 177966.1017 | 355932.2034
127
128 | 128 | Voltage stabilizer for 4 KVA maximum load | 6 | Nos | 5932.2034 | 7000 | 42000 |  | Nos | 5932.2034 | 0 | 6 | Nos | 5932.2034 | 35593.2203
128
129 | 129 | Voltage stabilizer for 5 KVA maximum load | 2 | Nos | 7203.3898 | 8500 | 17000 |  | Nos | 7203.3898 | 0 | 2 | Nos | 7203.3898 | 14406.7797
129
130 | 130 | Ductable Air Conditioners 11.0 TR with ISEER ≥ 4 | 1 | Nos | 1016949.1525 | 1200000 | 1200000 |  | Nos | 1016949.1525 | 0 | 1 | Nos | 1016949.1525 | 1016949.1525
130
131 | 131 | Ductable Air Conditioners 8.5 TR with ISEER ≥ 4 | 2 | Nos | 847457.6271 | 1000000 | 2000000 |  | Nos | 847457.6271 | 0 | 2 | Nos | 847457.6271 | 1694915.2542
131
132 | 132 | Ductable Air Conditioners 5.5 TR with ISEER ≥ 4 | 1 | Nos | 762711.8644 | 900000 | 900000 |  | Nos | 762711.8644 | 0 | 1 | Nos | 762711.8644 | 762711.8644
132
133 | 133 | Automatic Smoke Detection System | 1 | Job | 1207627.1186 | 1425000 | 1425000 |  | Job | 1207627.1186 | 0 | 1 | Job | 1207627.1186 | 1207627.1186
133
134 | 134 | Automatic Fire Alarm System | 1 | Job | 1186440.678 | 1400000 | 1400000 |  | Job | 1186440.678 | 0 | 1 | Job | 1186440.678 | 1186440.678
134
135 | 135 | Supply & Fixing of 4.5Kg, CO2 Type Fire Extinguisher. | 6 | Nos | 22881.3559 | 27000 | 162000 |  | Nos | 22881.3559 | 0 | 6 | Nos | 22881.3559 | 137288.1356
135
136 | 136 | Supply and fixing of ABC stored pressure squeeze grip type fire extinguishers, 9 kg capacity. | 6 | Nos | 13559.322 | 16000 | 96000 |  | Nos | 13559.322 | 0 | 6 | Nos | 13559.322 | 81355.9322
136
137 | 137 | Supply and fixing of ABC Powder MAP 4 Kg Fire extinguisher | 10 | Nos | 9322.0339 | 11000 | 110000 |  | Nos | 9322.0339 | 0 | 10 | Nos | 9322.0339 | 93220.339
137
138 | 138 | Supply and fixing of 2 Kg Fire extinguisher Clean Agent | 10 | Nos | 19067.7966 | 22500 | 225000 |  | Nos | 19067.7966 | 0 | 10 | Nos | 19067.7966 | 190677.9661
138
139 | 139 | Supply and fixing of Escape signage boards in Rigid Photo luminescent based glow | 150 | Nos | 1694.9153 | 2000 | 300000 |  | Nos | 1694.9153 | 0 | 150 | Nos | 1694.9153 | 254237.2881
139
140 | 140 | Supply & Fixing of Powder Coated Fire Rated doors. | 6 | Sqm | 24576.2712 | 29000 | 174000 |  | Sqm | 24576.2712 | 0 | 6 | Sqm | 24576.2712 | 147457.6271
140
141 | 141 | Telephone & EPABX System | 1 | Job | 847457.6271 | 1000000 | 1000000 |  | Job | 847457.6271 | 0 | 1 | Job | 847457.6271 | 847457.6271
141
142 | 142 | Local Area Network (LAN) System | 1 | Job | 1059322.0339 | 1250000 | 1250000 |  | Job | 1059322.0339 | 0 | 1 | Job | 1059322.0339 | 1059322.0339
142
143 | 143 | Biometric Access Control System | 2 | Nos | 254237.2881 | 300000 | 600000 |  | Nos | 254237.2881 | 0 | 2 | Nos | 254237.2881 | 508474.5763
143
144 | 144 | Dismantling, clearing away and carefully stacking useful materials for re-use and disposal of unserviceable materials with 100m lead as directed by Engineer-in-Charge duly taking actual premeasurements before dismantling including all charges complete (Reinforced cement concrete) | 10 | Cum | 4576.2712 | 5400 | 54000 |  | Cum | 4576.2712 | 0 | 10 | Cum | 4576.2712 | 45762.7119
144
145 | 145 | Dismantling, clearing away and carefully stacking useful materials for re-use and disposal of unserviceable materials with 100m lead as directed by Engineer-in-Charge duly taking actual premeasurements before dismantling including all charges complete (Unreinforced cement concrete) | 1.5 | Cum | 3813.5593 | 4500 | 6750 |  | Cum | 3813.5593 | 0 | 1.5 | Cum | 3813.5593 | 5720.339
145
146 | 146 | Dismantling, clearing away and carefully stacking useful materials for re-use and disposal of unserviceable materials with 100m lead as directed by Engineer-in-Charge duly taking actual premeasurements before dismantling including all charges complete (Brick Masonary) | 118 | Cum | 762.7119 | 900 | 106200 |  | Cum | 762.7119 | 0 | 118 | Cum | 762.7119 | 90000
146
147 | 147 | Dismantling, clearing away and carefully stacking useful materials for re-use and disposal of unserviceable materials with 100m lead as directed by Engineer-in-Charge duly taking actual premeasurements before dismantling including all charges complete (Kadapa slabs or shahabad stone slabs on sand bed) | 25 | Sqm | 533.8983 | 630 | 15750 |  | Sqm | 533.8983 | 0 | 25 | Sqm | 533.8983 | 13347.4576
147
148 | 148 | Dismantling doors, windows and clear storey windows, Ventilators etc., (wood or steel) shutters including Chowkhats, architraves,hold fasts and other attachments etc., and stacking them within 100m lead including charge etc., complete for finished item of work. (Not exceeding 3 sqm in area) | 57 | Nos | 1525.4237 | 1800 | 102600 |  | Nos | 1525.4237 | 0 | 57 | Nos | 1525.4237 | 86949.1525
148
149 | 149 | Conveyance of un-useful excavated earth to a distance of 16 KM for disposal including hire charges of T and P, labour charges etc., complete for finished item of work. | 250 | Cum | 762.7119 | 900 | 225000 |  | Cum | 762.7119 | 0 | 250 | Cum | 762.7119 | 190677.9661
149
150 | 150 | RCC M 25 grade design mix (For lintels) | 3 | Cum | 16016.9492 | 18900 | 56700 |  | Cum | 16016.9492 | 0 | 3 | Cum | 16016.9492 | 48050.8475
150
151 | 151 | RCC M 20 grade design mix (50mm thick platforms) | 12 | Sqm | 991.5254 | 1170 | 14040 |  | Sqm | 991.5254 | 0 | 12 | Sqm | 991.5254 | 11898.3051
151
152 | 152 | RCC M 20 grade design mix (25 mm thick Shelves) | 12 | Sqm | 762.7119 | 900 | 10800 |  | Sqm | 762.7119 | 0 | 12 | Sqm | 762.7119 | 9152.5424
152
153 | 153 | Brick Masonry work in CM (1:6) prop in superstructure | 3 | Cum | 12966.1017 | 15300 | 45900 |  | Cum | 12966.1017 | 0 | 3 | Cum | 12966.1017 | 38898.3051
153
154 | 154 | Reinforced Masonry for partition walls (100 mm thick) in CM (1:4) | 500 | Sqm | 2288.1356 | 2700 | 1350000 |  | Sqm | 2288.1356 | 0 | 500 | Sqm | 2288.1356 | 1144067.7966
154
155 | 155 | PCC (1:3:6) nominal mix using 20mm size graded m/c (For bed blocks and hold fasts) | 1.5 | Cum | 7627.1186 | 9000 | 13500 |  | Cum | 7627.1186 | 0 | 1.5 | Cum | 7627.1186 | 11440.678
155
156 | 156 | Filling with light weight concrete in Cement Concrete (1:5:10) proportion using brick jelly for low roofs | 23 | Cum | 6101.6949 | 7200 | 165600 |  | Cum | 6101.6949 | 0 | 23 | Cum | 6101.6949 | 140338.9831
156
157 | 157 | Thermo Mechanically Treated (Fe -500/500D/550D) for RCC works | 1.25 | MT | 106779.661 | 126000 | 157500 |  | MT | 106779.661 | 0 | 1.25 | MT | 106779.661 | 133474.5763
157
158 | 158 | Plastering 12mm thick in two coats with base coat of 8mm thick in CM (1:6) and top coat of 4mm thick in CM (1:4). for Internal walls. | 1600 | Sqm | 1037.2881 | 1224 | 1958400 |  | Sqm | 1037.2881 | 0 | 1600 | Sqm | 1037.2881 | 1659661.0169
158
159 | 159 | Impervious coat to exposed RCC roof slab surfaces (APSS No. 901 and 903) For Toilets | 77.78 | Sqm | 305.0847 | 360 | 28000.8 |  | Sqm | 305.0847 | 0 | 77.78 | Sqm | 305.0847 | 23729.4915
159
160 | 160 | Providing and applying Wall putty of White Cement or Polymer or Cement based of average 1 to 2 mm thickness over plastered surface to prepare the surface even and smooth after thoroughly brushing the surface to remove all dirt and remains of loose powdered materials, applying emery paper, Sand the surface, clean & wipe off loose dust, applying knifing paste filler by putty knife / muslin pad, air dry for 2 - 3 | 4447 | Sqm | 228.8136 | 270 | 1200690 |  | Sqm | 228.8136 | 0 | 4447 | Sqm | 228.8136 | 1017533.8983
160
161 | 161 | Flooring with non-skid full body ceramic floor tiles | 85 | Sqm | 1449.1525 | 1710 | 145350 |  | Sqm | 1449.1525 | 0 | 85 | Sqm | 1449.1525 | 123177.9661
161
162 | 162 | Dadooing to walls with glazed full body Porcelain wall tiles | 225 | Sqm | 1220.339 | 1440 | 324000 |  | Sqm | 1220.339 | 0 | 225 | Sqm | 1220.339 | 274576.2712
162
163 | 163 | Dadooing to walls with glazed full body Ceramic tiles | 350 | Sqm | 1220.339 | 1440 | 504000 |  | Sqm | 1220.339 | 0 | 350 | Sqm | 1220.339 | 427118.6441
163
164 | 164 | Painting one coat water based cement primer of interior grade I and two coats of acrylic emulsion paint for ceiling and Walls | 4447 | Sqm | 305.0847 | 360 | 1600920 |  | Sqm | 305.0847 | 0 | 4447 | Sqm | 305.0847 | 1356711.8644
164
165 | 165 | Painting to new wood work | 313 | Sqm | 305.0847 | 360 | 112680 |  | Sqm | 305.0847 | 0 | 313 | Sqm | 305.0847 | 95491.5254
165
166 | 166 | Painting to new iron work | 88 | Sqm | 228.8136 | 270 | 23760 |  | Sqm | 228.8136 | 0 | 88 | Sqm | 228.8136 | 20135.5932
166
167 | 167 | Two shutter cupboards | 100 | Sqm | 7627.1186 | 9000 | 900000 |  | Sqm | 7627.1186 | 0 | 100 | Sqm | 7627.1186 | 762711.8644
167
168 | 168 | UPVC Fixed Louvered Ventilator | 7 | Sqm | 10169.4915 | 12000 | 84000 |  | Sqm | 10169.4915 | 0 | 7 | Sqm | 10169.4915 | 71186.4407
168
169 | 169 | UPVC 3 track Sliding Windows | 15 | Sqm | 7627.1186 | 9000 | 135000 |  | Sqm | 7627.1186 | 0 | 15 | Sqm | 7627.1186 | 114406.7797
169
170 | 170 | MS Grills to Windows | 150 | Sqm | 1525.4237 | 1800 | 270000 |  | Sqm | 1525.4237 | 0 | 150 | Sqm | 1525.4237 | 228813.5593
170
171 | 171 | Flooring with 16 to 18 mm thick high polished granite stone slabs black colour for platforms (S.S.701 and special) | 50 | Sqm | 5338.9831 | 6300 | 315000 |  | Sqm | 5338.9831 | 0 | 50 | Sqm | 5338.9831 | 266949.1525
171
172 | 172 | Doors as per approved drawings with medium teak wood frame (1500mm x 2600mm) | 50 | Sqm | 5338.9831 | 6300 | 315000 |  | Sqm | 5338.9831 | 0 | 50 | Sqm | 5338.9831 | 266949.1525
172
173 | 173 | Doors as per approved drawings with medium teak wood frame (1000mm x 2100mm) | 45 | Sqm | 6271.1864 | 7400 | 333000 |  | Sqm | 6271.1864 | 0 | 45 | Sqm | 6271.1864 | 282203.3898
173
174 | 174 | Doors Shutters WPC(800mm x 2100mm) | 40 | Sqm | 4576.2712 | 5400 | 216000 |  | Sqm | 4576.2712 | 0 | 40 | Sqm | 4576.2712 | 183050.8475
174
175 | 175 | Scientific Doors with metal door frames and door shutters made of galvanize steel | 45 | Sqm | 15254.2373 | 18000 | 810000 |  | Sqm | 15254.2373 | 0 | 45 | Sqm | 15254.2373 | 686440.678
175
176 | 176 | False ceiling as per Technical specification | 1400 | Sqm | 1525.4237 | 1800 | 2520000 |  | Sqm | 1525.4237 | 0 | 1400 | Sqm | 1525.4237 | 2135593.2203
176
177 | 177 | Vinyl flooring | 500 | Sqm | 2542.3729 | 3000 | 1500000 |  | Sqm | 2542.3729 | 0 | 500 | Sqm | 2542.3729 | 1271186.4407
177
178 | 178 | Impervious coat to exposed RCC roof slab surfacesof 20mm thick (APSS No. 901 and 903) | 350 | Sqm | 1067.7966 | 1260 | 441000 |  | Sqm | 1067.7966 | 0 | 350 | Sqm | 1067.7966 | 373728.8136
178
179 | 179 | Fixed Glass Window – 1200 x 1200 | 53.55 | Sqm | 4576.2712 | 5400 | 289170 |  | Sqm | 4576.2712 | 0 | 53.55 | Sqm | 4576.2712 | 245059.322
179
180 | 180 | Grouting the holes with neat cement slurry of 20mm dia with all required accessories of all materials etc., including cost & Conveyance of all labour Charges etc., complete finished item of work (*As per SSR2021-22 of S.NO:-8) | 500 | Nos | 152.5424 | 180 | 90000 |  | Nos | 152.5424 | 0 | 500 | Nos | 152.5424 | 76271.1864
180
181 | 181 | Pressure grouting the drilled holes with neat cement slurry or with approved grout admixture using pump - excluding cost of drilling holes after fixing nozzles as technical specification approved by the department etc., including cost & Conveyance of all labour charges etc., complete finished item of work | 500 | Nos | 533.8983 | 630 | 315000 |  | Nos | 533.8983 | 0 | 500 | Nos | 533.8983 | 266949.1525
181
182 | 182 | Supply and fabricating,erecting and fixing inposition trusses of approved design with structural steel other than MS. | 6500 | Kgs | 152.5424 | 180 | 1170000 |  | Kgs | 152.5424 | 0 | 6500 | Kgs | 152.5424 | 991525.4237
182
183 | 183 | Supply and fixing of pre painted Galvalume Trapezoidal Profile Roofing with 0.50mm Thickness. | 65 | Sqm | 915.2542 | 1080 | 70200 |  | Sqm | 915.2542 | 0 | 65 | Sqm | 915.2542 | 59491.5254
183
184 | 184 | 4" (101.6mm) multi floor trap with jali - UPVC/SWR | 25 | Nos | 228.8136 | 270 | 6750 |  | Nos | 228.8136 | 0 | 25 | Nos | 228.8136 | 5720.339
184
185 | 185 | 580mm x 440mm long Orissa pan white glazed Water Closet | 4 | Nos | 4576.2712 | 5400 | 21600 |  | Nos | 4576.2712 | 0 | 4 | Nos | 4576.2712 | 18305.0847
185
186 | 186 | European Water Closet of 1st quality | 9 | Nos | 5338.9831 | 6300 | 56700 |  | Nos | 5338.9831 | 0 | 9 | Nos | 5338.9831 | 48050.8475
186
187 | 187 | Indian make Flat Back Wash Hand Basin 1st quality | 16 | Nos | 3050.8475 | 3600 | 57600 |  | Nos | 3050.8475 | 0 | 16 | Nos | 3050.8475 | 48813.5593
187
188 | 188 | CP finish brass soap dish | 21 | Nos | 932.2034 | 1100 | 23100 |  | Nos | 932.2034 | 0 | 21 | Nos | 932.2034 | 19576.2712
188
189 | 189 | TV shape mirror with plastic frame of size 609.6mm x 457.2mm | 25 | Nos | 533.8983 | 630 | 15750 |  | Nos | 533.8983 | 0 | 25 | Nos | 533.8983 | 13347.4576
189
190 | 190 | 25.4mm dia , 609.6mm long aluminium anodized towel rods | 36 | Nos | 457.6271 | 540 | 19440 |  | Nos | 457.6271 | 0 | 36 | Nos | 457.6271 | 16474.5763
190
191 | 191 | 15 mm brass body CP finish bib tap of not less than 300 grams weight | 25 | Nos | 457.6271 | 540 | 13500 |  | Nos | 457.6271 | 0 | 25 | Nos | 457.6271 | 11440.678
191
192 | 192 | Self Closing Tap - Push Type | 25 | Nos | 610.1695 | 720 | 18000 |  | Nos | 610.1695 | 0 | 25 | Nos | 610.1695 | 15254.2373
192
193 | 193 | Chromium plated finish brass body quarter turn Bibcock cum Health Faucet | 12 | Nos | 3050.8475 | 3600 | 43200 |  | Nos | 3050.8475 | 0 | 12 | Nos | 3050.8475 | 36610.1695
193
194 | 194 | Ashirvad/ Ajay/ Astral Flowguard or equivalent CPVC Pipes and Fittings - 15.90mm OD pipe | 55 | Rmt | 228.8136 | 270 | 14850 |  | Rmt | 228.8136 | 0 | 55 | Rmt | 228.8136 | 12584.7458
194
195 | 195 | Ashirvad/Ajay/Astral Flowguard or equivalent CPVC Pipes and Fittings - 22.20mm OD pipe | 115 | Rmt | 305.0847 | 360 | 41400 |  | Rmt | 305.0847 | 0 | 115 | Rmt | 305.0847 | 35084.7458
195
196 | 196 | Ashirvad/ Ajay/ Astral Flowguard or equivalent CPVC Pipes and Fittings -28.60mm OD pipe | 143 | Rmt | 381.3559 | 450 | 64350 |  | Rmt | 381.3559 | 0 | 143 | Rmt | 381.3559 | 54533.8983
196
197 | 197 | Bronze Gate/ Globe valve - 25mm Nominal bore | 15 | Nos | 1220.339 | 1440 | 21600 |  | Nos | 1220.339 | 0 | 15 | Nos | 1220.339 | 18305.0847
197
198 | 198 | SWR PVC pipes (Prince/ Sudhakar/ Kisan/ Supreme or any ISI brand) 4 Kg/Sq.cm. - 75mmdia | 145 | Rmt | 381.3559 | 450 | 65250 |  | Rmt | 381.3559 | 0 | 145 | Rmt | 381.3559 | 55296.6102
198
199 | 199 | SWR PVC pipes (Prince/ Sudhakar/ Kisan/ Supreme or any ISI brand) 4 Kg/Sq.cm. -110mmdia | 145 | Rmt | 457.6271 | 540 | 78300 |  | Rmt | 457.6271 | 0 | 145 | Rmt | 457.6271 | 66355.9322
199
200 | 200 | Supplying and fixing15 mm nominal size 152.0 mm CP finish iron body shower rose 1st quality including cost and conveyance of all materials, labour charges , overheads & contractors profit for finished item of work in all floors. | 5 | Nos | 533.8983 | 630 | 3150 |  | Nos | 533.8983 | 0 | 5 | Nos | 533.8983 | 2669.4915
200
201 | 201 | Supply and Fixing of white glazed flat back bowl urinals | 4 | Nos | 2288.1356 | 2700 | 10800 |  | Nos | 2288.1356 | 0 | 4 | Nos | 2288.1356 | 9152.5424
201
202 | 202 | Supply and fixing of 16mm to 20 mm thick ploished marbles slab partitions of size 4'0"*2'0" | 10 | Nos | 3050.8475 | 3600 | 36000 |  | Nos | 3050.8475 | 0 | 10 | Nos | 3050.8475 | 30508.4746
202
203 | 203 | 28 mm dia. and 0.90 mm thick Copper Pipe Lines for Main lines | 700 | Rmt | 1483.0508 | 1750 | 1225000 |  | Rmt | 1483.0508 | 0 | 700 | Rmt | 1483.0508 | 1038135.5932
203
204 | 204 | 42 mm dia. and 1.20 mm thick Copper Pipe Lines for Main lines | 200 | Rmt | 1906.7797 | 2250 | 450000 |  | Rmt | 1906.7797 | 0 | 200 | Rmt | 1906.7797 | 381355.9322
204
205 | 205 | 54 mm dia. and 1.20 mm thick Copper Pipe Lines for Main lines | 550 | Rmt | 2500 | 2950 | 1622500 |  | Rmt | 2500 | 0 | 550 | Rmt | 2500 | 1375000
205
206 | 206 | 12 mm dia. and 0.70 mm thick Copper Pipe Lines for distribution lines | 320 | Rmt | 550.8475 | 650 | 208000 |  | Rmt | 550.8475 | 0 | 320 | Rmt | 550.8475 | 176271.1864
206
207 | 207 | 15 mm dia. and 0.90 mm thick Copper Pipe Lines for distribution lines | 525 | Rmt | 805.0847 | 950 | 498750 |  | Rmt | 805.0847 | 0 | 525 | Rmt | 805.0847 | 422669.4915
207
208 | 208 | 22 mm dia. and 0.90 mm thick Copper Pipe Lines for distribution lines | 530 | Rmt | 1228.8136 | 1450 | 768500 |  | Rmt | 1228.8136 | 0 | 530 | Rmt | 1228.8136 | 651271.1864
208
209 | 209 | 15 mm (1/2") Isolation Valves | 40 | Nos | 1271.1864 | 1500 | 60000 |  | Nos | 1271.1864 | 0 | 40 | Nos | 1271.1864 | 50847.4576
209
210 | 210 | 22 mm (3/4") Isolation Valves | 15 | Nos | 2118.6441 | 2500 | 37500 |  | Nos | 2118.6441 | 0 | 15 | Nos | 2118.6441 | 31779.661
210
211 | 211 | 28 mm Isolation Valves | 3 | Nos | 2966.1017 | 3500 | 10500 | 2 | Nos | 2966.1017 | 5932.2034 | 5 | Nos | 2966.1017 | 14830.5085
211
212 | 212 | 42 mm Isolation Valves | 2 | Nos | 3813.5593 | 4500 | 9000 | 3 | Nos | 3813.5593 | 11440.678 | 5 | Nos | 3813.5593 | 19067.7966
212
213 | 213 | 54 mm Isolation Valves | 2 | Nos | 4661.0169 | 5500 | 11000 | 1 | Nos | 4661.0169 | 4661.0169 | 3 | Nos | 4661.0169 | 13983.0508
213
214 | 214 | Gas Outlet Points with probes for Oxygen with S Brackets | 189 | Nos | 2415.2542 | 2850 | 538650 |  | Nos | 2415.2542 | 0 | 189 | Nos | 2415.2542 | 456483.0508
214
215 | 215 | 2 Gas Digital Area Alarm Panels | 2 | Nos | 21186.4407 | 25000 | 50000 |  | Nos | 21186.4407 | 0 | 2 | Nos | 21186.4407 | 42372.8814
215
216 | 216 | 3 Gas Digital Area Alarm Panels | 4 | Nos | 25423.7288 | 30000 | 120000 |  | Nos | 25423.7288 | 0 | 4 | Nos | 25423.7288 | 101694.9153
216
217 | 217 | 5 Gas Digital Area Alarm Panels | 5 | Nos | 33898.3051 | 40000 | 200000 | 1 | Nos | 33898.3051 | 33898.3051 | 6 | Nos | 33898.3051 | 203389.8305
217
218 | 218 | Master Digital Alarm Panels | 1 | Nos | 42372.8814 | 50000 | 50000 |  | Nos | 42372.8814 | 0 | 1 | Nos | 42372.8814 | 42372.8814
218
219 | 219 | BPC Flow meter with Humidifier bottle and L adapter | 27 | Nos | 1906.7797 | 2250 | 60750 |  | Nos | 1906.7797 | 0 | 27 | Nos | 1906.7797 | 51483.0508
219
220 | 220 | L Type Adapter for Oxygen Flow meters | 27 | Nos | 1059.322 | 1250 | 33750 |  | Nos | 1059.322 | 0 | 27 | Nos | 1059.322 | 28601.6949
220
221 | 221 | Kit for conversion of Oxygen | 27 | Nos | 1398.3051 | 1650 | 44550 |  | Nos | 1398.3051 | 0 | 27 | Nos | 1398.3051 | 37754.2373
221
222 | 222 | Suction Jars of 600 ml capacity | 27 | Nos | 2923.7288 | 3450 | 93150 |  | Nos | 2923.7288 | 0 | 27 | Nos | 2923.7288 | 78940.678
222
223 | 223 | Adapters for Vacuum | 27 | Nos | 635.5932 | 750 | 20250 |  | Nos | 635.5932 | 0 | 27 | Nos | 635.5932 | 17161.0169
223
224 | 224 | Adapters for Air | 27 | Nos | 635.5932 | 750 | 20250 |  | Nos | 635.5932 | 0 | 27 | Nos | 635.5932 | 17161.0169
224
225 | 225 | Adapters for Nitrous Oxide | 15 | Nos | 635.5932 | 750 | 11250 |  | Nos | 635.5932 | 0 | 15 | Nos | 635.5932 | 9533.8983
225
226 | 226 | Vacuum Tube | 27 | Nos | 466.1017 | 550 | 14850 | 58 | Nos | 466.1017 | 27033.8983 | 85 | Nos | 466.1017 | 39618.6441
226
227 | 227 | Bed Head wall panel horizontal 1500 mm long single railing | 27 | Nos | 29661.0169 | 35000 | 945000 |  | Nos | 29661.0169 | 0 | 27 | Nos | 29661.0169 | 800847.4576
227
228 | 228 | Valve box -2 services | 1 | Nos | 8050.8475 | 9500 | 9500 |  | Nos | 8050.8475 | 0 | 1 | Nos | 8050.8475 | 8050.8475
228
229 | 229 | Valve box -3 services | 3 | Nos | 12288.1356 | 14500 | 43500 |  | Nos | 12288.1356 | 0 | 3 | Nos | 12288.1356 | 36864.4068
229
230 | 230 | Valve box -6 services | 1 | Nos | 19067.7966 | 22500 | 22500 | 5 | Nos | 19067.7966 | 95338.9831 | 6 | Nos | 19067.7966 | 114406.7797
230
231 | 231 | 4 + 4 size of CO2 manifold System | 1 | Job | 33898.3051 | 40000 | 40000 | 1 | Job | 33898.3051 | 33898.3051 | 2 | Job | 33898.3051 | 67796.6102
231
232 | 232 | 2 cylinder emergency manifold | 1 | Job | 12288.1356 | 14500 | 14500 | 1 | Job | 12288.1356 | 12288.1356 | 2 | Job | 12288.1356 | 24576.2712
232
233 | 233 | Fully Automatic CO2 Control System | 1 | Job | 156779.661 | 185000 | 185000 | 1 | Job | 156779.661 | 156779.661 | 2 | Job | 156779.661 | 313559.322
233
234 | 234 | Aneste Iwata Make TFS 150 C9 Model, Compresso Two stage, Motor 15 HP & 57.18 CFM, 60 CFM Air Dryer with 2000 Ltrs Receiver Twin System (For Air4, Air7) | 1 | Job | 1605932.2034 | 1895000 | 1895000 |  | Job | 1605932.2034 | 0 | 1 | Job | 1605932.2034 | 1605932.2034
234
235 | 235 | Supporting structure for MGPS lines with Ismb Columns, beams, MS angles, Flats and square rods | 1 | Job | 673728.8136 | 795000 | 795000 |  | Job | 673728.8136 | 0 | 1 | Job | 673728.8136 | 673728.8136
235
236 | 236 | 2x20 Oxygen Main manifold System | 1 | Job | 80508.4746 | 95000 | 95000 |  | Job | 80508.4746 | 0 | 1 | Job | 80508.4746 | 80508.4746
236
237 | 237 | Electrical Control Panel for MGPS | 1 | Job | 122881.3559 | 145000 | 145000 |  | Job | 122881.3559 | 0 | 1 | Job | 122881.3559 | 122881.3559
237
238 | 238 | Vaccum system Ingersoll Rand Make Model 15V x 10 Model with 5 HP Motor with 1000 Liters Reciever, Filters, Electricals, Etc Secretion Trap and Bacteria Filter | 2 | Job | 1266949.1525 | 1495000 | 2990000 |  | Job | 1266949.1525 | 0 | 2 | Job | 1266949.1525 | 2533898.3051
238
239 | 239 | Validation By Third Party Agency Charges per Each MOT | 4 | Each | 84745.7627 | 100000 | 400000 |  | Each | 84745.7627 | 0 | 4 | Each | 84745.7627 | 338983.0508
239
240 | 240 | Anesthetic Gas Scavenging System (AGSS) | 1 | Job | 1027966.1017 | 1213000 | 1213000 |  | Job | 1027966.1017 | 0 | 1 | Job | 1027966.1017 | 1027966.1017
240
|  | Total Contract Value | [12 empty] | 3050847.4576
Items Not In BOQ
| 1 | Electrical Connections for 2 UPS | 0 | Job |  |  |  | 1 | Job | 100000 | 100000 | 1 | Job | 100000 | 100000
|  | Under Deck Insulation | 0 | Sqm | [7 empty] | 0 | Sqm
|  | Screed | 0 | Sqm | [7 empty] | 0 | Cum
|  | Self Levelling | 0 | Sqm | [7 empty] | 0 | Sqm
|  | 4 Gas Digital Alarm Panels | 0 | Nos | [7 empty] | 0 | Nos
|  | 6 Gas Digital Alarm Panels | 0 | Nos | [7 empty] | 0 | Nos
|  | Valve box 4 series | 0 | Job | [7 empty] | 0 | Job
|  | 4 + 4 N2O manifold System | 0 | Job | [7 empty] | 0 | Job
|  | 4 + 4 CO2 manifold system | 0 | Job | [7 empty] | 0 | Job
|  | 2 cylinder emergency manifold - CO2 | 0 | Job | [7 empty] | 0 | Job
|  | 2 cylinder emergency manifold - N2O | 0 | Job | [7 empty] | 0 | Job
|  | Fully automatic N2O control system | 0 | Job | [7 empty] | 0 | Job
|  | Fully automatic O2 control system | 0 | Job | [7 empty] | 0 | Job
|  | 750 KVA Transformer OLTC for transformers with RTCC: Supply, Transportation, Installation, Testing and Commissioning of 750 KVA TRANSFORMER with all test reports. The Transformer shall be designed and manufactured as per IS:1180 OLTC with level-II with initial filling of oil as per IS 335-1993. 1000 A LT Breaker Kiosk - 01 No.The basic details of the Transformer are as under. Makes: Kirloskar / PETE / Esennar / Voltamp / Crompton / ABB / Schneider. | 0 | Nos | [7 empty] | 0 | Nos
|  | Cementitious Water Proofing over the Roof Slab & Pheriperal walls of State Organ Transplantation Center Gandhi Hospital | 0 | Job | [7 empty] | 0 Job
|  | vinyl flooring in non sterile corridor | 0 |  |  | 2542
Expansion Joint