## Master BOQ Final Awarded (2)
Final Awarded BOQ
|  |  |  | Original Estimate (4 Ots) |  |  | Two (2) Additional Ots |  |  | Total Quantities (6 Ots) |  |  | As Per Site Conditions |  |  | Variation
S. No. | Tech. Spec Cl. No in TED | DESCRIPTION OF ITEM | Unit | Qty. | Unit Rate | Amount | Qty. | Unit Rate | Amount | Qty. | Unit Rate | Amount | Qty. | Unit Rate | Amount | Qty. | Unit Rate | Amount
1 | 1 | Stainless Steel Pre-fabricated Wall panels | Sqm | 400 | 15010 | 6004000 | 200 | 15010 | 3002000 | 600 | 15010 | 9006000 | 500 | 15010 |  | -100 | 15010
2 | 1 | Stainless Steel Pre-fabricated Ceiling panels In MOTs & MOTs Corridor | Sqm | 385 | 15010 | 5778850 | 70 | 15010 |  | 455 | 15010 | 6829550 |  | 15010 |  | -455 | 15010
3 | 1.5 | Dynamic Hatch Box | Nos | 2 | 295000 | 590000 | 1 | 295000 |  | 3 | 295000 | 885000 |  | 295000 |  | -3 | 295000
4 | 2.1 | Electro conductive Flooring inside MOTs | Sqm | 160 | 4035 | 645600 | 80 | 4035 |  | 240 | 4035 | 968400 |  | 4035 |  | -240 | 4035
5 | 2.2 | Flooring with Vinyl Sheets In MOT Corridor | Sqm | 175 | 3750 | 656250 | 50 | 3750 |  | 225 | 3750 | 843750 |  | 3750 |  | -225 | 3750
6 | 3 | Uni Directional Ceiling Laminar Airflow Systems | Nos | 4 | 465000 | 1860000 |  | 465000 |  | 4 | 465000 | 1860000 |  | 465000 |  | -4 | 465000
7 | 3.1 | Air Handling Units (AHUs) 11 TR | Nos | 4 | 1495000 | 5980000 |  | 1495000 |  | 4 | 1495000 | 5980000 |  | 1495000 |  | -4 | 1495000
8 | 3.2 | Condensing Units | Nos | 4 | 345000 | 1380000 |  | 345000 |  | 4 | 345000 | 1380000 |  | 345000 |  | -4 | 345000
9 | 4 | Pressure Relief Dampers | Nos | 4 | 22500 | 90000 |  | 22500 |  | 4 | 22500 | 90000 |  | 22500 |  | -4 | 22500
10 | 5.1 | Single arm Anesthesia Pendants (Imported) | Nos | 4 | 1195000 | 4780000 |  | 1195000 |  | 4 | 1195000 | 4780000 |  | 1195000 |  | -4 | 1195000
11 | 5.2 | Triple Dome Ceiling OT LED Lights (Imported) | Nos | 2 | 4750000 | 9500000 |  | 4750000 |  | 2 | 4750000 | 9500000 |  | 4750000 |  | -2 | 4750000
12 | 5.3 | Double Dome Ceiling OT LED Lights (Imported) | Nos | 2 | 3550000 | 7100000 |  | 3550000 |  | 2 | 3550000 | 7100000 |  | 3550000 |  | -2 | 3550000
13 | 5.4 | Detachable Hi Definition Cameras in Triple Dome Ceiling OT Lights | Nos | 2 | 995000 | 1990000 |  | 995000 |  | 2 | 995000 | 1990000 |  | 995000 |  | -2 | 995000
14 | 91 | Ceiling/Wall mounted CCTV Room Camera | Nos | 4 | 22500 | 90000 |  | 22500 |  | 4 | 22500 | 90000 |  | 22500 |  | -4 | 22500
15 | 6 | LED Peripheral Lights cum clean room (OT) luminaries | Nos | 62 | 18750 | 1162500 |  | 18750 |  | 62 | 18750 | 1162500 |  | 18750 |  | -62 | 18750
16 | 7 | View Window with Motorised Blinds of 1 Mt Length & 1 Mt Height | Nos | 7 | 115000 | 805000 |  | 115000 |  | 7 | 115000 | 805000 |  | 115000 |  | -7 | 115000
17 | 8 | Hermetically Sealed Doors (1.80mt x 2.10 mt) | Nos | 4 | 115000 | 460000 |  | 115000 |  | 4 | 115000 | 460000 |  | 115000 |  | -4 | 115000
18 | 8 | (1.50mt x 2.10 mt) Sliding Automatic Sliding Doors with View Windoy of 1 Mt x 1 Mt | Nos | 2 | 525000 | 1050000 |  | 525000 |  | 2 | 525000 | 1050000 |  | 525000 |  | -2 | 525000
19 | 10 | Storage Units | Nos | 4 | 75000 | 300000 |  | 75000 |  | 4 | 75000 | 300000 |  | 75000 |  | -4 | 75000
20 | 11 | Writing Board (List Board) | Nos | 4 | 18750 | 75000 |  | 18750 |  | 4 | 18750 | 75000 |  | 18750 |  | -4 | 18750
21 | 12 | X-Ray CT Scan LED viewing Screen | Nos | 4 | 37500 | 150000 |  | 37500 |  | 4 | 37500 | 150000 |  | 37500 |  | -4 | 37500
22 | 13 | Touch Screen Surgeon Control Panels | Nos | 4 | 385000 | 1540000 |  | 385000 |  | 4 | 385000 | 1540000 |  | 385000 |  | -4 | 385000
23 | 14 | 3-Bay Scrub Stations/Sinks | Nos | 2 | 368750 | 737500 |  | 368750 |  | 2 | 368750 | 737500 |  | 368750 |  | -2 | 368750
24 | 16 | Video and Image Management system | Nos | 1 | 8000000 | 8000000 |  | 8000000 |  | 1 | 8000000 | 8000000 |  | 8000000 |  | -1 | 8000000
25 | 16.1 | Medical Grade Monitors 32 inch 4 K Resolution | Nos | 4 | 1295000 | 5180000 |  | 1295000 |  | 4 | 1295000 | 5180000 |  | 1295000 |  | -4 | 1295000
26 | 16.2 | Wall mounted large screen display 55 inch (Commercial Grade) | Nos | 2 | 495000 | 990000 |  | 495000 |  | 2 | 495000 | 990000 |  | 495000 |  | -2 | 495000
27 | 16.3 & 16.4 | Cable connections for integration within MOTs and with Workshop Projector Hall, Networks with OFC Cable | Job | 4 | 997500 | 3990000 |  | 997500 |  | 4 | 997500 | 3990000 |  | 997500 |  | -4 | 997500
28 | 16.5 | Wireless Microphone | Nos | 1 | 255000 | 255000 |  | 255000 |  | 1 | 255000 | 255000 |  | 255000 |  | -1 | 255000
29 | 16.6 | Digital mixer Amplifier | Nos | 1 | 245000 | 245000 |  | 245000 |  | 1 | 245000 | 245000 |  | 245000 |  | -1 | 245000
30 | 16.7 | Ceiling Mounted Speakers | Nos | 4 | 15000 | 60000 |  | 15000 |  | 4 | 15000 | 60000 |  | 15000 |  | -4 | 15000
31 | 16.8 | Video Conferencing System | Nos | 1 | 1195000 | 1195000 |  | 1195000 |  | 1 | 1195000 | 1195000 |  | 1195000 |  | -1 | 1195000
32 | 17.1 | Home Theatre Power Conditioner, 230 V | Nos | 1 | 145000 | 145000 |  | 145000 |  | 1 | 145000 | 145000 |  | 145000 |  | -1 | 145000
33 | 17.2 | Amplifier (8 Channel) | Nos | 1 | 245000 | 245000 |  | 245000 |  | 1 | 245000 | 245000 |  | 245000 |  | -1 | 245000
34 | 17.3 | HiFi Active Sub Woofer | Nos | 1 | 50000 | 50000 |  | 50000 |  | 1 | 50000 | 50000 |  | 50000 |  | -1 | 50000
35 | 17.5 | 4K Laser Projection TV | Nos | 1 | 1495000 | 1495000 |  | 1495000 |  | 1 | 1495000 | 1495000 |  | 1495000 |  | -1 | 1495000
36 | 17.6 & 17.7 | Equalization & Loud Speaker Control System | Nos | 1 | 40000 | 40000 |  | 40000 |  | 1 | 40000 | 40000 |  | 40000 |  | -1 | 40000
37 | 17.8 | Sound Analog Mixer | Nos | 1 | 245000 | 245000 |  | 245000 |  | 1 | 245000 | 245000 |  | 245000 |  | -1 | 245000
38 | 19 | Electrical Installations in MOTs & TIRs | Job | 7 | 195000 | 1365000 |  | 195000 |  | 7 | 195000 | 1365000 |  | 195000 |  | -7 | 195000
[6 empty] | 76224700 |  |  | 3002000 |  |  | 81082700 |  |  | 0 | 0 |  | 0
|  | TIR’S ( 3 Nos) | [13 empty] | 0
39 | 1 | Stainless Steel Pre-fabricated Wall panels | Sqm | 202 | 15010 | 3032020 |  | 12720.339 |  | 202 | 12720.339 |  |  | 12720.339 |  | -202 | 12720.339
40 | 1 | Stainless Steel Pre-fabricated Ceiling panels in TIRs and TIR Corridor | Sqm | 146 | 15010 | 2191460 |  | 12720.339 |  | 146 | 12720.339 |  |  | 12720.339 |  | -146 | 12720.339
41 | 2.1 | Electro conductive Flooring inside TIRs& TIR Corridor | Sqm | 146 | 4035 | 589110 |  | 3419.4915 |  | 146 | 3419.4915 |  |  | 3419.4915 |  | -146 | 3419.4915
42 | 2.2 | Flooring with Vinyl Sheets In TIR Corridor | Sqm | 61 | 3750 | 228750 |  | 3177.9661 |  | 61 | 3177.9661 |  |  | 3177.9661 |  | -61 | 3177.9661
43 | 3 | Uni Directional Ceiling Laminar Airflow Systems | Nos | 3 | 395000 | 1185000 |  | 334745.7627 |  | 3 | 334745.7627 |  |  | 334745.7627 |  | -3 | 334745.7627
44 | 3.1 | Air Handling Units (AHUs) 11 TR | Nos | 2 | 1495000 | 2990000 |  | 1266949.1525 |  | 2 | 1266949.1525 |  |  | 1266949.1525 |  | -2 | 1266949.1525
45 | 3.1 | Air Handling Units (AHUs) 8.5 TR | Nos | 1 | 1195000 | 1195000 |  | 1012711.8644 |  | 1 | 1012711.8644 |  |  | 1012711.8644 |  | -1 | 1012711.8644
46 | 3.2 | Condensing Units | Nos | 3 | 345000 | 1035000 |  | 292372.8814 |  | 3 | 292372.8814 |  |  | 292372.8814 |  | -3 | 292372.8814
47 | 4 | Pressure Relief Dampers | Nos | 3 | 22500 | 67500 |  | 19067.7966 |  | 3 | 19067.7966 |  |  | 19067.7966 |  | -3 | 19067.7966
49 | 8 | Hermetically Sealed Doors (1.80mt x 2.10 mt) | Nos | 3 | 525000 | 1575000 |  | 444915.2542 |  | 3 | 444915.2542 |  |  | 444915.2542 |  | -3 | 444915.2542
50 | 15 | 12mm thick glazed Glass partition walls in TIRs | Sqm | 40 | 650 | 26000 |  | 550.8475 |  | 40 | 550.8475 |  |  | 550.8475 |  | -40 | 550.8475
51 | 15 | Wall mounted LED TV43 inchesFull HD | Nos | 3 | 165000 | 495000 |  | 139830.5085 |  | 3 | 139830.5085 |  |  | 139830.5085 |  | -3 | 139830.5085
52 | 91 | Ceiling/Wall mounted CCTV Room Camera | Nos | 3 | 12000 | 36000 |  | 10169.4915 |  | 3 | 10169.4915 |  |  | 10169.4915 |  | -3 | 10169.4915
53 | 88.6 | BED HEAD PANEL FOR TIR WITH DOUBLE OUTLETS AND ELECTRICAL OUTLETS | Nos | 3 | 49500 | 148500 |  | 41949.1525 |  | 3 | 41949.1525 |  |  | 41949.1525 |  | -3 | 41949.1525
[5 empty] | Sub Total | 14794340 |  |  | 0 |  |  | 0 |  |  | 0 | 0 |  | 0
|  | Other Requirements |  |  |  | 0 | [9 empty] | 0
54 | 12 | X-RAY VIEWERS FOR ALL ICUS AND PRE OPP AREAS AND DOCTORS ROOMS | Nos | 5 | 37500 | 187500 |  | 31779.661 |  | 5 | 31779.661 |  |  | 31779.661 |  | -5 | 31779.661
55 | 11 | WRITING BOARDS FOR ICUS, PRE OPP | Nos | 5 | 18750 | 93750 |  | 15889.8305 |  | 5 | 15889.8305 |  |  | 15889.8305 |  | -5 | 15889.8305
56 | 91 | CCTV CEILING CAMERA | Nos | 10 | 9500 | 95000 |  | 8050.8475 |  | 10 | 8050.8475 |  |  | 8050.8475 |  | -10 | 8050.8475
[5 empty] | 0 | 376250 |  |  | 0 |  |  | 0 |  |  | 0 | 0 |  | 0
[5 empty] | 0 | [10 empty] | 0
57 | 22 a | Supply and Fixing of 25mm dia Conduit Pipes surface on wall. | Rmt | 10000 | 110 | 1100000 |  | 93.2203 |  | 10000 | 93.2203 |  |  | 93.2203 |  | -10000 | 93.2203
58 | 22 b | Supply and Fixing of 25mm dia Conduit Pipes Concealed on wall. | Rmt | 4000 | 115 | 460000 |  | 97.4576 |  | 4000 | 97.4576 |  |  | 97.4576 |  | -4000 | 97.4576
59 | 23 a | Wiring with run of 2 of 1.5 Sqmm Copper cable for points wiring. | Pts | 570 | 1525 | 869250 |  | 1292.3729 |  | 570 | 1292.3729 |  |  | 1292.3729 |  | -570 | 1292.3729
60 | 23 b | Wiring with run of 2 of 1.5 Sqmm Copper cable for stairecase points wiring. | Pts | 10 | 1100 | 11000 |  | 932.2034 |  | 10 | 932.2034 |  |  | 932.2034 |  | -10 | 932.2034
61 | 23 c | Supply and fixing of 6A/10A ISI Mark 3/2 pin Modular socket Common switch board | Pts | 25 | 900 | 22500 |  | 762.7119 |  | 25 | 762.7119 |  |  | 762.7119 |  | -25 | 762.7119
62 | 23 d | Wiring with 3 of 1.5 sq.mm with 6A switch and 6A, 3/2 pin socket Modular type with 6A switch control fixing on separate board. | Pts | 50 | 2800 | 140000 |  | 2372.8814 |  | 50 | 2372.8814 |  |  | 2372.8814 |  | -50 | 2372.8814
63 | 23 e | Supply and fixing of 6A switchs - 2 Nos and 6A 3/2 pin socket - 3 Nos Modular type with cover plate | Pts | 200 | 1400 | 280000 |  | 1186.4407 |  | 200 | 1186.4407 |  |  | 1186.4407 |  | -200 | 1186.4407
64 | 23 f | Supply & fixing of 16A/6A, 2 in one socket with 16A switch control modular type | Nos | 200 | 900 | 180000 |  | 762.7119 |  | 200 | 762.7119 |  |  | 762.7119 |  | -200 | 762.7119
65 | 23 g | Supply & fixing of 32A, socket with switch control modular | Nos | 18 | 1600 | 28800 |  | 1355.9322 |  | 18 | 1355.9322 |  |  | 1355.9322 |  | -18 | 1355.9322
66 | 23 h | Supply & fixing of 64A, socket with 64A switch control modular type | Nos | 4 | 18000 | 72000 |  | 15254.2373 |  | 4 | 15254.2373 |  |  | 15254.2373 |  | -4 | 15254.2373
67 | 24 a | Supply and Run of 1 of 1.5 sq.mm (phase, neutral and earth) FRLSH / HFFR PVC insulated 1100V grade as per IS:694/1990, IS 17048 specifications for Copper cable. | Rmt | 2000 | 36 | 72000 |  | 30.5085 |  | 2000 | 30.5085 |  |  | 30.5085 |  | -2000 | 30.5085
68 | 24 b | Supply and Run of 3 of 1.5 sq.mm (phase, neutral and earth) FRLSH / HFFR PVC insulated 1100V grade as per IS:694/1990, IS 17048 specifications for Copper cable . | Rmt | 2000 | 100 | 200000 |  | 84.7458 |  | 2000 | 84.7458 |  |  | 84.7458 |  | -2000 | 84.7458
69 | 24 c | Supply and Run of 3 of 2.5 sq.mm (phase, neutral and earth) FRLSH / HFFR PVC insulated 1100V grade as per IS:694/1990, IS 17048 specifications for Copper cable. | Rmt | 8000 | 145 | 1160000 |  | 122.8814 |  | 8000 | 122.8814 |  |  | 122.8814 |  | -8000 | 122.8814
70 | 24 d | Supply and Run of 3 runs of 4.0 sq mm (phase neutral and earth) FRLSH / HFFR PVC insulated 1100V grade as per IS:694/1990, IS 17048 specifications for Copper cable. | Rmt | 5000 | 230 | 1150000 |  | 194.9153 |  | 5000 | 194.9153 |  |  | 194.9153 |  | -5000 | 194.9153
71 | 24 e | Supply and Run of 3 of 6.0 Sq.mm FRLSH / HFFR PVC insulated 1100V grade as per IS:694/1990, IS 17048 specifications for Copper cable. | Rmt | 300 | 325 | 97500 |  | 275.4237 |  | 300 | 275.4237 |  |  | 275.4237 |  | -300 | 275.4237
72 | 24 f | Supply and Run of 5 of 6.0 Sq.mm FRLSH / HFFR PVC insulated 1100V grade as per IS:694/1990, IS 17048 specifications for Copper cable. | Rmt | 300 | 545 | 163500 |  | 461.8644 |  | 300 | 461.8644 |  |  | 461.8644 |  | -300 | 461.8644
73 | 24 g | Supply and Run of 5 of 10.0 Sq.mm FRLSH / HFFR PVC insulated 1100V grade as per IS:694/1990, IS 17048 specifications for Copper cable. | Rmt | 500 | 850 | 425000 |  | 720.339 |  | 500 | 720.339 |  |  | 720.339 |  | -500 | 720.339
74 | 25 a | Supply and fixing of DP Metal Enclosure with IP 20 Protection DB Make with 1 No 20A, 10 KA DP MCB | Nos | 8 | 1800 | 14400 |  | 1525.4237 |  | 8 | 1525.4237 |  |  | 1525.4237 |  | -8 | 1525.4237
75 | 25 b | Supply and fixing of 4 Way TPN DB Horizontal with IP 43 Protection as per IS:13032 (For Lighting DBs) | Nos | 10 | 13000 | 130000 |  | 11016.9492 |  | 10 | 11016.9492 |  |  | 11016.9492 |  | -10 | 11016.9492
76 | 25 c | Supply and fixing of 4 Way TPN DB Horizontal with IP 43 Protection as per IS:13032 (For Power DB's) | Nos | 14 | 13000 | 182000 |  | 11016.9492 |  | 14 | 11016.9492 |  |  | 11016.9492 |  | -14 | 11016.9492
77 | 25 d | Supply and fixing of 8 Way VTPN DB with IP 43 Protection as per IS:13032 | Nos | 5 | 50000 | 250000 |  | 42372.8814 |  | 5 | 42372.8814 |  |  | 42372.8814 |  | -5 | 42372.8814
78 | 25 e | Supply and fixing of cable adopteres box with cover for DBs including, massanory work etc., complete., | Nos | 10 | 6000 | 60000 |  | 5084.7458 |  | 10 | 5084.7458 |  |  | 5084.7458 |  | -10 | 5084.7458
79 | 26 a | Providing independent earthing for Important equipment with 40mm dia 'B' class 2.5m long G.I pipe (GI Earthing) | Nos | 18 | 22500 | 405000 |  | 19067.7966 |  | 18 | 19067.7966 |  |  | 19067.7966 |  | -18 | 19067.7966
80 | 26 b | Providing independent earthing by exacavating a pit to a depth of 2.25Mtr in all soils as per size specified in the data for Sophisticated Electronic equipment (Copper Earthing) | Nos | 18 | 54000 | 972000 |  | 45762.7119 |  | 18 | 45762.7119 |  |  | 45762.7119 |  | -18 | 45762.7119
81 | 26 b 1 | Providing independent earthing for Important equipment with 100mm dia Heavy gauge C.I Earthing | Nos | 6 | 25000 | 150000 |  | 21186.4407 |  | 6 | 21186.4407 |  |  | 21186.4407 |  | -6 | 21186.4407
82 | 26 c | Supply and Run of 50mm x 6mm G.I Strip | Rmt | 400 | 450 | 180000 |  | 381.3559 |  | 400 | 381.3559 |  |  | 381.3559 |  | -400 | 381.3559
83 | 26 d | Supply and Run of 25mm x 3mm copper strip | Rmt | 400 | 300 | 120000 |  | 254.2373 |  | 400 | 254.2373 |  |  | 254.2373 |  | -400 | 254.2373
84 | 27 a | Supply, transportation and fixing of 22W +/ 10% , >/ 2300 lumens, 1200mm length LED light | Nos | 20 | 4800 | 96000 |  | 4067.7966 |  | 20 | 4067.7966 |  |  | 4067.7966 |  | -20 | 4067.7966
85 | 27 b | Supply, transportation and fixing 32-36W (>=3600 Lumens), 2' x2' (600mm x 600mm) slim panel LED luminaire | Nos | 60 | 4000 | 240000 |  | 3389.8305 |  | 60 | 3389.8305 |  |  | 3389.8305 |  | -60 | 3389.8305
86 | 27 c | Supply, transportation and fixing 12 W +/-10% (>= 1200 Lumens) Down lighter back lit LED Down Light Recessed / Surface | Nos | 215 | 1400 | 301000 |  | 1186.4407 |  | 215 | 1186.4407 |  |  | 1186.4407 |  | -215 | 1186.4407
87 | 27 d | Supply, transportation and fixing 18 W +/-10% (>= 1800 Lumens) Down lighter back lit LED Down Light | Nos | 95 | 1800 | 171000 |  | 1525.4237 |  | 95 | 1525.4237 |  |  | 1525.4237 |  | -95 | 1525.4237
88 | 27 e | Supply, transportation and fixing ISI mark batten holder / slanting holder | Nos | 8 | 160 | 1280 |  | 135.5932 |  | 8 | 135.5932 |  |  | 135.5932 |  | -8 | 135.5932
89 | 27 f | Supply, Transportation of energy efficient fan, 1200 mm sweep, aluminium body, consuming 28W, BEE 5 star rated, ceiling fan | Nos | 40 | 3700 | 148000 |  | 3135.5932 |  | 40 | 3135.5932 |  |  | 3135.5932 |  | -40 | 3135.5932
90 | 27 f 1 | Supply and fixing of Modular type Stepped electronic regulator. | Nos | 40 | 1000 | 40000 |  | 847.4576 |  | 40 | 847.4576 |  |  | 847.4576 |  | -40 | 847.4576
91 | 27 f 2 | Labour charges for fixing of ceiling fan and regulator | Nos | 40 | 210 | 8400 |  | 177.9661 |  | 40 | 177.9661 |  |  | 177.9661 |  | -40 | 177.9661
92 | 27 f 3 | Supply and erecting 19/20mm steel tube down rod of one meter length | Nos | 40 | 600 | 24000 |  | 508.4746 |  | 40 | 508.4746 |  |  | 508.4746 |  | -40 | 508.4746
93 | 27 g | Supply of 12" (300mm) Light duty exhaust fan | Nos | 5 | 3000 | 15000 |  | 2542.3729 |  | 5 | 2542.3729 |  |  | 2542.3729 |  | -5 | 2542.3729
94 | 27 h | Supply,Transportation of 12" (300mm) ISI, 900 RPM Heavy duty exhaust fan | Nos | 10 | 4900 | 49000 |  | 4152.5424 |  | 10 | 4152.5424 |  |  | 4152.5424 |  | -10 | 4152.5424
95 | 27 i | Labour charges for fixing the exhaust fan in wall with necessary connections | Nos | 15 | 900 | 13500 |  | 762.7119 |  | 15 | 762.7119 |  |  | 762.7119 |  | -15 | 762.7119
96 | 27 j | Supply and fixing of GI louver shutter including GI mesh | Nos | 15 | 3200 | 48000 |  | 2711.8644 |  | 15 | 2711.8644 |  |  | 2711.8644 |  | -15 | 2711.8644
97 | 28 a) | Main Power Panel with 1000A 4 Pole ACB as incomer - 1 No and out goings 800 A 4P MCCB - 1 No., 630 A 4P MCCB - 1 No., 400A 4P MCCB - 4 Nos & 250A 4P MCCB - 3 No's with required Digital Ammeter and Voltmer, LED Indicators | Nos | 1 | 1315000 | 1315000 |  | 1114406.7797 |  | 1 | 1114406.7797 |  |  | 1114406.7797 |  | -1 | 1114406.7797
98 | 28 b) | Floor Power Panel : Incomer: 630A 4 Pole MCCB,- 1 No Outgoings 250 A 4P MCCB - 4 No's 125 A 4P MCCB - 10 No's, 63 A 4P MCCB - 4 No's with required Digital Ammeter and Voltmer, LED Indicators | Nos | 1 | 875000 | 875000 |  | 741525.4237 |  | 1 | 741525.4237 |  |  | 741525.4237 |  | -1 | 741525.4237
99 | 28 c) | Electrical Lighting Panels : Incomer: 250 A 4 Pole MCCB - 1 No, Out Goings 125 A 4P MCCB - 4 No's 63 A 4P MCCB - 3 No's with required Digital Ammeter and Voltmer, LED Indicators | Nos | 2 | 370000 | 740000 |  | 313559.322 |  | 2 | 313559.322 |  |  | 313559.322 |  | -2 | 313559.322
100 | 28 d) | 130KVAR Out Door Capacitor panel : Incomer: 250A FP MCCB - 1 No, 63A 10KA TP MCB - 9 Nos. 20 KVAR Capacitor Duty contactors - 5 Nos., 10 KVAR Capacitor Duty contactors - 2 Nos, .5 KVAR Capacitor Duty contactors - 2 Nos. 12 stage APFC Relay - 1 No | Nos | 1 | 450000 | 450000 |  | 381355.9322 |  | 1 | 381355.9322 |  |  | 381355.9322 |  | -1 | 381355.9322
101 | 29 a) | 630 KVA Transformer OLTC for transformers with RTCC: Supply, Transportation, Installation, Testing and Commissioning of 630 KVA TRANSFORMER with all test reports. The Transformer shall be designed and manufactured as per IS:1180 OLTC with level-II with initial filling of oil as per IS 335-1993. 1000 A LT Breaker Kiosk - 01 No.The basic details of the Transformer are as under. Makes: Kirloskar / PETE / Esennar / Voltamp / Crompton / ABB / Schneider. | Nos | 1 | 4000000 | 4000000 |  | 3389830.5085 |  | 1 | 3389830.5085 |  |  | 3389830.5085 |  | -1 | 3389830.5085
102 | 30 a) | Supply of 25 Sqmm 3.5 Core XLPE insulated UG Cable. | Rmt | 200 | 300 | 60000 |  | 254.2373 |  | 200 | 254.2373 |  |  | 254.2373 |  | -200 | 254.2373
103 | 30 b) | Supply of 50 Sqmm 3.5 Core XLPE insulated UG Cable. | Rmt | 200 | 560 | 112000 |  | 474.5763 |  | 200 | 474.5763 |  |  | 474.5763 |  | -200 | 474.5763
104 | 30 c) | Supply of 70 Sqmm 3.5 Core XLPE insulated UG Cable. | Rmt | 75 | 750 | 56250 |  | 635.5932 |  | 75 | 635.5932 |  |  | 635.5932 |  | -75 | 635.5932
105 | 30 d) | Supply of 120 Sqmm 3.5 Core XLPE insulated UG Cable. | Rmt | 50 | 1050 | 52500 |  | 889.8305 |  | 50 | 889.8305 |  |  | 889.8305 |  | -50 | 889.8305
106 | 30 e) | Supply of 185 Sqmm 3.5 Core XLPE insulated UG Cable. | Rmt | 50 | 1500 | 75000 |  | 1271.1864 |  | 50 | 1271.1864 |  |  | 1271.1864 |  | -50 | 1271.1864
107 | 30 f) | Supply of 240 Sqmm 3.5 Core XLPE insulated UG Cable. | Rmt | 100 | 1900 | 190000 |  | 1610.1695 |  | 100 | 1610.1695 |  |  | 1610.1695 |  | -100 | 1610.1695
108 | 30 g) | Supply of 300 Sqmm 3.5 Core XLPE insulated UG Cable. | Rmt | 500 | 2400 | 1200000 |  | 2033.8983 |  | 500 | 2033.8983 |  |  | 2033.8983 |  | -500 | 2033.8983
109 | 31 a) | Termination of UG cables of 3.5 core 25 Sq.mm | Nos | 8 | 850 | 6800 |  | 720.339 |  | 8 | 720.339 |  |  | 720.339 |  | -8 | 720.339
110 | 31 b) | Termination of UG cables of 3.5 core 50 Sq.mm | Nos | 8 | 1200 | 9600 |  | 1016.9492 |  | 8 | 1016.9492 |  |  | 1016.9492 |  | -8 | 1016.9492
111 | 31 c) | Termination of UG cables of 3.5 core 70 Sq.mm | Nos | 8 | 1500 | 12000 |  | 1271.1864 |  | 8 | 1271.1864 |  |  | 1271.1864 |  | -8 | 1271.1864
112 | 31 d) | Termination of UG cables of 3.5 core 120 Sq.mm | Nos | 4 | 1900 | 7600 |  | 1610.1695 |  | 4 | 1610.1695 |  |  | 1610.1695 |  | -4 | 1610.1695
113 | 31 e) | Termination of UG cables of 3.5 core 185 Sq.mm | Nos | 4 | 2500 | 10000 |  | 2118.6441 |  | 4 | 2118.6441 |  |  | 2118.6441 |  | -4 | 2118.6441
114 | 31 f) | Termination of UG cables of 3.5 core 240 Sq.mm | Nos | 4 | 3500 | 14000 |  | 2966.1017 |  | 4 | 2966.1017 |  |  | 2966.1017 |  | -4 | 2966.1017
115 | 31 g) | Termination of UG cables of 3.5 core 300 Sq.mm | Nos | 12 | 4000 | 48000 |  | 3389.8305 |  | 12 | 3389.8305 |  |  | 3389.8305 |  | -12 | 3389.8305
116 | 31 h) | Earth work excavation of Trench laying of U.G cables up to 70 sqmm | Rmt | 100 | 1100 | 110000 |  | 932.2034 |  | 100 | 932.2034 |  |  | 932.2034 |  | -100 | 932.2034
117 | 31 i) | Earth work excavation of Trench laying of U.G cables from 95 Sqmm | Rmt | 100 | 1150 | 115000 |  | 974.5763 |  | 100 | 974.5763 |  |  | 974.5763 |  | -100 | 974.5763
118 | 31 j) | Laying of PVC armoured under ground cable up to 95 Sqmm on wall | Rmt | 200 | 125 | 25000 |  | 105.9322 |  | 200 | 105.9322 |  |  | 105.9322 |  | -200 | 105.9322
119 | 31 k) | Laying of PVC armoured under ground cable from 120 Sq.mm to 400 Sqmm saddles on wall | Rmt | 700 | 270 | 189000 |  | 228.8136 |  | 700 | 228.8136 |  |  | 228.8136 |  | -700 | 228.8136
120 | 32 a | Supply, Transportation and Installation of 150mm x 50mm x 2mm thick hot dip GI perforated cable tray | Rmt | 200 | 1295 | 259000 |  | 1097.4576 |  | 200 | 1097.4576 |  |  | 1097.4576 |  | -200 | 1097.4576
121 | 32 b | Supply, Transportation and Installation of 300mm x 50mm x 2mm thick thick hot dip GI perforated cable tray | Rmt | 100 | 4500 | 450000 |  | 3813.5593 |  | 100 | 3813.5593 |  |  | 3813.5593 |  | -100 | 3813.5593
122 | 33 a | Supply, Transportation and installation of 10KVA / 312V DC on line UPS system | Nos | 7 | 400000 | 2800000 |  | 338983.0508 |  | 7 | 338983.0508 |  |  | 338983.0508 |  | -7 | 338983.0508
123 | 33 b | Supply and fixing of 12V, 150 AH MF battery | Nos | 182 | 25000 | 4550000 |  | 21186.4407 |  | 182 | 21186.4407 |  |  | 21186.4407 |  | -182 | 21186.4407
124 | 33 c | Supply and providing of UPS cum battery rack 20 batteries | Nos | 7 | 30000 | 210000 |  | 25423.7288 |  | 7 | 25423.7288 |  |  | 25423.7288 |  | -7 | 25423.7288
125 | 33 d | Supply, Transportation, Installation, Testing and commissioning of storage / Pressure type 5 Star rated water heater with ABS plastic body of 15 Ltrs | Nos | 7 | 16000 | 112000 |  | 13559.322 |  | 7 | 13559.322 |  |  | 13559.322 |  | -7 | 13559.322
126 | 34 | 26 persons ICU bed cum passenger lift (1768 Kgs) G+8 Floors, 9 stops,9 Openings (Cost Includes amount for Construction of Shaft / Cladding from Ground to 8th Floor) | Nos | 1 | 10495000 | 10495000 |  | 8894067.7966 |  | 1 | 8894067.7966 |  |  | 8894067.7966 |  | -1 | 8894067.7966
[5 empty] | 0 | 38598880 |  |  | 0 |  |  | 0 |  |  | 0 | 0 |  | 0
|  | Air Conditioning |  |  | 0 | 0 |  | 0 |  |  | 0 |  |  | 0 |  | 0 | 0
127 | 35.1 | 1.50 TR with , 18000 BTU/Hr High Wall mount Split Air Conditioners | Nos | 6 | 150000 | 900000 |  | 127118.6441 |  | 6 | 127118.6441 |  |  | 127118.6441 |  | -6 | 127118.6441
128 | 35.2 | 2.0 TR with , 24000 BTU/Hr High Wall mount Split Air Conditioners | Nos | 2 | 210000 | 420000 |  | 177966.1017 |  | 2 | 177966.1017 |  |  | 177966.1017 |  | -2 | 177966.1017
129 | 35.3 | Voltage stabilizer for 4 KVA maximum load | Nos | 6 | 7000 | 42000 |  | 5932.2034 |  | 6 | 5932.2034 |  |  | 5932.2034 |  | -6 | 5932.2034
130 | 35.4 | Voltage stabilizer for 5 KVA maximum load | Nos | 2 | 8500 | 17000 |  | 7203.3898 |  | 2 | 7203.3898 |  |  | 7203.3898 |  | -2 | 7203.3898
131 | 35.5 | Ductable Air Conditioners 11.0 TR with ISEER ≥ 4 | Nos | 1 | 1200000 | 1200000 |  | 1016949.1525 |  | 1 | 1016949.1525 |  |  | 1016949.1525 |  | -1 | 1016949.1525
132 | 35.6 | Ductable Air Conditioners 8.5 TR with ISEER ≥ 4 | Nos | 2 | 1000000 | 2000000 |  | 847457.6271 |  | 2 | 847457.6271 |  |  | 847457.6271 |  | -2 | 847457.6271
133 | 35.7 | Ductable Air Conditioners 5.5 TR with ISEER ≥ 4 | Nos | 1 | 900000 | 900000 |  | 762711.8644 |  | 1 | 762711.8644 |  |  | 762711.8644 |  | -1 | 762711.8644
[5 empty] | 0 | 5479000 |  |  | 0 |  |  | 0 |  |  | 0 | 0 |  | 0
|  | FIRE FIGHTING |  |  | 0 | 0 |  | 0 |  |  | 0 |  |  | 0 |  | 0 | 0
134 | 36.2 | Automatic Smoke Detection System | Job | 1 | 1425000 | 1425000 |  | 1207627.1186 |  | 1 | 1207627.1186 |  |  | 1207627.1186 |  | -1 | 1207627.1186
135 | 36.3 | Automatic Fire Alarm System | Job | 1 | 1400000 | 1400000 |  | 1186440.678 |  | 1 | 1186440.678 |  |  | 1186440.678 |  | -1 | 1186440.678
136 | 36.4 | Supply & Fixing of 4.5Kg, CO2 Type Fire Extinguisher. | Nos | 6 | 27000 | 162000 |  | 22881.3559 |  | 6 | 22881.3559 |  |  | 22881.3559 |  | -6 | 22881.3559
137 | 36.5 | Supply and fixing of ABC stored pressure squeeze grip type fire extinguishers, 9 kg capacity. | Nos | 6 | 16000 | 96000 |  | 13559.322 |  | 6 | 13559.322 |  |  | 13559.322 |  | -6 | 13559.322
138 | 36.6 | Supply and fixing of ABC Powder MAP 4 Kg Fire extinguisher | Nos | 10 | 11000 | 110000 |  | 9322.0339 |  | 10 | 9322.0339 |  |  | 9322.0339 |  | -10 | 9322.0339
139 | 36.7 | Supply and fixing of 2 Kg Fire extinguisher Clean Agent | Nos | 10 | 22500 | 225000 |  | 19067.7966 |  | 10 | 19067.7966 |  |  | 19067.7966 |  | -10 | 19067.7966
140 | 36.8 | Supply and fixing of Escape signage boards in Rigid Photo luminescent based glow | Nos | 150 | 2000 | 300000 |  | 1694.9153 |  | 150 | 1694.9153 |  |  | 1694.9153 |  | -150 | 1694.9153
141 | 36.9 | Supply & Fixing of Powder Coated Fire Rated doors. | Sqm | 6 | 29000 | 174000 |  | 24576.2712 |  | 6 | 24576.2712 |  |  | 24576.2712 |  | -6 | 24576.2712
[5 empty] | 0 | 3892000 |  |  | 0 |  |  | 0 |  |  | 0 | 0 |  | 0
|  | ELV System |  |  | 0 | [10 empty] | 0
142 | 37 | Telephone & EPABX System | Job | 1 | 1000000 | 1000000 |  | 847457.6271 |  | 1 | 847457.6271 |  |  | 847457.6271 |  | -1 | 847457.6271
143 | 38 | Local Area Network (LAN) System | Job | 1 | 1250000 | 1250000 |  | 1059322.0339 |  | 1 | 1059322.0339 |  |  | 1059322.0339 |  | -1 | 1059322.0339
144 | 39 | Biometric Access Control System | Nos | 2 | 300000 | 600000 |  | 254237.2881 |  | 2 | 254237.2881 |  |  | 254237.2881 |  | -2 | 254237.2881
[5 empty] | 0 | 2850000 |  |  | 0 |  |  | 0 |  |  | 0 | 0 |  | 0
|  | CIVIL & PLUMBING |  |  | 0 | [10 empty] | 0
145 |  | Dismantling, clearing away and carefully stacking useful materials for re-use and disposal of unserviceable materials with 100m lead as directed by Engineer-in-Charge duly taking actual premeasurements before dismantling including all charges complete (Reinforced cement concrete) | Cum | 10 | 5400 | 54000 |  | 4576.2712 |  | 10 | 4576.2712 |  |  | 4576.2712 |  | -10 | 4576.2712
146 |  | Dismantling, clearing away and carefully stacking useful materials for re-use and disposal of unserviceable materials with 100m lead as directed by Engineer-in-Charge duly taking actual premeasurements before dismantling including all charges complete (Unreinforced cement concrete) | Cum | 1.5 | 4500 | 6750 |  | 3813.5593 |  | 1.5 | 3813.5593 |  |  | 3813.5593 |  | -1.5 | 3813.5593
147 |  | Dismantling, clearing away and carefully stacking useful materials for re-use and disposal of unserviceable materials with 100m lead as directed by Engineer-in-Charge duly taking actual premeasurements before dismantling including all charges complete (Brick Masonary) | Cum | 118 | 900 | 106200 |  | 762.7119 |  | 118 | 762.7119 |  |  | 762.7119 |  | -118 | 762.7119
148 |  | Dismantling, clearing away and carefully stacking useful materials for re-use and disposal of unserviceable materials with 100m lead as directed by Engineer-in-Charge duly taking actual premeasurements before dismantling including all charges complete (Kadapa slabs or shahabad stone slabs on sand bed) | Sqm | 25 | 630 | 15750 |  | 533.8983 |  | 25 | 533.8983 |  |  | 533.8983 |  | -25 | 533.8983
149 |  | Dismantling doors, windows and clear storey windows, Ventilators etc., (wood or steel) shutters including Chowkhats, architraves,hold fasts and other attachments etc., and stacking them within 100m lead including charge etc., complete for finished item of work. (Not exceeding 3 sqm in area) | Nos | 57 | 1800 | 102600 |  | 1525.4237 |  | 57 | 1525.4237 |  |  | 1525.4237 |  | -57 | 1525.4237
150 |  | Conveyance of un-useful excavated earth to a distance of 16 KM for disposal including hire charges of T and P, labour charges etc., complete for finished item of work. | Cum | 250 | 900 | 225000 |  | 762.7119 |  | 250 | 762.7119 |  |  | 762.7119 |  | -250 | 762.7119
151 | 40 | RCC M 25 grade design mix (For lintels) | Cum | 3 | 18900 | 56700 |  | 16016.9492 |  | 3 | 16016.9492 |  |  | 16016.9492 |  | -3 | 16016.9492
152 | 41 | RCC M 20 grade design mix (50mm thick platforms) | Sqm | 12 | 1170 | 14040 |  | 991.5254 |  | 12 | 991.5254 |  |  | 991.5254 |  | -12 | 991.5254
153 | 41 | RCC M 20 grade design mix (25 mm thick Shelves) | Sqm | 12 | 900 | 10800 |  | 762.7119 |  | 12 | 762.7119 |  |  | 762.7119 |  | -12 | 762.7119
154 | 42 | Brick Masonry work in CM (1:6) prop in superstructure | Cum | 3 | 15300 | 45900 |  | 12966.1017 |  | 3 | 12966.1017 |  |  | 12966.1017 |  | -3 | 12966.1017
155 | 43 | Reinforced Masonry for partition walls (100 mm thick) in CM (1:4) | Sqm | 500 | 2700 | 1350000 |  | 2288.1356 |  | 500 | 2288.1356 |  |  | 2288.1356 |  | -500 | 2288.1356
156 | 44 | PCC (1:3:6) nominal mix using 20mm size graded m/c (For bed blocks and hold fasts) | Cum | 1.5 | 9000 | 13500 |  | 7627.1186 |  | 1.5 | 7627.1186 |  |  | 7627.1186 |  | -1.5 | 7627.1186
157 | 45 | Filling with light weight concrete in Cement Concrete (1:5:10) proportion using brick jelly for low roofs | Cum | 23 | 7200 | 165600 |  | 6101.6949 |  | 23 | 6101.6949 |  |  | 6101.6949 |  | -23 | 6101.6949
158 | 46 | Thermo Mechanically Treated (Fe -500/500D/550D) for RCC works | MT | 1.25 | 126000 | 157500 |  | 106779.661 |  | 1.25 | 106779.661 |  |  | 106779.661 |  | -1.25 | 106779.661
159 | 49 | Plastering 12mm thick in two coats with base coat of 8mm thick in CM (1:6) and top coat of 4mm thick in CM (1:4). for Internal walls. | Sqm | 1600 | 1224 | 1958400 |  | 1037.2881 |  | 1600 | 1037.2881 |  |  | 1037.2881 |  | -1600 | 1037.2881
160 | 51 | Impervious coat to exposed RCC roof slab surfaces (APSS No. 901 and 903) For Toilets | Sqm | 77.78 | 360 | 28000.8 |  | 305.0847 |  | 77.78 | 305.0847 |  |  | 305.0847 |  | -77.78 | 305.0847
161 | 92 | Providing and applying Wall putty of White Cement or Polymer or Cement based of average 1 to 2 mm thickness over plastered surface to prepare the surface even and smooth after thoroughly brushing the surface to remove all dirt and remains of loose powdered materials, applying emery paper, Sand the surface, clean & wipe off loose dust, applying knifing paste filler by putty knife / muslin pad, air dry for 2-3 | Sqm | 4447 | 270 | 1200690 |  | 228.8136 |  | 4447 | 228.8136 |  |  | 228.8136 |  | -4447 | 228.8136
162 | 53 | Flooring with non-skid full body ceramic floor tiles | Sqm | 85 | 1710 | 145350 |  | 1449.1525 |  | 85 | 1449.1525 |  |  | 1449.1525 |  | -85 | 1449.1525
163 | 55 | Dadooing to walls with glazed full body Porcelain wall tiles | Sqm | 225 | 1440 | 324000 |  | 1220.339 |  | 225 | 1220.339 |  |  | 1220.339 |  | -225 | 1220.339
164 | 56 | Dadooing to walls with glazed full body Ceramic tiles | Sqm | 350 | 1440 | 504000 |  | 1220.339 |  | 350 | 1220.339 |  |  | 1220.339 |  | -350 | 1220.339
165 | 57 | Painting one coat water based cement primer of interior grade I and two coats of acrylic emulsion paint for ceiling and Walls | Sqm | 4447 | 360 | 1600920 |  | 305.0847 |  | 4447 | 305.0847 |  |  | 305.0847 |  | -4447 | 305.0847
166 | 59 | Painting to new wood work | Sqm | 313 | 360 | 112680 |  | 305.0847 |  | 313 | 305.0847 |  |  | 305.0847 |  | -313 | 305.0847
167 | 60 | Painting to new iron work | Sqm | 88 | 270 | 23760 |  | 228.8136 |  | 88 | 228.8136 |  |  | 228.8136 |  | -88 | 228.8136
168 | 61 | Two shutter cupboards | Sqm | 100 | 9000 | 900000 |  | 7627.1186 |  | 100 | 7627.1186 |  |  | 7627.1186 |  | -100 | 7627.1186
169 | 64 | UPVC Fixed Louvered Ventilator | Sqm | 7 | 12000 | 84000 |  | 10169.4915 |  | 7 | 10169.4915 |  |  | 10169.4915 |  | -7 | 10169.4915
170 |  | UPVC 3 track Sliding Windows | Sqm | 15 | 9000 | 135000 |  | 7627.1186 |  | 15 | 7627.1186 |  |  | 7627.1186 |  | -15 | 7627.1186
171 |  | MS Grills to Windows | Sqm | 150 | 1800 | 270000 |  | 1525.4237 |  | 150 | 1525.4237 |  |  | 1525.4237 |  | -150 | 1525.4237
172 | 66 | Flooring with 16 to 18 mm thick high polished granite stone slabs black colour for platforms (S.S.701 and special) | Sqm | 50 | 6300 | 315000 |  | 5338.9831 |  | 50 | 5338.9831 |  |  | 5338.9831 |  | -50 | 5338.9831
173 | 67 | Doors as per approved drawings with medium teak wood frame (1500mm x 2600mm) | Sqm | 50 | 6300 | 315000 |  | 5338.9831 |  | 50 | 5338.9831 |  |  | 5338.9831 |  | -50 | 5338.9831
174 | 68 | Doors as per approved drawings with medium teak wood frame (1000mm x 2100mm) | Sqm | 45 | 7400 | 333000 |  | 6271.1864 |  | 45 | 6271.1864 |  |  | 6271.1864 |  | -45 | 6271.1864
175 | 69 | Doors Shutters WPC(800mm x 2100mm) | Sqm | 40 | 5400 | 216000 |  | 4576.2712 |  | 40 | 4576.2712 |  |  | 4576.2712 |  | -40 | 4576.2712
176 | 70 | Scientific Doors with metal door frames and door shutters made of galvanize steel | Sqm | 45 | 18000 | 810000 |  | 15254.2373 |  | 45 | 15254.2373 |  |  | 15254.2373 |  | -45 | 15254.2373
177 | 71 | False ceiling as per Technical specification | Sqm | 1400 | 1800 | 2520000 |  | 1525.4237 |  | 1400 | 1525.4237 |  |  | 1525.4237 |  | -1400 | 1525.4237
178 | 72 | Vinyl flooring | Sqm | 500 | 3000 | 1500000 |  | 2542.3729 |  | 500 | 2542.3729 |  |  | 2542.3729 |  | -500 | 2542.3729
179 | 74 | Impervious coat to exposed RCC roof slab surfacesof 20mm thick (APSS No. 901 and 903) | Sqm | 350 | 1260 | 441000 |  | 1067.7966 |  | 350 | 1067.7966 |  |  | 1067.7966 |  | -350 | 1067.7966
180 | 63 | Fixed Glass Window – 1200 x 1200 | Sqm | 53.55 | 5400 | 289170 |  | 4576.2712 |  | 53.55 | 4576.2712 |  |  | 4576.2712 |  | -53.55 | 4576.2712
181 | 95 | Grouting the holes with neat cement slurry of 20mm dia with all required accessories of all materials etc., including cost & Conveyance of all labour Charges etc., complete finished item of work (*As per SSR2021-22 of S.NO:-8) | Nos | 500 | 180 | 90000 |  | 152.5424 |  | 500 | 152.5424 |  |  | 152.5424 |  | -500 | 152.5424
182 | 96 | Pressure grouting the drilled holes with neat cement slurry or with approved grout admixture using pump - excluding cost of drilling holes after fixing nozzles as technical specification approved by the department etc., including cost & Conveyance of all labour charges etc., complete finished item of work | Nos | 500 | 630 | 315000 |  | 533.8983 |  | 500 | 533.8983 |  |  | 533.8983 |  | -500 | 533.8983
183 | 87A | Supply and fabricating,erecting and fixing inposition trusses of approved design with structural steel other than MS. | Kgs | 6500 | 180 | 1170000 |  | 152.5424 |  | 6500 | 152.5424 |  |  | 152.5424 |  | -6500 | 152.5424
184 | 87B | Supply and fixing of pre painted Galvalume Trapezoidal Profile Roofing with 0.50mm Thickness. | Sqm | 65 | 1080 | 70200 |  | 915.2542 |  | 65 | 915.2542 |  |  | 915.2542 |  | -65 | 915.2542
185 | 75 | 4" (101.6mm) multi floor trap with jali - UPVC/SWR | Nos | 25 | 270 | 6750 |  | 228.8136 |  | 25 | 228.8136 |  |  | 228.8136 |  | -25 | 228.8136
186 | 76 | 580mm x 440mm long Orissa pan white glazed Water Closet | Nos | 4 | 5400 | 21600 |  | 4576.2712 |  | 4 | 4576.2712 |  |  | 4576.2712 |  | -4 | 4576.2712
187 | 77 | European Water Closet of 1st quality | Nos | 9 | 6300 | 56700 |  | 5338.9831 |  | 9 | 5338.9831 |  |  | 5338.9831 |  | -9 | 5338.9831
188 | 78 | Indian make Flat Back Wash Hand Basin 1st quality | Nos | 16 | 3600 | 57600 |  | 3050.8475 |  | 16 | 3050.8475 |  |  | 3050.8475 |  | -16 | 3050.8475
189 | 79 | CP finish brass soap dish | Nos | 21 | 1100 | 23100 |  | 932.2034 |  | 21 | 932.2034 |  |  | 932.2034 |  | -21 | 932.2034
190 | 80 | TV shape mirror with plastic frame of size 609.6mm x 457.2mm | Nos | 25 | 630 | 15750 |  | 533.8983 |  | 25 | 533.8983 |  |  | 533.8983 |  | -25 | 533.8983
191 | 81 | 25.4mm dia , 609.6mm long aluminium anodized towel rods | Nos | 36 | 540 | 19440 |  | 457.6271 |  | 36 | 457.6271 |  |  | 457.6271 |  | -36 | 457.6271
192 | 82 | 15 mm brass body CP finish bib tap of not less than 300 grams weight | Nos | 25 | 540 | 13500 |  | 457.6271 |  | 25 | 457.6271 |  |  | 457.6271 |  | -25 | 457.6271
193 | 87C | Self Closing Tap - Push Type | Nos | 25 | 720 | 18000 |  | 610.1695 |  | 25 | 610.1695 |  |  | 610.1695 |  | -25 | 610.1695
194 | 84 | Chromium plated finish brass body quarter turn Bibcock cum Health Faucet | Nos | 12 | 3600 | 43200 |  | 3050.8475 |  | 12 | 3050.8475 |  |  | 3050.8475 |  | -12 | 3050.8475
195 | 85 | Ashirvad/ Ajay/ Astral Flowguard or equivalent CPVC Pipes and Fittings - 15.90mm OD pipe | Rmt | 55 | 270 | 14850 |  | 228.8136 |  | 55 | 228.8136 |  |  | 228.8136 |  | -55 | 228.8136
196 | 85 | Ashirvad/Ajay/Astral Flowguard or equivalent CPVC Pipes and Fittings - 22.20mm OD pipe | Rmt | 115 | 360 | 41400 |  | 305.0847 |  | 115 | 305.0847 |  |  | 305.0847 |  | -115 | 305.0847
197 | 85 | Ashirvad/ Ajay/ Astral Flowguard or equivalent CPVC Pipes and Fittings -28.60mm OD pipe | Rmt | 143 | 450 | 64350 |  | 381.3559 |  | 143 | 381.3559 |  |  | 381.3559 |  | -143 | 381.3559
198 | 86 | Bronze Gate/ Globe valve - 25mm Nominal bore | Nos | 15 | 1440 | 21600 |  | 1220.339 |  | 15 | 1220.339 |  |  | 1220.339 |  | -15 | 1220.339
199 | 87 | SWR PVC pipes (Prince/ Sudhakar/ Kisan/ Supreme or any ISI brand) 4 Kg/Sq.cm. - 75mmdia | Rmt | 145 | 450 | 65250 |  | 381.3559 |  | 145 | 381.3559 |  |  | 381.3559 |  | -145 | 381.3559
200 | 87 | SWR PVC pipes (Prince/ Sudhakar/ Kisan/ Supreme or any ISI brand) 4 Kg/Sq.cm. -110mmdia | Rmt | 145 | 540 | 78300 |  | 457.6271 |  | 145 | 457.6271 |  |  | 457.6271 |  | -145 | 457.6271
201 | 90 | Supplying and fixing15 mm nominal size 152.0 mm CP finish iron body shower rose 1st quality including cost and conveyance of all materials, labour charges , overheads & contractors profit for finished item of work in all floors. | Nos | 5 | 630 | 3150 |  | 533.8983 |  | 5 | 533.8983 |  |  | 533.8983 |  | -5 | 533.8983
202 | 87D | Supply and Fixing of white glazed flat back bowl urinals | Nos | 4 | 2700 | 10800 |  | 2288.1356 |  | 4 | 2288.1356 |  |  | 2288.1356 |  | -4 | 2288.1356
203 | 87E | Supply and fixing of 16mm to 20 mm thick ploished marbles slab partitions of size 4'0"*2'0" | Nos | 10 | 3600 | 36000 |  | 3050.8475 |  | 10 | 3050.8475 |  |  | 3050.8475 |  | -10 | 3050.8475
[5 empty] | 0 | 18606850.8 |  |  | 0 |  |  | 0 |  |  | 0 | 0 |  | 0
|  | MGPS |  |  | 0 | 0 |  | 0 |  |  | 0 |  |  | 0 |  | 0 | 0
204 | 88.1 | 28 mm dia. and 0.90 mm thick Copper Pipe Lines for Main lines | Rmt | 700 | 1750 | 1225000 |  | 1483.0508 |  | 700 | 1483.0508 |  |  | 1483.0508 |  | -700 | 1483.0508
205 | 88.1 | 42 mm dia. and 1.20 mm thick Copper Pipe Lines for Main lines | Rmt | 200 | 2250 | 450000 |  | 1906.7797 |  | 200 | 1906.7797 |  |  | 1906.7797 |  | -200 | 1906.7797
206 | 88.1 | 54 mm dia. and 1.20 mm thick Copper Pipe Lines for Main lines | Rmt | 550 | 2950 | 1622500 |  | 2500 |  | 550 | 2500 |  |  | 2500 |  | -550 | 2500
207 | 88.1 | 12 mm dia. and 0.70 mm thick Copper Pipe Lines for distribution lines | Rmt | 320 | 650 | 208000 |  | 550.8475 |  | 320 | 550.8475 |  |  | 550.8475 |  | -320 | 550.8475
208 | 88.1 | 15 mm dia. and 0.90 mm thick Copper Pipe Lines for distribution lines | Rmt | 525 | 950 | 498750 |  | 805.0847 |  | 525 | 805.0847 |  |  | 805.0847 |  | -525 | 805.0847
209 | 88.1 | 22 mm dia. and 0.90 mm thick Copper Pipe Lines for distribution lines | Rmt | 530 | 1450 | 768500 |  | 1228.8136 |  | 530 | 1228.8136 |  |  | 1228.8136 |  | -530 | 1228.8136
210 | 88.2 | 15 mm (1/2") Isolation Valves | Nos | 40 | 1500 | 60000 |  | 1271.1864 |  | 40 | 1271.1864 |  |  | 1271.1864 |  | -40 | 1271.1864
211 | 88.2 | 22 mm (3/4") Isolation Valves | Nos | 15 | 2500 | 37500 |  | 2118.6441 |  | 15 | 2118.6441 |  |  | 2118.6441 |  | -15 | 2118.6441
212 | 88.2 | 28 mm Isolation Valves | Nos | 3 | 3500 | 10500 |  | 2966.1017 |  | 3 | 2966.1017 |  |  | 2966.1017 |  | -3 | 2966.1017
213 | 88.2 | 42 mm Isolation Valves | Nos | 2 | 4500 | 9000 |  | 3813.5593 |  | 2 | 3813.5593 |  |  | 3813.5593 |  | -2 | 3813.5593
214 | 88.2 | 54 mm Isolation Valves | Nos | 2 | 5500 | 11000 |  | 4661.0169 |  | 2 | 4661.0169 |  |  | 4661.0169 |  | -2 | 4661.0169
215 | 88.3 | Gas Outlet Points with probes for Oxygen with S Brackets | Nos | 189 | 2850 | 538650 |  | 2415.2542 |  | 189 | 2415.2542 |  |  | 2415.2542 |  | -189 | 2415.2542
216 | 88.4 | 2 Gas Digital Area Alarm Panels | Nos | 2 | 25000 | 50000 |  | 21186.4407 |  | 2 | 21186.4407 |  |  | 21186.4407 |  | -2 | 21186.4407
217 | 88.4 | 3 Gas Digital Area Alarm Panels | Nos | 4 | 30000 | 120000 |  | 25423.7288 |  | 4 | 25423.7288 |  |  | 25423.7288 |  | -4 | 25423.7288
218 | 88.4 | 5 Gas Digital Area Alarm Panels | Nos | 5 | 40000 | 200000 |  | 33898.3051 |  | 5 | 33898.3051 |  |  | 33898.3051 |  | -5 | 33898.3051
219 | 88.4 | Master Digital Alarm Panels | Nos | 1 | 50000 | 50000 |  | 42372.8814 |  | 1 | 42372.8814 |  |  | 42372.8814 |  | -1 | 42372.8814
220 | 88.5 | BPC Flow meter with Humidifier bottle and L adapter | Nos | 27 | 2250 | 60750 |  | 1906.7797 |  | 27 | 1906.7797 |  |  | 1906.7797 |  | -27 | 1906.7797
221 | 88.5 | L Type Adapter for Oxygen Flow meters | Nos | 27 | 1250 | 33750 |  | 1059.322 |  | 27 | 1059.322 |  |  | 1059.322 |  | -27 | 1059.322
222 | 88.5 | Kit for conversion of Oxygen | Nos | 27 | 1650 | 44550 |  | 1398.3051 |  | 27 | 1398.3051 |  |  | 1398.3051 |  | -27 | 1398.3051
223 | 88.5 | Suction Jars of 600 ml capacity | Nos | 27 | 3450 | 93150 |  | 2923.7288 |  | 27 | 2923.7288 |  |  | 2923.7288 |  | -27 | 2923.7288
224 | 88.5 | Adapters for Vacuum | Nos | 27 | 750 | 20250 |  | 635.5932 |  | 27 | 635.5932 |  |  | 635.5932 |  | -27 | 635.5932
225 | 88.5 | Adapters for Air | Nos | 27 | 750 | 20250 |  | 635.5932 |  | 27 | 635.5932 |  |  | 635.5932 |  | -27 | 635.5932
226 | 88.5 | Adapters for Nitrous Oxide | Nos | 15 | 750 | 11250 |  | 635.5932 |  | 15 | 635.5932 |  |  | 635.5932 |  | -15 | 635.5932
227 | 88.5 | Vacuum Tube | Nos | 27 | 550 | 14850 |  | 466.1017 |  | 27 | 466.1017 |  |  | 466.1017 |  | -27 | 466.1017
228 | 88.6 | Bed Head wall panel horizontal 1500 mm long single railing | Nos | 27 | 35000 | 945000 |  | 29661.0169 |  | 27 | 29661.0169 |  |  | 29661.0169 |  | -27 | 29661.0169
229 | 88.7 b | Valve box -2 services | Nos | 1 | 9500 | 9500 |  | 8050.8475 |  | 1 | 8050.8475 |  |  | 8050.8475 |  | -1 | 8050.8475
230 | 88.7 b | Valve box -3 services | Nos | 3 | 14500 | 43500 |  | 12288.1356 |  | 3 | 12288.1356 |  |  | 12288.1356 |  | -3 | 12288.1356
231 | 88.7 b | Valve box -6 services | Nos | 1 | 22500 | 22500 |  | 19067.7966 |  | 1 | 19067.7966 |  |  | 19067.7966 |  | -1 | 19067.7966
232 | 88.8 a | 4 + 4 size of CO2 manifold System | Job | 1 | 40000 | 40000 |  | 33898.3051 |  | 1 | 33898.3051 |  |  | 33898.3051 |  | -1 | 33898.3051
233 | 88.8 b | 2 cylinder emergency manifold | Job | 1 | 14500 | 14500 |  | 12288.1356 |  | 1 | 12288.1356 |  |  | 12288.1356 |  | -1 | 12288.1356
234 | 88.8 c | Fully Automatic CO2 Control System | Job | 1 | 185000 | 185000 |  | 156779.661 |  | 1 | 156779.661 |  |  | 156779.661 |  | -1 | 156779.661
235 | 88.9 | Aneste Iwata Make TFS 150 C9 Model, Compresso Two stage, Motor 15 HP & 57.18 CFM, 60 CFM Air Dryer with 2000 Ltrs Receiver Twin System (For Air4, Air7) | Job | 1 | 1895000 | 1895000 |  | 1605932.2034 |  | 1 | 1605932.2034 |  |  | 1605932.2034 |  | -1 | 1605932.2034
236 | 88.1 | Supporting structure for MGPS lines with Ismb Columns, beams, MS angles, Flats and square rods | Job | 1 | 795000 | 795000 |  | 673728.8136 |  | 1 | 673728.8136 |  |  | 673728.8136 |  | -1 | 673728.8136
237 | 88.11 | 2x20 Oxygen Main manifold System | Job | 1 | 95000 | 95000 |  | 80508.4746 |  | 1 | 80508.4746 |  |  | 80508.4746 |  | -1 | 80508.4746
238 | 88.12 | Electrical Control Panel for MGPS | Job | 1 | 145000 | 145000 |  | 122881.3559 |  | 1 | 122881.3559 |  |  | 122881.3559 |  | -1 | 122881.3559
239 | 88.13 | Vaccum system Ingersoll Rand Make Model 15V x 10 Model with 5 HP Motor with 1000 Liters Reciever, Filters, Electricals, Etc Secretion Trap and Bacteria Filter | Job | 2 | 1495000 | 2990000 |  | 1266949.1525 |  | 2 | 1266949.1525 |  |  | 1266949.1525 |  | -2 | 1266949.1525
240 |  | Validation By Third Party Agency Charges per Each MOT | Each | 4 | 100000 | 400000 |  | 84745.7627 |  | 4 | 84745.7627 |  |  | 84745.7627 |  | -4 | 84745.7627
241 |  | Anesthetic Gas Scavenging System (AGSS) | Job | 1 | 1213000 | 1213000 |  | 1027966.1017 |  | 1 | 1027966.1017 |  |  | 1027966.1017 |  | -1 | 1027966.1017
[5 empty] | Sub Total | 14951200 |  |  | 0 |  |  | 0
|  |  |  | Total Amount |  | 175773220.8 | Total Amount |  | 3002000 | Total Amount |  | 81082700 | Total Amount |  | 0 | Total Amount |  | 0
|  |  |  | GST @ 18% |  |  | GST @ 18% |  | 540360 | GST @ 18% |  | 14594886 | GST @ 18% |  | 0 | GST @ 18% |  | 0
|  |  |  | Grand Total |  | 175773220.8 | Grand Total |  | 3542360 | Grand Total |  | 95677586 | Grand Total |  | 0 | Grand Total |  | 0
SUPPLEMENTARY ITEMS
S. No. | Tech. Spec Cl. No in TED | DESCRIPTION OF ITEM | Unit | [9 empty] | Qty. | Unit Rate | Amount