## Abstract
SOUTH WEST BLOCK - 8th FLOOR- GANDHI HOSPITAL
Abstract Estimate For Additional 2-MOTs in SOTC
S. No | Description of Item | Amount (in Rs)
1 | Provision for 2-MOTs (as per enclosed Sub -Estimate) incl. GST | 46659536.4
2 | Removal & Relocation of Roof top Solar panels | 1400000
3 | LS for unforeseen Items | 17387
| Sub Total | 48076923.4
4 | Add for Supervision charges of TSMSIDC @ 4% | 1923076.936
| Grand Total | 50000000.336

## Detailed Estimate SOTC 2 OTS
SOUTH WEST BLOCK - 8th FLOOR- GANDHI HOSPITAL
Estimate For Additional 2-MOTs in SOTC
S. No. | Tech. Spec Cl. No in TED | DESCRIPTION OF ITEM |  | Qty. | Unit | Rate (Rs.) | Total Amount (Rs.)
1 | 1 | a) Stainless Steel Pre-fabricated Wall panels in MOTs | Material: JINDAL/ TATA Make: MPS | 200 | Sqm | 15010 | 3002000
| 1 | b) Stainless Steel Pre-fabricated Wall panels in MOTs extended Corridor | Material: JINDAL/ TATA Make: MPS | 150 | Sqm | 15010 | 2251500
2 | 1 | a) Stainless Steel Pre-fabricated Ceiling panels In MOTs | Material: JINDAL/ TATA Make: MPS | 70 | Sqm | 15010 | 1050700
| 1 | b) Stainless Steel Pre-fabricated Ceiling panels In MOTs Corridor | Material: JINDAL/ TATA Make: MPS | 8 | Sqm | 15010 | 120080
3 | 2.1 | Electro conductive Flooring inside MOTs | GERFLOR/ TARKETT | 80 | Sqm | 4035 | 322800
4 | 2.2 | Flooring with Vinyl Sheets In Transplant ICU Corridor | GERFLOR/ TARKETT | 50 | Sqm | 3750 | 187500
5 | 1.5 | Dynamic Hatch Box |  | 1 | Nos | 295000 | 295000
6 | 3 | Uni Directional Ceiling Laminar Airflow Systems | LAF: MPS HEPA FILTER: MECHMARK | 2 | Nos | 465000 | 930000
7 | 3.1 | Air Handling Units (AHUs) 11 TR | ONE OF THE APPROVED MAKE | 2 | Nos | 1495000 | 2990000
8 | 3.2 | Condensing Units | ONE OF THE APPROVED MAKE | 2 | Nos | 345000 | 690000
9 | 4 | Pressure Relief Dampers | MPS | 2 | Nos | 22500 | 45000
10 | 5.1(a) | Single arm Anesthesia Pendants (Imported) | REANIMED | 2 | Nos | 1195000 | 2390000
11 | 5.1(b) | Double arm Surgical Pendants (Imported) | REANIMED | 6 | Nos | 1195000 | 7170000
12 | 5.3 | Double Dome Ceiling OT LED Lights (Imported) | ETKIN | 2 | Nos | 3550000 | 7100000
13 | 5.4 | Detachable High Definition Camera |  | 1 | Nos | 995000 | 995000
14 | 91 | Ceiling/Wall mounted CCTV Room Camera | SONY/PANASONIC /SAMSUNG | 2 | Nos | 22500 | 45000
15 | 6 | LED Peripheral Lights cum clean room (OT) luminaries | PHILIPS/ WIPRO | 40 | Nos | 18750 | 750000
16 | 7 | View Window with Motorised Blinds of 1 Mt Length & 1 Mt Height | MPS | 2 | Nos | 115000 | 230000
17 | 8 | Hermetically Sealed Doors (1.80mt x 2.10 mt) | MPS | 2 | Nos | 115000 | 230000
18 | 10 | Storage Units | MPS | 2 | Nos | 75000 | 150000
19 | 11 | Writing Board (List Board) | MPS | 2 | Nos | 18750 | 37500
20 | 12 | X-Ray CT Scan LED viewing Screen | MPS | 2 | Nos | 37500 | 75000
21 | 13 | Touch Screen Surgeon Control Panels | MPS | 2 | Nos | 385000 | 770000
22 | 16.1 | Medical Grade Monitors 32 inch 4 K Resolution | DELL/NDS/ ADVANTECH/ BARCO | 2 | Nos | 1295000 | 2590000
23 | 16.3 & 16.4 | Cable connections for integration within MOTs and with Workshop Projector Hall, Networks with OFC Cable |  | 2 | Job | 997500 | 1995000
24 | 16.7 | Ceiling Mounted Speakers | APART/AUDAC/JBL | 2 | Nos | 15000 | 30000
25 | 19 | Electrical Installations in MOTs | STANDARD | 2 | Job | 195000 | 390000
26 | 33 a | Supply, Transportation and installation of 10KVA / 312V DC on line UPS system |  | 2 | Nos | 400000 | 800000
27 | 33 b | Supply and fixing of 12V, 150 AH MF battery |  | 52 | Nos | 25000 | 1300000
28 | 33 c | Supply and providing of UPS cum battery rack 20 batteries |  | 2 | Nos | 30000 | 60000
29 | 88.2 | 28 mm Isolation Valves | MPS | 2 | Nos | 3500 | 7000
30 | 88.2 | 42 mm Isolation Valves | MPS | 3 | Nos | 4500 | 13500
31 | 88.2 | 54 mm Isolation Valves | MPS | 1 | Nos | 5500 | 5500
32 | 88.4 | 5 Gas Digital Area Alarm Panels (6 Gas - 6qty.) | MPS | 1 | Nos | 40000 | 40000
33 | 88.5 | Vacuum Tube | MPS | 58 | Nos | 550 | 31900
34 | 88.7 b | Valve box -6 services | MPS | 5 | Nos | 22500 | 112500
35 | 88.8 a | 4 + 4 size of CO2 manifold System (CO2- 1qty & N20 - 1qty) | MPS | 1 | Job | 40000 | 40000
36 | 88.8 b | 2 cylinder emergency manifold - CO2 (CO2 - 1qty & N2O - 1qty.) | MPS | 1 | Job | 14500 | 14500
37 | 88.8 c | Fully Automatic CO2 Control System (CO2 -1 & N2O -1) | MPS | 1 | Job | 185000 | 185000
38 |  | Electrical connections for 2- UPS |  | 1 | Job | 100000 | 100000
39541980
|  | Add GST @ 18% for Turnkey Works |  |  |  |  | 7117556.4
|  | Total Amount |  |  |  |  | 46659536.4