## Sheet2
S.No | Room No | Room Name | Dimensions |  | Area (m2) | S.No | Room Name | Dimensions |  | Ceiling & Floor Area (m2) | Wall Area
|  |  | Length (mm) | Breadth (mm) |  |  |  | Length (mm) | Breadth (mm)
1 | 1 | OT Stores/Instruments | 4130 | 7605 | 31.4087 | 1 | Opthalmology OT-01 | 6300 | 6000 | 37.8 | 86.1
2 | 2 | UPS & electrical Room | 6395 | 6000 | 38.37 | 2 | Orthopedic OT-05 | 6000 | 7085 | 42.51 | 91.595
3 | 3 | Sterilization Room-01 | 2400 | 3715 | 8.916 | 3 | Orthopedic OT-04 | 6000 | 7085 | 42.51 | 91.595
4 | 4 | Opthalmology OT-01 | 6300 | 6000 | 37.8 | 4 | ENT OT-03 | 6000 | 7085 | 42.51 | 91.595
5 | 5 | Theatre Pack Preparation | 3085 | 7605 | 23.4614 | 5 | Gen Surgery OT-02 | 6000 | 7085 | 42.51 | 91.595
6 | 6 | Pre Operative Ward | 8645 | 7605 | 65.7452 |  |  |  |  | 207.84 | 452.48
7 | 7 | Duty Nurse Room | 2875 | 5520 | 15.87
8 | 7A | Toilet @ Duty Nurse Room | 1200 | 1500 | 1.8
9 | 8 | Officer In Charge Room | 2875 | 5520 | 15.87
10 | 8A | Toilet @ Officer In Charge Room | 1200 | 1500 | 1.8
11 | 9 | OT Reception | 5865 | 4600 | 26.979
12 | 10 | OT Entrance Foyer/Patient Holding | 7135 | 3830 | 27.327
13 | 11 | Wide Passage at CH Rooms | 11703 | 1800 | 21.0654
14 | 11A | Toillet-01 | 1200 | 1800 | 2.16
15 | 11B | Toillet-02 | 1200 | 1800 | 2.16
16 | 11C | Change Room-01 | 2080 | 1800 | 3.744
17 | 11D | Change Room-02 | 1965 | 1800 | 3.537
18 | 11E | Change Room-03 | 1950 | 1800 | 3.51
19 | 11F | Change Room-03 | 1950 | 1800 | 3.51
20 | 12 | Anesthesia Room | 6300 | 3600 | 22.68
21 | 13 | OT Lenin Stors | 3135 | 3715 | 11.6465
22 | 14 | OT Bood Stores | 3135 | 3520 | 11.0352
23 | 15 | OT Pharmacy Stoes | 3135 | 3670 | 11.5054
24 | 16 | Sterilization Room-02 | 3135 | 2400 | 7.524
25 | 17 | Doctor's Work Room | 3600 | 3715 | 13.374
26 | 18 | Anesthetist's Work Room | 3600 | 3715 | 13.374
27 | 19 | Sterilization Room-03 | 3600 | 2500 | 9
28 | 20 | Nurses Work Room | 3600 | 3715 | 13.374
29 | 21 | Students Work Room | 3630 | 3715 | 13.4855
30 | 22 | Lobby | 5865 | 6230 | 36.5389
31 | 23 | Recovery Ward | 7800 | 7085 | 55.263
32 | 24 | Orthopedic OT-05 | 6000 | 7085 | 42.51
33 | 25 | Orthopedic OT-04 | 6000 | 7085 | 42.51
34 | 26 | ENT OT-03 | 6000 | 7085 | 42.51
35 | 27 | Gen Surgery OT-02 | 6000 | 7085 | 42.51
36 | 28 | OT Equipment Store Room | 4950 | 7200 | 35.64
37 | 29 | Dirty Linen Room-01 | 3370 | 3215 | 10.8346
38 | 30 | Electrical Room | 3160 | 3215 | 10.1594
39 | 31 | Class IV Room | 3045 | 3215 | 9.7897
40 | 32 | Dirty Linen Room-02 | 3000 | 3215 | 9.645
41 | A | Corridor-A | 15788 | 1376 | 21.7243
42 | B | Corridor-B | 2020 | 8295 | 16.7559
43 | C | Corridor-C | 34356 | 2400 | 82.4544
44 | D | Corridor-D | 3000 | 15050 | 45.15
45 | E | Corridor-E | 2400 | 15050 | 36.12
46 | F | Corridor-F | 34356 | 2400 | 82.4544
47 | G | Corridor-G | 1615 | 7545 | 12.1852
48 | H | Corridor-H | 35650 | 2020 | 72.013
1168.8001

## Sheet1
5.195 | 7.268 | 37.7573
6 | 7.085 | 42.51
11.18%
37.595 | 40.91 | 1538.0114
5.03 | 1.15 | -5.7845
6.99 | 4.66 | 32.5734
1564.8003
|  | 16843 | sft
|  | 21527 | sft

## Sheet2 (2)
S.No | Room No | Room Name | Dimensions |  | Area (m2) | EQUIPMENT & FURNITURE |  |  | DOORS (Sqm) |  |  |  |  | UPVC Windows (Sqm) | FLOORING (Sqm) | SKIRTING (Rmt) | VINYL FLOORING (Sqm) | DADOING (Sqm) | FALSE CEILING (Sqm) | PCGI PANELING | VENTILATORS | BLINDS
|  |  | Length (mm) | Breadth (mm) |  | EQUIPMENT/FURNITURE | QTY | REMARKS | Scientific Doors | Wooden Doors | WPC Doors | HSSD Door | FIRE Door
1 | 1 | OT Stores/Instruments | 4130 | 7605 | 31.4087 |  |  |  | 2.6 |  |  |  |  | 11.88 | 31.4087 | 22.47 |  | 32.605
2 | 2 | UPS & electrical Room | 6395 | 6000 | 38.37 |  |  |  | 3.12 | [5 empty] | 38.37 | 23.59
3 | 3 | Sterilization Room-01 | 2400 | 3715 | 8.916 |  |  |  | 2.6 | [5 empty] | 8.916 | 11.23 | 8.916 | 15.745
4 | 3A | Scrub Area | 2400 | 2400 | 5.76 | [9 empty] | 5.76 | 7.2 | 5.76 | 14.4
5 | 4 | Opthalmology OT-01 | 6300 | 6000 | 37.8 |  |  |  | 5.2 | [5 empty] | 37.8 |  | 37.8
6 | 5 | Theatre Pack Preparation | 3085 | 7605 | 23.4614 |  |  |  | 3.12 |  |  |  |  | 3.24 | 23.4614 | 20.18 |  | 28.95
7 | 6 | Pre Operative Ward | 8645 | 7605 | 65.7452 |  |  |  |  | 4.68 |  |  |  | 14.04 | 65.7452 |  |  | 42.39
8 | 7 | Duty Nurse Room | 2875 | 5520 | 15.87 |  |  |  |  | 2.6 |  |  |  | 2.16 | 15.87 | 15.79
9 | 7A | Toilet @ Duty Nurse Room | 1200 | 1500 | 1.8 | [5 empty] | 1.68 |  |  |  | 1.8 |  |  | 9.66
10 | 8 | Officer In Charge Room | 2875 | 5520 | 15.87 |  |  |  |  | 2.6 |  |  |  | 2.16 | 15.87 | 15.79
11 | 8A | Toilet @ Officer In Charge Room | 1200 | 1500 | 1.8 | [5 empty] | 1.68 |  |  |  | 1.8 |  |  | 9.66
12 | 9 | OT Reception | 5865 | 4600 | 26.979 |  |  |  |  | 4.68 |  |  |  |  | 26.979 | 9.465 |  | 21.515
13 | 10 | OT Entrance Foyer/Patient Holding | 7135 | 3830 | 27.327 | [8 empty] | 3.24 | 27.327 |  |  | 30.555
14 | 11 | Wide Passage at CH Rooms | 11703 | 1800 | 21.0654 |  |  |  |  | 2.34 |  |  |  |  | 21.0654 |  |  | 41.6526
15 | 11A | Toillet-01 | 1200 | 1800 | 2.16 | [5 empty] | 1.68 |  |  |  | 2.16 |  |  | 10.92
16 | 11B | Toillet-02 | 1200 | 1800 | 2.16 | [5 empty] | 1.68 |  |  |  | 2.16 |  |  | 10.92
17 | 11C | Change Room-01 | 2080 | 1800 | 3.744 |  |  |  |  | 2.34 |  |  |  | 2.16 | 3.744 | 6.86 |  | 13.956
18 | 11D | Change Room-02 | 1965 | 1800 | 3.537 |  |  |  |  | 2.34 |  |  |  | 1.62 | 3.537 | 6.63 |  | 13.473
19 | 11E | Change Room-03 | 1950 | 1800 | 3.51 |  |  |  |  | 2.34 |  |  |  | 2.16 | 3.51 | 6.6 |  | 13.41
20 | 11F | Change Room-04 | 1950 | 1800 | 3.51 |  |  |  |  | 2.34 |  |  |  | 2.16 | 3.51 | 6.6 |  | 13.41 |  | sw1 | 1800x1800
21 | 12 | Anesthesia Room | 6300 | 3600 | 22.68 |  |  |  | 3.12 |  |  |  |  | 6.48 | 22.68 | 18.6 |  | 26.58 |  | sw2 | 1500x1800
22 | 13 | OT Lenin Stores | 3135 | 3715 | 11.6465 |  |  |  | 2.6 |  |  |  |  | 2.16 | 11.6465 | 12.7 | 11.6465 | 17.95 |  | sw3 | 1200x1800
23 | 14 | OT Blood Stores | 3135 | 3520 | 11.0352 |  |  |  | 2.6 |  |  |  |  | 2.16 | 11.0352 | 12.31 | 11.0352 | 17.365 |  | sw4 | 900x1800
24 | 15 | OT Pharmacy Stoes | 3135 | 3670 | 11.5054 |  |  |  | 2.6 |  |  |  |  | 2.16 | 11.5054 | 12.61 | 11.5054 | 17.815
25 | 16 | Sterilization Room-02 | 3135 | 2400 | 7.524 |  |  |  | 2.6 | [5 empty] | 7.524 | 10.07 | 7.524 | 14.005
26 | 17 | Doctor's Work Room | 3600 | 3715 | 13.374 |  |  |  | 2.6 |  |  |  |  | 3.24 | 13.374 | 13.63 | 13.374 | 19.345
27 | 18 | Anesthetist's Work Room | 3600 | 3715 | 13.374 |  |  |  | 2.6 |  |  |  |  | 2.7 | 13.374 | 13.63 | 13.374 | 19.345
28 | 19 | Sterilization Room-03 | 3600 | 2500 | 9 |  |  |  | 2.6 |  |  |  |  | 3.24 | 9 | 11.2 | 9 | 15.7
29 | 20 | Nurses Work Room | 3600 | 3715 | 13.374 |  |  |  | 2.6 |  |  |  |  | 3.24 | 13.374 | 13.63 | 13.374 | 19.345
30 | 21 | Students Work Room | 3630 | 3715 | 13.4855 |  |  |  | 2.6 |  |  |  |  | 2.7 | 13.4855 | 13.69 | 13.4855 | 19.435
31 | 22 | Lobby | 5865 | 6230 | 36.5389 | [7 empty] | 5.2 |  | 36.5389 |  |  | 31.085
32 | 23 | Recovery Ward | 7800 | 7085 | 55.263 |  |  |  |  | 4.68 |  |  |  | 3.24 | 55.263 |  |  | 39.975
33 | 24 | Orthopedic OT-05 | 6000 | 7085 | 42.51 | [6 empty] | 5.2 |  |  | 42.51 |  | 42.51
34 | 25 | Orthopedic OT-04 | 6000 | 7085 | 42.51 | [6 empty] | 5.2 |  |  | 42.51 |  | 42.51
35 | 26 | ENT OT-03 | 6000 | 7085 | 42.51 | [6 empty] | 5.2 |  |  | 42.51 |  | 42.51
36 | 27 | Gen Surgery OT-02 | 6000 | 7085 | 42.51 | [6 empty] | 5.2 |  |  | 42.51 |  | 42.51
37 | 28 | OT Equipment Store Room | 4950 | 7200 | 35.64 |  |  |  | 2.34 |  |  |  |  | 9.72 | 35.64 | 23.4 |  | 34.11
38 | 29 | Dirty Linen Room-01 | 3370 | 3215 | 10.8346 |  |  |  | 2.34 |  |  |  |  | 2.7 | 10.8346 | 12.27 |  | 17.415
39 | 30 | Electrical Room | 3160 | 3215 | 10.1594 |  |  |  | 3.12 | [5 empty] | 10.1594 | 11.55
40 | 31 | Class IV Room | 3045 | 3215 | 9.7897 |  |  |  | 2.34 | [5 empty] | 9.7897 | 11.62
41 | 32 | Dirty Linen Room-02 | 3000 | 3215 | 9.645 |  |  |  | 2.34 |  |  |  |  | 2.7 | 9.645 | 11.53 |  | 16.305
42 | A | Corridor-A | 15788 | 1376 | 21.7243 | [8 empty] | 16.2 | 21.7243 |  |  | 51.492
43 | B | Corridor-B | 2020 | 8295 | 16.7559 | [8 empty] | 3.24 | 16.7559 |  |  | 30.945
44 | C | Corridor-C | 34356 | 2400 | 82.4544 |  |  |  | 14.04 |  |  |  | 5.2 | 2.7 | 82.4544 |  | 22.08 | 91.028
45 | D | Corridor-D | 3000 | 15050 | 45.15 | [7 empty] | 5.2 |  | 45.15 |  |  | 48.95
46 | E | Corridor-E | 2400 | 15050 | 36.12 | [8 empty] | 6.48 | 36.12 |  | 36.12 | 52.35
47 | F | Corridor-F | 34356 | 2400 | 82.4544 | [7 empty] | 10.4 | 3.24 | 82.4544 |  | 58.8 | 99.868
48 | G | Corridor-G | 1615 | 7545 | 12.1852 | [9 empty] | 12.1852 |  |  | 27.48
49 | H | Corridor-H | 35650 | 2020 | 72.013 | [9 empty] | 72.013 |  |  | 113.01
50 |  | Main Corridor | [10 empty] | 5.2
[5 empty] | 1174.5601 |  |  |  | 69.68 | 30.94 | 6.72 | 20.8 | 31.2 | 123.12 | 1174.5601 | 354.845 | 443.8346 | 1164.1196 | 0 | 0 | 0 | 0
[20 empty] | d1 | 1800x2600 | 4.68
[20 empty] | d2 | 1500x2600 | 3.9
[20 empty] | d3 | 1200x2600 | 3.12
[20 empty] | d4 | 1000x2600 | 2.6
[20 empty] | d5 | 900x2600 | 2.34
[20 empty] | d6 | 800x2100 | 1.68
[20 empty] | OTD1 | 2000x2600 | 5.2
[20 empty] | fd1 | 2000x2600 | 5.2
[20 empty] | fd2 | 1500x2600 | 3.9